## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125025933
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 01/01/2023 04:24:40 (UTC-4:00) | Normal |  | 115.1 | 0.1 | 12 | 118.0 | 0.1 | 12 | 110.7 | 0.1 | 11 | 0.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.060 | 0.000 | 0.000 | 0.000 | 17960.000 | 26.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 01/01/2023 04:29:38 (UTC-4:00) | Normal |  | 284.6 | 0.1 | 28 | 256.4 | 0.1 | 26 | 255.8 | 0.1 | 26 | 16.5 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 0.000 | 0.000 | 17960.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 01/01/2023 04:34:37 (UTC-4:00) | Normal |  | 291.6 | 0.1 | 29 | 262.8 | 0.1 | 26 | 262.1 | 0.1 | 26 | 16.2 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 0.000 | 0.000 | 17960.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 01/01/2023 04:39:38 (UTC-4:00) | Normal |  | 302.9 | 0.1 | 30 | 262.9 | 0.1 | 26 | 272.3 | 0.1 | 27 | 15.2 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 0.000 | 0.000 | 17960.000 | 27.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 01/01/2023 04:44:40 (UTC-4:00) | Normal |  | 309.0 | 0.2 | 62 | 266.8 | 0.2 | 53 | 278.2 | 0.1 | 28 | 15.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 90.000 | 59.990 | 0.000 | 0.000 | 0.000 | 17960.000 | 28.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 01/01/2023 04:49:39 (UTC-4:00) | Normal |  | 309.0 | 0.2 | 62 | 294.9 | 0.2 | 59 | 278.1 | 0.1 | 28 | 15.5 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 140.000 | 60.030 | 0.000 | 0.000 | 0.000 | 17960.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 01/01/2023 04:54:37 (UTC-4:00) | Normal |  | 313.2 | 0.3 | 94 | 300.9 | 0.3 | 90 | 268.2 | 0.2 | 54 | 11.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 200.000 | 60.010 | 0.000 | 0.000 | 0.000 | 17960.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 01/01/2023 04:59:36 (UTC-4:00) | Normal |  | 347.1 | 0.4 | 139 | 307.3 | 0.5 | 154 | 318.3 | 0.3 | 95 | 17.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 330.000 | 59.990 | 0.100 | 0.000 | 0.000 | 17960.000 | 29.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 01/01/2023 05:04:34 (UTC-4:00) | Normal |  | 365.1 | 0.4 | 146 | 308.5 | 0.5 | 154 | 320.1 | 0.4 | 128 | 11.5 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 440.000 | 59.990 | 0.100 | 0.000 | 0.000 | 17960.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 01/01/2023 05:09:32 (UTC-4:00) | Normal |  | 357.1 | 0.6 | 214 | 304.9 | 0.7 | 213 | 324.1 | 0.5 | 162 | 13.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 560.000 | 60.000 | 0.100 | 0.000 | 0.000 | 17960.000 | 30.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 01/01/2023 05:14:31 (UTC-4:00) | Normal |  | 350.9 | 0.4 | 140 | 314.9 | 0.4 | 126 | 314.2 | 0.3 | 94 | 15.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 310.000 | 60.010 | 0.200 | 0.000 | 0.000 | 17960.000 | 31.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 01/01/2023 05:19:29 (UTC-4:00) | Normal |  | 347.5 | 0.4 | 139 | 315.0 | 0.5 | 158 | 306.5 | 0.4 | 123 | 14.2 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 370.000 | 59.980 | 0.200 | 0.000 | 0.000 | 17960.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 01/01/2023 05:24:28 (UTC-4:00) | Normal |  | 357.2 | 0.9 | 321 | 312.8 | 0.9 | 282 | 320.3 | 0.8 | 256 | 11.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 780.000 | 59.980 | 0.300 | 0.000 | 0.000 | 17960.000 | 31.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 01/01/2023 05:29:26 (UTC-4:00) | Normal |  | 361.3 | 1.2 | 434 | 328.9 | 1.2 | 395 | 324.3 | 1.2 | 389 | 18.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 5.7 | 0.0 | 0.0 | 1170.000 | 59.990 | 0.400 | 0.000 | 0.000 | 17960.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 01/01/2023 05:34:24 (UTC-4:00) | Normal |  | 353.4 | 1.0 | 353 | 317.0 | 1.0 | 317 | 304.6 | 1.0 | 305 | 16.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 4.8 | 0.0 | 0.0 | 910.000 | 59.990 | 0.500 | 0.000 | 0.000 | 17960.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 01/01/2023 05:39:23 (UTC-4:00) | Normal |  | 355.2 | 1.9 | 675 | 326.9 | 1.9 | 621 | 318.3 | 1.8 | 573 | 17.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1750.000 | 60.040 | 0.600 | 0.000 | 0.000 | 17960.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 01/01/2023 05:44:25 (UTC-4:00) | Normal |  | 355.0 | 2.1 | 746 | 322.7 | 2.2 | 710 | 318.2 | 2.1 | 668 | 13.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2000.000 | 60.060 | 0.800 | 0.000 | 0.000 | 17961.000 | 34.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 01/01/2023 05:49:26 (UTC-4:00) | Normal |  | 354.9 | 2.1 | 745 | 322.6 | 2.1 | 677 | 318.1 | 2.1 | 668 | 13.2 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 1980.000 | 60.030 | 0.900 | 0.000 | 0.000 | 17961.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 01/01/2023 05:54:28 (UTC-4:00) | Normal |  | 351.3 | 2.2 | 773 | 318.9 | 2.2 | 702 | 318.3 | 2.1 | 668 | 17.3 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2030.000 | 60.060 | 1.100 | 1.000 | 1.000 | 17961.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 01/01/2023 05:59:33 (UTC-4:00) | Normal |  | 349.2 | 2.3 | 803 | 316.9 | 2.4 | 761 | 316.3 | 2.2 | 696 | 17.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2140.000 | 60.040 | 1.300 | 1.000 | 1.000 | 17961.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 01/01/2023 06:04:34 (UTC-4:00) | Normal |  | 344.9 | 2.5 | 862 | 312.7 | 2.6 | 813 | 312.0 | 2.4 | 749 | 16.1 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2290.000 | 59.990 | 1.500 | 1.000 | 1.000 | 17961.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 01/01/2023 06:09:37 (UTC-4:00) | Normal |  | 345.2 | 2.6 | 898 | 312.9 | 2.7 | 845 | 316.3 | 2.5 | 791 | 11.6 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2430.000 | 59.960 | 1.700 | 1.000 | 1.000 | 17961.000 | 38.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 01/01/2023 06:14:40 (UTC-4:00) | Normal |  | 347.0 | 2.8 | 972 | 306.6 | 2.9 | 889 | 309.9 | 2.7 | 837 | 13.1 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 11.8 | 0.0 | 0.0 | 2610.000 | 59.970 | 1.900 | 1.000 | 1.000 | 17962.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 01/01/2023 06:19:40 (UTC-4:00) | Normal |  | 347.1 | 3.0 | 1041 | 311.0 | 3.1 | 964 | 306.4 | 3.0 | 919 | 12.2 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2790.000 | 60.060 | 2.100 | 2.000 | 2.000 | 17962.000 | 40.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 01/01/2023 06:24:42 (UTC-4:00) | Normal |  | 342.9 | 3.2 | 1097 | 310.6 | 3.3 | 1025 | 310.0 | 3.2 | 992 | 12.7 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3000.000 | 60.040 | 2.300 | 2.000 | 2.000 | 17962.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 01/01/2023 06:29:45 (UTC-4:00) | Normal |  | 341.4 | 3.4 | 1161 | 309.1 | 3.5 | 1082 | 308.4 | 3.4 | 1049 | 10.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3170.000 | 60.070 | 2.600 | 2.000 | 2.000 | 17962.000 | 41.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 01/01/2023 06:34:47 (UTC-4:00) | Normal |  | 337.3 | 3.6 | 1214 | 305.0 | 3.7 | 1129 | 304.2 | 3.5 | 1065 | 11.0 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3280.000 | 60.060 | 2.900 | 2.000 | 2.000 | 17963.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 01/01/2023 06:39:49 (UTC-4:00) | Normal |  | 340.9 | 3.9 | 1330 | 308.6 | 4.0 | 1234 | 308.0 | 3.8 | 1170 | 15.9 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3580.000 | 60.060 | 3.100 | 3.000 | 3.000 | 17963.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 01/01/2023 06:44:52 (UTC-4:00) | Normal |  | 339.3 | 4.3 | 1459 | 307.0 | 4.4 | 1351 | 302.4 | 4.3 | 1300 | 10.1 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 17.9 | 0.0 | 0.0 | 4030.000 | 60.080 | 3.500 | 3.000 | 3.000 | 17963.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 01/01/2023 06:49:54 (UTC-4:00) | Normal |  | 330.8 | 2.2 | 728 | 298.4 | 2.3 | 686 | 297.8 | 2.1 | 625 | 16.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1950.000 | 60.050 | 3.800 | 3.000 | 3.000 | 17964.000 | 44.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 01/01/2023 06:54:56 (UTC-4:00) | Normal |  | 335.2 | 2.7 | 905 | 302.9 | 2.8 | 848 | 306.2 | 2.6 | 796 | 10.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2480.000 | 60.010 | 3.900 | 3.000 | 3.000 | 17964.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 01/01/2023 06:59:59 (UTC-4:00) | Normal |  | 341.2 | 4.1 | 1399 | 308.9 | 4.1 | 1266 | 304.4 | 4.1 | 1248 | 13.6 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 16.8 | 0.0 | 0.0 | 3750.000 | 60.040 | 4.200 | 4.000 | 4.000 | 17964.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 01/01/2023 07:05:01 (UTC-4:00) | Normal |  | 337.5 | 4.1 | 1384 | 301.4 | 4.2 | 1266 | 297.0 | 4.3 | 1277 | 10.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 17.1 | 0.0 | 0.0 | 3810.000 | 60.040 | 4.600 | 4.000 | 4.000 | 17964.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 01/01/2023 07:10:03 (UTC-4:00) | Normal |  | 329.2 | 2.9 | 955 | 301.1 | 2.9 | 873 | 292.2 | 2.9 | 847 | 11.8 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2550.000 | 60.050 | 4.900 | 4.000 | 4.000 | 17965.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 01/01/2023 07:15:06 (UTC-4:00) | Normal |  | 335.2 | 2.7 | 905 | 302.8 | 2.8 | 848 | 306.2 | 2.6 | 796 | 16.4 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2450.000 | 60.090 | 5.100 | 5.000 | 5.000 | 17965.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 01/01/2023 07:20:04 (UTC-4:00) | Normal |  | 335.3 | 2.4 | 805 | 302.9 | 2.5 | 757 | 298.7 | 2.4 | 717 | 13.7 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 9.6 | 0.0 | 0.0 | 2150.000 | 60.050 | 5.300 | 5.000 | 5.000 | 17965.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 01/01/2023 07:25:03 (UTC-4:00) | Normal |  | 341.4 | 2.4 | 819 | 309.0 | 2.5 | 773 | 304.9 | 2.4 | 732 | 9.9 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2160.000 | 60.060 | 5.400 | 5.000 | 5.000 | 17965.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 01/01/2023 07:30:02 (UTC-4:00) | Normal |  | 341.1 | 2.0 | 682 | 305.2 | 2.1 | 641 | 308.1 | 2.0 | 616 | 11.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1830.000 | 60.070 | 5.600 | 5.000 | 5.000 | 17965.000 | 42.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 01/01/2023 07:35:00 (UTC-4:00) | Normal |  | 341.3 | 1.9 | 648 | 313.5 | 2.0 | 627 | 308.9 | 1.9 | 587 | 10.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 7.8 | 0.0 | 0.0 | 1740.000 | 60.070 | 5.800 | 5.000 | 5.000 | 17966.000 | 41.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 01/01/2023 07:39:59 (UTC-4:00) | Normal |  | 339.0 | 1.8 | 610 | 310.6 | 1.9 | 590 | 306.6 | 1.8 | 552 | 12.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1650.000 | 60.070 | 5.900 | 5.000 | 5.000 | 17966.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 01/01/2023 07:44:58 (UTC-4:00) | Normal |  | 354.9 | 2.9 | 1029 | 322.4 | 3.0 | 967 | 318.5 | 2.8 | 892 | 10.3 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2820.000 | 60.070 | 6.100 | 6.000 | 6.000 | 17966.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 01/01/2023 07:49:55 (UTC-4:00) | Normal |  | 352.8 | 5.4 | 1905 | 313.6 | 5.8 | 1819 | 312.9 | 5.7 | 1784 | 15.5 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 23.3 | 0.0 | 0.0 | 5310.000 | 60.050 | 6.300 | 6.000 | 6.000 | 17966.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 01/01/2023 07:54:54 (UTC-4:00) | Normal |  | 334.0 | 7.5 | 2505 | 300.5 | 7.6 | 2284 | 297.2 | 7.5 | 2229 | 10.8 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6820.000 | 60.020 | 6.900 | 6.000 | 6.000 | 17967.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 01/01/2023 07:59:52 (UTC-4:00) | Normal |  | 320.1 | 6.8 | 2177 | 291.9 | 6.9 | 2014 | 285.3 | 6.7 | 1912 | 12.6 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5960.000 | 60.050 | 7.500 | 7.000 | 7.000 | 17967.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 01/01/2023 08:04:50 (UTC-4:00) | Normal |  | 319.7 | 9.2 | 2941 | 284.7 | 9.4 | 2676 | 288.1 | 9.3 | 2679 | 11.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 35.3 | 0.0 | 0.0 | 8040.000 | 60.030 | 7.900 | 7.000 | 7.000 | 17968.000 | 52.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 01/01/2023 08:09:49 (UTC-4:00) | Normal |  | 316.3 | 4.9 | 1550 | 287.5 | 5.1 | 1466 | 283.6 | 4.8 | 1361 | 15.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 18.8 | 0.0 | 0.0 | 4240.000 | 60.040 | 8.400 | 8.000 | 8.000 | 17968.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 01/01/2023 08:14:47 (UTC-4:00) | Normal |  | 325.1 | 3.4 | 1105 | 296.8 | 3.5 | 1039 | 292.2 | 3.4 | 993 | 9.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3060.000 | 60.060 | 8.700 | 8.000 | 8.000 | 17968.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 01/01/2023 08:19:48 (UTC-4:00) | Normal |  | 333.2 | 3.4 | 1133 | 297.0 | 3.5 | 1040 | 300.3 | 3.4 | 1021 | 16.0 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3080.000 | 60.020 | 9.000 | 9.000 | 9.000 | 17969.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 01/01/2023 08:24:51 (UTC-4:00) | Normal |  | 339.2 | 3.9 | 1323 | 303.0 | 4.1 | 1242 | 302.4 | 3.9 | 1179 | 9.7 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3620.000 | 60.040 | 9.300 | 9.000 | 9.000 | 17969.000 | 48.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 01/01/2023 08:29:54 (UTC-4:00) | Normal |  | 335.0 | 4.2 | 1407 | 302.7 | 4.3 | 1302 | 306.0 | 4.1 | 1255 | 15.4 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 17.2 | 0.0 | 0.0 | 3850.000 | 60.060 | 9.600 | 9.000 | 9.000 | 17969.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 01/01/2023 08:34:56 (UTC-4:00) | Normal |  | 331.3 | 5.5 | 1822 | 303.0 | 5.6 | 1697 | 302.4 | 5.4 | 1633 | 11.2 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 22.1 | 0.0 | 0.0 | 4970.000 | 60.050 | 9.900 | 9.000 | 9.000 | 17970.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 01/01/2023 08:39:58 (UTC-4:00) | Normal |  | 327.8 | 4.9 | 1606 | 295.7 | 5.1 | 1508 | 299.0 | 4.7 | 1405 | 9.6 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4400.000 | 60.040 | 10.300 | 10.000 | 10.000 | 17970.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 01/01/2023 08:45:00 (UTC-4:00) | Normal |  | 325.2 | 4.4 | 1431 | 296.9 | 4.5 | 1336 | 296.2 | 4.4 | 1303 | 14.0 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3950.000 | 60.060 | 10.700 | 10.000 | 10.000 | 17970.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 01/01/2023 08:50:03 (UTC-4:00) | Normal |  | 329.4 | 4.3 | 1416 | 301.0 | 4.4 | 1324 | 296.5 | 4.3 | 1275 | 9.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3930.000 | 60.060 | 11.000 | 11.000 | 11.000 | 17971.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 01/01/2023 08:55:05 (UTC-4:00) | Normal |  | 331.2 | 4.1 | 1358 | 298.9 | 4.3 | 1285 | 302.2 | 4.1 | 1239 | 10.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 16.9 | 0.0 | 0.0 | 3770.000 | 59.980 | 11.300 | 11.000 | 11.000 | 17971.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 01/01/2023 09:00:07 (UTC-4:00) | Normal |  | 331.2 | 4.5 | 1490 | 302.9 | 4.6 | 1393 | 298.3 | 4.5 | 1342 | 10.8 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4130.000 | 60.000 | 11.600 | 11.000 | 11.000 | 17971.000 | 49.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 01/01/2023 09:05:09 (UTC-4:00) | Normal |  | 327.4 | 4.7 | 1539 | 306.9 | 4.6 | 1412 | 302.4 | 4.6 | 1391 | 9.8 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 18.8 | 0.0 | 0.0 | 4210.000 | 60.010 | 12.000 | 12.000 | 12.000 | 17972.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 01/01/2023 09:10:12 (UTC-4:00) | Normal |  | 325.2 | 5.0 | 1626 | 292.9 | 5.1 | 1494 | 292.2 | 5.0 | 1461 | 12.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 19.8 | 0.0 | 0.0 | 4450.000 | 60.020 | 12.400 | 12.000 | 12.000 | 17972.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 01/01/2023 09:15:10 (UTC-4:00) | Normal |  | 327.5 | 5.0 | 1638 | 291.2 | 5.2 | 1514 | 294.5 | 5.0 | 1473 | 9.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 20.2 | 0.0 | 0.0 | 4510.000 | 60.010 | 12.700 | 12.000 | 12.000 | 17972.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 01/01/2023 09:20:09 (UTC-4:00) | Normal |  | 313.1 | 6.6 | 2066 | 268.4 | 7.1 | 1906 | 291.9 | 6.3 | 1839 | 14.3 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 24.9 | 0.0 | 0.0 | 5660.000 | 59.990 | 13.300 | 13.000 | 13.000 | 17973.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 01/01/2023 09:25:07 (UTC-4:00) | Normal |  | 310.7 | 6.3 | 1957 | 282.4 | 6.4 | 1807 | 281.8 | 6.2 | 1747 | 10.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 23.7 | 0.0 | 0.0 | 5370.000 | 59.950 | 13.800 | 13.000 | 13.000 | 17974.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 01/01/2023 09:30:05 (UTC-4:00) | Normal |  | 312.8 | 5.7 | 1783 | 284.4 | 5.8 | 1650 | 279.9 | 5.7 | 1595 | 10.1 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 21.6 | 0.0 | 0.0 | 4880.000 | 59.910 | 14.200 | 14.000 | 14.000 | 17974.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 01/01/2023 09:35:05 (UTC-4:00) | Normal |  | 307.6 | 8.1 | 2492 | 279.1 | 8.1 | 2261 | 275.3 | 8.3 | 2285 | 13.6 | 0.1 | 0 | 225.5 | 0.0 | 0.0 | 29.8 | 0.0 | 0.0 | 6780.000 | 59.930 | 14.700 | 14.000 | 14.000 | 17974.000 | 55.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 01/01/2023 09:40:03 (UTC-4:00) | Normal |  | 308.5 | 6.7 | 2067 | 276.4 | 6.9 | 1907 | 271.8 | 6.8 | 1848 | 10.9 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5630.000 | 59.910 | 15.200 | 15.000 | 15.000 | 17975.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 01/01/2023 09:45:01 (UTC-4:00) | Normal |  | 300.9 | 6.5 | 1956 | 272.7 | 6.6 | 1800 | 276.0 | 6.4 | 1766 | 9.0 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 23.5 | 0.0 | 0.0 | 5340.000 | 59.900 | 15.700 | 15.000 | 15.000 | 17975.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 01/01/2023 09:50:00 (UTC-4:00) | Normal |  | 308.7 | 6.9 | 2130 | 276.6 | 7.1 | 1964 | 276.1 | 6.9 | 1905 | 12.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 25.7 | 0.0 | 0.0 | 5830.000 | 59.900 | 16.200 | 16.000 | 16.000 | 17976.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 01/01/2023 09:54:58 (UTC-4:00) | Normal |  | 304.9 | 6.6 | 2012 | 276.5 | 6.7 | 1853 | 276.0 | 6.5 | 1794 | 9.3 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 24.2 | 0.0 | 0.0 | 5490.000 | 59.920 | 16.700 | 16.000 | 16.000 | 17976.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 01/01/2023 09:59:58 (UTC-4:00) | Normal |  | 302.8 | 8.4 | 2544 | 274.9 | 8.5 | 2337 | 270.0 | 8.3 | 2241 | 9.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 30.2 | 0.0 | 0.0 | 6900.000 | 59.930 | 17.200 | 17.000 | 17.000 | 17977.000 | 59.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 01/01/2023 10:04:59 (UTC-4:00) | Normal |  | 295.6 | 8.9 | 2631 | 267.1 | 9.1 | 2431 | 266.9 | 9.0 | 2402 | 8.7 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 31.6 | 0.0 | 0.0 | 7200.000 | 59.950 | 17.800 | 17.000 | 17.000 | 17978.000 | 60.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 01/01/2023 10:09:57 (UTC-4:00) | Normal |  | 316.8 | 10.2 | 3231 | 284.2 | 10.2 | 2899 | 282.4 | 10.2 | 2880 | 8.5 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 38.0 | 0.0 | 0.0 | 8680.000 | 59.980 | 18.500 | 18.000 | 18.000 | 17978.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 01/01/2023 10:14:56 (UTC-4:00) | Normal |  | 297.6 | 10.2 | 3036 | 271.4 | 10.2 | 2768 | 272.4 | 10.2 | 2778 | 8.4 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 36.4 | 0.0 | 0.0 | 8280.000 | 60.000 | 19.100 | 19.000 | 19.000 | 17979.000 | 63.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 01/01/2023 10:19:58 (UTC-4:00) | Normal |  | 295.4 | 10.2 | 3013 | 266.8 | 10.2 | 2721 | 266.6 | 10.2 | 2719 | 11.7 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 35.9 | 0.0 | 0.0 | 8160.000 | 59.950 | 19.700 | 19.000 | 19.000 | 17979.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 01/01/2023 10:25:00 (UTC-4:00) | Normal |  | 283.8 | 10.2 | 2895 | 259.6 | 10.2 | 2648 | 255.2 | 10.2 | 2603 | 11.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7840.000 | 59.970 | 20.400 | 20.000 | 20.000 | 17980.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 01/01/2023 10:30:03 (UTC-4:00) | Normal |  | 286.7 | 10.2 | 2924 | 262.5 | 10.2 | 2678 | 258.0 | 10.2 | 2632 | 12.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 34.9 | 0.0 | 0.0 | 7940.000 | 59.940 | 21.100 | 21.000 | 21.000 | 17981.000 | 67.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 01/01/2023 10:35:05 (UTC-4:00) | Normal |  | 218.6 | 9.6 | 2099 | 250.1 | 9.4 | 2351 | 253.4 | 9.0 | 2281 | 11.5 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 28.6 | 0.0 | 0.0 | 6460.000 | 60.000 | 21.700 | 21.000 | 21.000 | 17981.000 | 68.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 01/01/2023 10:40:08 (UTC-4:00) | Normal |  | 282.8 | 8.0 | 2262 | 260.1 | 8.9 | 2315 | 256.5 | 7.8 | 2001 | 13.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 28.1 | 0.0 | 0.0 | 6430.000 | 59.930 | 22.200 | 22.000 | 22.000 | 17982.000 | 64.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 01/01/2023 10:45:10 (UTC-4:00) | Normal |  | 300.7 | 4.5 | 1353 | 264.2 | 4.7 | 1242 | 271.7 | 4.4 | 1195 | 10.2 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3660.000 | 59.990 | 22.600 | 22.000 | 22.000 | 17982.000 | 62.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 01/01/2023 10:50:12 (UTC-4:00) | Normal |  | 328.5 | 10.2 | 3351 | 298.3 | 10.2 | 3043 | 295.9 | 10.2 | 3018 | 12.2 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 40.1 | 0.0 | 0.0 | 9100.000 | 59.920 | 23.100 | 23.000 | 23.000 | 17983.000 | 61.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 01/01/2023 10:55:15 (UTC-4:00) | Normal |  | 304.5 | 8.6 | 2619 | 268.8 | 8.7 | 2339 | 267.7 | 8.2 | 2195 | 13.5 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 30.5 | 0.0 | 0.0 | 6910.000 | 59.940 | 23.600 | 23.000 | 23.000 | 17983.000 | 62.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 01/01/2023 11:00:17 (UTC-4:00) | Normal |  | 298.6 | 4.5 | 1344 | 266.1 | 4.7 | 1251 | 269.3 | 4.5 | 1212 | 11.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3680.000 | 59.960 | 24.100 | 24.000 | 24.000 | 17984.000 | 62.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 01/01/2023 11:05:16 (UTC-4:00) | Normal |  | 314.3 | 10.2 | 3206 | 284.2 | 10.2 | 2899 | 282.7 | 10.2 | 2884 | 9.9 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 38.3 | 0.0 | 0.0 | 8690.000 | 59.920 | 24.600 | 24.000 | 24.000 | 17984.000 | 64.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 01/01/2023 11:10:14 (UTC-4:00) | Normal |  | 302.9 | 10.2 | 3090 | 274.0 | 10.2 | 2795 | 271.5 | 10.2 | 2769 | 11.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 36.8 | 0.0 | 0.0 | 8360.000 | 59.910 | 25.300 | 25.000 | 25.000 | 17985.000 | 66.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 01/01/2023 11:15:12 (UTC-4:00) | Normal |  | 284.5 | 8.7 | 2475 | 256.9 | 9.2 | 2363 | 251.9 | 8.9 | 2242 | 11.4 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 30.2 | 0.0 | 0.0 | 6890.000 | 59.960 | 25.900 | 25.000 | 25.000 | 17986.000 | 66.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 01/01/2023 11:20:11 (UTC-4:00) | Normal |  | 300.1 | 8.3 | 2491 | 256.8 | 9.2 | 2363 | 255.8 | 9.2 | 2353 | 13.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 30.7 | 0.0 | 0.0 | 6950.000 | 60.040 | 26.500 | 26.000 | 26.000 | 17986.000 | 66.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 01/01/2023 11:25:09 (UTC-4:00) | Normal |  | 300.5 | 4.1 | 1232 | 264.2 | 4.4 | 1162 | 271.4 | 4.1 | 1113 | 11.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3400.000 | 60.010 | 26.900 | 26.000 | 26.000 | 17987.000 | 62.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 01/01/2023 11:30:10 (UTC-4:00) | Normal |  | 295.4 | 10.2 | 3013 | 269.9 | 10.2 | 2753 | 270.3 | 10.1 | 2730 | 13.3 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 35.8 | 0.0 | 0.0 | 8200.000 | 60.030 | 27.400 | 27.000 | 27.000 | 17987.000 | 63.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 01/01/2023 11:35:10 (UTC-4:00) | Normal |  | 291.5 | 9.3 | 2711 | 263.3 | 9.5 | 2501 | 266.4 | 9.2 | 2451 | 13.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.4 | 0.0 | 0.0 | 7380.000 | 60.040 | 28.100 | 28.000 | 28.000 | 17988.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 01/01/2023 11:40:09 (UTC-4:00) | Normal |  | 289.1 | 9.3 | 2689 | 260.8 | 9.4 | 2452 | 264.1 | 9.1 | 2403 | 13.2 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 32.3 | 0.0 | 0.0 | 7300.000 | 60.060 | 28.700 | 28.000 | 28.000 | 17988.000 | 65.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 01/01/2023 11:45:07 (UTC-4:00) | Normal |  | 288.7 | 9.2 | 2656 | 260.5 | 9.4 | 2449 | 260.0 | 9.2 | 2392 | 12.1 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 31.8 | 0.0 | 0.0 | 7240.000 | 59.990 | 29.300 | 29.000 | 29.000 | 17989.000 | 66.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 01/01/2023 11:50:05 (UTC-4:00) | Normal |  | 285.7 | 9.3 | 2657 | 257.4 | 9.4 | 2420 | 260.6 | 9.1 | 2371 | 8.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7170.000 | 60.050 | 29.900 | 29.000 | 29.000 | 17990.000 | 66.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 01/01/2023 11:55:04 (UTC-4:00) | Normal |  | 288.6 | 9.3 | 2684 | 260.4 | 9.4 | 2448 | 259.9 | 9.3 | 2417 | 12.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 32.1 | 0.0 | 0.0 | 7300.000 | 60.060 | 30.500 | 30.000 | 30.000 | 17990.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 01/01/2023 12:00:02 (UTC-4:00) | Normal |  | 292.8 | 9.3 | 2723 | 264.4 | 9.3 | 2459 | 260.1 | 9.3 | 2419 | 10.3 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 32.4 | 0.0 | 0.0 | 7350.000 | 60.030 | 31.100 | 31.000 | 31.000 | 17991.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 01/01/2023 12:05:03 (UTC-4:00) | Normal |  | 287.5 | 9.9 | 2846 | 262.8 | 9.8 | 2575 | 258.5 | 9.8 | 2533 | 12.7 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 33.8 | 0.0 | 0.0 | 7670.000 | 60.050 | 31.800 | 31.000 | 31.000 | 17992.000 | 67.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 01/01/2023 12:10:05 (UTC-4:00) | Normal |  | 299.5 | 9.8 | 2935 | 271.0 | 9.9 | 2683 | 274.3 | 9.6 | 2633 | 13.2 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 34.9 | 0.0 | 0.0 | 7960.000 | 60.050 | 32.100 | 32.000 | 32.000 | 17992.000 | 62.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 01/01/2023 12:15:08 (UTC-4:00) | Normal |  | 292.9 | 2.8 | 820 | 260.6 | 3.0 | 782 | 272.0 | 3.0 | 816 | 13.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2290.000 | 60.030 | 32.700 | 32.000 | 32.000 | 17992.000 | 64.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 01/01/2023 12:20:06 (UTC-4:00) | Normal |  | 297.1 | 4.8 | 1426 | 264.8 | 5.7 | 1509 | 272.4 | 4.8 | 1308 | 8.4 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 18.3 | 0.0 | 0.0 | 4110.000 | 60.010 | 33.100 | 33.000 | 33.000 | 17993.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 01/01/2023 12:25:05 (UTC-4:00) | Normal |  | 291.3 | 1.7 | 495 | 267.0 | 1.8 | 481 | 266.4 | 1.7 | 453 | 13.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1230.000 | 60.020 | 33.500 | 33.000 | 33.000 | 17993.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 01/01/2023 12:30:03 (UTC-4:00) | Normal |  | 303.6 | 9.8 | 2975 | 278.9 | 9.7 | 2705 | 274.5 | 9.7 | 2663 | 12.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 35.3 | 0.0 | 0.0 | 8040.000 | 60.030 | 33.900 | 33.000 | 33.000 | 17994.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 01/01/2023 12:35:02 (UTC-4:00) | Normal |  | 299.3 | 8.8 | 2634 | 267.0 | 8.9 | 2376 | 266.5 | 8.8 | 2345 | 11.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 31.1 | 0.0 | 0.0 | 7100.000 | 60.000 | 34.500 | 34.000 | 34.000 | 17994.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 01/01/2023 12:40:02 (UTC-4:00) | Normal |  | 290.9 | 8.8 | 2560 | 266.4 | 8.8 | 2344 | 262.0 | 8.8 | 2306 | 12.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 30.6 | 0.0 | 0.0 | 6960.000 | 60.010 | 35.100 | 35.000 | 35.000 | 17995.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 01/01/2023 12:45:01 (UTC-4:00) | Normal |  | 291.0 | 8.8 | 2561 | 262.6 | 8.8 | 2311 | 265.9 | 8.6 | 2287 | 8.9 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 30.4 | 0.0 | 0.0 | 6920.000 | 59.960 | 35.700 | 35.000 | 35.000 | 17995.000 | 64.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 01/01/2023 12:49:59 (UTC-4:00) | Normal |  | 293.4 | 8.7 | 2553 | 261.1 | 8.8 | 2298 | 260.5 | 8.7 | 2266 | 13.6 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 30.3 | 0.0 | 0.0 | 6900.000 | 59.930 | 36.300 | 36.000 | 36.000 | 17996.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 01/01/2023 12:54:57 (UTC-4:00) | Normal |  | 295.6 | 8.5 | 2513 | 267.1 | 8.6 | 2297 | 262.7 | 8.5 | 2233 | 11.7 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 30.0 | 0.0 | 0.0 | 6800.000 | 59.970 | 36.800 | 36.000 | 36.000 | 17997.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 01/01/2023 12:59:55 (UTC-4:00) | Normal |  | 293.7 | 8.4 | 2467 | 265.3 | 8.5 | 2255 | 264.7 | 8.4 | 2223 | 12.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6690.000 | 60.020 | 37.400 | 37.000 | 37.000 | 17997.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 01/01/2023 13:04:54 (UTC-4:00) | Normal |  | 296.8 | 8.4 | 2493 | 268.6 | 8.5 | 2283 | 264.2 | 8.5 | 2246 | 11.0 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 29.6 | 0.0 | 0.0 | 6740.000 | 60.000 | 38.000 | 38.000 | 38.000 | 17998.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 01/01/2023 13:09:52 (UTC-4:00) | Normal |  | 292.9 | 8.5 | 2490 | 264.6 | 8.6 | 2276 | 267.8 | 8.3 | 2223 | 8.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 29.8 | 0.0 | 0.0 | 6750.000 | 59.990 | 38.600 | 38.000 | 38.000 | 17998.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 01/01/2023 13:15:03 (UTC-4:00) | Normal |  | 291.5 | 8.4 | 2449 | 267.0 | 8.5 | 2270 | 262.6 | 8.4 | 2206 | 13.0 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6700.000 | 59.980 | 39.100 | 39.000 | 39.000 | 17999.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 01/01/2023 13:20:19 (UTC-4:00) | Normal |  | 295.6 | 7.3 | 2158 | 266.6 | 7.4 | 1973 | 266.7 | 7.6 | 2027 | 12.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5930.000 | 59.970 | 39.600 | 39.000 | 39.000 | 17999.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 01/01/2023 13:25:17 (UTC-4:00) | Normal |  | 299.3 | 8.9 | 2664 | 267.2 | 9.0 | 2405 | 266.7 | 8.9 | 2374 | 8.4 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7200.000 | 59.940 | 40.100 | 40.000 | 40.000 | 18000.000 | 63.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 01/01/2023 13:30:16 (UTC-4:00) | Normal |  | 293.4 | 8.7 | 2553 | 265.0 | 8.8 | 2332 | 268.2 | 8.5 | 2280 | 9.2 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 30.5 | 0.0 | 0.0 | 6930.000 | 59.930 | 40.700 | 40.000 | 40.000 | 18000.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 01/01/2023 13:35:14 (UTC-4:00) | Normal |  | 296.6 | 8.3 | 2462 | 264.4 | 8.5 | 2247 | 263.8 | 8.3 | 2190 | 9.6 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6660.000 | 60.030 | 41.300 | 41.000 | 41.000 | 18001.000 | 64.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 01/01/2023 13:40:13 (UTC-4:00) | Normal |  | 294.8 | 8.3 | 2447 | 262.5 | 8.4 | 2205 | 265.8 | 8.2 | 2180 | 9.1 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6600.000 | 60.010 | 41.800 | 41.000 | 41.000 | 18002.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 01/01/2023 13:45:11 (UTC-4:00) | Normal |  | 298.8 | 8.1 | 2420 | 262.7 | 8.4 | 2207 | 266.0 | 8.2 | 2181 | 8.9 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6590.000 | 60.050 | 42.400 | 42.000 | 42.000 | 18002.000 | 64.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 01/01/2023 13:45:22 (UTC-4:00) | Normal |  | 298.8 | 8.1 | 2420 | 262.7 | 8.4 | 2207 | 266.0 | 8.2 | 2181 | 8.9 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6590.000 | 60.050 | 42.400 | 42.000 | 42.000 | 18002.000 | 64.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 01/01/2023 13:50:12 (UTC-4:00) | Normal |  | 292.8 | 8.3 | 2430 | 268.2 | 8.3 | 2226 | 263.8 | 8.3 | 2190 | 9.9 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 29.0 | 0.0 | 0.0 | 6600.000 | 60.030 | 42.900 | 42.000 | 42.000 | 18003.000 | 64.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 01/01/2023 13:55:14 (UTC-4:00) | Normal |  | 289.5 | 8.4 | 2432 | 265.2 | 8.4 | 2228 | 268.3 | 8.2 | 2200 | 8.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6630.000 | 60.010 | 43.500 | 43.000 | 43.000 | 18003.000 | 64.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 01/01/2023 13:55:25 (UTC-4:00) | Normal |  | 289.5 | 8.4 | 2432 | 265.2 | 8.4 | 2228 | 268.3 | 8.2 | 2200 | 8.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6630.000 | 60.010 | 43.500 | 43.000 | 43.000 | 18003.000 | 64.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 01/01/2023 14:00:18 (UTC-4:00) | Normal |  | 295.4 | 8.0 | 2363 | 263.1 | 8.2 | 2157 | 262.6 | 8.1 | 2127 | 11.8 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 28.3 | 0.0 | 0.0 | 6420.000 | 59.970 | 44.000 | 44.000 | 44.000 | 18004.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 01/01/2023 14:05:19 (UTC-4:00) | Normal |  | 295.4 | 7.6 | 2245 | 267.1 | 7.6 | 2030 | 266.5 | 7.5 | 1999 | 8.8 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 26.7 | 0.0 | 0.0 | 6060.000 | 59.990 | 44.600 | 44.000 | 44.000 | 18004.000 | 63.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 01/01/2023 14:05:44 (UTC-4:00) | Normal |  | 295.4 | 7.6 | 2245 | 267.1 | 7.6 | 2030 | 266.5 | 7.5 | 1999 | 8.8 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 26.7 | 0.0 | 0.0 | 6060.000 | 59.990 | 44.600 | 44.000 | 44.000 | 18004.000 | 63.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 01/01/2023 14:10:22 (UTC-4:00) | Normal |  | 301.6 | 7.2 | 2172 | 273.2 | 7.2 | 1967 | 272.6 | 7.1 | 1935 | 12.8 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 25.7 | 0.0 | 0.0 | 5850.000 | 59.950 | 45.100 | 45.000 | 45.000 | 18005.000 | 62.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 01/01/2023 14:15:24 (UTC-4:00) | Normal |  | 298.6 | 7.0 | 2090 | 282.5 | 6.8 | 1921 | 277.1 | 6.5 | 1801 | 10.7 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5610.000 | 59.970 | 45.500 | 45.000 | 45.000 | 18005.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 01/01/2023 14:20:27 (UTC-4:00) | Normal |  | 310.9 | 6.3 | 1959 | 278.5 | 6.9 | 1922 | 269.9 | 6.7 | 1808 | 9.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 24.2 | 0.0 | 0.0 | 5510.000 | 59.970 | 45.900 | 45.000 | 45.000 | 18006.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 01/01/2023 14:25:29 (UTC-4:00) | Normal |  | 307.2 | 2.4 | 737 | 278.9 | 2.4 | 669 | 274.4 | 2.3 | 631 | 8.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1940.000 | 60.020 | 46.200 | 46.000 | 46.000 | 18006.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 01/01/2023 14:30:32 (UTC-4:00) | Normal |  | 313.0 | 2.3 | 720 | 284.6 | 2.4 | 683 | 280.3 | 2.3 | 645 | 13.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1960.000 | 59.990 | 46.500 | 46.000 | 46.000 | 18006.000 | 56.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 01/01/2023 14:35:34 (UTC-4:00) | Normal |  | 317.3 | 7.1 | 2253 | 285.0 | 7.3 | 2081 | 288.5 | 7.0 | 2020 | 8.9 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 27.1 | 0.0 | 0.0 | 6150.000 | 59.980 | 46.900 | 46.000 | 46.000 | 18007.000 | 55.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 01/01/2023 14:40:37 (UTC-4:00) | Normal |  | 310.6 | 7.1 | 2205 | 278.4 | 7.2 | 2004 | 281.8 | 7.0 | 1973 | 12.9 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5990.000 | 60.000 | 47.400 | 47.000 | 47.000 | 18007.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 01/01/2023 14:45:39 (UTC-4:00) | Normal |  | 303.1 | 6.8 | 2061 | 274.8 | 6.9 | 1896 | 274.1 | 6.8 | 1864 | 9.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5640.000 | 59.960 | 47.900 | 47.000 | 47.000 | 18008.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 01/01/2023 14:50:38 (UTC-4:00) | Normal |  | 308.0 | 3.9 | 1201 | 275.7 | 4.0 | 1103 | 271.0 | 3.9 | 1057 | 11.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3230.000 | 59.930 | 48.200 | 48.000 | 48.000 | 18008.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 01/01/2023 14:55:36 (UTC-4:00) | Normal |  | 322.8 | 5.9 | 1905 | 290.6 | 6.0 | 1744 | 286.1 | 6.0 | 1717 | 14.4 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5190.000 | 59.970 | 48.500 | 48.000 | 48.000 | 18008.000 | 57.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 01/01/2023 15:00:35 (UTC-4:00) | Normal |  | 323.1 | 5.6 | 1809 | 290.9 | 5.7 | 1658 | 294.1 | 5.5 | 1618 | 10.3 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4950.000 | 59.900 | 48.900 | 48.000 | 48.000 | 18009.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 01/01/2023 15:05:34 (UTC-4:00) | Normal |  | 315.3 | 5.2 | 1640 | 287.0 | 5.3 | 1521 | 290.3 | 5.1 | 1481 | 10.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 20.1 | 0.0 | 0.0 | 4530.000 | 59.970 | 49.300 | 49.000 | 49.000 | 18009.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 01/01/2023 15:10:32 (UTC-4:00) | Normal |  | 327.2 | 4.8 | 1571 | 294.8 | 4.9 | 1445 | 298.1 | 4.7 | 1401 | 11.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 19.0 | 0.0 | 0.0 | 4300.000 | 59.930 | 49.600 | 49.000 | 49.000 | 18009.000 | 56.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 01/01/2023 15:15:30 (UTC-4:00) | Normal |  | 329.0 | 4.6 | 1513 | 296.7 | 4.7 | 1394 | 292.2 | 4.6 | 1344 | 11.6 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 18.4 | 0.0 | 0.0 | 4120.000 | 59.900 | 50.000 | 50.000 | 50.000 | 18010.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 01/01/2023 15:20:29 (UTC-4:00) | Normal |  | 329.3 | 4.5 | 1482 | 297.0 | 4.6 | 1366 | 296.3 | 4.4 | 1304 | 12.7 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 4020.000 | 59.900 | 50.300 | 50.000 | 50.000 | 18010.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 01/01/2023 15:25:27 (UTC-4:00) | Normal |  | 323.2 | 1.1 | 356 | 282.8 | 1.2 | 339 | 298.3 | 1.0 | 298 | 13.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 960.000 | 59.920 | 50.600 | 50.000 | 50.000 | 18010.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 01/01/2023 15:30:26 (UTC-4:00) | Normal |  | 323.3 | 1.8 | 582 | 291.0 | 1.9 | 553 | 286.4 | 1.8 | 516 | 11.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1520.000 | 59.910 | 50.800 | 50.000 | 50.000 | 18011.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 01/01/2023 15:35:24 (UTC-4:00) | Normal |  | 335.0 | 4.6 | 1541 | 302.7 | 4.7 | 1423 | 302.1 | 4.5 | 1359 | 12.3 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4190.000 | 59.910 | 51.100 | 51.000 | 51.000 | 18011.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 01/01/2023 15:40:24 (UTC-4:00) | Normal |  | 333.3 | 4.2 | 1400 | 297.1 | 4.3 | 1278 | 300.4 | 4.1 | 1232 | 9.8 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 16.9 | 0.0 | 0.0 | 3790.000 | 60.000 | 51.400 | 51.000 | 51.000 | 18011.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 01/01/2023 15:45:25 (UTC-4:00) | Normal |  | 328.9 | 3.6 | 1184 | 296.7 | 3.7 | 1098 | 300.0 | 3.5 | 1050 | 12.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3250.000 | 60.050 | 51.700 | 51.000 | 51.000 | 18011.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 01/01/2023 15:50:29 (UTC-4:00) | Normal |  | 331.3 | 3.4 | 1126 | 302.9 | 3.5 | 1060 | 302.4 | 3.4 | 1028 | 13.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3100.000 | 60.060 | 52.000 | 52.000 | 52.000 | 18012.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 01/01/2023 15:55:30 (UTC-4:00) | Normal |  | 334.9 | 3.3 | 1105 | 298.7 | 3.4 | 1016 | 298.1 | 3.2 | 954 | 13.2 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2960.000 | 59.990 | 52.200 | 52.000 | 52.000 | 18012.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 01/01/2023 16:00:33 (UTC-4:00) | Normal |  | 342.9 | 3.0 | 1029 | 306.6 | 3.2 | 981 | 302.1 | 3.1 | 937 | 10.2 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2840.000 | 59.980 | 52.500 | 52.000 | 52.000 | 18012.000 | 49.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 01/01/2023 16:05:35 (UTC-4:00) | Normal |  | 331.3 | 3.0 | 994 | 307.0 | 3.0 | 921 | 298.4 | 2.9 | 865 | 14.0 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 59.950 | 52.700 | 52.000 | 52.000 | 18012.000 | 48.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 01/01/2023 16:10:38 (UTC-4:00) | Normal |  | 341.0 | 2.7 | 921 | 304.8 | 2.8 | 853 | 308.0 | 2.6 | 801 | 11.6 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2460.000 | 59.930 | 52.900 | 52.000 | 52.000 | 18013.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 01/01/2023 16:15:40 (UTC-4:00) | Normal |  | 333.0 | 1.8 | 599 | 300.8 | 1.9 | 572 | 300.2 | 1.8 | 540 | 11.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1580.000 | 59.990 | 53.100 | 53.000 | 53.000 | 18013.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 01/01/2023 16:15:51 (UTC-4:00) | Normal |  | 333.0 | 1.8 | 599 | 300.8 | 1.9 | 572 | 300.2 | 1.8 | 540 | 11.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1580.000 | 59.990 | 53.100 | 53.000 | 53.000 | 18013.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 01/01/2023 16:20:44 (UTC-4:00) | Normal |  | 335.4 | 1.8 | 604 | 303.0 | 1.9 | 576 | 302.5 | 1.8 | 545 | 9.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1620.000 | 59.990 | 53.200 | 53.000 | 53.000 | 18013.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 01/01/2023 16:25:47 (UTC-4:00) | Normal |  | 339.3 | 2.7 | 916 | 311.0 | 2.7 | 840 | 310.3 | 2.6 | 807 | 9.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2490.000 | 59.960 | 53.400 | 53.000 | 53.000 | 18013.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 01/01/2023 16:30:50 (UTC-4:00) | Normal |  | 335.0 | 2.5 | 838 | 306.7 | 2.6 | 797 | 302.1 | 2.5 | 755 | 12.6 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2300.000 | 59.930 | 53.600 | 53.000 | 53.000 | 18013.000 | 45.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 01/01/2023 16:31:07 (UTC-4:00) | Normal |  | 338.8 | 2.5 | 847 | 310.6 | 2.5 | 777 | 302.0 | 2.5 | 755 | 13.9 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2250.000 | 59.940 | 53.600 | 53.000 | 53.000 | 18013.000 | 45.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 01/01/2023 16:36:22 (UTC-4:00) | Normal |  | 339.2 | 1.6 | 543 | 307.0 | 1.7 | 522 | 306.4 | 1.6 | 490 | 16.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1400.000 | 60.010 | 53.700 | 53.000 | 53.000 | 18013.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 01/01/2023 16:41:21 (UTC-4:00) | Normal |  | 324.9 | 0.4 | 130 | 292.5 | 0.4 | 117 | 296.0 | 0.3 | 89 | 12.8 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 290.000 | 59.940 | 53.800 | 53.000 | 53.000 | 18014.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 01/01/2023 16:46:19 (UTC-4:00) | Normal |  | 291.8 | 0.1 | 29 | 274.8 | 0.1 | 27 | 264.9 | 0.1 | 26 | 9.9 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.910 | 53.800 | 53.000 | 53.000 | 18014.000 | 40.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 01/01/2023 16:51:18 (UTC-4:00) | Normal |  | 286.7 | 0.1 | 29 | 260.8 | 0.1 | 26 | 324.5 | 0.1 | 32 | 9.8 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 53.800 | 53.000 | 53.000 | 18014.000 | 39.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 01/01/2023 16:56:19 (UTC-4:00) | Normal |  | 293.6 | 0.1 | 29 | 260.9 | 0.2 | 52 | 263.8 | 0.1 | 26 | 16.6 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 53.800 | 53.000 | 53.000 | 18014.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 01/01/2023 17:01:17 (UTC-4:00) | Normal |  | 294.9 | 0.1 | 29 | 260.9 | 0.2 | 52 | 267.0 | 0.1 | 27 | 12.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 60.010 | 53.800 | 53.000 | 53.000 | 18014.000 | 38.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 01/01/2023 17:06:15 (UTC-4:00) | Normal |  | 296.9 | 0.2 | 59 | 280.7 | 0.3 | 84 | 270.1 | 0.2 | 54 | 12.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 170.000 | 60.000 | 53.800 | 53.000 | 53.000 | 18014.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 01/01/2023 17:11:17 (UTC-4:00) | Normal |  | 323.2 | 0.2 | 65 | 287.0 | 0.3 | 86 | 274.4 | 0.2 | 55 | 16.1 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 160.000 | 59.990 | 53.800 | 53.000 | 53.000 | 18014.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 01/01/2023 17:16:20 (UTC-4:00) | Normal |  | 305.2 | 0.2 | 61 | 276.8 | 0.2 | 55 | 273.4 | 0.1 | 27 | 10.1 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 59.970 | 53.900 | 53.000 | 53.000 | 18014.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 01/01/2023 17:21:23 (UTC-4:00) | Normal |  | 301.2 | 0.1 | 30 | 268.0 | 0.1 | 27 | 268.1 | 0.1 | 27 | 17.1 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.960 | 53.900 | 53.000 | 53.000 | 18014.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 01/01/2023 17:26:25 (UTC-4:00) | Normal |  | 286.0 | 0.1 | 29 | 267.0 | 0.1 | 27 | 256.4 | 0.1 | 26 | 16.9 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 53.900 | 53.000 | 53.000 | 18014.000 | 35.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 01/01/2023 17:31:30 (UTC-4:00) | Normal |  | 272.9 | 0.1 | 27 | 267.1 | 0.1 | 27 | 245.5 | 0.1 | 25 | 11.9 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 53.900 | 53.000 | 53.000 | 18014.000 | 35.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 01/01/2023 17:31:41 (UTC-4:00) | Normal |  | 272.9 | 0.1 | 27 | 267.1 | 0.1 | 27 | 245.5 | 0.1 | 25 | 11.9 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 53.900 | 53.000 | 53.000 | 18014.000 | 35.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 01/01/2023 17:36:30 (UTC-4:00) | Normal |  | 264.3 | 0.1 | 26 | 267.0 | 0.1 | 27 | 241.5 | 0.1 | 24 | 15.1 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.900 | 53.000 | 53.000 | 18014.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 01/01/2023 17:41:32 (UTC-4:00) | Normal |  | 252.9 | 0.1 | 25 | 267.2 | 0.1 | 27 | 224.6 | 0.1 | 22 | 13.2 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 01/01/2023 17:46:34 (UTC-4:00) | Normal |  | 247.4 | 0.1 | 25 | 267.0 | 0.1 | 27 | 223.7 | 0.1 | 22 | 11.4 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 01/01/2023 17:51:38 (UTC-4:00) | Normal |  | 246.8 | 0.1 | 25 | 267.1 | 0.1 | 27 | 222.1 | 0.1 | 22 | 11.3 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 01/01/2023 17:51:49 (UTC-4:00) | Normal |  | 246.8 | 0.1 | 25 | 267.1 | 0.1 | 27 | 222.1 | 0.1 | 22 | 11.3 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 01/01/2023 17:56:39 (UTC-4:00) | Normal |  | 228.7 | 0.1 | 23 | 247.6 | 0.1 | 25 | 205.7 | 0.1 | 21 | 16.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 01/01/2023 18:01:42 (UTC-4:00) | Normal |  | 253.8 | 0.1 | 25 | 228.9 | 0.1 | 23 | 188.4 | 0.1 | 19 | 10.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 01/01/2023 18:06:43 (UTC-4:00) | Normal |  | 195.2 | 0.1 | 20 | 213.1 | 0.1 | 21 | 173.4 | 0.1 | 17 | 10.3 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.900 | 53.000 | 53.000 | 18014.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 01/01/2023 18:11:47 (UTC-4:00) | Normal |  | 140.0 | 0.1 | 14 | 152.4 | 0.1 | 15 | 151.4 | 0.1 | 15 | 11.2 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 20.000 | 59.980 | 53.900 | 53.000 | 53.000 | 18014.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 01/01/2023 18:16:49 (UTC-4:00) | Normal |  | 80.9 | 0.0 | 0 | 76.1 | 0.0 | 0 | 75.8 | 0.0 | 0 | 0.4 | 0.0 | 0 | 221.6 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 59.990 | 53.900 | 53.000 | 53.000 | 18014.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0