## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125023721
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 20/12/2022 04:19:41 (UTC-4:00) | Normal |  | 95.8 | 0.1 | 10 | 98.5 | 0.1 | 10 | 93.0 | 0.1 | 9 | 0.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 793.000 | 13092.000 | 17470.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 20/12/2022 04:24:43 (UTC-4:00) | Normal |  | 276.8 | 0.1 | 28 | 249.5 | 0.1 | 25 | 248.9 | 0.1 | 25 | 11.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 793.000 | 13092.000 | 17470.000 | 25.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 20/12/2022 04:29:43 (UTC-4:00) | Normal |  | 302.3 | 0.1 | 30 | 276.1 | 0.1 | 28 | 273.7 | 0.1 | 27 | 11.9 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 793.000 | 13092.000 | 17470.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 20/12/2022 04:34:46 (UTC-4:00) | Normal |  | 299.3 | 0.1 | 30 | 263.0 | 0.1 | 26 | 269.3 | 0.1 | 27 | 17.7 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 793.000 | 13092.000 | 17470.000 | 27.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 20/12/2022 04:39:50 (UTC-4:00) | Normal |  | 303.7 | 0.1 | 30 | 263.0 | 0.1 | 26 | 273.1 | 0.1 | 27 | 17.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 793.000 | 13092.000 | 17470.000 | 27.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 20/12/2022 04:44:55 (UTC-4:00) | Normal |  | 306.4 | 0.1 | 31 | 263.1 | 0.2 | 53 | 275.8 | 0.1 | 28 | 15.7 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 40.000 | 60.000 | 0.000 | 793.000 | 13092.000 | 17470.000 | 27.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 20/12/2022 04:49:58 (UTC-4:00) | Normal |  | 308.9 | 0.1 | 31 | 262.9 | 0.2 | 53 | 280.5 | 0.1 | 28 | 14.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 60.030 | 0.000 | 793.000 | 13092.000 | 17470.000 | 28.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 20/12/2022 04:55:02 (UTC-4:00) | Normal |  | 308.8 | 0.2 | 62 | 278.8 | 0.2 | 56 | 280.4 | 0.1 | 28 | 15.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 130.000 | 60.020 | 0.000 | 793.000 | 13092.000 | 17470.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 20/12/2022 05:00:06 (UTC-4:00) | Normal |  | 308.7 | 0.2 | 62 | 302.8 | 0.2 | 61 | 280.2 | 0.2 | 56 | 11.6 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 180.000 | 60.020 | 0.000 | 793.000 | 13092.000 | 17470.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 20/12/2022 05:05:11 (UTC-4:00) | Normal |  | 345.3 | 0.4 | 138 | 319.1 | 0.4 | 128 | 308.6 | 0.3 | 93 | 13.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 59.990 | 0.100 | 793.000 | 13092.000 | 17470.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 20/12/2022 05:05:22 (UTC-4:00) | Normal |  | 345.3 | 0.4 | 138 | 319.1 | 0.4 | 128 | 308.6 | 0.3 | 93 | 13.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 59.990 | 0.100 | 793.000 | 13092.000 | 17470.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 20/12/2022 05:10:14 (UTC-4:00) | Normal |  | 345.1 | 0.4 | 138 | 319.1 | 0.5 | 160 | 316.6 | 0.4 | 127 | 10.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 59.980 | 0.100 | 793.000 | 13092.000 | 17470.000 | 30.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 20/12/2022 05:15:18 (UTC-4:00) | Normal |  | 337.1 | 0.4 | 135 | 310.9 | 0.4 | 124 | 296.6 | 0.3 | 89 | 13.3 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 280.000 | 59.980 | 0.100 | 793.000 | 13092.000 | 17470.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 20/12/2022 05:20:22 (UTC-4:00) | Normal |  | 345.0 | 0.4 | 138 | 315.0 | 0.4 | 126 | 304.1 | 0.3 | 91 | 10.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 340.000 | 59.990 | 0.100 | 793.000 | 13092.000 | 17470.000 | 30.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 20/12/2022 05:25:27 (UTC-4:00) | Normal |  | 352.4 | 0.4 | 141 | 314.6 | 0.4 | 126 | 316.2 | 0.3 | 95 | 12.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 370.000 | 59.990 | 0.200 | 793.000 | 13092.000 | 17470.000 | 30.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 20/12/2022 05:30:30 (UTC-4:00) | Normal |  | 348.9 | 0.7 | 244 | 318.8 | 0.7 | 223 | 312.4 | 0.6 | 187 | 12.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 610.000 | 60.050 | 0.200 | 793.000 | 13092.000 | 17470.000 | 30.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 20/12/2022 05:35:34 (UTC-4:00) | Normal |  | 365.1 | 1.0 | 365 | 319.0 | 1.1 | 351 | 320.6 | 1.0 | 321 | 16.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 990.000 | 60.030 | 0.300 | 794.000 | 13092.000 | 17470.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 20/12/2022 05:40:34 (UTC-4:00) | Normal |  | 356.9 | 1.3 | 464 | 322.9 | 1.3 | 420 | 324.4 | 1.2 | 389 | 17.9 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1210.000 | 60.040 | 0.400 | 794.000 | 13092.000 | 17470.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 20/12/2022 05:45:34 (UTC-4:00) | Normal |  | 353.0 | 1.2 | 424 | 322.9 | 1.2 | 387 | 320.5 | 1.1 | 353 | 12.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1140.000 | 60.030 | 0.500 | 794.000 | 13092.000 | 17470.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 20/12/2022 05:50:34 (UTC-4:00) | Normal |  | 345.1 | 0.8 | 276 | 314.9 | 0.9 | 283 | 316.5 | 0.8 | 253 | 11.3 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 740.000 | 59.990 | 0.500 | 794.000 | 13092.000 | 17470.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 20/12/2022 05:55:34 (UTC-4:00) | Normal |  | 341.0 | 0.7 | 239 | 311.0 | 0.8 | 249 | 316.4 | 0.6 | 190 | 13.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 60.040 | 0.600 | 794.000 | 13092.000 | 17470.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 20/12/2022 06:00:34 (UTC-4:00) | Normal |  | 344.9 | 0.4 | 138 | 314.8 | 0.5 | 157 | 312.4 | 0.4 | 125 | 15.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 430.000 | 60.020 | 0.600 | 794.000 | 13092.000 | 17470.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 20/12/2022 06:05:34 (UTC-4:00) | Normal |  | 337.0 | 0.5 | 169 | 310.9 | 0.5 | 155 | 308.5 | 0.4 | 123 | 10.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 460.000 | 59.990 | 0.700 | 794.000 | 13092.000 | 17470.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 20/12/2022 06:10:34 (UTC-4:00) | Normal |  | 349.0 | 0.7 | 244 | 306.9 | 0.8 | 246 | 312.7 | 0.7 | 219 | 13.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 60.040 | 0.700 | 794.000 | 13092.000 | 17470.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 20/12/2022 06:15:34 (UTC-4:00) | Normal |  | 361.0 | 1.2 | 433 | 322.9 | 1.3 | 420 | 320.5 | 1.2 | 385 | 12.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1190.000 | 60.000 | 0.800 | 794.000 | 13092.000 | 17470.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 20/12/2022 06:20:34 (UTC-4:00) | Normal |  | 357.0 | 1.7 | 607 | 322.9 | 1.8 | 581 | 324.5 | 1.6 | 519 | 17.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1600.000 | 59.990 | 0.900 | 794.000 | 13092.000 | 17470.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 20/12/2022 06:25:35 (UTC-4:00) | Normal |  | 360.8 | 1.7 | 613 | 322.8 | 1.8 | 581 | 324.3 | 1.6 | 519 | 13.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1580.000 | 60.020 | 1.100 | 794.000 | 13093.000 | 17471.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 20/12/2022 06:30:34 (UTC-4:00) | Normal |  | 356.9 | 2.0 | 714 | 318.8 | 2.1 | 669 | 324.4 | 1.9 | 616 | 11.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.7 | 0.0 | 0.0 | 1890.000 | 59.990 | 1.200 | 794.000 | 13093.000 | 17471.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 20/12/2022 06:35:36 (UTC-4:00) | Normal |  | 359.0 | 2.1 | 754 | 320.9 | 2.2 | 706 | 318.5 | 2.1 | 669 | 17.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 2010.000 | 59.950 | 1.400 | 795.000 | 13093.000 | 17471.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 20/12/2022 06:40:39 (UTC-4:00) | Normal |  | 355.0 | 2.0 | 710 | 324.8 | 2.1 | 682 | 318.5 | 2.0 | 637 | 11.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1950.000 | 59.970 | 1.500 | 795.000 | 13093.000 | 17471.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 20/12/2022 06:45:43 (UTC-4:00) | Normal |  | 355.1 | 1.7 | 604 | 321.0 | 1.8 | 578 | 318.6 | 1.7 | 542 | 16.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1610.000 | 60.030 | 1.700 | 795.000 | 13093.000 | 17471.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 20/12/2022 06:50:47 (UTC-4:00) | Normal |  | 358.8 | 2.4 | 861 | 324.7 | 2.5 | 812 | 318.4 | 2.4 | 764 | 13.9 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2350.000 | 59.990 | 1.900 | 795.000 | 13093.000 | 17471.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 20/12/2022 06:55:51 (UTC-4:00) | Normal |  | 359.1 | 2.6 | 934 | 325.0 | 2.7 | 878 | 318.6 | 2.6 | 828 | 14.8 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2530.000 | 59.990 | 2.100 | 795.000 | 13094.000 | 17472.000 | 37.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 20/12/2022 07:00:55 (UTC-4:00) | Normal |  | 355.1 | 2.6 | 923 | 321.0 | 2.7 | 867 | 318.6 | 2.6 | 828 | 10.9 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2530.000 | 60.010 | 2.300 | 796.000 | 13094.000 | 17472.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 20/12/2022 07:05:59 (UTC-4:00) | Normal |  | 354.9 | 2.8 | 994 | 316.7 | 2.9 | 918 | 314.4 | 2.8 | 880 | 11.8 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 60.000 | 2.500 | 796.000 | 13094.000 | 17472.000 | 39.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 20/12/2022 07:11:03 (UTC-4:00) | Normal |  | 351.0 | 3.3 | 1158 | 320.9 | 3.3 | 1059 | 314.5 | 3.2 | 1006 | 12.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3120.000 | 59.940 | 2.700 | 796.000 | 13094.000 | 17472.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 20/12/2022 07:16:07 (UTC-4:00) | Normal |  | 350.9 | 3.2 | 1123 | 316.8 | 3.3 | 1045 | 314.4 | 3.2 | 1006 | 11.5 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3090.000 | 59.940 | 3.000 | 796.000 | 13095.000 | 17473.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 20/12/2022 07:21:12 (UTC-4:00) | Normal |  | 350.8 | 3.1 | 1087 | 316.7 | 3.2 | 1013 | 314.3 | 3.1 | 974 | 16.5 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2980.000 | 60.040 | 3.300 | 797.000 | 13095.000 | 17473.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 20/12/2022 07:26:16 (UTC-4:00) | Normal |  | 346.9 | 3.6 | 1249 | 312.9 | 3.7 | 1158 | 310.4 | 3.6 | 1117 | 13.8 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3400.000 | 60.010 | 3.500 | 797.000 | 13095.000 | 17473.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 20/12/2022 07:31:16 (UTC-4:00) | Normal |  | 346.9 | 3.8 | 1318 | 316.8 | 3.8 | 1204 | 310.5 | 3.8 | 1180 | 12.8 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3570.000 | 59.990 | 3.800 | 797.000 | 13095.000 | 17473.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 20/12/2022 07:36:16 (UTC-4:00) | Normal |  | 343.5 | 4.9 | 1683 | 313.5 | 5.0 | 1568 | 310.7 | 4.8 | 1491 | 10.5 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4670.000 | 59.990 | 4.100 | 797.000 | 13096.000 | 17474.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 20/12/2022 07:41:16 (UTC-4:00) | Normal |  | 338.7 | 4.2 | 1423 | 308.7 | 4.2 | 1297 | 306.2 | 4.1 | 1255 | 14.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 17.0 | 0.0 | 0.0 | 3840.000 | 59.960 | 4.500 | 798.000 | 13096.000 | 17474.000 | 46.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 20/12/2022 07:46:16 (UTC-4:00) | Normal |  | 342.1 | 6.3 | 2155 | 308.1 | 6.2 | 1910 | 309.8 | 6.3 | 1952 | 15.1 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 25.8 | 0.0 | 0.0 | 5850.000 | 59.990 | 4.900 | 798.000 | 13096.000 | 17474.000 | 47.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 20/12/2022 07:51:16 (UTC-4:00) | Normal |  | 336.9 | 3.9 | 1314 | 310.7 | 3.8 | 1181 | 300.5 | 3.9 | 1172 | 16.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3550.000 | 60.000 | 5.300 | 799.000 | 13097.000 | 17475.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 20/12/2022 07:56:16 (UTC-4:00) | Normal |  | 336.8 | 3.8 | 1280 | 310.7 | 3.7 | 1150 | 300.4 | 3.8 | 1142 | 16.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3480.000 | 60.010 | 5.500 | 799.000 | 13097.000 | 17475.000 | 47.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 20/12/2022 08:01:16 (UTC-4:00) | Normal |  | 340.8 | 3.9 | 1329 | 310.7 | 4.0 | 1243 | 300.4 | 4.0 | 1202 | 13.3 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 16.2 | 0.0 | 0.0 | 3660.000 | 59.970 | 5.900 | 799.000 | 13097.000 | 17475.000 | 47.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 20/12/2022 08:06:16 (UTC-4:00) | Normal |  | 340.5 | 4.9 | 1668 | 306.5 | 4.9 | 1502 | 300.1 | 4.9 | 1470 | 16.1 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4510.000 | 60.010 | 6.200 | 799.000 | 13098.000 | 17476.000 | 47.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 20/12/2022 08:11:16 (UTC-4:00) | Normal |  | 336.9 | 4.1 | 1381 | 310.8 | 4.0 | 1243 | 304.4 | 4.0 | 1218 | 11.0 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 16.6 | 0.0 | 0.0 | 3750.000 | 60.020 | 6.500 | 800.000 | 13098.000 | 17476.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 20/12/2022 08:16:16 (UTC-4:00) | Normal |  | 340.5 | 4.6 | 1566 | 310.5 | 4.6 | 1428 | 300.2 | 4.6 | 1381 | 14.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4260.000 | 59.990 | 6.900 | 800.000 | 13098.000 | 17476.000 | 47.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 20/12/2022 08:21:17 (UTC-4:00) | Normal |  | 337.2 | 4.0 | 1349 | 311.0 | 4.0 | 1244 | 304.7 | 4.0 | 1219 | 10.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3670.000 | 59.950 | 7.200 | 800.000 | 13099.000 | 17477.000 | 48.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 20/12/2022 08:26:17 (UTC-4:00) | Normal |  | 326.4 | 6.2 | 2024 | 296.4 | 6.5 | 1927 | 297.8 | 5.9 | 1757 | 9.8 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 24.6 | 0.0 | 0.0 | 5590.000 | 59.980 | 7.600 | 801.000 | 13099.000 | 17477.000 | 49.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 20/12/2022 08:31:21 (UTC-4:00) | Normal |  | 328.7 | 4.0 | 1315 | 302.6 | 4.0 | 1210 | 300.1 | 4.0 | 1200 | 15.3 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 16.3 | 0.0 | 0.0 | 3640.000 | 59.980 | 8.000 | 801.000 | 13100.000 | 17478.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 20/12/2022 08:36:24 (UTC-4:00) | Normal |  | 332.8 | 3.6 | 1198 | 306.7 | 3.6 | 1104 | 300.4 | 3.5 | 1051 | 15.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3250.000 | 60.010 | 8.300 | 802.000 | 13100.000 | 17478.000 | 48.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 20/12/2022 08:41:29 (UTC-4:00) | Normal |  | 333.4 | 6.2 | 2067 | 307.3 | 6.1 | 1875 | 301.4 | 6.4 | 1929 | 13.5 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 25.0 | 0.0 | 0.0 | 5670.000 | 59.990 | 8.700 | 802.000 | 13100.000 | 17478.000 | 49.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 20/12/2022 08:41:54 (UTC-4:00) | Normal |  | 333.4 | 6.2 | 2067 | 307.3 | 6.1 | 1875 | 301.4 | 6.4 | 1929 | 13.5 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 25.0 | 0.0 | 0.0 | 5670.000 | 59.990 | 8.700 | 802.000 | 13100.000 | 17478.000 | 49.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 20/12/2022 08:46:32 (UTC-4:00) | Normal |  | 321.3 | 8.4 | 2699 | 294.9 | 8.3 | 2448 | 292.4 | 8.2 | 2398 | 9.8 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 32.4 | 0.0 | 0.0 | 7350.000 | 60.000 | 9.300 | 803.000 | 13101.000 | 17479.000 | 54.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 20/12/2022 08:51:36 (UTC-4:00) | Normal |  | 312.7 | 8.6 | 2689 | 286.5 | 8.5 | 2435 | 280.2 | 8.6 | 2410 | 14.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.1 | 0.0 | 0.0 | 7290.000 | 59.980 | 9.900 | 803.000 | 13101.000 | 17479.000 | 57.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 20/12/2022 08:56:40 (UTC-4:00) | Normal |  | 308.6 | 9.5 | 2932 | 282.5 | 9.4 | 2656 | 280.0 | 9.4 | 2632 | 14.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 35.0 | 0.0 | 0.0 | 7960.000 | 60.020 | 10.500 | 804.000 | 13102.000 | 17480.000 | 59.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 20/12/2022 09:01:45 (UTC-4:00) | Normal |  | 309.1 | 5.7 | 1762 | 283.1 | 5.8 | 1642 | 276.2 | 5.5 | 1519 | 11.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 21.3 | 0.0 | 0.0 | 4810.000 | 60.030 | 11.000 | 804.000 | 13103.000 | 17481.000 | 59.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 20/12/2022 09:06:44 (UTC-4:00) | Normal |  | 322.9 | 6.5 | 2099 | 296.4 | 6.2 | 1838 | 286.8 | 6.8 | 1950 | 9.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5700.000 | 60.010 | 11.400 | 805.000 | 13103.000 | 17481.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 20/12/2022 09:11:44 (UTC-4:00) | Normal |  | 325.2 | 3.4 | 1106 | 295.1 | 3.4 | 1003 | 292.7 | 3.3 | 966 | 9.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 2990.000 | 59.990 | 11.700 | 805.000 | 13103.000 | 17481.000 | 54.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 20/12/2022 09:16:44 (UTC-4:00) | Normal |  | 332.8 | 3.1 | 1032 | 298.8 | 3.2 | 956 | 300.3 | 3.1 | 931 | 15.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2850.000 | 59.990 | 11.900 | 805.000 | 13103.000 | 17481.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 20/12/2022 09:21:44 (UTC-4:00) | Normal |  | 333.0 | 2.9 | 966 | 298.9 | 3.0 | 897 | 300.4 | 2.8 | 841 | 12.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2620.000 | 59.980 | 12.100 | 805.000 | 13104.000 | 17482.000 | 49.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 20/12/2022 09:26:45 (UTC-4:00) | Normal |  | 336.8 | 3.2 | 1078 | 306.7 | 3.2 | 981 | 304.3 | 3.1 | 943 | 11.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2950.000 | 59.970 | 12.400 | 806.000 | 13104.000 | 17482.000 | 48.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 20/12/2022 09:31:45 (UTC-4:00) | Normal |  | 337.3 | 3.9 | 1315 | 307.2 | 4.0 | 1229 | 308.7 | 3.8 | 1173 | 9.8 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 16.2 | 0.0 | 0.0 | 3610.000 | 60.020 | 12.600 | 806.000 | 13104.000 | 17482.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 20/12/2022 09:36:45 (UTC-4:00) | Normal |  | 341.2 | 4.7 | 1604 | 310.9 | 4.7 | 1461 | 304.7 | 4.7 | 1432 | 13.9 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4380.000 | 59.960 | 13.000 | 806.000 | 13105.000 | 17483.000 | 48.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 20/12/2022 09:41:45 (UTC-4:00) | Normal |  | 337.0 | 3.8 | 1281 | 303.0 | 3.9 | 1182 | 304.5 | 3.8 | 1157 | 16.0 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3530.000 | 60.000 | 13.300 | 807.000 | 13105.000 | 17483.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 20/12/2022 09:46:45 (UTC-4:00) | Normal |  | 333.1 | 2.5 | 833 | 302.9 | 2.5 | 757 | 300.6 | 2.4 | 721 | 9.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2220.000 | 60.000 | 13.600 | 807.000 | 13105.000 | 17483.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 20/12/2022 09:51:45 (UTC-4:00) | Normal |  | 336.9 | 1.7 | 573 | 302.9 | 1.8 | 545 | 304.5 | 1.7 | 518 | 12.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 7.2 | 0.0 | 0.0 | 1530.000 | 60.010 | 13.700 | 807.000 | 13105.000 | 17483.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 20/12/2022 09:52:37 (UTC-4:00) | Fault | 1011 | 395.8 | 0.0 | 0 | 357.0 | 0.0 | 0 | 355.9 | 0.0 | 0 | 1.3 | 0.0 | 0 | 224.5 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 60.010 | 13.700 | 807.000 | 13105.000 | 17483.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 20/12/2022 09:57:42 (UTC-4:00) | Normal |  | 343.2 | 2.2 | 755 | 313.8 | 2.3 | 722 | 311.1 | 2.2 | 684 | 15.1 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2060.000 | 60.050 | 13.800 | 807.000 | 13105.000 | 17483.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 20/12/2022 10:02:46 (UTC-4:00) | Normal |  | 351.4 | 3.1 | 1089 | 314.1 | 3.2 | 1005 | 315.3 | 3.0 | 946 | 10.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2950.000 | 60.020 | 14.000 | 807.000 | 13106.000 | 17484.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 20/12/2022 10:07:46 (UTC-4:00) | Normal |  | 345.4 | 5.0 | 1727 | 308.0 | 5.2 | 1602 | 305.6 | 5.0 | 1528 | 13.5 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4710.000 | 59.990 | 14.300 | 808.000 | 13106.000 | 17484.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 20/12/2022 10:12:46 (UTC-4:00) | Normal |  | 341.0 | 4.7 | 1603 | 303.6 | 4.8 | 1457 | 305.0 | 4.7 | 1434 | 12.1 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4400.000 | 59.990 | 14.700 | 808.000 | 13106.000 | 17484.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 20/12/2022 10:17:46 (UTC-4:00) | Normal |  | 333.5 | 6.0 | 2001 | 303.9 | 5.9 | 1793 | 305.2 | 5.8 | 1770 | 14.9 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 23.8 | 0.0 | 0.0 | 5400.000 | 59.980 | 15.100 | 808.000 | 13107.000 | 17485.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 20/12/2022 10:22:47 (UTC-4:00) | Normal |  | 333.3 | 6.4 | 2133 | 303.7 | 6.3 | 1913 | 297.2 | 6.4 | 1902 | 10.6 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 25.3 | 0.0 | 0.0 | 5790.000 | 60.000 | 15.500 | 809.000 | 13107.000 | 17485.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 20/12/2022 10:27:47 (UTC-4:00) | Normal |  | 329.4 | 5.2 | 1713 | 296.0 | 5.3 | 1569 | 297.2 | 5.2 | 1545 | 13.5 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4720.000 | 60.000 | 15.900 | 809.000 | 13107.000 | 17485.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 20/12/2022 10:32:49 (UTC-4:00) | Normal |  | 325.5 | 5.3 | 1725 | 296.1 | 5.3 | 1569 | 293.4 | 5.2 | 1526 | 16.1 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 20.7 | 0.0 | 0.0 | 4700.000 | 59.980 | 16.300 | 810.000 | 13108.000 | 17486.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 20/12/2022 10:37:49 (UTC-4:00) | Normal |  | 333.1 | 4.9 | 1632 | 299.7 | 5.0 | 1499 | 297.0 | 5.0 | 1485 | 10.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4500.000 | 60.010 | 16.700 | 810.000 | 13108.000 | 17486.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 20/12/2022 10:42:49 (UTC-4:00) | Normal |  | 325.0 | 6.1 | 1983 | 295.6 | 6.1 | 1803 | 292.9 | 6.0 | 1757 | 14.9 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 23.7 | 0.0 | 0.0 | 5380.000 | 59.980 | 17.200 | 810.000 | 13109.000 | 17487.000 | 52.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 20/12/2022 10:47:49 (UTC-4:00) | Normal |  | 328.9 | 3.7 | 1217 | 295.6 | 3.8 | 1123 | 296.9 | 3.7 | 1099 | 13.9 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3330.000 | 60.000 | 17.500 | 811.000 | 13109.000 | 17487.000 | 52.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 20/12/2022 10:52:49 (UTC-4:00) | Normal |  | 333.5 | 2.9 | 967 | 304.0 | 3.0 | 912 | 301.4 | 2.9 | 874 | 15.6 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2660.000 | 60.010 | 17.800 | 811.000 | 13109.000 | 17487.000 | 49.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 20/12/2022 10:57:49 (UTC-4:00) | Normal |  | 339.1 | 3.0 | 1017 | 305.7 | 3.0 | 917 | 307.0 | 2.9 | 890 | 15.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 12.3 | 0.0 | 0.0 | 2750.000 | 60.000 | 18.000 | 811.000 | 13110.000 | 17488.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 20/12/2022 11:02:49 (UTC-4:00) | Normal |  | 343.1 | 3.3 | 1132 | 305.8 | 3.4 | 1040 | 307.0 | 3.2 | 982 | 14.5 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3060.000 | 60.030 | 18.200 | 811.000 | 13110.000 | 17488.000 | 47.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 20/12/2022 11:07:52 (UTC-4:00) | Normal |  | 343.1 | 4.5 | 1544 | 309.7 | 4.6 | 1425 | 307.1 | 4.5 | 1382 | 11.2 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4210.000 | 60.020 | 18.500 | 812.000 | 13110.000 | 17488.000 | 47.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 20/12/2022 11:12:56 (UTC-4:00) | Normal |  | 335.5 | 4.3 | 1443 | 306.0 | 4.3 | 1316 | 307.2 | 4.1 | 1260 | 9.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3920.000 | 60.020 | 19.000 | 812.000 | 13111.000 | 17489.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 20/12/2022 11:18:00 (UTC-4:00) | Normal |  | 339.2 | 5.8 | 1967 | 309.7 | 5.9 | 1827 | 303.3 | 5.9 | 1789 | 10.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 24.0 | 0.0 | 0.0 | 5430.000 | 60.050 | 19.300 | 813.000 | 13111.000 | 17489.000 | 50.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 20/12/2022 11:23:04 (UTC-4:00) | Normal |  | 341.3 | 4.8 | 1638 | 303.9 | 4.9 | 1489 | 305.2 | 4.8 | 1465 | 9.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.8 | 0.0 | 0.0 | 4460.000 | 60.000 | 19.700 | 813.000 | 13111.000 | 17489.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 20/12/2022 11:28:08 (UTC-4:00) | Normal |  | 337.3 | 4.8 | 1619 | 300.0 | 5.0 | 1500 | 301.2 | 4.8 | 1446 | 15.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4460.000 | 60.010 | 20.100 | 813.000 | 13112.000 | 17490.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 20/12/2022 11:33:12 (UTC-4:00) | Normal |  | 341.3 | 4.9 | 1672 | 304.0 | 5.1 | 1550 | 301.3 | 5.0 | 1507 | 15.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4600.000 | 59.980 | 20.500 | 814.000 | 13112.000 | 17490.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 20/12/2022 11:38:16 (UTC-4:00) | Normal |  | 337.1 | 5.5 | 1854 | 303.7 | 5.6 | 1701 | 301.1 | 5.5 | 1656 | 13.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.7 | 0.0 | 0.0 | 5100.000 | 60.010 | 20.900 | 814.000 | 13112.000 | 17490.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 20/12/2022 11:43:20 (UTC-4:00) | Normal |  | 336.8 | 5.5 | 1852 | 307.3 | 5.4 | 1659 | 300.8 | 5.5 | 1654 | 13.4 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 22.2 | 0.0 | 0.0 | 5030.000 | 59.990 | 21.300 | 815.000 | 13113.000 | 17491.000 | 53.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 20/12/2022 11:48:20 (UTC-4:00) | Normal |  | 337.1 | 4.2 | 1416 | 303.7 | 4.3 | 1306 | 304.9 | 4.2 | 1281 | 11.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3900.000 | 59.970 | 21.600 | 815.000 | 13113.000 | 17491.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 20/12/2022 11:53:21 (UTC-4:00) | Normal |  | 337.8 | 4.3 | 1453 | 308.3 | 4.3 | 1326 | 309.5 | 4.2 | 1300 | 14.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 17.7 | 0.0 | 0.0 | 3970.000 | 59.990 | 21.900 | 815.000 | 13113.000 | 17491.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 20/12/2022 11:58:21 (UTC-4:00) | Normal |  | 337.5 | 5.4 | 1823 | 300.2 | 5.6 | 1681 | 301.4 | 5.4 | 1628 | 9.5 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 22.2 | 0.0 | 0.0 | 5000.000 | 59.990 | 22.400 | 816.000 | 13114.000 | 17492.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 20/12/2022 12:03:21 (UTC-4:00) | Normal |  | 327.4 | 4.5 | 1473 | 298.0 | 4.5 | 1341 | 299.1 | 4.4 | 1316 | 12.5 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 17.9 | 0.0 | 0.0 | 4020.000 | 60.020 | 22.900 | 816.000 | 13114.000 | 17492.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 20/12/2022 12:08:21 (UTC-4:00) | Normal |  | 335.2 | 3.1 | 1039 | 297.9 | 3.2 | 953 | 299.1 | 3.1 | 927 | 12.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2850.000 | 59.990 | 23.200 | 816.000 | 13115.000 | 17493.000 | 53.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 20/12/2022 12:13:21 (UTC-4:00) | Normal |  | 339.3 | 3.2 | 1086 | 306.0 | 3.2 | 979 | 303.3 | 3.2 | 971 | 10.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2920.000 | 59.940 | 23.500 | 817.000 | 13115.000 | 17493.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 20/12/2022 12:18:21 (UTC-4:00) | Normal |  | 339.1 | 2.8 | 949 | 309.7 | 2.9 | 898 | 303.1 | 2.9 | 879 | 15.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2670.000 | 60.020 | 23.800 | 817.000 | 13115.000 | 17493.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 20/12/2022 12:23:21 (UTC-4:00) | Normal |  | 343.8 | 5.0 | 1719 | 314.0 | 4.8 | 1507 | 311.4 | 4.8 | 1495 | 11.0 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 20.4 | 0.0 | 0.0 | 4610.000 | 59.970 | 24.100 | 817.000 | 13116.000 | 17494.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 20/12/2022 12:28:22 (UTC-4:00) | Normal |  | 335.3 | 2.8 | 939 | 301.9 | 2.8 | 845 | 299.3 | 2.7 | 808 | 10.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2520.000 | 59.960 | 24.700 | 818.000 | 13116.000 | 17494.000 | 54.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 20/12/2022 12:33:22 (UTC-4:00) | Normal |  | 343.3 | 3.0 | 1030 | 309.8 | 3.0 | 929 | 311.1 | 2.9 | 902 | 15.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2790.000 | 60.010 | 24.900 | 818.000 | 13116.000 | 17494.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 20/12/2022 12:38:22 (UTC-4:00) | Normal |  | 351.6 | 4.0 | 1406 | 310.2 | 4.1 | 1272 | 315.5 | 4.0 | 1262 | 14.1 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 16.9 | 0.0 | 0.0 | 3820.000 | 60.000 | 25.200 | 818.000 | 13117.000 | 17495.000 | 50.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 20/12/2022 12:43:22 (UTC-4:00) | Normal |  | 333.6 | 4.9 | 1635 | 308.1 | 4.9 | 1510 | 297.8 | 5.2 | 1549 | 10.3 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 20.1 | 0.0 | 0.0 | 4570.000 | 60.030 | 25.700 | 819.000 | 13117.000 | 17495.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 20/12/2022 12:48:22 (UTC-4:00) | Normal |  | 334.6 | 3.2 | 1071 | 301.2 | 3.3 | 994 | 298.5 | 3.2 | 955 | 11.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2920.000 | 60.010 | 26.200 | 819.000 | 13118.000 | 17496.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 20/12/2022 12:48:47 (UTC-4:00) | Normal |  | 334.6 | 3.2 | 1071 | 301.2 | 3.3 | 994 | 298.5 | 3.2 | 955 | 11.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2920.000 | 60.010 | 26.200 | 819.000 | 13118.000 | 17496.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 20/12/2022 12:53:23 (UTC-4:00) | Normal |  | 331.8 | 9.7 | 3218 | 298.2 | 9.8 | 2922 | 295.7 | 9.7 | 2868 | 12.8 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 38.1 | 0.0 | 0.0 | 8740.000 | 60.000 | 26.600 | 820.000 | 13118.000 | 17496.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 20/12/2022 12:58:22 (UTC-4:00) | Normal |  | 330.1 | 6.6 | 2179 | 301.1 | 6.7 | 2017 | 294.6 | 7.0 | 2062 | 13.1 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 26.8 | 0.0 | 0.0 | 6130.000 | 59.990 | 27.200 | 820.000 | 13119.000 | 17497.000 | 58.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 20/12/2022 13:03:23 (UTC-4:00) | Normal |  | 325.7 | 5.0 | 1629 | 300.3 | 5.1 | 1532 | 289.2 | 4.9 | 1417 | 11.7 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4430.000 | 59.990 | 27.600 | 821.000 | 13119.000 | 17497.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 20/12/2022 13:08:23 (UTC-4:00) | Normal |  | 331.8 | 9.7 | 3218 | 298.3 | 9.8 | 2923 | 299.3 | 9.5 | 2843 | 10.2 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 38.0 | 0.0 | 0.0 | 8710.000 | 59.970 | 28.100 | 821.000 | 13120.000 | 17498.000 | 56.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 20/12/2022 13:09:00 (UTC-4:00) | Normal |  | 333.8 | 9.6 | 3204 | 296.6 | 9.8 | 2907 | 297.6 | 9.5 | 2827 | 14.0 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 38.0 | 0.0 | 0.0 | 8650.000 | 59.920 | 28.100 | 821.000 | 13120.000 | 17498.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 20/12/2022 13:14:15 (UTC-4:00) | Normal |  | 339.3 | 3.3 | 1120 | 309.8 | 3.4 | 1053 | 303.2 | 3.3 | 1001 | 10.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3050.000 | 59.990 | 28.500 | 822.000 | 13120.000 | 17498.000 | 56.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 20/12/2022 13:19:15 (UTC-4:00) | Normal |  | 327.1 | 2.4 | 785 | 288.8 | 2.7 | 780 | 286.8 | 2.5 | 717 | 9.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 9.9 | 0.0 | 0.0 | 2230.000 | 59.990 | 29.100 | 822.000 | 13121.000 | 17499.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 20/12/2022 13:24:14 (UTC-4:00) | Normal |  | 339.5 | 2.8 | 951 | 302.2 | 2.9 | 876 | 295.5 | 2.8 | 827 | 14.0 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 11.6 | 0.0 | 0.0 | 2590.000 | 60.020 | 29.600 | 823.000 | 13121.000 | 17499.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 20/12/2022 13:29:14 (UTC-4:00) | Normal |  | 333.0 | 8.6 | 2864 | 303.4 | 8.5 | 2579 | 300.6 | 8.4 | 2525 | 12.8 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 33.8 | 0.0 | 0.0 | 7740.000 | 60.000 | 30.000 | 823.000 | 13122.000 | 17500.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 20/12/2022 13:34:13 (UTC-4:00) | Normal |  | 329.2 | 7.6 | 2502 | 292.0 | 7.8 | 2278 | 293.1 | 7.6 | 2228 | 10.4 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 29.9 | 0.0 | 0.0 | 6820.000 | 59.990 | 30.600 | 824.000 | 13122.000 | 17500.000 | 60.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 20/12/2022 13:39:13 (UTC-4:00) | Normal |  | 344.1 | 5.8 | 1996 | 314.4 | 5.6 | 1761 | 307.3 | 5.4 | 1659 | 13.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5130.000 | 59.990 | 30.900 | 824.000 | 13122.000 | 17500.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 20/12/2022 13:44:15 (UTC-4:00) | Normal |  | 338.5 | 8.7 | 2945 | 308.7 | 8.7 | 2686 | 310.3 | 8.3 | 2575 | 9.1 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 34.9 | 0.0 | 0.0 | 7940.000 | 59.990 | 31.400 | 825.000 | 13123.000 | 17501.000 | 57.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 20/12/2022 13:49:19 (UTC-4:00) | Normal |  | 337.9 | 2.9 | 980 | 312.1 | 3.0 | 936 | 301.7 | 2.9 | 875 | 11.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2710.000 | 59.990 | 31.700 | 825.000 | 13123.000 | 17501.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 20/12/2022 13:54:22 (UTC-4:00) | Normal |  | 340.6 | 8.1 | 2759 | 303.5 | 8.3 | 2519 | 296.8 | 8.2 | 2434 | 13.5 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7480.000 | 60.000 | 32.200 | 825.000 | 13124.000 | 17502.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 20/12/2022 13:59:25 (UTC-4:00) | Normal |  | 331.9 | 7.5 | 2489 | 302.2 | 7.5 | 2267 | 299.4 | 7.4 | 2216 | 13.1 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 29.9 | 0.0 | 0.0 | 6810.000 | 60.020 | 32.800 | 826.000 | 13124.000 | 17502.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 20/12/2022 14:04:25 (UTC-4:00) | Normal |  | 334.9 | 7.3 | 2445 | 297.7 | 7.5 | 2233 | 298.8 | 7.2 | 2151 | 14.3 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6640.000 | 60.070 | 33.200 | 826.000 | 13125.000 | 17503.000 | 62.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 20/12/2022 14:09:24 (UTC-4:00) | Normal |  | 337.2 | 6.8 | 2293 | 300.0 | 6.9 | 2070 | 297.1 | 6.8 | 2020 | 11.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 27.1 | 0.0 | 0.0 | 6180.000 | 60.000 | 33.800 | 827.000 | 13125.000 | 17503.000 | 62.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 20/12/2022 14:14:23 (UTC-4:00) | Normal |  | 340.8 | 6.5 | 2215 | 311.1 | 6.4 | 1991 | 288.7 | 6.6 | 1905 | 10.6 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 26.0 | 0.0 | 0.0 | 5870.000 | 60.020 | 34.200 | 827.000 | 13126.000 | 17504.000 | 60.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 20/12/2022 14:19:23 (UTC-4:00) | Normal |  | 329.2 | 7.1 | 2337 | 299.8 | 7.1 | 2129 | 293.2 | 7.1 | 2082 | 9.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 28.0 | 0.0 | 0.0 | 6380.000 | 59.970 | 34.800 | 828.000 | 13126.000 | 17504.000 | 61.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 20/12/2022 14:24:22 (UTC-4:00) | Normal |  | 341.1 | 7.0 | 2388 | 307.5 | 7.0 | 2153 | 301.0 | 7.0 | 2107 | 11.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 28.3 | 0.0 | 0.0 | 6450.000 | 59.970 | 35.200 | 828.000 | 13127.000 | 17505.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 20/12/2022 14:29:22 (UTC-4:00) | Normal |  | 334.6 | 4.1 | 1372 | 305.4 | 4.1 | 1252 | 302.0 | 3.9 | 1178 | 9.0 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 16.3 | 0.0 | 0.0 | 3650.000 | 60.010 | 35.700 | 829.000 | 13127.000 | 17505.000 | 60.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 20/12/2022 14:34:21 (UTC-4:00) | Normal |  | 341.1 | 6.5 | 2217 | 304.0 | 6.7 | 2037 | 305.0 | 6.5 | 1983 | 14.7 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 26.8 | 0.0 | 0.0 | 6080.000 | 60.010 | 36.100 | 829.000 | 13128.000 | 17506.000 | 60.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 20/12/2022 14:39:20 (UTC-4:00) | Normal |  | 339.5 | 6.5 | 2207 | 306.0 | 6.5 | 1989 | 307.0 | 6.4 | 1965 | 12.3 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5990.000 | 59.990 | 36.500 | 830.000 | 13128.000 | 17506.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 20/12/2022 14:44:20 (UTC-4:00) | Normal |  | 341.4 | 2.7 | 922 | 312.1 | 2.8 | 874 | 301.4 | 2.7 | 814 | 14.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2500.000 | 59.930 | 36.900 | 830.000 | 13128.000 | 17506.000 | 56.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 20/12/2022 14:49:20 (UTC-4:00) | Normal |  | 341.5 | 6.4 | 2186 | 311.9 | 6.4 | 1996 | 305.4 | 6.4 | 1955 | 12.2 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5950.000 | 59.970 | 37.300 | 831.000 | 13129.000 | 17507.000 | 57.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 20/12/2022 14:54:19 (UTC-4:00) | Normal |  | 341.3 | 1.8 | 614 | 307.9 | 1.9 | 585 | 305.2 | 1.8 | 549 | 14.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1620.000 | 60.000 | 37.600 | 831.000 | 13129.000 | 17507.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 20/12/2022 14:59:22 (UTC-4:00) | Normal |  | 345.4 | 1.7 | 587 | 315.7 | 1.8 | 568 | 309.3 | 1.7 | 526 | 14.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1570.000 | 60.010 | 37.800 | 831.000 | 13129.000 | 17507.000 | 51.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 20/12/2022 15:04:25 (UTC-4:00) | Normal |  | 355.3 | 2.6 | 924 | 318.2 | 2.7 | 859 | 311.5 | 2.6 | 810 | 10.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 11.1 | 0.0 | 0.0 | 2470.000 | 60.010 | 38.000 | 831.000 | 13130.000 | 17508.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 20/12/2022 15:09:28 (UTC-4:00) | Normal |  | 349.3 | 2.5 | 873 | 319.6 | 2.5 | 799 | 313.2 | 2.4 | 752 | 9.3 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2330.000 | 59.970 | 38.300 | 832.000 | 13130.000 | 17508.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 20/12/2022 15:14:32 (UTC-4:00) | Normal |  | 355.3 | 2.1 | 746 | 318.0 | 2.2 | 700 | 319.2 | 2.1 | 670 | 15.5 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2000.000 | 60.000 | 38.500 | 832.000 | 13130.000 | 17508.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 20/12/2022 15:19:35 (UTC-4:00) | Normal |  | 359.2 | 3.4 | 1221 | 325.5 | 3.5 | 1139 | 323.2 | 3.3 | 1067 | 10.1 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3360.000 | 59.990 | 38.600 | 832.000 | 13130.000 | 17508.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 20/12/2022 15:24:38 (UTC-4:00) | Normal |  | 348.9 | 1.1 | 384 | 311.6 | 1.2 | 374 | 308.6 | 1.1 | 339 | 15.7 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 5.7 | 0.0 | 0.0 | 1130.000 | 59.990 | 38.800 | 832.000 | 13130.000 | 17508.000 | 45.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 20/12/2022 15:29:42 (UTC-4:00) | Normal |  | 335.5 | 0.5 | 168 | 306.0 | 0.5 | 153 | 299.4 | 0.4 | 120 | 14.2 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 460.000 | 59.970 | 38.800 | 832.000 | 13130.000 | 17508.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 20/12/2022 15:34:45 (UTC-4:00) | Normal |  | 343.1 | 1.0 | 343 | 305.7 | 1.1 | 336 | 295.0 | 1.0 | 295 | 10.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 970.000 | 59.950 | 38.900 | 832.000 | 13130.000 | 17508.000 | 42.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 20/12/2022 15:39:48 (UTC-4:00) | Normal |  | 369.1 | 1.6 | 591 | 327.7 | 1.7 | 557 | 324.7 | 1.6 | 520 | 11.6 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1500.000 | 59.970 | 39.000 | 832.000 | 13131.000 | 17509.000 | 41.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 20/12/2022 15:44:51 (UTC-4:00) | Normal |  | 351.1 | 1.6 | 562 | 317.3 | 1.6 | 508 | 315.1 | 1.5 | 473 | 12.3 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 6.9 | 0.0 | 0.0 | 1390.000 | 59.950 | 39.100 | 832.000 | 13131.000 | 17509.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 20/12/2022 15:49:55 (UTC-4:00) | Normal |  | 357.4 | 1.6 | 572 | 319.9 | 1.6 | 512 | 317.2 | 1.5 | 476 | 15.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.3 | 0.0 | 0.0 | 1380.000 | 60.000 | 39.300 | 833.000 | 13131.000 | 17509.000 | 41.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 20/12/2022 15:54:54 (UTC-4:00) | Normal |  | 369.2 | 1.0 | 369 | 311.7 | 1.2 | 374 | 305.0 | 1.1 | 336 | 14.6 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 1040.000 | 60.020 | 39.300 | 833.000 | 13131.000 | 17509.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 20/12/2022 15:59:53 (UTC-4:00) | Normal |  | 369.3 | 1.6 | 591 | 328.5 | 1.7 | 558 | 329.7 | 1.6 | 528 | 15.5 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 7.1 | 0.0 | 0.0 | 1510.000 | 60.020 | 39.400 | 833.000 | 13131.000 | 17509.000 | 40.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 20/12/2022 16:04:53 (UTC-4:00) | Normal |  | 351.0 | 1.7 | 597 | 317.6 | 1.7 | 540 | 314.9 | 1.6 | 504 | 16.6 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 7.2 | 0.0 | 0.0 | 1530.000 | 60.020 | 39.600 | 833.000 | 13131.000 | 17509.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 20/12/2022 16:09:52 (UTC-4:00) | Normal |  | 344.5 | 1.0 | 345 | 304.6 | 1.0 | 305 | 296.3 | 0.9 | 267 | 13.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 880.000 | 60.050 | 39.700 | 833.000 | 13131.000 | 17509.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 20/12/2022 16:14:51 (UTC-4:00) | Normal |  | 340.6 | 0.5 | 170 | 317.1 | 0.5 | 159 | 298.3 | 0.5 | 149 | 14.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 430.000 | 59.980 | 39.700 | 833.000 | 13131.000 | 17509.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 20/12/2022 16:19:51 (UTC-4:00) | Normal |  | 325.6 | 0.4 | 130 | 303.2 | 0.4 | 121 | 296.5 | 0.3 | 89 | 13.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 300.000 | 59.980 | 39.800 | 833.000 | 13131.000 | 17509.000 | 38.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 20/12/2022 16:24:50 (UTC-4:00) | Normal |  | 319.3 | 0.3 | 96 | 293.9 | 0.3 | 88 | 283.2 | 0.2 | 57 | 10.7 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 59.960 | 39.800 | 833.000 | 13131.000 | 17509.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 20/12/2022 16:29:49 (UTC-4:00) | Normal |  | 329.2 | 0.3 | 99 | 287.9 | 0.3 | 86 | 281.3 | 0.2 | 56 | 13.5 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 59.980 | 39.800 | 833.000 | 13131.000 | 17509.000 | 37.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 20/12/2022 16:34:49 (UTC-4:00) | Normal |  | 327.5 | 0.3 | 98 | 297.9 | 0.3 | 89 | 295.2 | 0.2 | 59 | 15.0 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 240.000 | 59.960 | 39.800 | 833.000 | 13131.000 | 17509.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 20/12/2022 16:39:48 (UTC-4:00) | Normal |  | 337.2 | 0.4 | 135 | 307.8 | 0.5 | 154 | 297.5 | 0.4 | 119 | 14.2 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 350.000 | 59.930 | 39.900 | 833.000 | 13131.000 | 17509.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 20/12/2022 16:44:47 (UTC-4:00) | Normal |  | 351.2 | 0.9 | 316 | 313.8 | 1.0 | 314 | 307.1 | 0.9 | 276 | 12.4 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 4.5 | 0.0 | 0.0 | 840.000 | 59.970 | 39.900 | 833.000 | 13131.000 | 17509.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 20/12/2022 16:49:50 (UTC-4:00) | Normal |  | 353.4 | 1.2 | 424 | 316.0 | 1.4 | 442 | 313.3 | 1.2 | 376 | 9.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1190.000 | 60.010 | 40.000 | 833.000 | 13132.000 | 17510.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 20/12/2022 16:54:53 (UTC-4:00) | Normal |  | 345.3 | 0.8 | 276 | 311.9 | 0.9 | 281 | 301.2 | 0.8 | 241 | 10.6 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 740.000 | 60.010 | 40.100 | 833.000 | 13132.000 | 17510.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 20/12/2022 16:59:56 (UTC-4:00) | Normal |  | 343.2 | 0.8 | 275 | 309.8 | 0.9 | 279 | 303.2 | 0.8 | 243 | 13.4 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 720.000 | 59.990 | 40.100 | 833.000 | 13132.000 | 17510.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 20/12/2022 17:05:00 (UTC-4:00) | Normal |  | 365.3 | 1.0 | 365 | 315.9 | 1.2 | 379 | 317.2 | 1.1 | 349 | 11.0 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1040.000 | 59.980 | 40.200 | 833.000 | 13132.000 | 17510.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 20/12/2022 17:09:59 (UTC-4:00) | Normal |  | 349.3 | 0.9 | 314 | 307.9 | 1.0 | 308 | 313.1 | 0.9 | 282 | 17.0 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 4.5 | 0.0 | 0.0 | 840.000 | 59.990 | 40.300 | 834.000 | 13132.000 | 17510.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 20/12/2022 17:14:58 (UTC-4:00) | Normal |  | 351.2 | 0.6 | 211 | 317.7 | 0.6 | 191 | 311.2 | 0.6 | 187 | 13.6 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 3.6 | 0.0 | 0.0 | 560.000 | 60.010 | 40.300 | 834.000 | 13132.000 | 17510.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 20/12/2022 17:19:57 (UTC-4:00) | Normal |  | 325.4 | 0.3 | 98 | 292.0 | 0.4 | 117 | 293.4 | 0.3 | 88 | 14.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 60.000 | 40.400 | 834.000 | 13132.000 | 17510.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 20/12/2022 17:24:57 (UTC-4:00) | Normal |  | 337.2 | 0.2 | 67 | 291.7 | 0.2 | 58 | 293.0 | 0.2 | 59 | 12.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 59.980 | 40.400 | 834.000 | 13132.000 | 17510.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 20/12/2022 17:29:56 (UTC-4:00) | Normal |  | 331.3 | 0.2 | 66 | 293.9 | 0.2 | 59 | 291.3 | 0.1 | 29 | 11.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 140.000 | 59.980 | 40.400 | 834.000 | 13132.000 | 17510.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 20/12/2022 17:34:55 (UTC-4:00) | Normal |  | 307.3 | 0.1 | 31 | 289.9 | 0.2 | 58 | 278.4 | 0.1 | 28 | 16.9 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 110.000 | 59.990 | 40.400 | 834.000 | 13132.000 | 17510.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 20/12/2022 17:39:54 (UTC-4:00) | Normal |  | 299.2 | 0.1 | 30 | 271.1 | 0.1 | 27 | 269.2 | 0.1 | 27 | 15.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 40.400 | 834.000 | 13132.000 | 17510.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 20/12/2022 17:40:19 (UTC-4:00) | Normal |  | 299.2 | 0.1 | 30 | 271.1 | 0.1 | 27 | 269.2 | 0.1 | 27 | 15.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 40.400 | 834.000 | 13132.000 | 17510.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 20/12/2022 17:44:54 (UTC-4:00) | Normal |  | 290.9 | 0.1 | 29 | 270.9 | 0.1 | 27 | 259.3 | 0.1 | 26 | 10.7 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 40.400 | 834.000 | 13132.000 | 17510.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 20/12/2022 17:49:54 (UTC-4:00) | Normal |  | 276.8 | 0.1 | 28 | 271.0 | 0.1 | 27 | 252.4 | 0.1 | 25 | 10.4 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 20/12/2022 17:54:54 (UTC-4:00) | Normal |  | 269.9 | 0.1 | 27 | 270.9 | 0.1 | 27 | 239.5 | 0.1 | 24 | 11.8 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 20/12/2022 17:59:54 (UTC-4:00) | Normal |  | 251.2 | 0.1 | 25 | 271.0 | 0.1 | 27 | 230.3 | 0.1 | 23 | 16.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 20/12/2022 18:04:55 (UTC-4:00) | Normal |  | 289.8 | 0.1 | 29 | 261.2 | 0.1 | 26 | 214.5 | 0.1 | 21 | 10.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 20/12/2022 18:05:06 (UTC-4:00) | Normal |  | 289.8 | 0.1 | 29 | 261.2 | 0.1 | 26 | 214.5 | 0.1 | 21 | 10.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 20/12/2022 18:09:56 (UTC-4:00) | Normal |  | 210.3 | 0.1 | 21 | 223.1 | 0.1 | 22 | 223.4 | 0.1 | 22 | 13.2 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 20/12/2022 18:15:00 (UTC-4:00) | Normal |  | 111.5 | 0.1 | 11 | 123.1 | 0.1 | 12 | 122.5 | 0.1 | 12 | 14.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 40.400 | 834.000 | 13132.000 | 17510.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0