## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125023844
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 21/12/2022 04:16:34 (UTC-4:00) | Normal |  | 103.0 | 0.1 | 10 | 104.3 | 0.1 | 10 | 101.0 | 0.1 | 10 | 1.4 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 834.000 | 13132.000 | 17510.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 21/12/2022 04:21:34 (UTC-4:00) | Normal |  | 292.0 | 0.1 | 29 | 263.6 | 0.1 | 26 | 264.2 | 0.1 | 26 | 17.0 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 834.000 | 13132.000 | 17510.000 | 26.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 21/12/2022 04:26:34 (UTC-4:00) | Normal |  | 294.0 | 0.1 | 29 | 264.9 | 0.1 | 26 | 265.5 | 0.1 | 27 | 17.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 834.000 | 13132.000 | 17510.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 21/12/2022 04:31:36 (UTC-4:00) | Normal |  | 304.2 | 0.1 | 30 | 264.9 | 0.1 | 26 | 275.1 | 0.1 | 28 | 13.4 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 834.000 | 13132.000 | 17510.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 21/12/2022 04:36:40 (UTC-4:00) | Normal |  | 308.4 | 0.1 | 31 | 265.0 | 0.1 | 27 | 279.3 | 0.1 | 28 | 13.0 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 40.000 | 60.010 | 0.000 | 834.000 | 13132.000 | 17510.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 21/12/2022 04:41:40 (UTC-4:00) | Normal |  | 315.4 | 0.1 | 32 | 268.9 | 0.2 | 54 | 295.0 | 0.1 | 30 | 16.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 60.030 | 0.000 | 834.000 | 13132.000 | 17510.000 | 28.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 21/12/2022 04:46:39 (UTC-4:00) | Normal |  | 315.8 | 0.2 | 63 | 313.1 | 0.2 | 63 | 288.2 | 0.1 | 29 | 17.8 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 140.000 | 60.030 | 0.100 | 834.000 | 13132.000 | 17510.000 | 28.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 21/12/2022 04:51:39 (UTC-4:00) | Normal |  | 333.1 | 0.3 | 100 | 308.8 | 0.3 | 93 | 287.9 | 0.2 | 58 | 12.4 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 210.000 | 60.020 | 0.100 | 834.000 | 13132.000 | 17510.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 21/12/2022 04:56:39 (UTC-4:00) | Normal |  | 335.4 | 0.4 | 134 | 318.9 | 0.4 | 128 | 314.0 | 0.3 | 94 | 10.8 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 59.990 | 0.100 | 834.000 | 13132.000 | 17510.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 21/12/2022 05:01:39 (UTC-4:00) | Normal |  | 372.0 | 0.5 | 186 | 319.4 | 0.5 | 160 | 334.4 | 0.4 | 134 | 17.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 400.000 | 59.970 | 0.100 | 834.000 | 13132.000 | 17510.000 | 30.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 21/12/2022 05:06:38 (UTC-4:00) | Normal |  | 351.3 | 0.6 | 211 | 319.0 | 0.6 | 191 | 322.1 | 0.5 | 161 | 16.2 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 550.000 | 60.020 | 0.200 | 834.000 | 13132.000 | 17510.000 | 30.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 21/12/2022 05:11:38 (UTC-4:00) | Normal |  | 367.4 | 0.7 | 257 | 314.9 | 0.8 | 252 | 330.2 | 0.7 | 231 | 14.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.9 | 0.0 | 0.0 | 670.000 | 59.950 | 0.200 | 834.000 | 13132.000 | 17510.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 21/12/2022 05:16:38 (UTC-4:00) | Normal |  | 365.5 | 0.9 | 329 | 312.8 | 1.0 | 313 | 336.1 | 0.8 | 269 | 15.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 59.990 | 0.300 | 834.000 | 13132.000 | 17510.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 21/12/2022 05:21:38 (UTC-4:00) | Normal |  | 365.3 | 1.0 | 365 | 316.8 | 1.0 | 317 | 335.9 | 0.9 | 302 | 12.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.8 | 0.0 | 0.0 | 910.000 | 60.040 | 0.300 | 834.000 | 13132.000 | 17510.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 21/12/2022 05:26:38 (UTC-4:00) | Normal |  | 377.4 | 1.0 | 377 | 321.0 | 1.2 | 385 | 332.1 | 1.1 | 365 | 11.7 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 5.4 | 0.0 | 0.0 | 1080.000 | 59.990 | 0.400 | 834.000 | 13132.000 | 17510.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 21/12/2022 05:31:38 (UTC-4:00) | Normal |  | 345.4 | 0.6 | 207 | 321.0 | 0.7 | 225 | 312.1 | 0.6 | 187 | 11.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 560.000 | 59.980 | 0.500 | 834.000 | 13132.000 | 17510.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 21/12/2022 05:36:38 (UTC-4:00) | Normal |  | 359.3 | 0.9 | 323 | 318.8 | 1.0 | 319 | 313.9 | 0.8 | 251 | 12.5 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 59.980 | 0.600 | 834.000 | 13133.000 | 17511.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 21/12/2022 05:41:41 (UTC-4:00) | Normal |  | 359.4 | 1.0 | 359 | 314.9 | 1.1 | 346 | 314.1 | 1.0 | 314 | 10.8 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 970.000 | 59.990 | 0.700 | 834.000 | 13133.000 | 17511.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 21/12/2022 05:46:40 (UTC-4:00) | Normal |  | 359.5 | 1.0 | 360 | 311.0 | 1.1 | 342 | 314.1 | 1.0 | 314 | 15.6 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 4.8 | 0.0 | 0.0 | 940.000 | 60.030 | 0.700 | 834.000 | 13133.000 | 17511.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 21/12/2022 05:51:40 (UTC-4:00) | Normal |  | 355.5 | 1.0 | 356 | 310.9 | 1.1 | 342 | 310.0 | 1.0 | 310 | 10.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 60.030 | 0.800 | 834.000 | 13133.000 | 17511.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 21/12/2022 05:56:40 (UTC-4:00) | Normal |  | 355.4 | 1.0 | 355 | 310.9 | 1.1 | 342 | 310.0 | 0.9 | 279 | 10.9 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 910.000 | 60.040 | 0.900 | 835.000 | 13133.000 | 17511.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 21/12/2022 06:01:40 (UTC-4:00) | Normal |  | 353.3 | 1.0 | 353 | 308.9 | 1.1 | 340 | 304.0 | 1.0 | 304 | 13.9 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 60.030 | 1.000 | 835.000 | 13133.000 | 17511.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 21/12/2022 06:06:41 (UTC-4:00) | Normal |  | 353.5 | 0.9 | 318 | 305.0 | 1.1 | 336 | 304.1 | 1.0 | 304 | 10.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 60.000 | 1.000 | 835.000 | 13133.000 | 17511.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 21/12/2022 06:11:42 (UTC-4:00) | Normal |  | 353.4 | 1.0 | 353 | 304.9 | 1.1 | 335 | 308.1 | 1.0 | 308 | 15.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 59.990 | 1.100 | 835.000 | 13133.000 | 17511.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 21/12/2022 06:16:42 (UTC-4:00) | Normal |  | 361.5 | 1.0 | 362 | 309.0 | 1.2 | 371 | 312.1 | 1.0 | 312 | 10.5 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 980.000 | 59.980 | 1.200 | 835.000 | 13133.000 | 17511.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 21/12/2022 06:21:42 (UTC-4:00) | Normal |  | 363.5 | 1.0 | 364 | 307.0 | 1.2 | 368 | 310.1 | 1.1 | 341 | 15.7 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1010.000 | 60.010 | 1.300 | 835.000 | 13133.000 | 17511.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 21/12/2022 06:26:42 (UTC-4:00) | Normal |  | 367.5 | 1.0 | 368 | 307.0 | 1.2 | 368 | 306.1 | 1.1 | 337 | 17.1 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 5.1 | 0.0 | 0.0 | 1000.000 | 60.020 | 1.400 | 835.000 | 13133.000 | 17511.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 21/12/2022 06:31:41 (UTC-4:00) | Normal |  | 363.5 | 1.0 | 364 | 307.0 | 1.2 | 368 | 306.1 | 1.1 | 337 | 16.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1070.000 | 59.990 | 1.400 | 835.000 | 13133.000 | 17511.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 21/12/2022 06:36:42 (UTC-4:00) | Normal |  | 359.5 | 1.5 | 539 | 319.0 | 1.7 | 542 | 318.1 | 1.5 | 477 | 16.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 6.6 | 0.0 | 0.0 | 1390.000 | 60.000 | 1.500 | 835.000 | 13133.000 | 17511.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 21/12/2022 06:41:43 (UTC-4:00) | Normal |  | 359.2 | 1.7 | 611 | 318.7 | 1.9 | 606 | 317.8 | 1.7 | 540 | 13.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1660.000 | 60.020 | 1.700 | 835.000 | 13134.000 | 17512.000 | 35.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 21/12/2022 06:46:43 (UTC-4:00) | Normal |  | 357.6 | 1.8 | 644 | 325.0 | 1.9 | 618 | 316.2 | 1.8 | 569 | 17.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 7.9 | 0.0 | 0.0 | 1690.000 | 59.960 | 1.800 | 835.000 | 13134.000 | 17512.000 | 35.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 21/12/2022 06:51:46 (UTC-4:00) | Normal |  | 357.4 | 2.0 | 715 | 317.0 | 2.1 | 666 | 316.1 | 2.0 | 632 | 12.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1910.000 | 59.980 | 2.000 | 836.000 | 13134.000 | 17512.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 21/12/2022 06:56:45 (UTC-4:00) | Normal |  | 357.6 | 2.5 | 894 | 329.1 | 2.5 | 823 | 320.2 | 2.5 | 801 | 16.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2430.000 | 59.980 | 2.100 | 836.000 | 13134.000 | 17512.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 21/12/2022 07:01:45 (UTC-4:00) | Normal |  | 357.4 | 2.4 | 858 | 316.9 | 2.5 | 792 | 316.0 | 2.4 | 758 | 14.0 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2310.000 | 59.970 | 2.300 | 836.000 | 13134.000 | 17512.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 21/12/2022 07:06:45 (UTC-4:00) | Normal |  | 350.6 | 4.4 | 1543 | 314.2 | 4.6 | 1445 | 312.9 | 4.3 | 1345 | 17.3 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 18.6 | 0.0 | 0.0 | 4160.000 | 59.960 | 2.600 | 836.000 | 13135.000 | 17513.000 | 39.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 21/12/2022 07:11:45 (UTC-4:00) | Normal |  | 350.9 | 6.3 | 2211 | 318.4 | 6.4 | 2038 | 317.5 | 6.2 | 1969 | 15.6 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 26.5 | 0.0 | 0.0 | 6040.000 | 59.960 | 2.900 | 837.000 | 13135.000 | 17513.000 | 41.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 21/12/2022 07:16:45 (UTC-4:00) | Normal |  | 347.1 | 2.8 | 972 | 314.7 | 2.9 | 913 | 309.8 | 2.8 | 867 | 15.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2700.000 | 59.980 | 3.200 | 837.000 | 13135.000 | 17513.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 21/12/2022 07:21:45 (UTC-4:00) | Normal |  | 347.3 | 2.3 | 799 | 314.8 | 2.4 | 756 | 305.9 | 2.3 | 704 | 16.0 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2130.000 | 60.040 | 3.400 | 837.000 | 13135.000 | 17513.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 21/12/2022 07:26:45 (UTC-4:00) | Normal |  | 350.9 | 3.5 | 1228 | 318.3 | 3.5 | 1114 | 317.4 | 3.4 | 1079 | 12.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3310.000 | 60.030 | 3.600 | 837.000 | 13136.000 | 17514.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 21/12/2022 07:31:46 (UTC-4:00) | Normal |  | 350.0 | 2.9 | 1015 | 317.5 | 3.0 | 953 | 316.5 | 2.9 | 918 | 16.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 12.6 | 0.0 | 0.0 | 2800.000 | 60.010 | 3.800 | 837.000 | 13136.000 | 17514.000 | 40.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 21/12/2022 07:36:46 (UTC-4:00) | Normal |  | 353.2 | 2.6 | 918 | 324.7 | 2.6 | 844 | 319.8 | 2.5 | 800 | 16.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2450.000 | 59.980 | 4.100 | 838.000 | 13136.000 | 17514.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 21/12/2022 07:41:46 (UTC-4:00) | Normal |  | 353.3 | 3.1 | 1095 | 316.8 | 3.3 | 1045 | 312.0 | 3.2 | 998 | 11.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3030.000 | 60.000 | 4.300 | 838.000 | 13136.000 | 17514.000 | 40.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 21/12/2022 07:46:46 (UTC-4:00) | Normal |  | 345.5 | 2.8 | 967 | 317.0 | 2.9 | 919 | 308.0 | 2.8 | 862 | 10.4 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 60.010 | 4.500 | 838.000 | 13136.000 | 17514.000 | 41.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 21/12/2022 07:51:46 (UTC-4:00) | Normal |  | 343.2 | 2.9 | 995 | 314.7 | 2.9 | 913 | 313.8 | 2.8 | 879 | 13.4 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2720.000 | 60.030 | 4.800 | 838.000 | 13137.000 | 17515.000 | 42.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 21/12/2022 07:56:48 (UTC-4:00) | Normal |  | 351.6 | 3.8 | 1336 | 319.0 | 3.9 | 1244 | 314.2 | 3.8 | 1194 | 16.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 16.2 | 0.0 | 0.0 | 3650.000 | 60.010 | 5.100 | 839.000 | 13137.000 | 17515.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 21/12/2022 08:01:52 (UTC-4:00) | Normal |  | 348.3 | 8.9 | 3100 | 311.7 | 9.0 | 2805 | 311.0 | 8.9 | 2768 | 10.2 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 36.7 | 0.0 | 0.0 | 8400.000 | 59.990 | 5.400 | 839.000 | 13137.000 | 17515.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 21/12/2022 08:02:03 (UTC-4:00) | Normal |  | 348.3 | 8.9 | 3100 | 311.7 | 9.0 | 2805 | 311.0 | 8.9 | 2768 | 10.2 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 36.7 | 0.0 | 0.0 | 8400.000 | 59.990 | 5.400 | 839.000 | 13137.000 | 17515.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 21/12/2022 08:06:57 (UTC-4:00) | Normal |  | 335.5 | 3.5 | 1174 | 303.0 | 3.6 | 1091 | 302.1 | 3.4 | 1027 | 15.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3210.000 | 60.000 | 5.900 | 840.000 | 13138.000 | 17516.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 21/12/2022 08:12:00 (UTC-4:00) | Normal |  | 337.5 | 2.5 | 844 | 312.9 | 2.6 | 814 | 304.1 | 2.5 | 760 | 15.9 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2340.000 | 60.010 | 6.200 | 840.000 | 13138.000 | 17516.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 21/12/2022 08:17:03 (UTC-4:00) | Normal |  | 345.3 | 2.3 | 794 | 308.9 | 2.4 | 741 | 307.9 | 2.3 | 708 | 16.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2140.000 | 59.980 | 6.400 | 840.000 | 13138.000 | 17516.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 21/12/2022 08:22:07 (UTC-4:00) | Normal |  | 347.3 | 1.9 | 660 | 310.8 | 2.0 | 622 | 309.9 | 1.9 | 589 | 11.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1780.000 | 60.010 | 6.600 | 840.000 | 13139.000 | 17517.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 21/12/2022 08:27:11 (UTC-4:00) | Normal |  | 349.6 | 2.8 | 979 | 317.0 | 2.9 | 919 | 308.2 | 2.9 | 894 | 11.6 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2720.000 | 59.990 | 6.700 | 840.000 | 13139.000 | 17517.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 21/12/2022 08:32:15 (UTC-4:00) | Normal |  | 346.5 | 5.3 | 1836 | 318.1 | 5.2 | 1654 | 313.2 | 5.2 | 1629 | 16.7 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4970.000 | 60.040 | 7.100 | 841.000 | 13139.000 | 17517.000 | 45.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 21/12/2022 08:37:14 (UTC-4:00) | Normal |  | 343.2 | 3.4 | 1167 | 306.7 | 3.6 | 1104 | 305.8 | 3.4 | 1040 | 11.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 14.4 | 0.0 | 0.0 | 3220.000 | 60.010 | 7.500 | 841.000 | 13139.000 | 17517.000 | 46.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 21/12/2022 08:42:14 (UTC-4:00) | Normal |  | 343.2 | 3.2 | 1098 | 310.7 | 3.2 | 994 | 309.7 | 3.1 | 960 | 12.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2960.000 | 60.000 | 7.700 | 841.000 | 13140.000 | 17518.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 21/12/2022 08:47:14 (UTC-4:00) | Normal |  | 349.1 | 3.5 | 1222 | 312.7 | 3.6 | 1126 | 307.9 | 3.5 | 1078 | 15.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 3350.000 | 60.030 | 8.000 | 842.000 | 13140.000 | 17518.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 21/12/2022 08:52:15 (UTC-4:00) | Normal |  | 341.6 | 2.6 | 888 | 313.0 | 2.7 | 845 | 312.1 | 2.5 | 780 | 11.0 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2420.000 | 59.970 | 8.200 | 842.000 | 13140.000 | 17518.000 | 44.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 21/12/2022 08:57:16 (UTC-4:00) | Normal |  | 349.1 | 4.5 | 1571 | 312.7 | 4.6 | 1438 | 311.8 | 4.4 | 1372 | 12.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4250.000 | 59.990 | 8.500 | 842.000 | 13140.000 | 17518.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 21/12/2022 09:02:16 (UTC-4:00) | Normal |  | 342.6 | 5.1 | 1747 | 314.1 | 5.1 | 1602 | 301.2 | 5.2 | 1566 | 10.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4770.000 | 60.010 | 9.000 | 843.000 | 13141.000 | 17519.000 | 48.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 21/12/2022 09:07:19 (UTC-4:00) | Normal |  | 348.4 | 8.9 | 3101 | 299.4 | 9.1 | 2725 | 303.1 | 9.0 | 2728 | 16.0 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 36.4 | 0.0 | 0.0 | 8310.000 | 60.000 | 9.500 | 843.000 | 13141.000 | 17519.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 21/12/2022 09:12:20 (UTC-4:00) | Normal |  | 331.6 | 3.5 | 1161 | 303.0 | 3.5 | 1061 | 298.2 | 3.4 | 1014 | 9.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 14.2 | 0.0 | 0.0 | 3150.000 | 60.020 | 9.900 | 844.000 | 13142.000 | 17520.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 21/12/2022 09:17:20 (UTC-4:00) | Normal |  | 339.6 | 3.6 | 1223 | 311.0 | 3.7 | 1151 | 306.2 | 3.6 | 1102 | 16.1 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 14.9 | 0.0 | 0.0 | 3360.000 | 59.990 | 10.200 | 844.000 | 13142.000 | 17520.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 21/12/2022 09:22:21 (UTC-4:00) | Normal |  | 345.3 | 3.5 | 1209 | 316.7 | 3.6 | 1140 | 307.9 | 3.5 | 1078 | 16.1 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 14.9 | 0.0 | 0.0 | 3350.000 | 60.000 | 10.500 | 844.000 | 13142.000 | 17520.000 | 47.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 21/12/2022 09:27:20 (UTC-4:00) | Normal |  | 345.7 | 3.7 | 1279 | 313.1 | 3.8 | 1190 | 312.2 | 3.6 | 1124 | 15.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3460.000 | 60.030 | 10.800 | 844.000 | 13143.000 | 17521.000 | 47.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 21/12/2022 09:32:20 (UTC-4:00) | Normal |  | 345.5 | 2.6 | 898 | 313.0 | 2.7 | 845 | 316.0 | 2.5 | 790 | 10.8 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2420.000 | 60.000 | 11.000 | 845.000 | 13143.000 | 17521.000 | 45.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 21/12/2022 09:37:20 (UTC-4:00) | Normal |  | 343.4 | 2.9 | 996 | 314.8 | 3.0 | 944 | 309.9 | 2.9 | 899 | 10.9 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2730.000 | 59.980 | 11.300 | 845.000 | 13143.000 | 17521.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 21/12/2022 09:42:23 (UTC-4:00) | Normal |  | 343.5 | 2.2 | 756 | 310.9 | 2.3 | 715 | 310.0 | 2.1 | 651 | 10.8 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 2020.000 | 59.970 | 11.400 | 845.000 | 13143.000 | 17521.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 21/12/2022 09:46:54 (UTC-4:00) | Normal |  | 349.4 | 2.4 | 839 | 313.0 | 2.5 | 783 | 312.0 | 2.3 | 718 | 13.7 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2230.000 | 59.950 | 11.600 | 845.000 | 13144.000 | 17522.000 | 42.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 21/12/2022 09:48:10 (UTC-4:00) | Normal |  | 349.5 | 2.4 | 839 | 317.0 | 2.4 | 761 | 308.1 | 2.4 | 739 | 10.0 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2230.000 | 59.980 | 11.600 | 845.000 | 13144.000 | 17522.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 21/12/2022 09:52:21 (UTC-4:00) | Normal |  | 351.3 | 2.5 | 878 | 318.8 | 2.6 | 829 | 313.9 | 2.5 | 785 | 11.0 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2380.000 | 59.980 | 11.800 | 845.000 | 13144.000 | 17522.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 21/12/2022 09:58:22 (UTC-4:00) | Normal |  | 353.5 | 3.2 | 1131 | 317.1 | 3.3 | 1046 | 316.1 | 3.2 | 1012 | 16.7 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3060.000 | 59.980 | 12.100 | 846.000 | 13144.000 | 17522.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 21/12/2022 10:03:02 (UTC-4:00) | Normal |  | 353.2 | 4.5 | 1589 | 316.8 | 4.6 | 1457 | 311.9 | 4.5 | 1404 | 12.8 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 19.2 | 0.0 | 0.0 | 4350.000 | 59.990 | 12.300 | 846.000 | 13144.000 | 17522.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 21/12/2022 10:07:49 (UTC-4:00) | Normal |  | 340.3 | 6.6 | 2246 | 307.4 | 6.6 | 2029 | 306.8 | 6.4 | 1964 | 10.4 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 26.6 | 0.0 | 0.0 | 6070.000 | 60.000 | 12.700 | 846.000 | 13145.000 | 17523.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 21/12/2022 10:12:30 (UTC-4:00) | Normal |  | 341.7 | 3.7 | 1264 | 305.2 | 3.8 | 1160 | 304.2 | 3.7 | 1126 | 14.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3440.000 | 60.020 | 13.100 | 847.000 | 13145.000 | 17523.000 | 46.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 21/12/2022 10:17:09 (UTC-4:00) | Normal |  | 339.6 | 3.2 | 1087 | 303.1 | 3.3 | 1000 | 302.2 | 3.2 | 967 | 16.5 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 13.2 | 0.0 | 0.0 | 2960.000 | 60.000 | 13.300 | 847.000 | 13145.000 | 17523.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 21/12/2022 10:22:01 (UTC-4:00) | Normal |  | 343.6 | 3.0 | 1031 | 307.1 | 3.2 | 983 | 302.3 | 3.0 | 907 | 9.9 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2830.000 | 60.020 | 13.500 | 847.000 | 13145.000 | 17523.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 21/12/2022 10:27:06 (UTC-4:00) | Normal |  | 341.4 | 3.6 | 1229 | 312.8 | 3.6 | 1126 | 308.0 | 3.5 | 1078 | 12.3 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3320.000 | 60.020 | 13.800 | 847.000 | 13146.000 | 17524.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 21/12/2022 10:32:50 (UTC-4:00) | Normal |  | 339.4 | 1.8 | 611 | 311.0 | 1.9 | 591 | 298.1 | 1.8 | 537 | 10.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1660.000 | 60.000 | 14.000 | 848.000 | 13146.000 | 17524.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 21/12/2022 10:34:08 (UTC-4:00) | Normal |  | 341.3 | 1.8 | 614 | 304.8 | 1.9 | 579 | 303.9 | 1.8 | 547 | 12.7 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1630.000 | 60.000 | 14.100 | 848.000 | 13146.000 | 17524.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 21/12/2022 10:35:05 (UTC-4:00) | Normal |  | 345.5 | 1.7 | 587 | 305.0 | 1.9 | 580 | 304.1 | 1.7 | 517 | 15.0 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1600.000 | 60.000 | 14.100 | 848.000 | 13146.000 | 17524.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 21/12/2022 10:40:10 (UTC-4:00) | Normal |  | 345.4 | 2.4 | 829 | 312.9 | 2.5 | 782 | 308.0 | 2.4 | 739 | 16.1 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2290.000 | 59.970 | 14.200 | 848.000 | 13146.000 | 17524.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 21/12/2022 10:45:12 (UTC-4:00) | Normal |  | 345.4 | 3.9 | 1347 | 312.9 | 4.0 | 1252 | 312.0 | 3.9 | 1217 | 13.4 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3720.000 | 59.970 | 14.500 | 848.000 | 13146.000 | 17524.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 21/12/2022 10:45:23 (UTC-4:00) | Normal |  | 345.4 | 3.9 | 1347 | 312.9 | 4.0 | 1252 | 312.0 | 3.9 | 1217 | 13.4 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3720.000 | 59.970 | 14.500 | 848.000 | 13146.000 | 17524.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 21/12/2022 10:50:17 (UTC-4:00) | Normal |  | 345.3 | 4.5 | 1554 | 308.9 | 4.6 | 1421 | 308.0 | 4.5 | 1386 | 16.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4220.000 | 60.020 | 14.800 | 848.000 | 13147.000 | 17525.000 | 44.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 21/12/2022 10:55:20 (UTC-4:00) | Normal |  | 340.1 | 5.5 | 1871 | 307.5 | 5.6 | 1722 | 306.5 | 5.4 | 1655 | 15.3 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 22.4 | 0.0 | 0.0 | 5110.000 | 59.990 | 15.200 | 849.000 | 13147.000 | 17525.000 | 47.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 21/12/2022 11:00:24 (UTC-4:00) | Normal |  | 341.5 | 3.9 | 1332 | 305.1 | 4.0 | 1220 | 304.1 | 3.9 | 1186 | 16.5 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 3610.000 | 60.070 | 15.600 | 849.000 | 13148.000 | 17526.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 21/12/2022 11:05:28 (UTC-4:00) | Normal |  | 339.2 | 3.7 | 1255 | 306.6 | 3.8 | 1165 | 305.7 | 3.7 | 1131 | 12.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3470.000 | 60.050 | 15.900 | 850.000 | 13148.000 | 17526.000 | 47.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 21/12/2022 11:10:32 (UTC-4:00) | Normal |  | 343.1 | 3.5 | 1201 | 306.8 | 3.6 | 1104 | 305.9 | 3.5 | 1071 | 15.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3270.000 | 60.030 | 16.200 | 850.000 | 13148.000 | 17526.000 | 46.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 21/12/2022 11:10:50 (UTC-4:00) | Normal |  | 339.5 | 3.5 | 1188 | 306.9 | 3.6 | 1105 | 302.1 | 3.5 | 1057 | 13.5 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3290.000 | 60.040 | 16.200 | 850.000 | 13148.000 | 17526.000 | 46.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 21/12/2022 11:16:06 (UTC-4:00) | Normal |  | 339.2 | 3.0 | 1018 | 310.6 | 3.0 | 932 | 305.8 | 2.9 | 887 | 14.2 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2740.000 | 60.020 | 16.500 | 850.000 | 13148.000 | 17526.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 21/12/2022 11:21:04 (UTC-4:00) | Normal |  | 339.4 | 2.1 | 713 | 306.8 | 2.2 | 675 | 302.0 | 2.1 | 634 | 11.6 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 8.6 | 0.0 | 0.0 | 1900.000 | 60.030 | 16.700 | 850.000 | 13149.000 | 17527.000 | 44.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 21/12/2022 11:26:03 (UTC-4:00) | Normal |  | 333.3 | 1.4 | 467 | 300.8 | 1.5 | 451 | 292.0 | 1.4 | 409 | 15.5 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1220.000 | 60.020 | 16.800 | 850.000 | 13149.000 | 17527.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 21/12/2022 11:31:02 (UTC-4:00) | Normal |  | 357.5 | 1.6 | 572 | 324.9 | 1.7 | 552 | 312.1 | 1.6 | 499 | 16.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1430.000 | 59.990 | 16.900 | 851.000 | 13149.000 | 17527.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 21/12/2022 11:36:01 (UTC-4:00) | Normal |  | 349.6 | 2.2 | 769 | 317.1 | 2.3 | 729 | 316.0 | 2.2 | 695 | 10.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2100.000 | 60.030 | 17.000 | 851.000 | 13149.000 | 17527.000 | 40.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 21/12/2022 11:40:59 (UTC-4:00) | Normal |  | 351.7 | 3.2 | 1125 | 315.1 | 3.3 | 1040 | 318.1 | 3.1 | 986 | 14.9 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3090.000 | 60.010 | 17.200 | 851.000 | 13149.000 | 17527.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 21/12/2022 11:46:01 (UTC-4:00) | Normal |  | 354.8 | 9.1 | 3229 | 322.0 | 9.3 | 2995 | 328.3 | 8.2 | 2692 | 10.6 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 37.5 | 0.0 | 0.0 | 8520.000 | 60.030 | 17.600 | 851.000 | 13150.000 | 17528.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 21/12/2022 11:51:04 (UTC-4:00) | Normal |  | 341.6 | 3.7 | 1264 | 305.1 | 3.8 | 1159 | 304.0 | 3.7 | 1125 | 14.3 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3450.000 | 60.040 | 18.100 | 852.000 | 13150.000 | 17528.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 21/12/2022 11:56:06 (UTC-4:00) | Normal |  | 339.5 | 3.2 | 1086 | 310.9 | 3.3 | 1026 | 306.0 | 3.2 | 979 | 10.6 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 13.4 | 0.0 | 0.0 | 2990.000 | 59.960 | 18.300 | 852.000 | 13150.000 | 17528.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 21/12/2022 12:01:09 (UTC-4:00) | Normal |  | 341.4 | 2.2 | 751 | 312.8 | 2.2 | 688 | 303.9 | 2.2 | 669 | 16.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 2020.000 | 59.970 | 18.500 | 852.000 | 13150.000 | 17528.000 | 44.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 21/12/2022 12:06:08 (UTC-4:00) | Normal |  | 362.8 | 9.3 | 3374 | 322.5 | 10.0 | 3225 | 325.6 | 9.6 | 3126 | 13.5 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 40.9 | 0.0 | 0.0 | 9330.000 | 59.920 | 18.700 | 852.000 | 13151.000 | 17529.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 21/12/2022 12:11:06 (UTC-4:00) | Normal |  | 334.7 | 3.4 | 1138 | 310.0 | 3.5 | 1085 | 301.2 | 3.4 | 1024 | 11.6 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3170.000 | 59.990 | 19.200 | 853.000 | 13151.000 | 17529.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 21/12/2022 12:16:06 (UTC-4:00) | Normal |  | 345.3 | 3.0 | 1036 | 305.0 | 3.2 | 976 | 300.0 | 3.1 | 930 | 11.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2820.000 | 59.980 | 19.500 | 853.000 | 13151.000 | 17529.000 | 47.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 21/12/2022 12:21:04 (UTC-4:00) | Normal |  | 339.6 | 3.7 | 1257 | 311.4 | 4.0 | 1246 | 306.1 | 3.6 | 1102 | 15.2 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.6 | 0.0 | 0.0 | 3510.000 | 60.000 | 19.800 | 853.000 | 13152.000 | 17530.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 21/12/2022 12:26:03 (UTC-4:00) | Normal |  | 354.0 | 10.2 | 3611 | 320.8 | 10.2 | 3272 | 315.2 | 10.2 | 3215 | 13.8 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 42.5 | 0.0 | 0.0 | 9730.000 | 60.000 | 20.200 | 854.000 | 13152.000 | 17530.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 21/12/2022 12:31:01 (UTC-4:00) | Normal |  | 320.1 | 7.6 | 2433 | 291.9 | 8.1 | 2364 | 286.2 | 7.1 | 2032 | 13.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6570.000 | 60.000 | 21.000 | 855.000 | 13153.000 | 17531.000 | 56.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 21/12/2022 12:36:00 (UTC-4:00) | Normal |  | 323.6 | 2.0 | 647 | 299.0 | 2.0 | 598 | 290.1 | 2.0 | 580 | 14.8 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1740.000 | 59.960 | 21.300 | 855.000 | 13153.000 | 17531.000 | 53.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 21/12/2022 12:40:59 (UTC-4:00) | Normal |  | 339.5 | 2.1 | 713 | 307.0 | 2.2 | 675 | 302.0 | 2.1 | 634 | 14.3 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1920.000 | 60.020 | 21.400 | 855.000 | 13153.000 | 17531.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 21/12/2022 12:45:57 (UTC-4:00) | Normal |  | 341.2 | 2.0 | 682 | 312.7 | 2.0 | 625 | 307.6 | 1.9 | 584 | 15.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 8.4 | 0.0 | 0.0 | 1820.000 | 59.990 | 21.600 | 855.000 | 13154.000 | 17532.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 21/12/2022 12:50:56 (UTC-4:00) | Normal |  | 345.4 | 2.3 | 794 | 309.0 | 2.5 | 773 | 307.8 | 2.3 | 708 | 9.7 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2200.000 | 59.990 | 21.800 | 855.000 | 13154.000 | 17532.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 21/12/2022 12:55:55 (UTC-4:00) | Normal |  | 345.7 | 2.7 | 933 | 305.6 | 2.9 | 886 | 308.3 | 2.7 | 832 | 15.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2580.000 | 60.000 | 22.100 | 856.000 | 13154.000 | 17532.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 21/12/2022 13:00:56 (UTC-4:00) | Normal |  | 339.4 | 1.8 | 611 | 307.3 | 1.9 | 584 | 302.4 | 1.8 | 544 | 15.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1660.000 | 59.990 | 22.400 | 856.000 | 13154.000 | 17532.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 21/12/2022 13:01:07 (UTC-4:00) | Normal |  | 339.4 | 1.8 | 611 | 307.3 | 1.9 | 584 | 302.4 | 1.8 | 544 | 15.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1660.000 | 59.990 | 22.400 | 856.000 | 13154.000 | 17532.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 21/12/2022 13:06:00 (UTC-4:00) | Normal |  | 333.2 | 1.6 | 533 | 304.4 | 1.6 | 487 | 299.8 | 1.5 | 450 | 10.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1330.000 | 60.010 | 22.500 | 856.000 | 13154.000 | 17532.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 21/12/2022 13:11:04 (UTC-4:00) | Normal |  | 333.5 | 1.1 | 367 | 301.3 | 1.2 | 362 | 292.4 | 1.1 | 322 | 14.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1070.000 | 59.980 | 22.600 | 856.000 | 13155.000 | 17533.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 21/12/2022 13:16:05 (UTC-4:00) | Normal |  | 343.1 | 1.0 | 343 | 298.2 | 1.1 | 328 | 297.2 | 1.0 | 297 | 13.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 970.000 | 59.970 | 22.700 | 856.000 | 13155.000 | 17533.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 21/12/2022 13:21:07 (UTC-4:00) | Normal |  | 341.5 | 1.3 | 444 | 309.5 | 1.4 | 433 | 300.6 | 1.3 | 391 | 11.8 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1200.000 | 60.010 | 22.800 | 856.000 | 13155.000 | 17533.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 21/12/2022 13:26:10 (UTC-4:00) | Normal |  | 357.4 | 1.6 | 572 | 317.4 | 1.7 | 540 | 312.0 | 1.6 | 499 | 13.6 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 6.3 | 0.0 | 0.0 | 1390.000 | 60.010 | 22.900 | 857.000 | 13155.000 | 17533.000 | 40.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 21/12/2022 13:31:13 (UTC-4:00) | Normal |  | 363.4 | 1.6 | 581 | 323.4 | 1.7 | 550 | 322.0 | 1.6 | 515 | 11.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1470.000 | 59.980 | 23.000 | 857.000 | 13155.000 | 17533.000 | 39.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 21/12/2022 13:36:15 (UTC-4:00) | Normal |  | 349.3 | 1.9 | 664 | 316.8 | 2.0 | 634 | 312.5 | 1.9 | 594 | 11.2 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 7.9 | 0.0 | 0.0 | 1750.000 | 60.000 | 23.100 | 857.000 | 13155.000 | 17533.000 | 39.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 21/12/2022 13:41:18 (UTC-4:00) | Normal |  | 351.9 | 5.0 | 1760 | 319.7 | 5.2 | 1662 | 318.5 | 5.5 | 1752 | 10.9 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 22.5 | 0.0 | 0.0 | 5110.000 | 59.970 | 23.400 | 857.000 | 13155.000 | 17533.000 | 40.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 21/12/2022 13:46:21 (UTC-4:00) | Normal |  | 343.7 | 2.4 | 825 | 311.3 | 2.5 | 778 | 310.3 | 2.3 | 714 | 12.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2220.000 | 59.990 | 23.600 | 857.000 | 13156.000 | 17534.000 | 41.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 21/12/2022 13:51:23 (UTC-4:00) | Normal |  | 348.4 | 2.0 | 697 | 311.8 | 2.1 | 655 | 309.0 | 1.9 | 587 | 10.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1850.000 | 59.970 | 23.800 | 857.000 | 13156.000 | 17534.000 | 40.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 21/12/2022 13:56:26 (UTC-4:00) | Normal |  | 346.0 | 1.6 | 554 | 309.5 | 1.7 | 526 | 307.5 | 1.5 | 461 | 13.0 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1350.000 | 60.000 | 23.900 | 858.000 | 13156.000 | 17534.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 21/12/2022 14:01:29 (UTC-4:00) | Normal |  | 353.1 | 2.1 | 742 | 313.1 | 2.2 | 689 | 316.1 | 2.1 | 664 | 12.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1990.000 | 60.010 | 24.000 | 858.000 | 13156.000 | 17534.000 | 39.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 21/12/2022 14:06:32 (UTC-4:00) | Normal |  | 351.4 | 3.7 | 1300 | 318.8 | 3.8 | 1211 | 313.9 | 3.7 | 1161 | 14.3 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3570.000 | 60.020 | 24.300 | 858.000 | 13156.000 | 17534.000 | 41.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 21/12/2022 14:11:34 (UTC-4:00) | Normal |  | 349.6 | 3.0 | 1049 | 313.0 | 3.1 | 970 | 308.1 | 3.0 | 924 | 15.4 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2850.000 | 59.990 | 24.600 | 858.000 | 13157.000 | 17535.000 | 43.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 21/12/2022 14:16:33 (UTC-4:00) | Normal |  | 343.3 | 3.3 | 1133 | 314.7 | 3.3 | 1039 | 309.9 | 3.2 | 992 | 16.0 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3060.000 | 59.990 | 24.800 | 858.000 | 13157.000 | 17535.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 21/12/2022 14:21:32 (UTC-4:00) | Normal |  | 345.7 | 3.4 | 1175 | 309.2 | 3.5 | 1082 | 308.3 | 3.4 | 1048 | 15.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3210.000 | 59.970 | 25.100 | 859.000 | 13157.000 | 17535.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 21/12/2022 14:26:30 (UTC-4:00) | Normal |  | 343.5 | 3.2 | 1099 | 307.0 | 3.4 | 1044 | 306.1 | 3.2 | 980 | 16.8 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3030.000 | 59.970 | 25.400 | 859.000 | 13157.000 | 17535.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 21/12/2022 14:31:29 (UTC-4:00) | Normal |  | 345.4 | 2.7 | 933 | 304.9 | 2.9 | 884 | 307.9 | 2.7 | 831 | 10.7 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2570.000 | 59.990 | 25.600 | 859.000 | 13158.000 | 17536.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 21/12/2022 14:36:28 (UTC-4:00) | Normal |  | 333.4 | 1.5 | 500 | 308.8 | 1.6 | 494 | 299.9 | 1.5 | 450 | 13.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.030 | 25.800 | 859.000 | 13158.000 | 17536.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 21/12/2022 14:41:27 (UTC-4:00) | Normal |  | 351.1 | 1.7 | 597 | 314.7 | 1.8 | 566 | 309.8 | 1.7 | 527 | 10.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1630.000 | 60.000 | 25.900 | 860.000 | 13158.000 | 17536.000 | 41.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 21/12/2022 14:46:26 (UTC-4:00) | Normal |  | 365.4 | 1.6 | 585 | 324.9 | 1.7 | 552 | 324.0 | 1.6 | 518 | 12.4 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1480.000 | 59.950 | 26.100 | 860.000 | 13158.000 | 17536.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 21/12/2022 14:51:26 (UTC-4:00) | Normal |  | 339.5 | 1.5 | 509 | 307.0 | 1.5 | 461 | 302.0 | 1.4 | 423 | 10.4 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.000 | 26.200 | 860.000 | 13158.000 | 17536.000 | 39.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 21/12/2022 14:56:25 (UTC-4:00) | Normal |  | 335.5 | 1.2 | 403 | 307.0 | 1.3 | 399 | 298.1 | 1.2 | 358 | 10.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1140.000 | 59.950 | 26.300 | 860.000 | 13158.000 | 17536.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 21/12/2022 15:01:23 (UTC-4:00) | Normal |  | 349.3 | 1.7 | 594 | 316.8 | 1.7 | 539 | 311.9 | 1.6 | 499 | 11.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1540.000 | 59.990 | 26.400 | 860.000 | 13158.000 | 17536.000 | 38.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 21/12/2022 15:06:22 (UTC-4:00) | Normal |  | 351.5 | 2.0 | 703 | 311.0 | 2.2 | 684 | 310.1 | 2.0 | 620 | 17.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1920.000 | 59.980 | 26.600 | 860.000 | 13159.000 | 17537.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 21/12/2022 15:11:22 (UTC-4:00) | Normal |  | 346.9 | 4.8 | 1665 | 314.4 | 4.9 | 1541 | 313.3 | 4.6 | 1441 | 11.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 20.0 | 0.0 | 0.0 | 4530.000 | 59.970 | 26.800 | 860.000 | 13159.000 | 17537.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 21/12/2022 15:16:24 (UTC-4:00) | Normal |  | 349.7 | 2.4 | 839 | 309.4 | 2.7 | 835 | 308.3 | 2.4 | 740 | 11.5 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2300.000 | 60.010 | 27.100 | 861.000 | 13159.000 | 17537.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 21/12/2022 15:21:27 (UTC-4:00) | Normal |  | 343.2 | 2.2 | 755 | 310.8 | 2.3 | 715 | 305.8 | 2.2 | 673 | 12.1 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2070.000 | 60.000 | 27.300 | 861.000 | 13159.000 | 17537.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 21/12/2022 15:26:30 (UTC-4:00) | Normal |  | 351.2 | 2.6 | 913 | 310.6 | 2.7 | 839 | 313.7 | 2.5 | 784 | 13.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2450.000 | 59.980 | 27.600 | 861.000 | 13160.000 | 17538.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 21/12/2022 15:31:28 (UTC-4:00) | Normal |  | 351.3 | 4.8 | 1686 | 314.8 | 5.0 | 1574 | 313.9 | 4.8 | 1507 | 16.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4670.000 | 59.970 | 27.800 | 861.000 | 13160.000 | 17538.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 21/12/2022 15:36:27 (UTC-4:00) | Normal |  | 339.4 | 0.9 | 305 | 302.9 | 1.0 | 303 | 302.0 | 0.8 | 242 | 10.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 780.000 | 59.960 | 27.900 | 862.000 | 13160.000 | 17538.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 21/12/2022 15:41:26 (UTC-4:00) | Normal |  | 325.4 | 0.7 | 228 | 297.2 | 0.8 | 238 | 292.0 | 0.6 | 175 | 11.4 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 570.000 | 59.980 | 28.000 | 862.000 | 13160.000 | 17538.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 21/12/2022 15:46:25 (UTC-4:00) | Normal |  | 347.5 | 0.8 | 278 | 306.8 | 0.9 | 276 | 306.0 | 0.8 | 245 | 15.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 710.000 | 60.030 | 28.000 | 862.000 | 13160.000 | 17538.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 21/12/2022 15:51:23 (UTC-4:00) | Normal |  | 339.4 | 0.8 | 272 | 307.0 | 0.9 | 276 | 302.0 | 0.8 | 242 | 16.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 730.000 | 60.050 | 28.100 | 862.000 | 13160.000 | 17538.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 21/12/2022 15:56:22 (UTC-4:00) | Normal |  | 341.3 | 1.2 | 410 | 304.8 | 1.3 | 396 | 307.9 | 1.2 | 369 | 17.1 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 5.7 | 0.0 | 0.0 | 1160.000 | 60.070 | 28.200 | 862.000 | 13160.000 | 17538.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 21/12/2022 16:01:21 (UTC-4:00) | Normal |  | 357.5 | 1.0 | 358 | 305.0 | 1.2 | 366 | 304.1 | 1.1 | 335 | 15.0 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1040.000 | 59.980 | 28.300 | 862.000 | 13160.000 | 17538.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 21/12/2022 16:06:20 (UTC-4:00) | Normal |  | 337.4 | 1.2 | 405 | 308.8 | 1.3 | 401 | 304.0 | 1.2 | 365 | 11.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 5.5 | 0.0 | 0.0 | 1120.000 | 60.010 | 28.400 | 862.000 | 13160.000 | 17538.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 21/12/2022 16:11:18 (UTC-4:00) | Normal |  | 333.4 | 0.7 | 233 | 296.6 | 0.8 | 237 | 299.9 | 0.7 | 210 | 17.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 630.000 | 59.980 | 28.500 | 862.000 | 13160.000 | 17538.000 | 36.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 21/12/2022 16:16:17 (UTC-4:00) | Normal |  | 341.4 | 0.9 | 307 | 308.9 | 0.9 | 278 | 308.0 | 0.8 | 246 | 13.9 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 780.000 | 59.970 | 28.500 | 862.000 | 13160.000 | 17538.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 21/12/2022 16:21:18 (UTC-4:00) | Normal |  | 329.1 | 0.3 | 99 | 300.6 | 0.4 | 120 | 303.8 | 0.3 | 91 | 12.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 310.000 | 59.980 | 28.600 | 862.000 | 13161.000 | 17539.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 21/12/2022 16:26:18 (UTC-4:00) | Normal |  | 342.9 | 0.4 | 137 | 306.6 | 0.4 | 123 | 309.7 | 0.3 | 93 | 12.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 350.000 | 59.980 | 28.600 | 862.000 | 13161.000 | 17539.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 21/12/2022 16:31:19 (UTC-4:00) | Normal |  | 339.3 | 0.6 | 204 | 310.9 | 0.6 | 187 | 306.1 | 0.5 | 153 | 15.9 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 530.000 | 59.980 | 28.600 | 862.000 | 13161.000 | 17539.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 21/12/2022 16:36:20 (UTC-4:00) | Normal |  | 345.6 | 0.4 | 138 | 313.1 | 0.5 | 157 | 312.2 | 0.4 | 125 | 11.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 59.980 | 28.700 | 862.000 | 13161.000 | 17539.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 21/12/2022 16:41:23 (UTC-4:00) | Normal |  | 335.3 | 0.4 | 134 | 306.9 | 0.4 | 123 | 306.2 | 0.3 | 92 | 15.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 300.000 | 60.000 | 28.700 | 862.000 | 13161.000 | 17539.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 21/12/2022 16:46:26 (UTC-4:00) | Normal |  | 335.5 | 0.4 | 134 | 306.7 | 0.4 | 123 | 309.8 | 0.3 | 93 | 11.1 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 300.000 | 60.020 | 28.700 | 862.000 | 13161.000 | 17539.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 21/12/2022 16:51:28 (UTC-4:00) | Normal |  | 329.4 | 0.3 | 99 | 300.9 | 0.3 | 90 | 287.9 | 0.2 | 58 | 11.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 60.020 | 28.800 | 862.000 | 13161.000 | 17539.000 | 32.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 21/12/2022 16:56:31 (UTC-4:00) | Normal |  | 323.4 | 0.2 | 65 | 290.9 | 0.3 | 87 | 282.1 | 0.2 | 56 | 14.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 60.010 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 21/12/2022 17:01:34 (UTC-4:00) | Normal |  | 339.1 | 0.4 | 136 | 306.7 | 0.4 | 123 | 302.0 | 0.3 | 91 | 14.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 340.000 | 60.020 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 21/12/2022 17:06:36 (UTC-4:00) | Normal |  | 325.3 | 0.2 | 65 | 304.8 | 0.2 | 61 | 283.9 | 0.1 | 28 | 15.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 160.000 | 60.020 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 21/12/2022 17:11:39 (UTC-4:00) | Normal |  | 309.7 | 0.1 | 31 | 297.0 | 0.2 | 59 | 280.4 | 0.1 | 28 | 15.0 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 59.970 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 21/12/2022 17:16:41 (UTC-4:00) | Normal |  | 309.5 | 0.1 | 31 | 286.8 | 0.2 | 57 | 278.9 | 0.1 | 28 | 12.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 80.000 | 59.950 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 21/12/2022 17:21:40 (UTC-4:00) | Normal |  | 309.5 | 0.1 | 31 | 288.8 | 0.2 | 58 | 279.3 | 0.1 | 28 | 14.8 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 59.990 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 21/12/2022 17:26:39 (UTC-4:00) | Normal |  | 309.7 | 0.1 | 31 | 275.5 | 0.1 | 28 | 278.9 | 0.1 | 28 | 17.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 60.010 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 21/12/2022 17:31:37 (UTC-4:00) | Normal |  | 302.1 | 0.1 | 30 | 275.4 | 0.1 | 28 | 272.0 | 0.1 | 27 | 17.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 21/12/2022 17:36:36 (UTC-4:00) | Normal |  | 299.9 | 0.1 | 30 | 275.4 | 0.1 | 28 | 270.1 | 0.1 | 27 | 12.5 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 21/12/2022 17:41:35 (UTC-4:00) | Normal |  | 295.3 | 0.1 | 30 | 275.4 | 0.1 | 28 | 266.1 | 0.1 | 27 | 10.8 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 21/12/2022 17:46:34 (UTC-4:00) | Normal |  | 293.4 | 0.1 | 29 | 275.4 | 0.1 | 28 | 325.4 | 0.1 | 33 | 16.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 28.800 | 862.000 | 13161.000 | 17539.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 21/12/2022 17:51:32 (UTC-4:00) | Normal |  | 283.5 | 0.1 | 28 | 275.4 | 0.1 | 28 | 255.6 | 0.1 | 26 | 11.6 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 21/12/2022 17:56:31 (UTC-4:00) | Normal |  | 276.7 | 0.1 | 28 | 275.3 | 0.1 | 28 | 244.4 | 0.1 | 24 | 11.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 21/12/2022 18:01:30 (UTC-4:00) | Normal |  | 259.8 | 0.1 | 26 | 275.3 | 0.1 | 28 | 234.8 | 0.1 | 23 | 13.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 21/12/2022 18:06:29 (UTC-4:00) | Normal |  | 233.2 | 0.1 | 23 | 258.0 | 0.1 | 26 | 211.8 | 0.1 | 21 | 16.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 20.000 | 59.990 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 21/12/2022 18:11:27 (UTC-4:00) | Normal |  | 211.7 | 0.1 | 21 | 203.9 | 0.1 | 20 | 193.7 | 0.1 | 19 | 13.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
175 | 21/12/2022 18:16:27 (UTC-4:00) | Normal |  | 109.4 | 0.1 | 11 | 106.5 | 0.1 | 11 | 106.6 | 0.1 | 11 | 12.1 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.940 | 28.900 | 863.000 | 13161.000 | 17539.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0