## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024008
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 22/12/2022 04:17:06 (UTC-4:00) | Normal |  | 149.1 | 0.1 | 15 | 154.4 | 0.1 | 15 | 156.4 | 0.1 | 16 | 0.5 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 863.000 | 13161.000 | 17539.000 | 25.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 22/12/2022 04:22:05 (UTC-4:00) | Normal |  | 286.8 | 0.1 | 29 | 258.6 | 0.1 | 26 | 258.4 | 0.1 | 26 | 11.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 863.000 | 13161.000 | 17539.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 22/12/2022 04:27:05 (UTC-4:00) | Normal |  | 292.7 | 0.1 | 29 | 263.9 | 0.1 | 26 | 263.6 | 0.1 | 26 | 13.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 863.000 | 13161.000 | 17539.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 22/12/2022 04:32:08 (UTC-4:00) | Normal |  | 301.6 | 0.1 | 30 | 268.2 | 0.1 | 27 | 271.8 | 0.1 | 27 | 17.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 863.000 | 13161.000 | 17539.000 | 26.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 22/12/2022 04:37:11 (UTC-4:00) | Normal |  | 387.6 | 0.1 | 39 | 268.2 | 0.1 | 27 | 349.2 | 0.1 | 35 | 12.0 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 0.000 | 863.000 | 13161.000 | 17539.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 22/12/2022 04:42:11 (UTC-4:00) | Normal |  | 310.3 | 0.1 | 31 | 268.3 | 0.2 | 54 | 284.1 | 0.1 | 28 | 17.1 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 80.000 | 59.950 | 0.000 | 863.000 | 13161.000 | 17539.000 | 27.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 22/12/2022 04:47:11 (UTC-4:00) | Normal |  | 310.4 | 0.1 | 31 | 268.2 | 0.2 | 54 | 283.2 | 0.1 | 28 | 14.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 80.000 | 59.980 | 0.000 | 863.000 | 13161.000 | 17539.000 | 28.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 22/12/2022 04:52:10 (UTC-4:00) | Normal |  | 354.4 | 0.3 | 106 | 326.3 | 0.3 | 98 | 311.4 | 0.3 | 93 | 16.9 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 240.000 | 60.040 | 0.000 | 863.000 | 13161.000 | 17539.000 | 28.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 22/12/2022 04:57:10 (UTC-4:00) | Normal |  | 342.3 | 0.4 | 137 | 306.4 | 0.4 | 123 | 315.2 | 0.3 | 95 | 15.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 300.000 | 59.990 | 0.000 | 863.000 | 13161.000 | 17539.000 | 28.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 22/12/2022 05:02:10 (UTC-4:00) | Normal |  | 340.3 | 0.3 | 102 | 308.0 | 0.4 | 123 | 293.2 | 0.3 | 88 | 11.8 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 250.000 | 60.050 | 0.000 | 863.000 | 13161.000 | 17539.000 | 29.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 22/12/2022 05:07:10 (UTC-4:00) | Normal |  | 340.1 | 0.5 | 170 | 308.0 | 0.5 | 154 | 309.2 | 0.4 | 124 | 10.7 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 500.000 | 59.980 | 0.100 | 863.000 | 13161.000 | 17539.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 22/12/2022 05:12:09 (UTC-4:00) | Normal |  | 360.5 | 0.9 | 324 | 328.4 | 1.0 | 328 | 321.4 | 0.9 | 289 | 12.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 840.000 | 60.010 | 0.100 | 863.000 | 13161.000 | 17539.000 | 30.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 22/12/2022 05:17:09 (UTC-4:00) | Normal |  | 370.2 | 1.0 | 370 | 318.1 | 1.1 | 350 | 326.8 | 1.0 | 327 | 16.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1000.000 | 60.040 | 0.200 | 863.000 | 13161.000 | 17539.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 22/12/2022 05:22:09 (UTC-4:00) | Normal |  | 362.3 | 1.0 | 362 | 313.9 | 1.1 | 345 | 318.9 | 1.0 | 319 | 10.7 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 970.000 | 60.000 | 0.200 | 863.000 | 13161.000 | 17539.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 22/12/2022 05:27:09 (UTC-4:00) | Normal |  | 362.3 | 1.1 | 399 | 313.8 | 1.2 | 377 | 327.2 | 1.1 | 360 | 17.3 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 6.0 | 0.0 | 0.0 | 1150.000 | 60.050 | 0.300 | 863.000 | 13161.000 | 17539.000 | 31.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 22/12/2022 05:32:08 (UTC-4:00) | Normal |  | 353.7 | 1.1 | 389 | 333.3 | 1.1 | 367 | 330.3 | 1.1 | 363 | 11.9 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1150.000 | 60.020 | 0.400 | 863.000 | 13161.000 | 17539.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 22/12/2022 05:37:10 (UTC-4:00) | Normal |  | 368.4 | 1.6 | 589 | 336.7 | 1.7 | 572 | 329.3 | 1.6 | 527 | 11.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 6.9 | 0.0 | 0.0 | 1540.000 | 60.040 | 0.500 | 863.000 | 13161.000 | 17539.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 22/12/2022 05:42:14 (UTC-4:00) | Normal |  | 364.2 | 2.0 | 728 | 332.6 | 2.0 | 665 | 329.6 | 1.9 | 626 | 13.0 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1930.000 | 60.040 | 0.600 | 863.000 | 13161.000 | 17539.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 22/12/2022 05:47:17 (UTC-4:00) | Normal |  | 348.4 | 0.8 | 279 | 319.7 | 0.9 | 288 | 305.4 | 0.8 | 244 | 15.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 770.000 | 60.050 | 0.700 | 863.000 | 13162.000 | 17540.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 22/12/2022 05:52:21 (UTC-4:00) | Normal |  | 358.0 | 1.5 | 537 | 322.7 | 1.6 | 516 | 319.7 | 1.5 | 480 | 11.3 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1360.000 | 60.060 | 0.800 | 863.000 | 13162.000 | 17540.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 22/12/2022 05:57:21 (UTC-4:00) | Normal |  | 357.4 | 3.3 | 1179 | 309.3 | 3.4 | 1052 | 321.2 | 3.2 | 1028 | 10.5 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 14.2 | 0.0 | 0.0 | 3150.000 | 60.070 | 0.900 | 863.000 | 13162.000 | 17540.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 22/12/2022 06:02:21 (UTC-4:00) | Normal |  | 368.0 | 3.3 | 1214 | 314.1 | 3.5 | 1099 | 314.9 | 3.2 | 1008 | 13.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 14.2 | 0.0 | 0.0 | 3170.000 | 60.050 | 1.100 | 864.000 | 13162.000 | 17540.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 22/12/2022 06:07:21 (UTC-4:00) | Normal |  | 362.6 | 2.0 | 725 | 318.6 | 2.2 | 701 | 320.6 | 2.0 | 641 | 10.5 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1950.000 | 60.020 | 1.300 | 864.000 | 13162.000 | 17540.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 22/12/2022 06:12:20 (UTC-4:00) | Normal |  | 351.6 | 1.8 | 633 | 320.1 | 1.8 | 576 | 320.4 | 1.7 | 545 | 12.8 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1650.000 | 60.000 | 1.400 | 864.000 | 13162.000 | 17540.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 22/12/2022 06:17:20 (UTC-4:00) | Normal |  | 354.4 | 1.6 | 567 | 322.3 | 1.7 | 548 | 315.2 | 1.6 | 504 | 16.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 7.2 | 0.0 | 0.0 | 1530.000 | 59.970 | 1.600 | 864.000 | 13162.000 | 17540.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 22/12/2022 06:22:20 (UTC-4:00) | Normal |  | 370.4 | 1.6 | 593 | 330.2 | 1.7 | 561 | 327.2 | 1.6 | 524 | 10.9 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1490.000 | 59.960 | 1.800 | 864.000 | 13163.000 | 17541.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 22/12/2022 06:27:19 (UTC-4:00) | Normal |  | 358.1 | 2.5 | 895 | 325.9 | 2.5 | 815 | 319.0 | 2.5 | 798 | 10.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 10.8 | 0.0 | 0.0 | 2380.000 | 59.960 | 1.900 | 864.000 | 13163.000 | 17541.000 | 36.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 22/12/2022 06:32:19 (UTC-4:00) | Normal |  | 356.5 | 2.0 | 713 | 320.3 | 2.1 | 673 | 321.3 | 1.9 | 610 | 10.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1910.000 | 59.990 | 2.100 | 865.000 | 13163.000 | 17541.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 22/12/2022 06:37:19 (UTC-4:00) | Normal |  | 354.2 | 5.3 | 1877 | 318.0 | 5.4 | 1717 | 311.0 | 5.4 | 1679 | 12.1 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 22.8 | 0.0 | 0.0 | 5140.000 | 60.000 | 2.300 | 865.000 | 13163.000 | 17541.000 | 37.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 22/12/2022 06:42:18 (UTC-4:00) | Normal |  | 350.7 | 3.6 | 1263 | 322.7 | 3.6 | 1162 | 315.6 | 3.5 | 1105 | 11.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3430.000 | 60.030 | 2.600 | 865.000 | 13163.000 | 17541.000 | 38.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 22/12/2022 06:47:18 (UTC-4:00) | Normal |  | 356.5 | 2.3 | 820 | 316.4 | 2.4 | 759 | 317.4 | 2.3 | 730 | 15.8 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2190.000 | 60.020 | 2.800 | 865.000 | 13164.000 | 17542.000 | 38.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 22/12/2022 06:52:22 (UTC-4:00) | Normal |  | 356.2 | 2.6 | 926 | 320.1 | 2.6 | 832 | 321.0 | 2.5 | 803 | 12.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2470.000 | 60.010 | 3.100 | 866.000 | 13164.000 | 17542.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 22/12/2022 06:57:25 (UTC-4:00) | Normal |  | 347.4 | 4.7 | 1633 | 319.3 | 4.8 | 1533 | 316.2 | 4.6 | 1455 | 10.5 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4450.000 | 59.990 | 3.300 | 866.000 | 13164.000 | 17542.000 | 40.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 22/12/2022 07:02:29 (UTC-4:00) | Normal |  | 356.8 | 3.1 | 1106 | 316.7 | 3.3 | 1045 | 317.6 | 3.1 | 985 | 16.8 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3040.000 | 59.980 | 3.600 | 866.000 | 13164.000 | 17542.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 22/12/2022 07:02:40 (UTC-4:00) | Normal |  | 356.8 | 3.1 | 1106 | 316.7 | 3.3 | 1045 | 317.6 | 3.1 | 985 | 16.8 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3040.000 | 59.980 | 3.600 | 866.000 | 13164.000 | 17542.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 22/12/2022 07:07:33 (UTC-4:00) | Normal |  | 344.8 | 2.6 | 896 | 312.7 | 2.7 | 844 | 309.7 | 2.6 | 805 | 10.3 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2450.000 | 60.000 | 3.900 | 866.000 | 13165.000 | 17543.000 | 41.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 22/12/2022 07:12:37 (UTC-4:00) | Normal |  | 349.7 | 7.7 | 2693 | 317.5 | 7.8 | 2477 | 310.5 | 7.6 | 2360 | 10.8 | 0.1 | 0 | 225.9 | 0.0 | 0.0 | 31.9 | 0.0 | 0.0 | 7300.000 | 60.000 | 4.100 | 867.000 | 13165.000 | 17543.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 22/12/2022 07:17:40 (UTC-4:00) | Normal |  | 355.5 | 5.8 | 2062 | 307.7 | 6.3 | 1939 | 315.6 | 5.6 | 1767 | 11.2 | 0.1 | 0 | 226.9 | 0.0 | 0.0 | 24.4 | 0.0 | 0.0 | 5560.000 | 60.000 | 4.600 | 867.000 | 13165.000 | 17543.000 | 45.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 22/12/2022 07:22:44 (UTC-4:00) | Normal |  | 350.0 | 7.6 | 2660 | 310.1 | 7.9 | 2450 | 307.1 | 7.7 | 2365 | 10.9 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7230.000 | 60.000 | 5.000 | 868.000 | 13166.000 | 17544.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 22/12/2022 07:22:55 (UTC-4:00) | Normal |  | 350.0 | 7.6 | 2660 | 310.1 | 7.9 | 2450 | 307.1 | 7.7 | 2365 | 10.9 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7230.000 | 60.000 | 5.000 | 868.000 | 13166.000 | 17544.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 22/12/2022 07:27:48 (UTC-4:00) | Normal |  | 351.6 | 4.3 | 1512 | 320.1 | 4.7 | 1504 | 308.6 | 4.4 | 1358 | 14.5 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4120.000 | 59.980 | 5.400 | 868.000 | 13166.000 | 17544.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 22/12/2022 07:32:51 (UTC-4:00) | Normal |  | 348.1 | 5.1 | 1775 | 307.5 | 5.1 | 1568 | 296.9 | 5.6 | 1663 | 13.8 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4940.000 | 60.010 | 5.800 | 868.000 | 13167.000 | 17545.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 22/12/2022 07:33:06 (UTC-4:00) | Normal |  | 348.1 | 5.1 | 1775 | 307.5 | 5.1 | 1568 | 296.9 | 5.6 | 1663 | 13.8 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4940.000 | 60.010 | 5.800 | 868.000 | 13167.000 | 17545.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 22/12/2022 07:37:55 (UTC-4:00) | Normal |  | 348.4 | 3.1 | 1080 | 316.2 | 3.2 | 1012 | 313.2 | 3.0 | 940 | 14.5 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2940.000 | 60.010 | 6.000 | 869.000 | 13167.000 | 17545.000 | 45.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 22/12/2022 07:42:59 (UTC-4:00) | Normal |  | 352.4 | 3.5 | 1233 | 316.3 | 3.6 | 1139 | 313.4 | 3.6 | 1128 | 16.6 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3400.000 | 60.030 | 6.300 | 869.000 | 13167.000 | 17545.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 22/12/2022 07:48:02 (UTC-4:00) | Normal |  | 344.5 | 4.2 | 1447 | 316.3 | 4.3 | 1360 | 313.3 | 4.2 | 1316 | 14.0 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3980.000 | 60.030 | 6.600 | 869.000 | 13167.000 | 17545.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 22/12/2022 07:53:06 (UTC-4:00) | Normal |  | 346.4 | 2.6 | 901 | 318.3 | 2.6 | 828 | 315.2 | 2.5 | 788 | 16.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2440.000 | 60.010 | 6.900 | 869.000 | 13168.000 | 17546.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 22/12/2022 07:58:10 (UTC-4:00) | Normal |  | 346.4 | 2.3 | 797 | 310.4 | 2.4 | 745 | 311.3 | 2.3 | 716 | 16.7 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2180.000 | 60.040 | 7.100 | 870.000 | 13168.000 | 17546.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 22/12/2022 08:03:10 (UTC-4:00) | Normal |  | 361.8 | 5.6 | 2026 | 296.1 | 5.2 | 1540 | 320.9 | 6.8 | 2182 | 13.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 24.5 | 0.0 | 0.0 | 5680.000 | 60.010 | 7.500 | 870.000 | 13168.000 | 17546.000 | 46.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 22/12/2022 08:08:10 (UTC-4:00) | Normal |  | 346.2 | 3.3 | 1142 | 310.1 | 3.4 | 1054 | 307.2 | 3.3 | 1014 | 15.1 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3120.000 | 60.000 | 7.900 | 870.000 | 13169.000 | 17547.000 | 47.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 22/12/2022 08:13:09 (UTC-4:00) | Normal |  | 350.3 | 3.2 | 1121 | 314.2 | 3.3 | 1037 | 311.2 | 3.2 | 996 | 13.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3070.000 | 60.000 | 8.200 | 871.000 | 13169.000 | 17547.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 22/12/2022 08:18:09 (UTC-4:00) | Normal |  | 352.1 | 3.0 | 1056 | 316.0 | 3.1 | 980 | 313.0 | 3.0 | 939 | 11.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2900.000 | 60.010 | 8.400 | 871.000 | 13169.000 | 17547.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 22/12/2022 08:23:09 (UTC-4:00) | Normal |  | 352.3 | 2.6 | 916 | 320.2 | 2.7 | 865 | 321.2 | 2.5 | 803 | 13.7 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 11.1 | 0.0 | 0.0 | 2460.000 | 60.010 | 8.700 | 871.000 | 13170.000 | 17548.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 22/12/2022 08:28:09 (UTC-4:00) | Normal |  | 356.5 | 2.6 | 927 | 320.4 | 2.7 | 865 | 321.3 | 2.5 | 803 | 10.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2500.000 | 60.040 | 8.900 | 871.000 | 13170.000 | 17548.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 22/12/2022 08:33:08 (UTC-4:00) | Normal |  | 348.5 | 3.0 | 1046 | 316.3 | 3.0 | 949 | 317.3 | 2.9 | 920 | 10.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2820.000 | 59.980 | 9.100 | 872.000 | 13170.000 | 17548.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 22/12/2022 08:38:08 (UTC-4:00) | Normal |  | 350.4 | 2.6 | 911 | 318.4 | 2.7 | 860 | 319.3 | 2.5 | 798 | 10.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2460.000 | 60.030 | 9.300 | 872.000 | 13170.000 | 17548.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 22/12/2022 08:43:08 (UTC-4:00) | Normal |  | 350.3 | 3.2 | 1121 | 314.2 | 3.4 | 1068 | 311.2 | 3.2 | 996 | 13.8 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3090.000 | 60.010 | 9.600 | 872.000 | 13170.000 | 17548.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 22/12/2022 08:48:08 (UTC-4:00) | Normal |  | 354.2 | 3.0 | 1063 | 314.1 | 3.1 | 974 | 311.2 | 3.0 | 934 | 16.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 12.9 | 0.0 | 0.0 | 2870.000 | 60.030 | 9.800 | 872.000 | 13171.000 | 17549.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 22/12/2022 08:53:09 (UTC-4:00) | Normal |  | 353.9 | 6.9 | 2442 | 321.1 | 6.7 | 2151 | 314.9 | 6.9 | 2173 | 11.3 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6570.000 | 60.010 | 10.100 | 873.000 | 13171.000 | 17549.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 22/12/2022 08:58:10 (UTC-4:00) | Normal |  | 347.8 | 4.6 | 1600 | 311.7 | 4.8 | 1496 | 308.7 | 4.6 | 1420 | 14.9 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 19.5 | 0.0 | 0.0 | 4400.000 | 60.050 | 10.500 | 873.000 | 13171.000 | 17549.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 22/12/2022 09:03:13 (UTC-4:00) | Normal |  | 338.4 | 5.0 | 1692 | 310.4 | 5.1 | 1583 | 303.3 | 5.1 | 1547 | 11.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4710.000 | 60.050 | 10.900 | 873.000 | 13172.000 | 17550.000 | 47.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 22/12/2022 09:08:17 (UTC-4:00) | Normal |  | 340.0 | 3.4 | 1156 | 307.9 | 3.5 | 1078 | 301.0 | 3.4 | 1023 | 12.8 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3190.000 | 60.050 | 11.300 | 874.000 | 13172.000 | 17550.000 | 48.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 22/12/2022 09:13:20 (UTC-4:00) | Normal |  | 344.3 | 3.9 | 1343 | 308.2 | 4.0 | 1233 | 305.3 | 3.9 | 1191 | 10.4 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 16.3 | 0.0 | 0.0 | 3650.000 | 60.040 | 11.600 | 874.000 | 13172.000 | 17550.000 | 47.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 22/12/2022 09:18:20 (UTC-4:00) | Normal |  | 344.7 | 4.8 | 1655 | 308.8 | 5.0 | 1544 | 305.6 | 4.8 | 1467 | 16.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 20.1 | 0.0 | 0.0 | 4550.000 | 60.060 | 11.800 | 874.000 | 13173.000 | 17551.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 22/12/2022 09:23:20 (UTC-4:00) | Normal |  | 343.9 | 4.8 | 1651 | 303.9 | 5.0 | 1520 | 300.9 | 4.8 | 1444 | 15.1 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 19.8 | 0.0 | 0.0 | 4470.000 | 60.030 | 12.300 | 875.000 | 13173.000 | 17551.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 22/12/2022 09:28:20 (UTC-4:00) | Normal |  | 342.4 | 4.5 | 1541 | 306.4 | 4.6 | 1409 | 303.4 | 4.5 | 1365 | 9.9 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4170.000 | 60.100 | 12.700 | 875.000 | 13174.000 | 17552.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 22/12/2022 09:33:23 (UTC-4:00) | Normal |  | 342.6 | 4.6 | 1576 | 310.5 | 4.7 | 1459 | 307.4 | 4.6 | 1414 | 9.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.2 | 0.0 | 0.0 | 4320.000 | 60.050 | 13.100 | 876.000 | 13174.000 | 17552.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 22/12/2022 09:38:20 (UTC-4:00) | Normal |  | 344.1 | 4.4 | 1514 | 308.1 | 4.6 | 1417 | 305.1 | 4.4 | 1342 | 12.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4150.000 | 60.010 | 13.400 | 876.000 | 13174.000 | 17552.000 | 49.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 22/12/2022 09:43:20 (UTC-4:00) | Normal |  | 338.6 | 4.4 | 1490 | 310.4 | 4.5 | 1397 | 307.3 | 4.4 | 1352 | 13.9 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 18.3 | 0.0 | 0.0 | 4120.000 | 60.010 | 13.800 | 876.000 | 13175.000 | 17553.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 22/12/2022 09:48:19 (UTC-4:00) | Normal |  | 342.6 | 4.8 | 1644 | 306.4 | 4.9 | 1501 | 307.4 | 4.7 | 1445 | 14.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4440.000 | 60.030 | 14.200 | 877.000 | 13175.000 | 17553.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 22/12/2022 09:53:19 (UTC-4:00) | Normal |  | 340.1 | 4.7 | 1598 | 311.9 | 4.7 | 1466 | 305.0 | 4.6 | 1403 | 10.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.3 | 0.0 | 0.0 | 4340.000 | 60.040 | 14.600 | 877.000 | 13175.000 | 17553.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 22/12/2022 09:58:19 (UTC-4:00) | Normal |  | 343.1 | 5.5 | 1887 | 303.4 | 6.0 | 1820 | 292.2 | 5.8 | 1695 | 15.5 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 23.3 | 0.0 | 0.0 | 5220.000 | 60.040 | 15.000 | 878.000 | 13176.000 | 17554.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 22/12/2022 10:03:19 (UTC-4:00) | Normal |  | 339.9 | 4.6 | 1564 | 307.9 | 4.7 | 1447 | 304.8 | 4.6 | 1402 | 14.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4260.000 | 60.060 | 15.400 | 878.000 | 13176.000 | 17554.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 22/12/2022 10:08:18 (UTC-4:00) | Normal |  | 336.3 | 3.3 | 1110 | 304.3 | 3.4 | 1035 | 301.2 | 3.3 | 994 | 10.6 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3060.000 | 59.990 | 15.800 | 878.000 | 13177.000 | 17555.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 22/12/2022 10:13:18 (UTC-4:00) | Normal |  | 336.5 | 2.4 | 808 | 308.4 | 2.5 | 771 | 305.3 | 2.4 | 733 | 14.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2210.000 | 59.940 | 16.000 | 879.000 | 13177.000 | 17555.000 | 48.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 22/12/2022 10:18:23 (UTC-4:00) | Normal |  | 380.4 | 9.8 | 3728 | 343.2 | 9.8 | 3363 | 339.8 | 9.8 | 3330 | 9.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 43.8 | 0.0 | 0.0 | 10000.000 | 59.950 | 16.300 | 879.000 | 13177.000 | 17555.000 | 48.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 22/12/2022 10:23:27 (UTC-4:00) | Normal |  | 328.5 | 5.7 | 1872 | 300.5 | 5.8 | 1743 | 305.5 | 5.5 | 1680 | 9.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5190.000 | 59.970 | 16.800 | 879.000 | 13178.000 | 17556.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 22/12/2022 10:28:30 (UTC-4:00) | Normal |  | 337.9 | 6.6 | 2230 | 306.7 | 7.3 | 2239 | 294.5 | 6.7 | 1973 | 12.8 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 27.6 | 0.0 | 0.0 | 6190.000 | 59.940 | 17.200 | 880.000 | 13178.000 | 17556.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 22/12/2022 10:33:35 (UTC-4:00) | Normal |  | 334.6 | 3.5 | 1171 | 302.5 | 3.7 | 1119 | 303.4 | 3.5 | 1062 | 14.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3240.000 | 59.950 | 17.600 | 880.000 | 13178.000 | 17556.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 22/12/2022 10:38:38 (UTC-4:00) | Normal |  | 334.0 | 3.5 | 1169 | 305.9 | 3.5 | 1071 | 302.9 | 3.4 | 1030 | 10.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3200.000 | 59.970 | 17.900 | 880.000 | 13179.000 | 17557.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 22/12/2022 10:43:38 (UTC-4:00) | Normal |  | 342.4 | 3.9 | 1335 | 310.3 | 4.0 | 1241 | 303.3 | 3.9 | 1183 | 12.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3620.000 | 59.970 | 18.100 | 881.000 | 13179.000 | 17557.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 22/12/2022 10:48:37 (UTC-4:00) | Normal |  | 342.1 | 4.3 | 1471 | 306.1 | 4.4 | 1347 | 303.1 | 4.3 | 1303 | 15.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3990.000 | 59.970 | 18.500 | 881.000 | 13179.000 | 17557.000 | 49.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 22/12/2022 10:53:37 (UTC-4:00) | Normal |  | 344.6 | 4.2 | 1447 | 312.5 | 4.3 | 1344 | 309.4 | 4.2 | 1299 | 9.6 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3990.000 | 60.010 | 18.800 | 881.000 | 13180.000 | 17558.000 | 48.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 22/12/2022 10:58:37 (UTC-4:00) | Normal |  | 330.0 | 3.7 | 1221 | 301.9 | 3.7 | 1117 | 298.9 | 3.6 | 1076 | 12.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 14.9 | 0.0 | 0.0 | 3320.000 | 60.020 | 19.300 | 882.000 | 13180.000 | 17558.000 | 52.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 22/12/2022 11:03:39 (UTC-4:00) | Normal |  | 336.9 | 4.6 | 1550 | 308.7 | 4.7 | 1451 | 305.7 | 4.5 | 1376 | 9.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 19.0 | 0.0 | 0.0 | 4250.000 | 60.010 | 19.600 | 882.000 | 13180.000 | 17558.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 22/12/2022 11:08:39 (UTC-4:00) | Normal |  | 338.9 | 5.7 | 1932 | 311.0 | 5.8 | 1804 | 304.2 | 5.8 | 1764 | 12.3 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 23.7 | 0.0 | 0.0 | 5320.000 | 59.990 | 20.100 | 883.000 | 13181.000 | 17559.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 22/12/2022 11:13:39 (UTC-4:00) | Normal |  | 321.8 | 5.9 | 1899 | 301.5 | 5.9 | 1779 | 299.5 | 6.0 | 1797 | 12.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 23.9 | 0.0 | 0.0 | 5360.000 | 59.990 | 20.500 | 883.000 | 13181.000 | 17559.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 22/12/2022 11:18:39 (UTC-4:00) | Normal |  | 323.6 | 5.9 | 1909 | 292.0 | 6.2 | 1810 | 288.5 | 5.8 | 1673 | 10.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 23.2 | 0.0 | 0.0 | 5250.000 | 59.990 | 21.100 | 884.000 | 13182.000 | 17560.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 22/12/2022 11:23:38 (UTC-4:00) | Normal |  | 325.5 | 3.7 | 1204 | 305.7 | 3.6 | 1101 | 278.5 | 3.9 | 1086 | 14.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 14.7 | 0.0 | 0.0 | 3290.000 | 59.990 | 21.700 | 884.000 | 13183.000 | 17561.000 | 59.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 22/12/2022 11:28:38 (UTC-4:00) | Normal |  | 327.0 | 4.9 | 1602 | 298.8 | 5.0 | 1494 | 295.7 | 4.8 | 1419 | 10.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4400.000 | 60.010 | 22.100 | 885.000 | 13183.000 | 17561.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 22/12/2022 11:33:38 (UTC-4:00) | Normal |  | 333.9 | 10.2 | 3406 | 302.6 | 10.2 | 3087 | 296.9 | 10.2 | 3028 | 10.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 40.5 | 0.0 | 0.0 | 9210.000 | 59.990 | 22.700 | 885.000 | 13184.000 | 17562.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 22/12/2022 11:34:03 (UTC-4:00) | Normal |  | 333.9 | 10.2 | 3406 | 302.6 | 10.2 | 3087 | 296.9 | 10.2 | 3028 | 10.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 40.5 | 0.0 | 0.0 | 9210.000 | 59.990 | 22.700 | 885.000 | 13184.000 | 17562.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 22/12/2022 11:38:38 (UTC-4:00) | Normal |  | 314.3 | 10.2 | 3206 | 286.5 | 10.2 | 2922 | 278.5 | 10.2 | 2841 | 14.4 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 38.2 | 0.0 | 0.0 | 8680.000 | 59.940 | 23.400 | 886.000 | 13184.000 | 17562.000 | 61.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 22/12/2022 11:43:41 (UTC-4:00) | Normal |  | 312.2 | 9.7 | 3028 | 280.3 | 9.9 | 2775 | 277.2 | 9.7 | 2689 | 11.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 36.4 | 0.0 | 0.0 | 8220.000 | 59.980 | 24.100 | 887.000 | 13185.000 | 17563.000 | 63.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 22/12/2022 11:48:44 (UTC-4:00) | Normal |  | 316.9 | 10.2 | 3232 | 288.8 | 10.2 | 2946 | 280.8 | 10.2 | 2864 | 10.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 38.6 | 0.0 | 0.0 | 8760.000 | 60.020 | 24.700 | 887.000 | 13186.000 | 17564.000 | 62.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 22/12/2022 11:53:48 (UTC-4:00) | Normal |  | 329.8 | 10.2 | 3364 | 303.4 | 10.2 | 3095 | 296.9 | 10.1 | 2999 | 12.9 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 40.2 | 0.0 | 0.0 | 9130.000 | 60.020 | 25.300 | 888.000 | 13186.000 | 17564.000 | 62.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 22/12/2022 11:58:52 (UTC-4:00) | Normal |  | 323.3 | 10.2 | 3298 | 294.2 | 10.2 | 3001 | 286.8 | 10.2 | 2925 | 10.2 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 39.0 | 0.0 | 0.0 | 8910.000 | 60.010 | 25.900 | 888.000 | 13187.000 | 17565.000 | 64.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 22/12/2022 12:03:56 (UTC-4:00) | Normal |  | 315.2 | 4.6 | 1450 | 287.0 | 4.8 | 1378 | 280.1 | 4.6 | 1288 | 13.6 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 17.7 | 0.0 | 0.0 | 4000.000 | 60.010 | 26.500 | 889.000 | 13187.000 | 17565.000 | 64.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 22/12/2022 12:08:59 (UTC-4:00) | Normal |  | 335.1 | 10.2 | 3418 | 303.9 | 10.2 | 3100 | 297.5 | 10.2 | 3035 | 12.0 | 0.1 | 0 | 225.9 | 0.0 | 0.0 | 40.2 | 0.0 | 0.0 | 9210.000 | 60.010 | 27.300 | 890.000 | 13188.000 | 17566.000 | 66.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 22/12/2022 12:14:03 (UTC-4:00) | Normal |  | 306.8 | 10.2 | 3129 | 280.3 | 10.2 | 2859 | 270.3 | 10.2 | 2757 | 10.9 | 0.1 | 0 | 225.8 | 0.0 | 0.0 | 36.9 | 0.0 | 0.0 | 8430.000 | 59.990 | 28.000 | 891.000 | 13189.000 | 17567.000 | 68.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 22/12/2022 12:19:07 (UTC-4:00) | Normal |  | 308.0 | 2.5 | 770 | 283.9 | 2.6 | 738 | 272.9 | 2.5 | 682 | 12.1 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2080.000 | 59.930 | 28.600 | 891.000 | 13189.000 | 17567.000 | 66.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 22/12/2022 12:24:11 (UTC-4:00) | Normal |  | 314.5 | 10.2 | 3208 | 288.2 | 10.2 | 2940 | 287.2 | 9.9 | 2843 | 11.6 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 38.0 | 0.0 | 0.0 | 8700.000 | 60.000 | 29.100 | 892.000 | 13190.000 | 17568.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 22/12/2022 12:29:15 (UTC-4:00) | Normal |  | 340.5 | 10.2 | 3473 | 311.0 | 10.2 | 3172 | 302.9 | 10.2 | 3090 | 13.3 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 41.0 | 0.0 | 0.0 | 9400.000 | 60.000 | 29.600 | 892.000 | 13190.000 | 17568.000 | 63.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 22/12/2022 12:34:19 (UTC-4:00) | Normal |  | 319.6 | 10.2 | 3260 | 291.3 | 10.2 | 2971 | 285.6 | 10.1 | 2885 | 13.0 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 38.3 | 0.0 | 0.0 | 8790.000 | 60.030 | 30.400 | 893.000 | 13191.000 | 17569.000 | 67.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 22/12/2022 12:39:18 (UTC-4:00) | Normal |  | 326.3 | 2.9 | 946 | 290.2 | 3.0 | 871 | 279.2 | 3.0 | 838 | 10.8 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2540.000 | 59.990 | 30.600 | 893.000 | 13191.000 | 17569.000 | 61.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 22/12/2022 12:44:18 (UTC-4:00) | Normal |  | 338.4 | 3.2 | 1083 | 306.3 | 3.4 | 1041 | 299.3 | 3.2 | 958 | 11.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 13.4 | 0.0 | 0.0 | 3000.000 | 59.950 | 30.900 | 893.000 | 13192.000 | 17570.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 22/12/2022 12:49:18 (UTC-4:00) | Normal |  | 342.6 | 3.4 | 1165 | 310.4 | 3.5 | 1086 | 303.5 | 3.4 | 1032 | 13.8 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3130.000 | 59.960 | 31.100 | 894.000 | 13192.000 | 17570.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 22/12/2022 12:54:18 (UTC-4:00) | Normal |  | 342.0 | 3.2 | 1094 | 306.0 | 3.3 | 1010 | 306.9 | 3.1 | 951 | 12.3 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2940.000 | 59.970 | 31.400 | 894.000 | 13192.000 | 17570.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 22/12/2022 12:59:19 (UTC-4:00) | Normal |  | 354.4 | 2.8 | 992 | 310.4 | 3.0 | 931 | 303.5 | 3.0 | 911 | 9.4 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2720.000 | 60.020 | 31.600 | 894.000 | 13192.000 | 17570.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 22/12/2022 13:04:18 (UTC-4:00) | Normal |  | 335.4 | 9.5 | 3186 | 299.5 | 10.0 | 2995 | 300.4 | 9.7 | 2914 | 14.2 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 38.3 | 0.0 | 0.0 | 8760.000 | 59.980 | 32.300 | 895.000 | 13193.000 | 17571.000 | 57.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 22/12/2022 13:05:57 (UTC-4:00) | Normal |  | 336.3 | 6.0 | 2018 | 304.6 | 6.3 | 1919 | 293.6 | 6.3 | 1850 | 14.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5630.000 | 59.990 | 32.500 | 895.000 | 13193.000 | 17571.000 | 57.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 22/12/2022 13:11:14 (UTC-4:00) | Normal |  | 326.4 | 9.5 | 3101 | 298.0 | 9.5 | 2831 | 295.0 | 9.4 | 2773 | 11.7 | 0.1 | 0 | 225.4 | 0.0 | 0.0 | 36.9 | 0.0 | 0.0 | 8440.000 | 60.000 | 33.000 | 896.000 | 13194.000 | 17572.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 22/12/2022 13:16:42 (UTC-4:00) | Normal |  | 324.5 | 9.1 | 2953 | 296.2 | 9.1 | 2695 | 289.3 | 9.1 | 2633 | 14.3 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 35.2 | 0.0 | 0.0 | 8040.000 | 60.010 | 33.700 | 896.000 | 13195.000 | 17573.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 22/12/2022 13:16:50 (UTC-4:00) | Normal |  | 324.5 | 9.1 | 2953 | 296.2 | 9.1 | 2695 | 289.3 | 9.1 | 2633 | 14.3 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 35.2 | 0.0 | 0.0 | 8040.000 | 60.010 | 33.700 | 896.000 | 13195.000 | 17573.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 22/12/2022 13:21:22 (UTC-4:00) | Normal |  | 318.0 | 9.2 | 2926 | 289.9 | 9.3 | 2696 | 286.9 | 9.1 | 2611 | 10.7 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 34.7 | 0.0 | 0.0 | 7950.000 | 59.990 | 34.300 | 897.000 | 13195.000 | 17573.000 | 61.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 22/12/2022 13:21:44 (UTC-4:00) | Normal |  | 321.9 | 9.0 | 2897 | 293.7 | 9.0 | 2643 | 290.7 | 8.9 | 2587 | 10.9 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7890.000 | 60.000 | 34.400 | 897.000 | 13195.000 | 17573.000 | 62.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 22/12/2022 13:27:05 (UTC-4:00) | Normal |  | 318.6 | 8.5 | 2708 | 290.2 | 8.5 | 2467 | 283.4 | 8.4 | 2381 | 8.6 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 32.1 | 0.0 | 0.0 | 7320.000 | 59.980 | 35.000 | 898.000 | 13196.000 | 17574.000 | 62.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 22/12/2022 13:32:05 (UTC-4:00) | Normal |  | 326.5 | 8.0 | 2612 | 298.3 | 8.0 | 2386 | 291.5 | 7.9 | 2303 | 10.1 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 31.2 | 0.0 | 0.0 | 7100.000 | 60.020 | 35.500 | 898.000 | 13196.000 | 17574.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 22/12/2022 13:37:06 (UTC-4:00) | Normal |  | 324.4 | 3.0 | 973 | 290.7 | 4.7 | 1366 | 285.3 | 3.7 | 1056 | 12.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3230.000 | 59.960 | 36.100 | 899.000 | 13197.000 | 17575.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 22/12/2022 13:42:05 (UTC-4:00) | Normal |  | 324.6 | 2.2 | 714 | 288.6 | 2.4 | 693 | 289.3 | 2.2 | 636 | 9.8 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1960.000 | 59.960 | 36.600 | 899.000 | 13197.000 | 17575.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 22/12/2022 13:47:06 (UTC-4:00) | Normal |  | 340.2 | 1.6 | 544 | 308.2 | 1.7 | 524 | 301.1 | 1.6 | 482 | 13.1 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 6.6 | 0.0 | 0.0 | 1380.000 | 60.010 | 36.900 | 899.000 | 13198.000 | 17576.000 | 57.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 22/12/2022 13:52:06 (UTC-4:00) | Normal |  | 360.3 | 1.6 | 576 | 324.2 | 1.7 | 551 | 317.2 | 1.6 | 508 | 12.0 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1490.000 | 59.990 | 37.000 | 900.000 | 13198.000 | 17576.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 22/12/2022 13:57:06 (UTC-4:00) | Normal |  | 340.7 | 7.3 | 2487 | 308.5 | 7.4 | 2283 | 305.5 | 7.3 | 2230 | 13.8 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 29.8 | 0.0 | 0.0 | 6780.000 | 60.010 | 37.600 | 900.000 | 13198.000 | 17576.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 22/12/2022 14:02:08 (UTC-4:00) | Normal |  | 335.9 | 7.3 | 2452 | 300.0 | 7.5 | 2250 | 297.1 | 7.4 | 2199 | 10.7 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6690.000 | 59.980 | 38.100 | 901.000 | 13199.000 | 17577.000 | 59.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 22/12/2022 14:07:11 (UTC-4:00) | Normal |  | 336.7 | 4.9 | 1650 | 316.8 | 4.9 | 1552 | 305.4 | 4.7 | 1435 | 15.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4490.000 | 59.980 | 38.500 | 901.000 | 13199.000 | 17577.000 | 57.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 22/12/2022 14:12:15 (UTC-4:00) | Normal |  | 333.7 | 7.8 | 2603 | 305.5 | 7.8 | 2383 | 302.7 | 7.7 | 2331 | 10.9 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 31.1 | 0.0 | 0.0 | 7100.000 | 59.950 | 39.000 | 902.000 | 13200.000 | 17578.000 | 57.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 22/12/2022 14:17:14 (UTC-4:00) | Normal |  | 335.6 | 7.3 | 2450 | 299.8 | 7.5 | 2249 | 304.6 | 7.3 | 2224 | 9.4 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 29.5 | 0.0 | 0.0 | 6760.000 | 59.940 | 39.400 | 902.000 | 13200.000 | 17578.000 | 59.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 22/12/2022 14:22:14 (UTC-4:00) | Normal |  | 340.0 | 4.1 | 1394 | 303.8 | 4.5 | 1367 | 301.0 | 4.2 | 1264 | 13.7 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3880.000 | 59.950 | 39.900 | 902.000 | 13201.000 | 17579.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 22/12/2022 14:27:14 (UTC-4:00) | Normal |  | 344.4 | 2.0 | 689 | 308.3 | 2.1 | 647 | 309.3 | 2.0 | 619 | 9.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1860.000 | 60.030 | 40.100 | 903.000 | 13201.000 | 17579.000 | 53.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 22/12/2022 14:32:14 (UTC-4:00) | Normal |  | 353.8 | 3.2 | 1132 | 302.0 | 3.4 | 1027 | 310.6 | 3.2 | 994 | 13.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3050.000 | 60.020 | 40.500 | 903.000 | 13201.000 | 17579.000 | 52.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 22/12/2022 14:37:14 (UTC-4:00) | Normal |  | 342.4 | 2.5 | 856 | 306.4 | 2.6 | 797 | 303.3 | 2.4 | 728 | 15.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2280.000 | 60.000 | 40.800 | 903.000 | 13202.000 | 17580.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 22/12/2022 14:42:14 (UTC-4:00) | Normal |  | 342.4 | 2.3 | 788 | 314.2 | 2.4 | 754 | 311.2 | 2.2 | 685 | 12.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2140.000 | 60.000 | 41.000 | 904.000 | 13202.000 | 17580.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 22/12/2022 14:47:13 (UTC-4:00) | Normal |  | 338.1 | 1.8 | 609 | 306.1 | 1.9 | 582 | 303.1 | 1.8 | 546 | 15.6 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1650.000 | 59.990 | 41.400 | 904.000 | 13202.000 | 17580.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 22/12/2022 14:52:13 (UTC-4:00) | Normal |  | 342.7 | 5.7 | 1953 | 318.7 | 5.7 | 1817 | 311.7 | 5.6 | 1746 | 11.3 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5360.000 | 59.980 | 41.600 | 904.000 | 13202.000 | 17580.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 22/12/2022 14:57:13 (UTC-4:00) | Normal |  | 342.3 | 3.6 | 1232 | 322.3 | 3.6 | 1160 | 322.5 | 3.0 | 968 | 12.0 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3220.000 | 60.010 | 42.100 | 905.000 | 13203.000 | 17581.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 22/12/2022 15:02:13 (UTC-4:00) | Normal |  | 322.3 | 1.7 | 548 | 290.3 | 1.9 | 552 | 299.0 | 1.6 | 478 | 9.7 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1460.000 | 60.010 | 42.300 | 905.000 | 13203.000 | 17581.000 | 50.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 22/12/2022 15:07:13 (UTC-4:00) | Normal |  | 353.3 | 5.9 | 2084 | 317.0 | 6.1 | 1934 | 314.3 | 5.9 | 1854 | 13.5 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 25.1 | 0.0 | 0.0 | 5710.000 | 60.010 | 42.500 | 905.000 | 13203.000 | 17581.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 22/12/2022 15:12:14 (UTC-4:00) | Normal |  | 335.0 | 2.2 | 737 | 319.0 | 2.2 | 702 | 312.1 | 2.4 | 749 | 13.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2140.000 | 59.990 | 42.800 | 905.000 | 13204.000 | 17582.000 | 46.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 22/12/2022 15:17:18 (UTC-4:00) | Normal |  | 350.5 | 4.5 | 1577 | 318.3 | 4.6 | 1464 | 319.3 | 4.4 | 1405 | 15.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.0 | 0.0 | 0.0 | 4290.000 | 59.980 | 43.100 | 906.000 | 13204.000 | 17582.000 | 47.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 22/12/2022 15:22:22 (UTC-4:00) | Normal |  | 350.6 | 4.8 | 1683 | 318.5 | 4.9 | 1561 | 319.4 | 4.7 | 1501 | 10.5 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 20.2 | 0.0 | 0.0 | 4590.000 | 59.980 | 43.400 | 906.000 | 13204.000 | 17582.000 | 48.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 22/12/2022 15:27:25 (UTC-4:00) | Normal |  | 342.5 | 5.5 | 1884 | 314.2 | 5.5 | 1728 | 311.2 | 5.4 | 1680 | 13.0 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 22.6 | 0.0 | 0.0 | 5140.000 | 59.970 | 43.800 | 906.000 | 13205.000 | 17583.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 22/12/2022 15:32:25 (UTC-4:00) | Normal |  | 340.4 | 5.1 | 1736 | 312.3 | 5.2 | 1624 | 305.4 | 5.1 | 1558 | 10.5 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 21.1 | 0.0 | 0.0 | 4800.000 | 60.030 | 44.100 | 907.000 | 13205.000 | 17583.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 22/12/2022 15:37:25 (UTC-4:00) | Normal |  | 342.0 | 4.8 | 1642 | 309.8 | 4.9 | 1518 | 314.8 | 4.6 | 1448 | 10.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4510.000 | 59.960 | 44.500 | 907.000 | 13205.000 | 17583.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 22/12/2022 15:42:25 (UTC-4:00) | Normal |  | 351.1 | 1.9 | 667 | 299.1 | 2.0 | 598 | 300.1 | 2.0 | 600 | 16.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1790.000 | 59.950 | 44.800 | 907.000 | 13206.000 | 17584.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 22/12/2022 15:47:25 (UTC-4:00) | Normal |  | 331.1 | 1.0 | 331 | 299.1 | 1.1 | 329 | 300.0 | 1.0 | 300 | 14.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1020.000 | 60.000 | 45.000 | 908.000 | 13206.000 | 17584.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 22/12/2022 15:52:24 (UTC-4:00) | Normal |  | 342.6 | 2.9 | 994 | 310.3 | 3.0 | 931 | 295.7 | 2.9 | 858 | 11.6 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 12.0 | 0.0 | 0.0 | 2690.000 | 60.030 | 45.000 | 908.000 | 13206.000 | 17584.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 22/12/2022 15:57:24 (UTC-4:00) | Normal |  | 358.1 | 3.4 | 1218 | 326.0 | 3.4 | 1108 | 323.1 | 3.3 | 1066 | 10.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3280.000 | 60.010 | 45.200 | 908.000 | 13206.000 | 17584.000 | 42.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 22/12/2022 16:02:24 (UTC-4:00) | Normal |  | 360.4 | 3.6 | 1297 | 320.3 | 3.8 | 1217 | 321.3 | 3.6 | 1157 | 10.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 3580.000 | 60.000 | 45.400 | 908.000 | 13206.000 | 17584.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 22/12/2022 16:07:24 (UTC-4:00) | Normal |  | 360.2 | 3.3 | 1189 | 324.2 | 3.4 | 1102 | 321.3 | 3.3 | 1060 | 13.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3220.000 | 60.000 | 45.600 | 908.000 | 13206.000 | 17584.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 22/12/2022 16:12:24 (UTC-4:00) | Normal |  | 354.3 | 3.2 | 1134 | 322.1 | 3.3 | 1063 | 323.1 | 3.1 | 1002 | 13.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3090.000 | 59.950 | 45.800 | 908.000 | 13207.000 | 17585.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 22/12/2022 16:17:23 (UTC-4:00) | Normal |  | 346.4 | 1.6 | 554 | 310.3 | 1.7 | 528 | 307.3 | 1.5 | 461 | 16.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1360.000 | 60.000 | 46.000 | 909.000 | 13207.000 | 17585.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 22/12/2022 16:22:23 (UTC-4:00) | Normal |  | 342.1 | 1.1 | 376 | 306.0 | 1.3 | 398 | 311.0 | 1.1 | 342 | 13.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1120.000 | 59.970 | 46.100 | 909.000 | 13207.000 | 17585.000 | 40.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 22/12/2022 16:27:27 (UTC-4:00) | Normal |  | 344.5 | 1.0 | 345 | 308.3 | 1.1 | 339 | 313.3 | 0.9 | 282 | 16.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 940.000 | 59.990 | 46.200 | 909.000 | 13207.000 | 17585.000 | 39.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 22/12/2022 16:32:31 (UTC-4:00) | Normal |  | 355.8 | 0.6 | 213 | 327.8 | 0.6 | 197 | 320.7 | 0.5 | 160 | 12.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 510.000 | 59.990 | 46.300 | 909.000 | 13207.000 | 17585.000 | 38.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 22/12/2022 16:37:34 (UTC-4:00) | Normal |  | 328.2 | 0.4 | 131 | 304.2 | 0.4 | 122 | 301.1 | 0.3 | 90 | 10.3 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 59.990 | 46.400 | 909.000 | 13207.000 | 17585.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 22/12/2022 16:42:38 (UTC-4:00) | Normal |  | 358.5 | 0.9 | 323 | 322.3 | 1.0 | 322 | 299.4 | 0.9 | 269 | 10.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 840.000 | 60.020 | 46.400 | 909.000 | 13207.000 | 17585.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 22/12/2022 16:47:42 (UTC-4:00) | Normal |  | 322.2 | 0.3 | 97 | 290.1 | 0.4 | 116 | 295.1 | 0.2 | 59 | 14.3 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 59.990 | 46.400 | 909.000 | 13207.000 | 17585.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 22/12/2022 16:52:46 (UTC-4:00) | Normal |  | 322.4 | 0.2 | 64 | 298.3 | 0.3 | 89 | 283.1 | 0.2 | 57 | 12.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 59.990 | 46.500 | 909.000 | 13207.000 | 17585.000 | 35.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 22/12/2022 16:57:49 (UTC-4:00) | Normal |  | 354.4 | 0.5 | 177 | 317.9 | 0.5 | 159 | 315.2 | 0.4 | 126 | 10.2 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 470.000 | 59.990 | 46.500 | 909.000 | 13207.000 | 17585.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 22/12/2022 17:02:53 (UTC-4:00) | Normal |  | 320.2 | 0.3 | 96 | 292.0 | 0.3 | 88 | 285.1 | 0.2 | 57 | 13.1 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 210.000 | 59.990 | 46.500 | 909.000 | 13207.000 | 17585.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 22/12/2022 17:07:57 (UTC-4:00) | Normal |  | 376.1 | 0.3 | 113 | 323.9 | 0.4 | 130 | 316.7 | 0.4 | 127 | 11.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 340.000 | 59.980 | 46.500 | 909.000 | 13207.000 | 17585.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 22/12/2022 17:13:01 (UTC-4:00) | Normal |  | 348.5 | 0.3 | 105 | 312.3 | 0.4 | 125 | 309.4 | 0.4 | 124 | 13.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 280.000 | 60.010 | 46.500 | 909.000 | 13207.000 | 17585.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 22/12/2022 17:18:05 (UTC-4:00) | Normal |  | 316.2 | 0.2 | 63 | 296.1 | 0.2 | 59 | 281.0 | 0.2 | 56 | 11.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 170.000 | 60.040 | 46.600 | 909.000 | 13207.000 | 17585.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 22/12/2022 17:23:08 (UTC-4:00) | Normal |  | 306.9 | 0.1 | 31 | 290.1 | 0.2 | 58 | 278.1 | 0.1 | 28 | 10.4 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 59.990 | 46.600 | 909.000 | 13207.000 | 17585.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 22/12/2022 17:28:12 (UTC-4:00) | Normal |  | 298.7 | 0.1 | 30 | 273.1 | 0.1 | 27 | 331.4 | 0.1 | 33 | 10.6 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.930 | 46.600 | 909.000 | 13207.000 | 17585.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 22/12/2022 17:33:16 (UTC-4:00) | Normal |  | 287.0 | 0.1 | 29 | 273.2 | 0.1 | 27 | 257.2 | 0.1 | 26 | 14.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 22/12/2022 17:38:20 (UTC-4:00) | Normal |  | 287.5 | 0.1 | 29 | 273.2 | 0.1 | 27 | 255.7 | 0.1 | 26 | 10.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.930 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 22/12/2022 17:43:19 (UTC-4:00) | Normal |  | 352.3 | 0.1 | 35 | 273.1 | 0.1 | 27 | 256.7 | 0.1 | 26 | 17.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 22/12/2022 17:48:19 (UTC-4:00) | Normal |  | 277.6 | 0.1 | 28 | 273.1 | 0.1 | 27 | 258.5 | 0.1 | 26 | 14.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 22/12/2022 17:53:19 (UTC-4:00) | Normal |  | 273.2 | 0.1 | 27 | 273.1 | 0.1 | 27 | 248.0 | 0.1 | 25 | 11.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 22/12/2022 17:58:19 (UTC-4:00) | Normal |  | 267.5 | 0.1 | 27 | 273.1 | 0.1 | 27 | 237.7 | 0.1 | 24 | 17.6 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 22/12/2022 18:03:18 (UTC-4:00) | Normal |  | 252.9 | 0.1 | 25 | 273.1 | 0.1 | 27 | 231.9 | 0.1 | 23 | 15.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 46.600 | 909.000 | 13207.000 | 17585.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 22/12/2022 18:08:18 (UTC-4:00) | Normal |  | 237.8 | 0.1 | 24 | 256.2 | 0.1 | 26 | 207.7 | 0.1 | 21 | 17.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 46.600 | 909.000 | 13207.000 | 17585.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 22/12/2022 18:13:18 (UTC-4:00) | Normal |  | 199.8 | 0.1 | 20 | 193.9 | 0.1 | 19 | 193.3 | 0.1 | 19 | 12.9 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 46.600 | 909.000 | 13207.000 | 17585.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
175 | 22/12/2022 18:18:17 (UTC-4:00) | Normal |  | 86.7 | 0.1 | 9 | 82.3 | 0.1 | 8 | 82.0 | 0.1 | 8 | 17.7 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 46.600 | 909.000 | 13207.000 | 17585.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0