## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024209
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 23/12/2022 04:17:20 (UTC-4:00) | Normal |  | 142.4 | 0.1 | 14 | 142.1 | 0.1 | 14 | 140.5 | 0.1 | 14 | 2.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 909.000 | 13207.000 | 17585.000 | 24.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 23/12/2022 04:22:21 (UTC-4:00) | Normal |  | 288.4 | 0.1 | 29 | 259.8 | 0.1 | 26 | 259.6 | 0.1 | 26 | 11.4 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 909.000 | 13207.000 | 17585.000 | 25.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 23/12/2022 04:27:20 (UTC-4:00) | Normal |  | 294.5 | 0.1 | 29 | 265.2 | 0.1 | 27 | 265.0 | 0.1 | 27 | 15.3 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 909.000 | 13207.000 | 17585.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 23/12/2022 04:32:22 (UTC-4:00) | Normal |  | 303.9 | 0.1 | 30 | 274.2 | 0.1 | 27 | 274.0 | 0.1 | 27 | 12.2 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 0.000 | 909.000 | 13207.000 | 17585.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 23/12/2022 04:37:25 (UTC-4:00) | Normal |  | 390.6 | 0.1 | 39 | 274.3 | 0.1 | 27 | 352.0 | 0.1 | 35 | 15.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 909.000 | 13207.000 | 17585.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 23/12/2022 04:42:29 (UTC-4:00) | Normal |  | 315.9 | 0.1 | 32 | 274.2 | 0.2 | 55 | 284.3 | 0.1 | 28 | 12.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 59.980 | 0.000 | 909.000 | 13207.000 | 17585.000 | 26.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 23/12/2022 04:47:28 (UTC-4:00) | Normal |  | 316.1 | 0.2 | 63 | 292.3 | 0.2 | 58 | 287.3 | 0.1 | 29 | 18.5 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 120.000 | 60.010 | 0.000 | 909.000 | 13207.000 | 17585.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 23/12/2022 04:52:28 (UTC-4:00) | Normal |  | 300.0 | 0.3 | 90 | 314.2 | 0.3 | 94 | 287.2 | 0.2 | 57 | 13.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 200.000 | 60.010 | 0.000 | 909.000 | 13207.000 | 17585.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 23/12/2022 04:57:27 (UTC-4:00) | Normal |  | 356.2 | 0.4 | 142 | 318.4 | 0.4 | 127 | 315.4 | 0.3 | 95 | 15.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 290.000 | 60.010 | 0.000 | 909.000 | 13207.000 | 17585.000 | 28.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 23/12/2022 05:02:27 (UTC-4:00) | Normal |  | 373.6 | 0.4 | 149 | 323.7 | 0.4 | 129 | 336.9 | 0.3 | 101 | 11.4 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.010 | 0.100 | 909.000 | 13208.000 | 17586.000 | 28.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 23/12/2022 05:07:26 (UTC-4:00) | Normal |  | 372.1 | 0.5 | 186 | 322.2 | 0.6 | 193 | 331.3 | 0.5 | 166 | 16.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 510.000 | 59.980 | 0.100 | 909.000 | 13208.000 | 17586.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 23/12/2022 05:12:26 (UTC-4:00) | Normal |  | 367.9 | 0.7 | 258 | 322.2 | 0.7 | 226 | 331.1 | 0.7 | 232 | 11.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 650.000 | 59.990 | 0.200 | 909.000 | 13208.000 | 17586.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 23/12/2022 05:17:25 (UTC-4:00) | Normal |  | 369.9 | 0.8 | 296 | 324.1 | 0.9 | 292 | 333.1 | 0.8 | 266 | 17.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 790.000 | 59.980 | 0.200 | 909.000 | 13208.000 | 17586.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 23/12/2022 05:22:24 (UTC-4:00) | Normal |  | 365.9 | 1.0 | 366 | 320.1 | 1.0 | 320 | 337.1 | 0.9 | 303 | 16.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 59.970 | 0.300 | 909.000 | 13208.000 | 17586.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 23/12/2022 05:27:24 (UTC-4:00) | Normal |  | 380.1 | 1.0 | 380 | 314.3 | 1.2 | 377 | 331.3 | 1.0 | 331 | 10.7 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1040.000 | 60.010 | 0.400 | 910.000 | 13208.000 | 17586.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 23/12/2022 05:32:23 (UTC-4:00) | Normal |  | 370.0 | 1.3 | 481 | 332.2 | 1.3 | 432 | 333.2 | 1.2 | 400 | 16.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.1 | 0.0 | 0.0 | 1250.000 | 59.990 | 0.500 | 910.000 | 13208.000 | 17586.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 23/12/2022 05:37:23 (UTC-4:00) | Normal |  | 374.0 | 1.5 | 561 | 336.2 | 1.6 | 538 | 329.2 | 1.6 | 527 | 17.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1440.000 | 60.020 | 0.600 | 910.000 | 13208.000 | 17586.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 23/12/2022 05:42:26 (UTC-4:00) | Normal |  | 367.9 | 1.7 | 625 | 334.1 | 1.8 | 601 | 327.2 | 1.7 | 556 | 14.8 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1640.000 | 60.040 | 0.700 | 910.000 | 13208.000 | 17586.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 23/12/2022 05:47:30 (UTC-4:00) | Normal |  | 364.1 | 1.9 | 692 | 330.3 | 2.0 | 661 | 327.3 | 1.9 | 622 | 10.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1850.000 | 60.000 | 0.900 | 910.000 | 13208.000 | 17586.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 23/12/2022 05:52:33 (UTC-4:00) | Normal |  | 361.9 | 2.1 | 760 | 328.1 | 2.2 | 722 | 329.0 | 2.0 | 658 | 13.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2030.000 | 59.950 | 1.000 | 910.000 | 13208.000 | 17586.000 | 34.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 23/12/2022 05:57:37 (UTC-4:00) | Normal |  | 358.2 | 2.3 | 824 | 324.4 | 2.4 | 779 | 325.4 | 2.2 | 716 | 16.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2210.000 | 60.000 | 1.200 | 910.000 | 13209.000 | 17587.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 23/12/2022 06:02:36 (UTC-4:00) | Normal |  | 356.0 | 2.4 | 854 | 330.1 | 2.4 | 792 | 323.1 | 2.4 | 775 | 11.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2340.000 | 59.980 | 1.400 | 911.000 | 13209.000 | 17587.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 23/12/2022 06:07:36 (UTC-4:00) | Normal |  | 360.1 | 2.6 | 936 | 326.3 | 2.6 | 848 | 319.3 | 2.6 | 830 | 17.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2530.000 | 59.950 | 1.600 | 911.000 | 13209.000 | 17587.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 23/12/2022 06:12:35 (UTC-4:00) | Normal |  | 359.7 | 2.8 | 1007 | 322.1 | 2.9 | 934 | 319.1 | 2.8 | 893 | 15.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 12.3 | 0.0 | 0.0 | 2730.000 | 59.930 | 1.800 | 911.000 | 13209.000 | 17587.000 | 37.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 23/12/2022 06:17:35 (UTC-4:00) | Normal |  | 355.8 | 3.0 | 1067 | 325.9 | 3.0 | 978 | 319.0 | 3.0 | 957 | 12.4 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2920.000 | 59.960 | 2.000 | 911.000 | 13209.000 | 17587.000 | 38.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 23/12/2022 06:22:34 (UTC-4:00) | Normal |  | 358.2 | 3.2 | 1146 | 324.3 | 3.3 | 1070 | 317.4 | 3.2 | 1016 | 16.1 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3090.000 | 60.050 | 2.300 | 911.000 | 13210.000 | 17588.000 | 39.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 23/12/2022 06:27:34 (UTC-4:00) | Normal |  | 356.1 | 3.4 | 1211 | 322.2 | 3.5 | 1128 | 319.3 | 3.4 | 1086 | 10.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3280.000 | 60.020 | 2.600 | 912.000 | 13210.000 | 17588.000 | 40.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 23/12/2022 06:32:33 (UTC-4:00) | Normal |  | 354.3 | 3.6 | 1275 | 320.4 | 3.7 | 1185 | 317.4 | 3.6 | 1143 | 17.1 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3450.000 | 59.970 | 2.800 | 912.000 | 13210.000 | 17588.000 | 40.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 23/12/2022 06:37:33 (UTC-4:00) | Normal |  | 354.2 | 3.7 | 1311 | 320.4 | 3.8 | 1218 | 317.4 | 3.7 | 1174 | 16.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 3600.000 | 60.000 | 3.100 | 912.000 | 13211.000 | 17589.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 23/12/2022 06:42:33 (UTC-4:00) | Normal |  | 347.9 | 3.9 | 1357 | 314.1 | 4.0 | 1256 | 315.0 | 3.9 | 1229 | 14.2 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 16.6 | 0.0 | 0.0 | 3750.000 | 60.020 | 3.400 | 913.000 | 13211.000 | 17589.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 23/12/2022 06:47:32 (UTC-4:00) | Normal |  | 351.9 | 4.1 | 1443 | 314.2 | 4.3 | 1351 | 311.2 | 4.2 | 1307 | 13.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3960.000 | 60.020 | 3.800 | 913.000 | 13211.000 | 17589.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 23/12/2022 06:52:31 (UTC-4:00) | Normal |  | 347.8 | 4.3 | 1496 | 314.0 | 4.5 | 1413 | 310.9 | 4.3 | 1337 | 12.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 18.3 | 0.0 | 0.0 | 4140.000 | 60.040 | 4.100 | 913.000 | 13212.000 | 17590.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 23/12/2022 06:57:34 (UTC-4:00) | Normal |  | 343.8 | 4.5 | 1547 | 317.9 | 4.5 | 1431 | 311.0 | 4.4 | 1368 | 15.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 18.8 | 0.0 | 0.0 | 4220.000 | 59.990 | 4.500 | 914.000 | 13212.000 | 17590.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 23/12/2022 07:02:37 (UTC-4:00) | Normal |  | 341.9 | 4.7 | 1607 | 320.0 | 4.6 | 1472 | 309.1 | 4.7 | 1453 | 11.1 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4410.000 | 59.930 | 4.800 | 914.000 | 13212.000 | 17590.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 23/12/2022 07:07:41 (UTC-4:00) | Normal |  | 346.1 | 4.8 | 1661 | 308.4 | 5.0 | 1542 | 305.5 | 4.8 | 1466 | 10.1 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 20.3 | 0.0 | 0.0 | 4550.000 | 59.940 | 5.200 | 914.000 | 13213.000 | 17591.000 | 47.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 23/12/2022 07:12:44 (UTC-4:00) | Normal |  | 348.0 | 4.9 | 1705 | 306.2 | 5.2 | 1592 | 303.2 | 5.0 | 1516 | 10.8 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4670.000 | 59.930 | 5.600 | 915.000 | 13213.000 | 17591.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 23/12/2022 07:17:48 (UTC-4:00) | Normal |  | 336.1 | 5.2 | 1748 | 306.3 | 5.3 | 1623 | 303.3 | 5.2 | 1577 | 16.6 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4850.000 | 59.970 | 6.000 | 915.000 | 13213.000 | 17591.000 | 48.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 23/12/2022 07:22:51 (UTC-4:00) | Normal |  | 338.2 | 5.0 | 1691 | 304.4 | 5.2 | 1583 | 305.4 | 5.0 | 1527 | 10.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4670.000 | 59.990 | 6.400 | 916.000 | 13214.000 | 17592.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 23/12/2022 07:27:51 (UTC-4:00) | Normal |  | 334.0 | 5.6 | 1870 | 308.0 | 5.6 | 1725 | 301.1 | 5.6 | 1686 | 10.7 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5150.000 | 59.970 | 6.700 | 916.000 | 13214.000 | 17592.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 23/12/2022 07:32:50 (UTC-4:00) | Normal |  | 340.3 | 5.9 | 2008 | 302.7 | 6.1 | 1846 | 303.6 | 6.0 | 1822 | 15.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 24.2 | 0.0 | 0.0 | 5500.000 | 60.050 | 7.200 | 916.000 | 13215.000 | 17593.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 23/12/2022 07:37:50 (UTC-4:00) | Normal |  | 336.2 | 6.2 | 2084 | 302.4 | 6.3 | 1905 | 299.5 | 6.2 | 1857 | 11.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 25.1 | 0.0 | 0.0 | 5690.000 | 60.010 | 7.700 | 917.000 | 13215.000 | 17593.000 | 52.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 23/12/2022 07:42:49 (UTC-4:00) | Normal |  | 330.0 | 6.6 | 2178 | 300.1 | 6.7 | 2011 | 293.3 | 6.7 | 1965 | 11.9 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5960.000 | 60.010 | 8.200 | 917.000 | 13216.000 | 17594.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 23/12/2022 07:47:49 (UTC-4:00) | Normal |  | 326.4 | 6.7 | 2187 | 296.4 | 6.8 | 2016 | 293.5 | 6.7 | 1966 | 10.1 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 26.5 | 0.0 | 0.0 | 5980.000 | 60.020 | 8.700 | 918.000 | 13216.000 | 17594.000 | 55.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 23/12/2022 07:52:48 (UTC-4:00) | Normal |  | 329.0 | 6.4 | 2106 | 290.9 | 6.3 | 1833 | 292.8 | 6.6 | 1932 | 9.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 25.3 | 0.0 | 0.0 | 5670.000 | 60.000 | 9.100 | 918.000 | 13217.000 | 17595.000 | 54.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 23/12/2022 07:57:48 (UTC-4:00) | Normal |  | 316.7 | 3.9 | 1235 | 295.0 | 4.0 | 1180 | 295.8 | 3.8 | 1124 | 12.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 15.5 | 0.0 | 0.0 | 3450.000 | 60.020 | 9.600 | 919.000 | 13217.000 | 17595.000 | 54.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 23/12/2022 08:02:47 (UTC-4:00) | Normal |  | 326.6 | 6.8 | 2221 | 292.9 | 7.1 | 2080 | 294.0 | 6.8 | 1999 | 9.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 27.0 | 0.0 | 0.0 | 6150.000 | 60.020 | 10.100 | 919.000 | 13218.000 | 17596.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 23/12/2022 08:07:49 (UTC-4:00) | Normal |  | 326.4 | 4.7 | 1534 | 296.4 | 4.8 | 1423 | 297.8 | 4.7 | 1400 | 9.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4230.000 | 60.000 | 10.500 | 920.000 | 13218.000 | 17596.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 23/12/2022 08:12:48 (UTC-4:00) | Normal |  | 319.5 | 3.7 | 1182 | 293.7 | 3.7 | 1087 | 294.8 | 3.6 | 1061 | 12.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3240.000 | 59.990 | 10.900 | 920.000 | 13218.000 | 17596.000 | 53.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 23/12/2022 08:17:48 (UTC-4:00) | Normal |  | 342.5 | 4.1 | 1404 | 300.6 | 4.4 | 1323 | 301.8 | 4.3 | 1298 | 15.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3930.000 | 60.020 | 11.300 | 920.000 | 13219.000 | 17597.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 23/12/2022 08:22:48 (UTC-4:00) | Normal |  | 324.7 | 4.0 | 1299 | 294.7 | 4.1 | 1208 | 295.9 | 3.9 | 1154 | 9.8 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 3580.000 | 60.000 | 11.600 | 921.000 | 13219.000 | 17597.000 | 52.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 23/12/2022 08:27:49 (UTC-4:00) | Normal |  | 332.5 | 3.2 | 1064 | 302.6 | 3.3 | 999 | 295.8 | 3.2 | 947 | 14.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2890.000 | 59.970 | 11.900 | 921.000 | 13219.000 | 17597.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 23/12/2022 08:32:52 (UTC-4:00) | Normal |  | 333.7 | 6.5 | 2169 | 292.1 | 6.8 | 1986 | 297.0 | 6.7 | 1990 | 15.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 26.4 | 0.0 | 0.0 | 5970.000 | 60.000 | 12.400 | 922.000 | 13220.000 | 17598.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 23/12/2022 08:37:56 (UTC-4:00) | Normal |  | 337.5 | 7.0 | 2363 | 303.2 | 6.5 | 1971 | 304.9 | 7.3 | 2226 | 12.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 28.0 | 0.0 | 0.0 | 6270.000 | 60.000 | 12.800 | 922.000 | 13220.000 | 17598.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 23/12/2022 08:42:59 (UTC-4:00) | Normal |  | 326.3 | 7.8 | 2545 | 296.5 | 7.9 | 2342 | 297.3 | 7.7 | 2289 | 13.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 30.7 | 0.0 | 0.0 | 6970.000 | 60.040 | 13.400 | 923.000 | 13221.000 | 17599.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 23/12/2022 08:48:03 (UTC-4:00) | Normal |  | 322.1 | 7.9 | 2545 | 292.3 | 8.1 | 2368 | 289.4 | 8.0 | 2315 | 15.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 31.0 | 0.0 | 0.0 | 7010.000 | 59.990 | 14.000 | 923.000 | 13221.000 | 17599.000 | 59.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 23/12/2022 08:53:06 (UTC-4:00) | Normal |  | 315.7 | 8.4 | 2652 | 289.9 | 8.4 | 2435 | 290.8 | 8.2 | 2385 | 11.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 32.0 | 0.0 | 0.0 | 7230.000 | 60.030 | 14.600 | 924.000 | 13222.000 | 17600.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 23/12/2022 08:53:17 (UTC-4:00) | Normal |  | 315.7 | 8.4 | 2652 | 289.9 | 8.4 | 2435 | 290.8 | 8.2 | 2385 | 11.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 32.0 | 0.0 | 0.0 | 7230.000 | 60.030 | 14.600 | 924.000 | 13222.000 | 17600.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 23/12/2022 08:58:12 (UTC-4:00) | Normal |  | 319.8 | 8.4 | 2686 | 289.9 | 8.6 | 2493 | 287.1 | 8.5 | 2440 | 11.9 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 32.5 | 0.0 | 0.0 | 7390.000 | 60.050 | 15.200 | 924.000 | 13223.000 | 17601.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 23/12/2022 09:03:14 (UTC-4:00) | Normal |  | 317.5 | 9.4 | 2985 | 284.0 | 9.6 | 2726 | 284.3 | 9.2 | 2616 | 9.7 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 35.5 | 0.0 | 0.0 | 8060.000 | 60.060 | 15.800 | 925.000 | 13223.000 | 17601.000 | 63.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 23/12/2022 09:08:17 (UTC-4:00) | Normal |  | 314.0 | 9.1 | 2857 | 288.8 | 9.3 | 2686 | 273.6 | 9.4 | 2572 | 13.8 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 34.7 | 0.0 | 0.0 | 7870.000 | 60.020 | 16.400 | 926.000 | 13224.000 | 17602.000 | 62.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 23/12/2022 09:13:20 (UTC-4:00) | Normal |  | 318.1 | 5.8 | 1845 | 288.0 | 5.7 | 1642 | 289.4 | 5.6 | 1621 | 10.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4950.000 | 60.010 | 16.900 | 926.000 | 13224.000 | 17602.000 | 61.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 23/12/2022 09:18:20 (UTC-4:00) | Normal |  | 324.6 | 4.6 | 1493 | 298.8 | 4.6 | 1374 | 296.1 | 4.7 | 1392 | 8.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4160.000 | 60.000 | 17.200 | 926.000 | 13225.000 | 17603.000 | 57.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 23/12/2022 09:23:20 (UTC-4:00) | Normal |  | 323.5 | 9.7 | 3138 | 293.4 | 9.7 | 2846 | 294.5 | 9.7 | 2857 | 12.6 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 37.3 | 0.0 | 0.0 | 8540.000 | 60.000 | 17.700 | 927.000 | 13225.000 | 17603.000 | 59.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 23/12/2022 09:28:19 (UTC-4:00) | Normal |  | 314.0 | 4.7 | 1476 | 288.0 | 4.7 | 1354 | 293.0 | 4.5 | 1319 | 10.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 17.9 | 0.0 | 0.0 | 4030.000 | 59.990 | 18.400 | 928.000 | 13226.000 | 17604.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 23/12/2022 09:33:18 (UTC-4:00) | Normal |  | 327.6 | 10.2 | 3342 | 299.7 | 10.2 | 3057 | 301.2 | 10.2 | 3072 | 10.0 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 40.0 | 0.0 | 0.0 | 9160.000 | 60.040 | 18.900 | 928.000 | 13226.000 | 17604.000 | 60.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 23/12/2022 09:38:18 (UTC-4:00) | Normal |  | 315.1 | 10.0 | 3151 | 289.6 | 10.1 | 2925 | 285.9 | 9.7 | 2773 | 12.2 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 37.2 | 0.0 | 0.0 | 8560.000 | 59.990 | 19.400 | 929.000 | 13227.000 | 17605.000 | 61.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 23/12/2022 09:43:17 (UTC-4:00) | Normal |  | 321.6 | 4.7 | 1512 | 287.6 | 5.0 | 1438 | 280.7 | 4.8 | 1347 | 8.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4190.000 | 60.000 | 20.000 | 929.000 | 13227.000 | 17605.000 | 61.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 23/12/2022 09:48:17 (UTC-4:00) | Normal |  | 310.4 | 9.0 | 2794 | 280.5 | 9.1 | 2553 | 281.5 | 8.9 | 2505 | 8.6 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 33.2 | 0.0 | 0.0 | 7610.000 | 59.990 | 20.600 | 930.000 | 13228.000 | 17606.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 23/12/2022 09:53:16 (UTC-4:00) | Normal |  | 308.1 | 8.9 | 2742 | 278.4 | 9.0 | 2506 | 279.3 | 8.8 | 2458 | 8.5 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7490.000 | 60.000 | 21.300 | 930.000 | 13229.000 | 17607.000 | 63.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 23/12/2022 09:58:16 (UTC-4:00) | Normal |  | 304.6 | 9.0 | 2741 | 278.8 | 9.1 | 2537 | 279.7 | 8.9 | 2489 | 9.0 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7530.000 | 60.040 | 21.900 | 931.000 | 13229.000 | 17607.000 | 64.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 23/12/2022 10:03:15 (UTC-4:00) | Normal |  | 305.5 | 9.3 | 2841 | 279.8 | 9.4 | 2630 | 273.0 | 9.5 | 2594 | 13.1 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 34.1 | 0.0 | 0.0 | 7800.000 | 59.940 | 22.500 | 932.000 | 13230.000 | 17608.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 23/12/2022 10:08:15 (UTC-4:00) | Normal |  | 302.7 | 10.2 | 3088 | 277.4 | 10.2 | 2829 | 273.9 | 10.2 | 2794 | 12.2 | 0.1 | 0 | 225.4 | 0.0 | 0.0 | 36.7 | 0.0 | 0.0 | 8400.000 | 60.000 | 23.200 | 932.000 | 13231.000 | 17609.000 | 66.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 23/12/2022 10:13:15 (UTC-4:00) | Normal |  | 296.4 | 3.5 | 1037 | 274.5 | 3.5 | 961 | 275.5 | 3.4 | 937 | 8.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2830.000 | 59.990 | 23.800 | 933.000 | 13231.000 | 17609.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 23/12/2022 10:18:18 (UTC-4:00) | Normal |  | 312.1 | 6.1 | 1904 | 293.9 | 5.7 | 1675 | 279.1 | 6.1 | 1703 | 8.8 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 22.6 | 0.0 | 0.0 | 5110.000 | 59.960 | 24.300 | 933.000 | 13232.000 | 17610.000 | 63.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 23/12/2022 10:23:22 (UTC-4:00) | Normal |  | 322.1 | 5.9 | 1900 | 284.2 | 5.7 | 1620 | 284.9 | 5.7 | 1624 | 10.9 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 22.1 | 0.0 | 0.0 | 4990.000 | 59.970 | 24.600 | 934.000 | 13232.000 | 17610.000 | 58.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 23/12/2022 10:28:26 (UTC-4:00) | Normal |  | 312.1 | 4.0 | 1248 | 282.2 | 4.2 | 1185 | 279.3 | 4.0 | 1117 | 12.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 15.3 | 0.0 | 0.0 | 3450.000 | 59.960 | 25.100 | 934.000 | 13233.000 | 17611.000 | 59.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 23/12/2022 10:33:29 (UTC-4:00) | Normal |  | 313.4 | 3.5 | 1097 | 283.6 | 3.6 | 1021 | 284.5 | 3.4 | 967 | 9.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3020.000 | 59.990 | 25.400 | 935.000 | 13233.000 | 17611.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 23/12/2022 10:38:32 (UTC-4:00) | Normal |  | 324.5 | 4.0 | 1298 | 286.7 | 4.2 | 1204 | 283.8 | 4.1 | 1164 | 9.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3570.000 | 60.000 | 25.800 | 935.000 | 13233.000 | 17611.000 | 56.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 23/12/2022 10:43:36 (UTC-4:00) | Normal |  | 320.9 | 4.7 | 1508 | 291.0 | 4.7 | 1368 | 292.1 | 4.7 | 1373 | 11.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 18.2 | 0.0 | 0.0 | 4110.000 | 60.020 | 26.100 | 935.000 | 13234.000 | 17612.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 23/12/2022 10:48:40 (UTC-4:00) | Normal |  | 317.3 | 7.3 | 2316 | 286.9 | 7.0 | 2008 | 292.1 | 7.1 | 2074 | 14.5 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 26.9 | 0.0 | 0.0 | 6160.000 | 60.020 | 26.600 | 936.000 | 13234.000 | 17612.000 | 56.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 23/12/2022 10:53:43 (UTC-4:00) | Normal |  | 314.7 | 9.4 | 2958 | 276.6 | 9.5 | 2628 | 282.2 | 10.0 | 2822 | 13.8 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 35.7 | 0.0 | 0.0 | 8090.000 | 60.000 | 27.100 | 936.000 | 13235.000 | 17613.000 | 58.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 23/12/2022 10:58:47 (UTC-4:00) | Normal |  | 309.7 | 8.5 | 2632 | 279.6 | 8.7 | 2433 | 281.2 | 8.6 | 2418 | 12.9 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 31.7 | 0.0 | 0.0 | 7210.000 | 60.040 | 27.800 | 937.000 | 13235.000 | 17613.000 | 62.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 23/12/2022 11:03:50 (UTC-4:00) | Normal |  | 300.6 | 5.4 | 1623 | 273.9 | 5.5 | 1506 | 263.8 | 5.4 | 1425 | 11.2 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 19.5 | 0.0 | 0.0 | 4410.000 | 60.030 | 28.300 | 937.000 | 13236.000 | 17614.000 | 60.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 23/12/2022 11:08:50 (UTC-4:00) | Normal |  | 328.6 | 10.2 | 3352 | 296.3 | 10.2 | 3022 | 294.3 | 10.2 | 3002 | 13.5 | 0.1 | 0 | 225.4 | 0.0 | 0.0 | 39.7 | 0.0 | 0.0 | 9080.000 | 60.050 | 28.800 | 938.000 | 13236.000 | 17614.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 23/12/2022 11:13:49 (UTC-4:00) | Normal |  | 305.3 | 4.0 | 1221 | 275.6 | 4.0 | 1102 | 272.7 | 4.0 | 1091 | 13.3 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 14.7 | 0.0 | 0.0 | 3290.000 | 59.980 | 29.300 | 938.000 | 13237.000 | 17615.000 | 60.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 23/12/2022 11:18:49 (UTC-4:00) | Normal |  | 328.3 | 10.2 | 3349 | 296.6 | 10.1 | 2996 | 295.1 | 10.2 | 3010 | 8.6 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 39.6 | 0.0 | 0.0 | 9060.000 | 59.980 | 29.800 | 939.000 | 13237.000 | 17615.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 23/12/2022 11:23:48 (UTC-4:00) | Normal |  | 314.2 | 10.2 | 3205 | 285.2 | 10.2 | 2909 | 283.0 | 10.2 | 2887 | 9.0 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 38.2 | 0.0 | 0.0 | 8710.000 | 60.020 | 30.500 | 940.000 | 13238.000 | 17616.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 23/12/2022 11:28:48 (UTC-4:00) | Normal |  | 274.9 | 7.3 | 2007 | 261.8 | 6.7 | 1754 | 253.4 | 7.0 | 1774 | 8.2 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5380.000 | 60.000 | 31.200 | 940.000 | 13239.000 | 17617.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 23/12/2022 11:33:48 (UTC-4:00) | Normal |  | 292.0 | 3.5 | 1022 | 270.3 | 3.5 | 946 | 263.1 | 3.5 | 921 | 8.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2780.000 | 59.990 | 31.700 | 941.000 | 13239.000 | 17617.000 | 62.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 23/12/2022 11:38:47 (UTC-4:00) | Normal |  | 306.1 | 3.1 | 949 | 280.2 | 3.2 | 897 | 273.2 | 3.1 | 847 | 10.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2580.000 | 60.000 | 31.900 | 941.000 | 13239.000 | 17617.000 | 57.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 23/12/2022 11:43:47 (UTC-4:00) | Normal |  | 310.1 | 3.1 | 961 | 284.3 | 3.2 | 910 | 289.2 | 3.0 | 868 | 11.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 11.7 | 0.0 | 0.0 | 2620.000 | 60.000 | 32.100 | 941.000 | 13240.000 | 17618.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 23/12/2022 11:48:48 (UTC-4:00) | Normal |  | 316.8 | 10.2 | 3231 | 288.1 | 10.2 | 2939 | 284.7 | 10.2 | 2904 | 13.0 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 38.6 | 0.0 | 0.0 | 8790.000 | 59.990 | 32.800 | 942.000 | 13240.000 | 17618.000 | 60.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 23/12/2022 11:53:48 (UTC-4:00) | Normal |  | 288.2 | 3.1 | 893 | 266.2 | 3.1 | 825 | 247.6 | 3.1 | 768 | 11.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2400.000 | 59.970 | 33.500 | 943.000 | 13241.000 | 17619.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 23/12/2022 11:58:48 (UTC-4:00) | Normal |  | 310.0 | 2.8 | 868 | 276.1 | 3.0 | 828 | 273.0 | 2.9 | 792 | 10.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2390.000 | 60.020 | 33.700 | 943.000 | 13241.000 | 17619.000 | 57.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 23/12/2022 12:03:50 (UTC-4:00) | Normal |  | 318.3 | 3.8 | 1210 | 292.5 | 3.9 | 1141 | 289.5 | 3.8 | 1100 | 12.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3360.000 | 59.990 | 33.900 | 943.000 | 13241.000 | 17619.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 23/12/2022 12:08:50 (UTC-4:00) | Normal |  | 318.2 | 4.1 | 1305 | 292.4 | 4.2 | 1228 | 289.2 | 4.0 | 1157 | 13.5 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 15.9 | 0.0 | 0.0 | 3580.000 | 59.990 | 34.200 | 943.000 | 13242.000 | 17620.000 | 53.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 23/12/2022 12:13:52 (UTC-4:00) | Normal |  | 324.2 | 3.4 | 1102 | 290.5 | 3.6 | 1046 | 291.4 | 3.4 | 991 | 14.5 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3040.000 | 60.020 | 34.600 | 944.000 | 13242.000 | 17620.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 23/12/2022 12:18:56 (UTC-4:00) | Normal |  | 324.0 | 3.2 | 1037 | 294.2 | 3.3 | 971 | 287.3 | 3.3 | 948 | 12.2 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2880.000 | 60.030 | 34.800 | 944.000 | 13242.000 | 17620.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 23/12/2022 12:23:59 (UTC-4:00) | Normal |  | 307.8 | 10.2 | 3140 | 280.5 | 10.2 | 2861 | 276.5 | 10.2 | 2820 | 10.9 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 37.6 | 0.0 | 0.0 | 8550.000 | 60.000 | 35.500 | 945.000 | 13243.000 | 17621.000 | 57.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 23/12/2022 12:29:03 (UTC-4:00) | Normal |  | 283.3 | 6.2 | 1756 | 273.6 | 6.1 | 1669 | 274.2 | 5.6 | 1536 | 11.5 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4830.000 | 59.980 | 36.100 | 945.000 | 13244.000 | 17622.000 | 60.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 23/12/2022 12:34:06 (UTC-4:00) | Normal |  | 308.1 | 3.4 | 1048 | 282.2 | 3.4 | 959 | 279.2 | 3.3 | 921 | 12.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2840.000 | 59.970 | 36.300 | 945.000 | 13244.000 | 17622.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 23/12/2022 12:39:10 (UTC-4:00) | Normal |  | 320.0 | 3.3 | 1056 | 286.3 | 3.4 | 973 | 287.2 | 3.3 | 948 | 9.7 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2910.000 | 59.960 | 36.600 | 946.000 | 13244.000 | 17622.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 23/12/2022 12:44:13 (UTC-4:00) | Normal |  | 325.8 | 2.8 | 912 | 288.2 | 3.0 | 865 | 285.1 | 2.9 | 827 | 12.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2530.000 | 59.980 | 36.800 | 946.000 | 13244.000 | 17622.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 23/12/2022 12:49:17 (UTC-4:00) | Normal |  | 326.1 | 2.7 | 880 | 300.3 | 2.7 | 811 | 301.2 | 2.5 | 753 | 10.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2360.000 | 60.020 | 37.000 | 946.000 | 13244.000 | 17622.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 23/12/2022 12:54:21 (UTC-4:00) | Normal |  | 316.7 | 8.8 | 2787 | 283.2 | 9.2 | 2605 | 283.7 | 9.2 | 2610 | 11.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 34.1 | 0.0 | 0.0 | 7740.000 | 59.960 | 37.500 | 947.000 | 13245.000 | 17623.000 | 53.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 23/12/2022 12:59:20 (UTC-4:00) | Normal |  | 316.8 | 2.7 | 855 | 290.2 | 2.8 | 813 | 292.1 | 2.4 | 701 | 11.1 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2310.000 | 60.010 | 37.800 | 947.000 | 13245.000 | 17623.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 23/12/2022 13:04:19 (UTC-4:00) | Normal |  | 320.1 | 2.2 | 704 | 294.2 | 2.2 | 647 | 291.2 | 2.1 | 612 | 10.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1900.000 | 60.000 | 38.000 | 947.000 | 13245.000 | 17623.000 | 49.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 23/12/2022 13:05:41 (UTC-4:00) | Normal |  | 326.2 | 2.1 | 685 | 296.2 | 2.2 | 652 | 293.3 | 2.1 | 616 | 10.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 8.6 | 0.0 | 0.0 | 1880.000 | 59.990 | 38.100 | 947.000 | 13246.000 | 17624.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 23/12/2022 13:10:57 (UTC-4:00) | Normal |  | 348.0 | 1.6 | 557 | 306.4 | 1.7 | 521 | 303.4 | 1.6 | 485 | 15.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1410.000 | 60.000 | 38.200 | 947.000 | 13246.000 | 17624.000 | 46.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 23/12/2022 13:15:56 (UTC-4:00) | Normal |  | 330.1 | 1.7 | 561 | 296.3 | 1.9 | 563 | 297.3 | 1.7 | 505 | 9.5 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1550.000 | 59.960 | 38.300 | 947.000 | 13246.000 | 17624.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 23/12/2022 13:20:55 (UTC-4:00) | Normal |  | 339.3 | 1.6 | 543 | 309.4 | 1.7 | 526 | 310.6 | 1.6 | 497 | 9.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1420.000 | 59.940 | 38.500 | 948.000 | 13246.000 | 17624.000 | 45.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 23/12/2022 13:25:54 (UTC-4:00) | Normal |  | 344.1 | 1.6 | 551 | 310.4 | 1.7 | 528 | 307.3 | 1.6 | 492 | 14.2 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1400.000 | 60.010 | 38.700 | 948.000 | 13246.000 | 17624.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 23/12/2022 13:30:54 (UTC-4:00) | Normal |  | 338.1 | 1.6 | 541 | 300.2 | 1.7 | 510 | 301.2 | 1.5 | 452 | 15.4 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1340.000 | 60.010 | 38.800 | 948.000 | 13246.000 | 17624.000 | 42.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 23/12/2022 13:35:53 (UTC-4:00) | Normal |  | 328.1 | 1.4 | 459 | 298.4 | 1.5 | 448 | 291.4 | 1.4 | 408 | 14.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.0 | 0.0 | 0.0 | 1210.000 | 60.010 | 38.900 | 948.000 | 13246.000 | 17624.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 23/12/2022 13:40:53 (UTC-4:00) | Normal |  | 330.1 | 1.4 | 462 | 300.3 | 1.5 | 450 | 297.3 | 1.4 | 416 | 15.7 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 6.0 | 0.0 | 0.0 | 1220.000 | 59.980 | 39.000 | 948.000 | 13246.000 | 17624.000 | 40.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 23/12/2022 13:45:56 (UTC-4:00) | Normal |  | 347.9 | 1.6 | 557 | 310.1 | 1.7 | 527 | 307.1 | 1.6 | 491 | 11.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1400.000 | 59.980 | 39.100 | 948.000 | 13247.000 | 17625.000 | 40.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 23/12/2022 13:50:59 (UTC-4:00) | Normal |  | 353.9 | 1.6 | 566 | 312.0 | 1.7 | 530 | 312.9 | 1.6 | 501 | 13.2 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1430.000 | 59.980 | 39.200 | 948.000 | 13247.000 | 17625.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 23/12/2022 13:56:02 (UTC-4:00) | Normal |  | 340.2 | 1.6 | 544 | 306.4 | 1.6 | 490 | 299.5 | 1.5 | 449 | 15.2 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1330.000 | 60.020 | 39.300 | 948.000 | 13247.000 | 17625.000 | 40.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 23/12/2022 14:01:02 (UTC-4:00) | Normal |  | 361.9 | 1.6 | 579 | 312.3 | 1.7 | 531 | 317.3 | 1.6 | 508 | 13.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1440.000 | 60.000 | 39.400 | 949.000 | 13247.000 | 17625.000 | 39.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 23/12/2022 14:06:01 (UTC-4:00) | Normal |  | 362.0 | 1.6 | 579 | 312.2 | 1.8 | 562 | 317.2 | 1.6 | 508 | 14.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.9 | 0.0 | 0.0 | 1440.000 | 59.980 | 39.500 | 949.000 | 13247.000 | 17625.000 | 39.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 23/12/2022 14:11:00 (UTC-4:00) | Normal |  | 342.0 | 1.6 | 547 | 308.1 | 1.7 | 524 | 301.2 | 1.6 | 482 | 10.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1370.000 | 60.020 | 39.700 | 949.000 | 13247.000 | 17625.000 | 39.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 23/12/2022 14:15:59 (UTC-4:00) | Normal |  | 348.1 | 1.8 | 627 | 302.5 | 1.9 | 575 | 307.5 | 1.8 | 554 | 10.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1620.000 | 60.010 | 39.800 | 949.000 | 13247.000 | 17625.000 | 39.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 23/12/2022 14:20:59 (UTC-4:00) | Normal |  | 354.1 | 1.5 | 531 | 316.3 | 1.6 | 506 | 305.6 | 1.6 | 489 | 10.2 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1350.000 | 60.000 | 39.900 | 949.000 | 13247.000 | 17625.000 | 39.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 23/12/2022 14:25:57 (UTC-4:00) | Normal |  | 336.1 | 1.5 | 504 | 302.3 | 1.6 | 484 | 299.5 | 1.5 | 449 | 11.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1270.000 | 59.940 | 40.000 | 949.000 | 13247.000 | 17625.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 23/12/2022 14:30:56 (UTC-4:00) | Normal |  | 344.0 | 1.6 | 550 | 306.2 | 1.7 | 521 | 299.2 | 1.6 | 479 | 16.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1370.000 | 60.030 | 40.100 | 949.000 | 13248.000 | 17626.000 | 38.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 23/12/2022 14:35:56 (UTC-4:00) | Normal |  | 341.9 | 1.7 | 581 | 307.9 | 1.8 | 554 | 308.8 | 1.7 | 525 | 14.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1590.000 | 59.990 | 40.300 | 949.000 | 13248.000 | 17626.000 | 38.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 23/12/2022 14:40:55 (UTC-4:00) | Normal |  | 340.1 | 2.0 | 680 | 310.6 | 2.0 | 621 | 311.2 | 1.9 | 591 | 11.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1780.000 | 60.020 | 40.400 | 950.000 | 13248.000 | 17626.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 23/12/2022 14:45:55 (UTC-4:00) | Normal |  | 338.3 | 1.7 | 575 | 304.4 | 1.8 | 548 | 301.7 | 1.7 | 513 | 10.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 7.1 | 0.0 | 0.0 | 1510.000 | 59.990 | 40.500 | 950.000 | 13248.000 | 17626.000 | 38.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 23/12/2022 14:50:54 (UTC-4:00) | Normal |  | 352.1 | 1.6 | 563 | 314.6 | 1.7 | 535 | 307.6 | 1.6 | 492 | 13.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1380.000 | 59.970 | 40.700 | 950.000 | 13248.000 | 17626.000 | 38.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 23/12/2022 14:55:56 (UTC-4:00) | Normal |  | 333.7 | 1.4 | 467 | 299.6 | 1.5 | 449 | 293.0 | 1.4 | 410 | 11.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.1 | 0.0 | 0.0 | 1220.000 | 59.960 | 40.800 | 950.000 | 13248.000 | 17626.000 | 38.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 23/12/2022 15:00:58 (UTC-4:00) | Normal |  | 333.8 | 1.0 | 334 | 295.7 | 1.1 | 325 | 296.7 | 0.9 | 267 | 14.2 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 900.000 | 60.010 | 40.900 | 950.000 | 13248.000 | 17626.000 | 37.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 23/12/2022 15:06:00 (UTC-4:00) | Normal |  | 335.8 | 1.4 | 470 | 305.6 | 1.5 | 458 | 303.0 | 1.4 | 424 | 14.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 6.3 | 0.0 | 0.0 | 1260.000 | 60.030 | 40.900 | 950.000 | 13248.000 | 17626.000 | 37.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 23/12/2022 15:11:03 (UTC-4:00) | Normal |  | 354.0 | 1.6 | 566 | 312.7 | 1.7 | 532 | 309.3 | 1.6 | 495 | 14.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1370.000 | 60.010 | 41.100 | 950.000 | 13249.000 | 17627.000 | 37.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 23/12/2022 15:16:06 (UTC-4:00) | Normal |  | 344.2 | 1.5 | 516 | 310.3 | 1.6 | 496 | 307.3 | 1.5 | 461 | 10.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1300.000 | 60.000 | 41.200 | 950.000 | 13249.000 | 17627.000 | 37.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 23/12/2022 15:21:05 (UTC-4:00) | Normal |  | 345.9 | 1.5 | 519 | 308.6 | 1.6 | 494 | 309.6 | 1.5 | 464 | 12.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1300.000 | 59.960 | 41.300 | 950.000 | 13249.000 | 17627.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 23/12/2022 15:26:04 (UTC-4:00) | Normal |  | 344.1 | 1.5 | 516 | 309.7 | 1.6 | 496 | 306.7 | 1.5 | 460 | 13.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 6.6 | 0.0 | 0.0 | 1340.000 | 59.960 | 41.400 | 951.000 | 13249.000 | 17627.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 23/12/2022 15:31:03 (UTC-4:00) | Normal |  | 359.7 | 3.8 | 1367 | 318.8 | 4.0 | 1275 | 323.0 | 3.7 | 1195 | 15.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3690.000 | 59.970 | 41.500 | 951.000 | 13249.000 | 17627.000 | 37.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 23/12/2022 15:36:03 (UTC-4:00) | Normal |  | 346.1 | 3.8 | 1315 | 312.3 | 3.9 | 1218 | 313.3 | 3.8 | 1191 | 14.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3620.000 | 60.010 | 41.900 | 951.000 | 13249.000 | 17627.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 23/12/2022 15:41:02 (UTC-4:00) | Normal |  | 350.6 | 3.8 | 1332 | 316.8 | 3.9 | 1236 | 313.8 | 3.8 | 1192 | 13.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 16.2 | 0.0 | 0.0 | 3660.000 | 60.000 | 42.100 | 951.000 | 13250.000 | 17628.000 | 41.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 23/12/2022 15:46:01 (UTC-4:00) | Normal |  | 348.8 | 3.1 | 1081 | 310.0 | 3.3 | 1023 | 311.0 | 3.2 | 995 | 15.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 13.4 | 0.0 | 0.0 | 3010.000 | 59.960 | 42.400 | 952.000 | 13250.000 | 17628.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 23/12/2022 15:51:00 (UTC-4:00) | Normal |  | 334.1 | 1.1 | 368 | 304.3 | 1.2 | 365 | 297.3 | 1.1 | 327 | 16.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 60.020 | 42.600 | 952.000 | 13250.000 | 17628.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 23/12/2022 15:55:59 (UTC-4:00) | Normal |  | 348.0 | 0.9 | 313 | 314.2 | 1.0 | 314 | 299.2 | 0.9 | 269 | 11.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 4.5 | 0.0 | 0.0 | 860.000 | 59.970 | 42.600 | 952.000 | 13250.000 | 17628.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 23/12/2022 16:00:58 (UTC-4:00) | Normal |  | 366.0 | 1.0 | 366 | 308.2 | 1.2 | 370 | 305.2 | 1.1 | 336 | 10.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 60.000 | 42.700 | 952.000 | 13250.000 | 17628.000 | 37.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 23/12/2022 16:05:57 (UTC-4:00) | Normal |  | 347.9 | 0.9 | 313 | 314.1 | 1.0 | 314 | 295.1 | 0.9 | 266 | 12.5 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 850.000 | 59.980 | 42.800 | 952.000 | 13250.000 | 17628.000 | 37.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 23/12/2022 16:10:58 (UTC-4:00) | Normal |  | 330.1 | 0.6 | 198 | 304.2 | 0.7 | 213 | 297.2 | 0.6 | 178 | 15.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 550.000 | 59.990 | 42.800 | 952.000 | 13250.000 | 17628.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 23/12/2022 16:15:59 (UTC-4:00) | Normal |  | 333.6 | 0.4 | 133 | 303.9 | 0.4 | 122 | 305.0 | 0.3 | 92 | 12.6 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 340.000 | 59.980 | 42.900 | 952.000 | 13250.000 | 17628.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 23/12/2022 16:21:01 (UTC-4:00) | Normal |  | 340.0 | 0.6 | 204 | 298.1 | 0.6 | 179 | 295.2 | 0.5 | 148 | 14.3 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 540.000 | 59.940 | 42.900 | 952.000 | 13250.000 | 17628.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 23/12/2022 16:26:04 (UTC-4:00) | Normal |  | 345.9 | 0.7 | 242 | 304.0 | 0.8 | 243 | 309.1 | 0.7 | 216 | 17.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.9 | 0.0 | 0.0 | 680.000 | 59.990 | 43.000 | 952.000 | 13250.000 | 17628.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 23/12/2022 16:31:07 (UTC-4:00) | Normal |  | 328.2 | 0.5 | 164 | 302.5 | 0.6 | 182 | 299.5 | 0.5 | 150 | 17.4 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 470.000 | 60.020 | 43.000 | 952.000 | 13250.000 | 17628.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 23/12/2022 16:36:06 (UTC-4:00) | Normal |  | 334.2 | 0.4 | 134 | 296.7 | 0.4 | 119 | 305.6 | 0.3 | 92 | 17.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 310.000 | 59.970 | 43.000 | 952.000 | 13250.000 | 17628.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 23/12/2022 16:41:05 (UTC-4:00) | Normal |  | 320.0 | 0.2 | 64 | 298.2 | 0.3 | 89 | 279.2 | 0.2 | 56 | 16.0 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 170.000 | 59.960 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 23/12/2022 16:46:05 (UTC-4:00) | Normal |  | 306.4 | 0.1 | 31 | 290.4 | 0.2 | 58 | 277.4 | 0.1 | 28 | 17.7 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 59.940 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 23/12/2022 16:51:03 (UTC-4:00) | Normal |  | 306.1 | 0.1 | 31 | 286.1 | 0.2 | 57 | 274.2 | 0.1 | 27 | 10.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 59.980 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 23/12/2022 16:56:02 (UTC-4:00) | Normal |  | 303.7 | 0.1 | 30 | 286.3 | 0.2 | 57 | 273.2 | 0.1 | 27 | 15.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 59.960 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 23/12/2022 17:01:02 (UTC-4:00) | Normal |  | 303.4 | 0.1 | 30 | 327.7 | 0.1 | 33 | 273.0 | 0.1 | 27 | 14.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 90.000 | 59.970 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 23/12/2022 17:06:01 (UTC-4:00) | Normal |  | 301.1 | 0.1 | 30 | 273.3 | 0.1 | 27 | 271.0 | 0.1 | 27 | 17.6 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 43.100 | 952.000 | 13251.000 | 17629.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 23/12/2022 17:11:00 (UTC-4:00) | Normal |  | 295.5 | 0.1 | 30 | 273.1 | 0.1 | 27 | 265.8 | 0.1 | 27 | 16.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 23/12/2022 17:15:59 (UTC-4:00) | Normal |  | 297.5 | 0.1 | 30 | 273.3 | 0.1 | 27 | 276.8 | 0.1 | 28 | 15.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 23/12/2022 17:20:58 (UTC-4:00) | Normal |  | 289.2 | 0.1 | 29 | 273.1 | 0.1 | 27 | 260.1 | 0.1 | 26 | 13.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 23/12/2022 17:25:57 (UTC-4:00) | Normal |  | 276.4 | 0.1 | 28 | 273.1 | 0.1 | 27 | 248.7 | 0.1 | 25 | 17.1 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 23/12/2022 17:31:00 (UTC-4:00) | Normal |  | 272.8 | 0.1 | 27 | 273.2 | 0.1 | 27 | 245.5 | 0.1 | 25 | 13.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 23/12/2022 17:36:03 (UTC-4:00) | Normal |  | 269.5 | 0.1 | 27 | 273.1 | 0.1 | 27 | 242.6 | 0.1 | 24 | 12.3 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.940 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 23/12/2022 17:41:06 (UTC-4:00) | Normal |  | 264.7 | 0.1 | 26 | 273.3 | 0.1 | 27 | 238.1 | 0.1 | 24 | 17.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 23/12/2022 17:46:05 (UTC-4:00) | Normal |  | 241.9 | 0.1 | 24 | 270.2 | 0.1 | 27 | 218.0 | 0.1 | 22 | 14.4 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 23/12/2022 17:51:04 (UTC-4:00) | Normal |  | 229.7 | 0.1 | 23 | 245.8 | 0.1 | 25 | 207.1 | 0.1 | 21 | 13.0 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.940 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 23/12/2022 17:56:05 (UTC-4:00) | Normal |  | 186.9 | 0.1 | 19 | 200.0 | 0.1 | 20 | 168.8 | 0.1 | 17 | 13.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 43.100 | 952.000 | 13251.000 | 17629.000 | 32.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 23/12/2022 18:01:05 (UTC-4:00) | Normal |  | 157.0 | 0.1 | 16 | 151.5 | 0.1 | 15 | 142.5 | 0.1 | 14 | 13.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 43.100 | 952.000 | 13251.000 | 17629.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 23/12/2022 18:06:04 (UTC-4:00) | Normal |  | 110.0 | 0.1 | 11 | 114.3 | 0.1 | 11 | 101.5 | 0.1 | 10 | 12.7 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.010 | 43.100 | 952.000 | 13251.000 | 17629.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0