## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024440
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 24/12/2022 04:17:54 (UTC-4:00) | Normal |  | 140.0 | 0.1 | 14 | 146.6 | 0.1 | 15 | 147.6 | 0.1 | 15 | 0.2 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 952.000 | 13251.000 | 17629.000 | 25.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 24/12/2022 04:22:53 (UTC-4:00) | Normal |  | 286.5 | 0.1 | 29 | 258.1 | 0.1 | 26 | 257.6 | 0.1 | 26 | 13.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 0.000 | 952.000 | 13251.000 | 17629.000 | 25.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 24/12/2022 04:27:53 (UTC-4:00) | Normal |  | 292.7 | 0.1 | 29 | 263.6 | 0.1 | 26 | 263.1 | 0.1 | 26 | 14.9 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 952.000 | 13251.000 | 17629.000 | 26.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 24/12/2022 04:32:56 (UTC-4:00) | Normal |  | 302.0 | 0.1 | 30 | 268.3 | 0.1 | 27 | 271.9 | 0.1 | 27 | 18.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 0.000 | 952.000 | 13251.000 | 17629.000 | 26.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 24/12/2022 04:37:59 (UTC-4:00) | Normal |  | 386.8 | 0.1 | 39 | 268.3 | 0.1 | 27 | 348.3 | 0.1 | 35 | 17.9 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 952.000 | 13251.000 | 17629.000 | 27.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 24/12/2022 04:42:59 (UTC-4:00) | Normal |  | 313.1 | 0.1 | 31 | 268.3 | 0.2 | 54 | 282.0 | 0.1 | 28 | 16.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 40.000 | 59.970 | 0.000 | 952.000 | 13251.000 | 17629.000 | 27.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 24/12/2022 04:47:59 (UTC-4:00) | Normal |  | 313.0 | 0.2 | 63 | 294.0 | 0.2 | 59 | 284.0 | 0.1 | 28 | 13.9 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 120.000 | 59.960 | 0.000 | 952.000 | 13251.000 | 17629.000 | 27.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 24/12/2022 04:52:59 (UTC-4:00) | Normal |  | 309.1 | 0.3 | 93 | 312.2 | 0.3 | 94 | 284.2 | 0.2 | 57 | 14.6 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 60.010 | 0.000 | 952.000 | 13251.000 | 17629.000 | 28.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 24/12/2022 04:57:58 (UTC-4:00) | Normal |  | 345.2 | 0.4 | 138 | 312.3 | 0.4 | 125 | 304.3 | 0.3 | 91 | 13.5 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 290.000 | 60.020 | 0.100 | 952.000 | 13251.000 | 17629.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 24/12/2022 05:02:58 (UTC-4:00) | Normal |  | 362.7 | 0.4 | 145 | 318.0 | 0.5 | 159 | 329.9 | 0.3 | 99 | 14.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.000 | 0.100 | 952.000 | 13251.000 | 17629.000 | 29.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 24/12/2022 05:07:58 (UTC-4:00) | Normal |  | 367.1 | 0.5 | 184 | 318.1 | 0.6 | 191 | 322.0 | 0.4 | 129 | 10.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 510.000 | 59.970 | 0.100 | 952.000 | 13251.000 | 17629.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 24/12/2022 05:12:58 (UTC-4:00) | Normal |  | 367.1 | 0.7 | 257 | 318.2 | 0.8 | 255 | 326.1 | 0.7 | 228 | 12.8 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 640.000 | 60.020 | 0.200 | 952.000 | 13251.000 | 17629.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 24/12/2022 05:17:57 (UTC-4:00) | Normal |  | 363.1 | 0.8 | 290 | 314.4 | 0.9 | 283 | 318.1 | 0.8 | 254 | 11.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 780.000 | 60.010 | 0.200 | 952.000 | 13251.000 | 17629.000 | 30.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 24/12/2022 05:22:58 (UTC-4:00) | Normal |  | 367.0 | 1.0 | 367 | 318.1 | 1.1 | 350 | 326.0 | 0.9 | 293 | 14.0 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 940.000 | 60.020 | 0.300 | 953.000 | 13251.000 | 17629.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 24/12/2022 05:27:57 (UTC-4:00) | Normal |  | 381.2 | 1.0 | 381 | 320.3 | 1.2 | 384 | 328.2 | 1.1 | 361 | 15.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 59.970 | 0.400 | 953.000 | 13251.000 | 17629.000 | 31.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 24/12/2022 05:32:57 (UTC-4:00) | Normal |  | 365.2 | 1.4 | 511 | 320.3 | 1.4 | 448 | 332.2 | 1.3 | 432 | 16.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1270.000 | 59.980 | 0.500 | 953.000 | 13251.000 | 17629.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 24/12/2022 05:38:00 (UTC-4:00) | Normal |  | 373.1 | 1.5 | 560 | 340.2 | 1.6 | 544 | 332.1 | 1.5 | 498 | 14.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1450.000 | 60.000 | 0.600 | 953.000 | 13251.000 | 17629.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 24/12/2022 05:43:03 (UTC-4:00) | Normal |  | 369.0 | 1.7 | 627 | 336.1 | 1.7 | 571 | 336.0 | 1.6 | 538 | 12.7 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1640.000 | 59.990 | 0.700 | 953.000 | 13251.000 | 17629.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 24/12/2022 05:48:07 (UTC-4:00) | Normal |  | 367.1 | 1.9 | 697 | 334.3 | 1.9 | 635 | 330.2 | 1.8 | 594 | 11.6 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1820.000 | 60.000 | 0.900 | 953.000 | 13251.000 | 17629.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 24/12/2022 05:53:11 (UTC-4:00) | Normal |  | 367.0 | 2.0 | 734 | 334.1 | 2.1 | 702 | 330.1 | 2.0 | 660 | 13.5 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2000.000 | 60.000 | 1.000 | 953.000 | 13252.000 | 17630.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 24/12/2022 05:58:11 (UTC-4:00) | Normal |  | 365.3 | 2.2 | 804 | 332.4 | 2.3 | 765 | 328.3 | 2.2 | 722 | 16.9 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2150.000 | 60.000 | 1.200 | 953.000 | 13252.000 | 17630.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 24/12/2022 06:03:10 (UTC-4:00) | Normal |  | 363.1 | 2.4 | 871 | 330.2 | 2.4 | 792 | 330.1 | 2.3 | 759 | 17.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2320.000 | 59.970 | 1.400 | 954.000 | 13252.000 | 17630.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 24/12/2022 06:08:10 (UTC-4:00) | Normal |  | 363.3 | 2.6 | 945 | 326.4 | 2.6 | 849 | 330.2 | 2.5 | 826 | 17.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2490.000 | 59.920 | 1.600 | 954.000 | 13252.000 | 17630.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 24/12/2022 06:13:10 (UTC-4:00) | Normal |  | 361.0 | 2.7 | 975 | 320.1 | 2.8 | 896 | 320.0 | 2.7 | 864 | 13.2 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 12.0 | 0.0 | 0.0 | 2670.000 | 59.910 | 1.800 | 954.000 | 13252.000 | 17630.000 | 38.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 24/12/2022 06:18:09 (UTC-4:00) | Normal |  | 356.8 | 3.0 | 1070 | 327.9 | 3.0 | 984 | 323.9 | 2.9 | 939 | 12.6 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2850.000 | 59.940 | 2.000 | 954.000 | 13253.000 | 17631.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 24/12/2022 06:23:09 (UTC-4:00) | Normal |  | 357.2 | 3.1 | 1107 | 324.3 | 3.2 | 1038 | 316.3 | 3.1 | 981 | 15.1 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3030.000 | 59.990 | 2.300 | 955.000 | 13253.000 | 17631.000 | 40.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 24/12/2022 06:28:09 (UTC-4:00) | Normal |  | 355.3 | 3.3 | 1172 | 322.4 | 3.4 | 1096 | 314.3 | 3.3 | 1037 | 10.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 14.4 | 0.0 | 0.0 | 3220.000 | 60.010 | 2.500 | 955.000 | 13253.000 | 17631.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 24/12/2022 06:33:09 (UTC-4:00) | Normal |  | 354.9 | 3.5 | 1242 | 322.0 | 3.6 | 1159 | 318.0 | 3.5 | 1113 | 13.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3390.000 | 60.050 | 2.800 | 955.000 | 13253.000 | 17631.000 | 41.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 24/12/2022 06:38:09 (UTC-4:00) | Normal |  | 355.3 | 3.7 | 1315 | 318.5 | 3.8 | 1210 | 314.3 | 3.7 | 1163 | 16.7 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3540.000 | 60.060 | 3.100 | 955.000 | 13254.000 | 17632.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 24/12/2022 06:43:08 (UTC-4:00) | Normal |  | 351.4 | 3.9 | 1370 | 322.4 | 3.9 | 1257 | 318.2 | 3.8 | 1209 | 10.4 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 16.6 | 0.0 | 0.0 | 3730.000 | 60.010 | 3.400 | 956.000 | 13254.000 | 17632.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 24/12/2022 06:48:08 (UTC-4:00) | Normal |  | 351.1 | 4.0 | 1404 | 318.3 | 4.1 | 1305 | 314.1 | 4.1 | 1288 | 16.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 17.2 | 0.0 | 0.0 | 3880.000 | 60.000 | 3.700 | 956.000 | 13254.000 | 17632.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 24/12/2022 06:53:10 (UTC-4:00) | Normal |  | 349.2 | 4.2 | 1467 | 316.4 | 4.3 | 1361 | 308.3 | 4.3 | 1326 | 14.6 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 17.9 | 0.0 | 0.0 | 4040.000 | 60.030 | 4.100 | 956.000 | 13255.000 | 17633.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 24/12/2022 06:58:14 (UTC-4:00) | Normal |  | 345.1 | 4.5 | 1553 | 316.2 | 4.5 | 1423 | 308.1 | 4.4 | 1356 | 13.7 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 18.4 | 0.0 | 0.0 | 4190.000 | 60.060 | 4.400 | 957.000 | 13255.000 | 17633.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 24/12/2022 07:03:17 (UTC-4:00) | Normal |  | 343.4 | 4.6 | 1580 | 314.5 | 4.6 | 1447 | 310.3 | 4.6 | 1427 | 10.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4330.000 | 60.020 | 4.800 | 957.000 | 13255.000 | 17633.000 | 46.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 24/12/2022 07:08:21 (UTC-4:00) | Normal |  | 347.4 | 4.7 | 1633 | 310.6 | 4.9 | 1522 | 310.4 | 4.7 | 1459 | 15.0 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4480.000 | 60.040 | 5.200 | 957.000 | 13256.000 | 17634.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 24/12/2022 07:13:25 (UTC-4:00) | Normal |  | 347.5 | 4.9 | 1703 | 314.5 | 5.0 | 1573 | 310.3 | 4.9 | 1520 | 10.2 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4660.000 | 60.000 | 5.500 | 958.000 | 13256.000 | 17634.000 | 48.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 24/12/2022 07:18:29 (UTC-4:00) | Normal |  | 339.1 | 5.1 | 1729 | 310.2 | 5.2 | 1613 | 306.1 | 5.1 | 1561 | 16.4 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4800.000 | 59.960 | 5.900 | 958.000 | 13256.000 | 17634.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 24/12/2022 07:23:32 (UTC-4:00) | Normal |  | 341.3 | 5.3 | 1809 | 312.3 | 5.3 | 1655 | 304.3 | 5.3 | 1613 | 16.3 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 21.9 | 0.0 | 0.0 | 4940.000 | 59.990 | 6.400 | 959.000 | 13257.000 | 17635.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 24/12/2022 07:28:36 (UTC-4:00) | Normal |  | 336.8 | 5.5 | 1852 | 308.0 | 5.5 | 1694 | 303.8 | 5.5 | 1671 | 11.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 22.4 | 0.0 | 0.0 | 5080.000 | 59.970 | 6.800 | 959.000 | 13257.000 | 17635.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 24/12/2022 07:33:40 (UTC-4:00) | Normal |  | 340.9 | 5.6 | 1909 | 308.0 | 5.7 | 1756 | 307.8 | 5.6 | 1724 | 12.6 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5210.000 | 60.020 | 7.200 | 959.000 | 13258.000 | 17636.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 24/12/2022 07:38:44 (UTC-4:00) | Normal |  | 337.5 | 5.8 | 1958 | 308.5 | 5.8 | 1789 | 304.4 | 5.8 | 1766 | 15.2 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5350.000 | 60.020 | 7.700 | 960.000 | 13258.000 | 17636.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 24/12/2022 07:43:47 (UTC-4:00) | Normal |  | 338.9 | 5.9 | 2000 | 306.1 | 6.0 | 1837 | 302.0 | 6.0 | 1812 | 10.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 24.2 | 0.0 | 0.0 | 5490.000 | 60.020 | 8.100 | 960.000 | 13259.000 | 17637.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 24/12/2022 07:48:47 (UTC-4:00) | Normal |  | 337.4 | 6.0 | 2024 | 308.4 | 6.1 | 1881 | 300.5 | 6.1 | 1833 | 15.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5600.000 | 60.010 | 8.500 | 961.000 | 13259.000 | 17637.000 | 54.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 24/12/2022 07:53:47 (UTC-4:00) | Normal |  | 334.8 | 6.2 | 2076 | 306.0 | 6.3 | 1928 | 305.7 | 6.1 | 1865 | 13.3 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 25.3 | 0.0 | 0.0 | 5720.000 | 60.000 | 9.000 | 961.000 | 13260.000 | 17638.000 | 54.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 24/12/2022 07:58:46 (UTC-4:00) | Normal |  | 338.7 | 6.3 | 2134 | 305.9 | 6.5 | 1988 | 301.8 | 6.4 | 1932 | 10.7 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 25.9 | 0.0 | 0.0 | 5880.000 | 60.030 | 9.500 | 962.000 | 13260.000 | 17638.000 | 55.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 24/12/2022 08:03:46 (UTC-4:00) | Normal |  | 330.9 | 6.6 | 2184 | 302.0 | 6.6 | 1993 | 301.7 | 6.5 | 1961 | 10.5 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 26.4 | 0.0 | 0.0 | 5970.000 | 60.040 | 10.000 | 962.000 | 13261.000 | 17639.000 | 56.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 24/12/2022 08:08:46 (UTC-4:00) | Normal |  | 337.2 | 6.6 | 2226 | 308.2 | 6.6 | 2034 | 300.3 | 6.7 | 2012 | 15.5 | 0.1 | 0 | 225.9 | 0.0 | 0.0 | 26.6 | 0.0 | 0.0 | 6080.000 | 59.990 | 10.500 | 963.000 | 13261.000 | 17639.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 24/12/2022 08:13:46 (UTC-4:00) | Normal |  | 329.5 | 6.8 | 2241 | 304.3 | 6.8 | 2069 | 296.4 | 6.9 | 2045 | 9.3 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 27.1 | 0.0 | 0.0 | 6190.000 | 59.990 | 11.000 | 963.000 | 13262.000 | 17640.000 | 58.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 24/12/2022 08:18:45 (UTC-4:00) | Normal |  | 329.1 | 6.9 | 2271 | 300.2 | 7.0 | 2101 | 299.9 | 6.9 | 2069 | 15.2 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 27.4 | 0.0 | 0.0 | 6250.000 | 60.000 | 11.500 | 964.000 | 13262.000 | 17640.000 | 58.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 24/12/2022 08:23:47 (UTC-4:00) | Normal |  | 324.9 | 7.1 | 2307 | 296.0 | 7.2 | 2131 | 295.8 | 7.0 | 2071 | 10.2 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 27.8 | 0.0 | 0.0 | 6340.000 | 60.000 | 12.100 | 964.000 | 13263.000 | 17641.000 | 59.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 24/12/2022 08:28:48 (UTC-4:00) | Normal |  | 321.1 | 7.2 | 2312 | 292.3 | 7.3 | 2134 | 295.9 | 7.1 | 2101 | 15.1 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 28.1 | 0.0 | 0.0 | 6380.000 | 60.010 | 12.600 | 965.000 | 13263.000 | 17641.000 | 60.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 24/12/2022 08:33:48 (UTC-4:00) | Normal |  | 319.8 | 7.4 | 2367 | 294.6 | 7.4 | 2180 | 290.7 | 7.3 | 2122 | 9.6 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 28.1 | 0.0 | 0.0 | 6420.000 | 60.010 | 13.100 | 965.000 | 13264.000 | 17642.000 | 60.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 24/12/2022 08:38:48 (UTC-4:00) | Normal |  | 319.6 | 7.4 | 2365 | 290.6 | 7.5 | 2180 | 286.6 | 7.4 | 2121 | 14.0 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 28.4 | 0.0 | 0.0 | 6450.000 | 60.040 | 13.700 | 966.000 | 13264.000 | 17642.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 24/12/2022 08:43:48 (UTC-4:00) | Normal |  | 318.7 | 7.6 | 2422 | 289.8 | 7.7 | 2231 | 289.7 | 7.5 | 2173 | 10.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 29.0 | 0.0 | 0.0 | 6600.000 | 60.020 | 14.200 | 966.000 | 13265.000 | 17643.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 24/12/2022 08:48:50 (UTC-4:00) | Normal |  | 314.8 | 7.7 | 2424 | 293.6 | 7.6 | 2231 | 289.7 | 7.6 | 2202 | 10.0 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6660.000 | 59.980 | 14.800 | 967.000 | 13265.000 | 17643.000 | 62.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 24/12/2022 08:53:50 (UTC-4:00) | Normal |  | 321.3 | 7.7 | 2474 | 288.7 | 7.9 | 2281 | 288.4 | 7.7 | 2221 | 13.0 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 29.7 | 0.0 | 0.0 | 6740.000 | 59.960 | 15.200 | 967.000 | 13266.000 | 17644.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 24/12/2022 08:58:50 (UTC-4:00) | Normal |  | 312.7 | 7.9 | 2470 | 287.8 | 7.9 | 2274 | 287.6 | 7.8 | 2243 | 10.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 29.8 | 0.0 | 0.0 | 6770.000 | 59.980 | 15.800 | 968.000 | 13266.000 | 17644.000 | 63.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 24/12/2022 09:03:49 (UTC-4:00) | Normal |  | 313.6 | 8.0 | 2509 | 288.5 | 8.0 | 2308 | 288.4 | 7.8 | 2250 | 8.8 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6860.000 | 59.980 | 16.400 | 969.000 | 13267.000 | 17645.000 | 63.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 24/12/2022 09:08:49 (UTC-4:00) | Normal |  | 309.7 | 8.1 | 2509 | 284.5 | 8.1 | 2304 | 284.4 | 7.9 | 2247 | 13.2 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 30.0 | 0.0 | 0.0 | 6840.000 | 60.010 | 17.000 | 969.000 | 13268.000 | 17646.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 24/12/2022 09:13:49 (UTC-4:00) | Normal |  | 310.7 | 8.1 | 2517 | 281.8 | 8.2 | 2311 | 277.8 | 8.1 | 2250 | 9.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6860.000 | 60.020 | 17.600 | 970.000 | 13268.000 | 17646.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 24/12/2022 09:18:49 (UTC-4:00) | Normal |  | 311.4 | 8.2 | 2553 | 282.6 | 8.4 | 2374 | 278.6 | 8.3 | 2312 | 8.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7020.000 | 59.980 | 18.100 | 970.000 | 13269.000 | 17647.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 24/12/2022 09:19:00 (UTC-4:00) | Normal |  | 311.4 | 8.2 | 2553 | 282.6 | 8.4 | 2374 | 278.6 | 8.3 | 2312 | 8.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7020.000 | 59.980 | 18.100 | 970.000 | 13269.000 | 17647.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 24/12/2022 09:23:48 (UTC-4:00) | Normal |  | 306.9 | 8.4 | 2578 | 282.0 | 8.4 | 2369 | 277.9 | 8.4 | 2334 | 9.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 31.0 | 0.0 | 0.0 | 7040.000 | 59.980 | 18.700 | 971.000 | 13269.000 | 17647.000 | 65.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 24/12/2022 09:28:48 (UTC-4:00) | Normal |  | 303.7 | 8.5 | 2581 | 282.4 | 8.4 | 2372 | 278.4 | 8.4 | 2339 | 13.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 31.1 | 0.0 | 0.0 | 7060.000 | 59.960 | 19.300 | 972.000 | 13270.000 | 17648.000 | 66.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 24/12/2022 09:33:48 (UTC-4:00) | Normal |  | 308.5 | 8.6 | 2653 | 276.0 | 8.9 | 2456 | 279.7 | 8.6 | 2405 | 12.6 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 31.7 | 0.0 | 0.0 | 7240.000 | 60.010 | 19.900 | 972.000 | 13270.000 | 17648.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 24/12/2022 09:38:48 (UTC-4:00) | Normal |  | 302.7 | 8.7 | 2633 | 277.7 | 8.7 | 2416 | 277.7 | 8.6 | 2388 | 9.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 31.6 | 0.0 | 0.0 | 7180.000 | 60.020 | 20.600 | 973.000 | 13271.000 | 17649.000 | 67.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 24/12/2022 09:43:48 (UTC-4:00) | Normal |  | 301.2 | 8.8 | 2651 | 272.3 | 8.9 | 2423 | 276.0 | 8.7 | 2401 | 11.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7220.000 | 60.010 | 21.200 | 973.000 | 13272.000 | 17650.000 | 67.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 24/12/2022 09:48:50 (UTC-4:00) | Normal |  | 301.2 | 8.8 | 2651 | 276.2 | 8.9 | 2458 | 272.2 | 8.8 | 2395 | 11.0 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 31.8 | 0.0 | 0.0 | 7250.000 | 59.980 | 21.800 | 974.000 | 13272.000 | 17650.000 | 68.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 24/12/2022 09:53:53 (UTC-4:00) | Normal |  | 301.0 | 9.2 | 2769 | 279.7 | 9.1 | 2545 | 275.9 | 9.1 | 2511 | 10.4 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 33.2 | 0.0 | 0.0 | 7540.000 | 60.010 | 22.400 | 975.000 | 13273.000 | 17651.000 | 68.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 24/12/2022 09:58:57 (UTC-4:00) | Normal |  | 306.6 | 8.9 | 2729 | 281.7 | 8.9 | 2507 | 273.9 | 9.0 | 2465 | 12.9 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7470.000 | 60.000 | 23.000 | 975.000 | 13274.000 | 17652.000 | 69.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 24/12/2022 10:04:01 (UTC-4:00) | Normal |  | 303.3 | 9.1 | 2760 | 274.4 | 9.3 | 2552 | 270.5 | 9.3 | 2516 | 8.3 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 33.2 | 0.0 | 0.0 | 7570.000 | 60.010 | 23.700 | 976.000 | 13274.000 | 17652.000 | 70.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 24/12/2022 10:09:05 (UTC-4:00) | Normal |  | 295.5 | 9.3 | 2748 | 270.6 | 9.4 | 2544 | 270.4 | 9.2 | 2488 | 8.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 33.2 | 0.0 | 0.0 | 7530.000 | 59.990 | 24.300 | 977.000 | 13275.000 | 17653.000 | 68.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 24/12/2022 10:14:08 (UTC-4:00) | Normal |  | 299.0 | 9.3 | 2781 | 266.4 | 9.7 | 2584 | 270.0 | 9.4 | 2538 | 10.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 33.7 | 0.0 | 0.0 | 7610.000 | 59.980 | 25.000 | 977.000 | 13276.000 | 17654.000 | 68.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 24/12/2022 10:19:08 (UTC-4:00) | Normal |  | 296.8 | 9.2 | 2731 | 272.0 | 9.3 | 2530 | 268.0 | 9.2 | 2466 | 10.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.8 | 0.0 | 0.0 | 7460.000 | 60.020 | 25.500 | 978.000 | 13276.000 | 17654.000 | 68.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 24/12/2022 10:24:08 (UTC-4:00) | Normal |  | 294.7 | 9.2 | 2711 | 266.1 | 9.4 | 2501 | 265.8 | 9.2 | 2445 | 11.0 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.5 | 0.0 | 0.0 | 7380.000 | 59.980 | 26.100 | 978.000 | 13277.000 | 17655.000 | 68.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 24/12/2022 10:29:08 (UTC-4:00) | Normal |  | 292.8 | 9.3 | 2723 | 267.8 | 9.4 | 2517 | 263.8 | 9.3 | 2453 | 12.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 32.8 | 0.0 | 0.0 | 7460.000 | 59.990 | 26.700 | 979.000 | 13277.000 | 17655.000 | 68.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 24/12/2022 10:34:08 (UTC-4:00) | Normal |  | 289.7 | 9.4 | 2723 | 264.8 | 9.5 | 2516 | 264.6 | 9.3 | 2461 | 8.1 | 0.1 | 0 | 226.0 | 0.0 | 0.0 | 32.6 | 0.0 | 0.0 | 7440.000 | 59.970 | 27.400 | 980.000 | 13278.000 | 17656.000 | 67.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 24/12/2022 10:39:08 (UTC-4:00) | Normal |  | 292.7 | 9.7 | 2839 | 267.8 | 9.8 | 2624 | 267.5 | 9.6 | 2568 | 9.1 | 0.1 | 0 | 226.6 | 0.0 | 0.0 | 33.6 | 0.0 | 0.0 | 7740.000 | 60.020 | 28.000 | 980.000 | 13279.000 | 17657.000 | 68.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 24/12/2022 10:44:08 (UTC-4:00) | Normal |  | 289.0 | 9.6 | 2774 | 264.0 | 9.7 | 2561 | 264.0 | 9.5 | 2508 | 12.8 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7590.000 | 59.970 | 28.700 | 981.000 | 13279.000 | 17657.000 | 68.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 24/12/2022 10:49:08 (UTC-4:00) | Normal |  | 292.7 | 9.8 | 2868 | 267.7 | 9.8 | 2623 | 263.8 | 9.8 | 2585 | 8.5 | 0.1 | 0 | 225.4 | 0.0 | 0.0 | 34.1 | 0.0 | 0.0 | 7810.000 | 60.030 | 29.300 | 982.000 | 13280.000 | 17658.000 | 68.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 24/12/2022 10:54:07 (UTC-4:00) | Normal |  | 284.9 | 10.2 | 2906 | 263.0 | 10.2 | 2683 | 258.3 | 10.2 | 2635 | 11.3 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 34.7 | 0.0 | 0.0 | 7940.000 | 59.970 | 30.000 | 982.000 | 13281.000 | 17659.000 | 69.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 24/12/2022 10:59:07 (UTC-4:00) | Normal |  | 273.1 | 2.1 | 574 | 260.2 | 2.1 | 546 | 256.1 | 2.0 | 512 | 10.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 6.9 | 0.0 | 0.0 | 1490.000 | 59.980 | 30.500 | 983.000 | 13281.000 | 17659.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 24/12/2022 11:04:07 (UTC-4:00) | Normal |  | 308.4 | 7.0 | 2159 | 275.7 | 8.8 | 2426 | 272.1 | 8.2 | 2231 | 12.0 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 29.1 | 0.0 | 0.0 | 6600.000 | 59.980 | 31.000 | 983.000 | 13282.000 | 17660.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 24/12/2022 11:09:07 (UTC-4:00) | Normal |  | 285.6 | 10.2 | 2913 | 261.7 | 10.2 | 2669 | 257.5 | 10.2 | 2627 | 10.4 | 0.1 | 0 | 226.7 | 0.0 | 0.0 | 34.3 | 0.0 | 0.0 | 7910.000 | 60.000 | 31.600 | 984.000 | 13282.000 | 17660.000 | 66.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 24/12/2022 11:14:07 (UTC-4:00) | Normal |  | 290.2 | 10.2 | 2960 | 264.0 | 10.2 | 2693 | 261.0 | 10.2 | 2662 | 12.0 | 0.1 | 0 | 226.6 | 0.0 | 0.0 | 35.0 | 0.0 | 0.0 | 8020.000 | 60.020 | 32.300 | 985.000 | 13283.000 | 17661.000 | 68.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 24/12/2022 11:19:11 (UTC-4:00) | Normal |  | 278.9 | 3.0 | 837 | 258.2 | 3.1 | 800 | 253.9 | 2.9 | 736 | 10.7 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 10.2 | 0.0 | 0.0 | 2260.000 | 60.030 | 32.900 | 985.000 | 13283.000 | 17661.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 24/12/2022 11:24:15 (UTC-4:00) | Normal |  | 307.0 | 2.0 | 614 | 278.1 | 2.1 | 584 | 274.0 | 2.0 | 548 | 9.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1630.000 | 60.010 | 33.000 | 985.000 | 13284.000 | 17662.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 24/12/2022 11:29:19 (UTC-4:00) | Normal |  | 318.4 | 6.8 | 2165 | 289.9 | 7.7 | 2232 | 277.6 | 6.6 | 1832 | 10.6 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 26.6 | 0.0 | 0.0 | 6070.000 | 59.990 | 33.200 | 985.000 | 13284.000 | 17662.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 24/12/2022 11:34:23 (UTC-4:00) | Normal |  | 309.7 | 10.2 | 3159 | 282.1 | 10.2 | 2877 | 277.8 | 10.2 | 2834 | 10.9 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 37.4 | 0.0 | 0.0 | 8560.000 | 60.000 | 33.900 | 986.000 | 13284.000 | 17662.000 | 62.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 24/12/2022 11:39:27 (UTC-4:00) | Normal |  | 293.9 | 10.2 | 2998 | 267.8 | 10.2 | 2732 | 268.5 | 10.2 | 2739 | 10.1 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 35.8 | 0.0 | 0.0 | 8160.000 | 59.950 | 34.600 | 987.000 | 13285.000 | 17663.000 | 65.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 24/12/2022 11:44:30 (UTC-4:00) | Normal |  | 285.1 | 10.2 | 2908 | 260.4 | 10.2 | 2656 | 254.1 | 10.2 | 2592 | 9.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7890.000 | 59.970 | 35.300 | 988.000 | 13286.000 | 17664.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 24/12/2022 11:49:34 (UTC-4:00) | Normal |  | 285.1 | 2.0 | 570 | 260.2 | 2.1 | 546 | 256.2 | 2.0 | 512 | 10.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 7.2 | 0.0 | 0.0 | 1520.000 | 59.970 | 35.800 | 988.000 | 13286.000 | 17664.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 24/12/2022 11:54:38 (UTC-4:00) | Normal |  | 301.2 | 2.2 | 663 | 276.1 | 2.3 | 635 | 272.2 | 2.2 | 599 | 9.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1790.000 | 59.930 | 36.100 | 988.000 | 13287.000 | 17665.000 | 59.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 24/12/2022 11:59:42 (UTC-4:00) | Normal |  | 316.9 | 2.4 | 761 | 284.2 | 2.5 | 711 | 283.9 | 2.3 | 653 | 10.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2020.000 | 59.970 | 36.200 | 988.000 | 13287.000 | 17665.000 | 54.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 24/12/2022 12:04:46 (UTC-4:00) | Normal |  | 320.9 | 2.5 | 802 | 292.0 | 2.6 | 759 | 291.9 | 2.5 | 730 | 11.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2200.000 | 59.950 | 36.400 | 989.000 | 13287.000 | 17665.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 24/12/2022 12:09:45 (UTC-4:00) | Normal |  | 323.4 | 2.6 | 841 | 294.5 | 2.7 | 795 | 294.1 | 2.5 | 735 | 14.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2280.000 | 59.940 | 36.500 | 989.000 | 13287.000 | 17665.000 | 50.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 24/12/2022 12:14:45 (UTC-4:00) | Normal |  | 315.0 | 10.2 | 3213 | 285.1 | 10.2 | 2908 | 281.2 | 10.2 | 2868 | 11.7 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 37.9 | 0.0 | 0.0 | 8670.000 | 59.940 | 37.100 | 989.000 | 13288.000 | 17666.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 24/12/2022 12:19:45 (UTC-4:00) | Normal |  | 318.8 | 1.9 | 606 | 293.9 | 2.0 | 588 | 286.1 | 1.9 | 544 | 14.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1650.000 | 59.900 | 37.300 | 990.000 | 13288.000 | 17666.000 | 52.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 24/12/2022 12:24:45 (UTC-4:00) | Normal |  | 323.1 | 2.1 | 679 | 294.5 | 2.2 | 648 | 294.1 | 2.1 | 618 | 15.3 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1840.000 | 59.950 | 37.500 | 990.000 | 13288.000 | 17666.000 | 49.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 24/12/2022 12:29:44 (UTC-4:00) | Normal |  | 329.2 | 8.9 | 2930 | 291.8 | 8.5 | 2480 | 295.6 | 8.3 | 2453 | 10.6 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 33.5 | 0.0 | 0.0 | 7670.000 | 59.930 | 37.800 | 990.000 | 13288.000 | 17666.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 24/12/2022 12:34:44 (UTC-4:00) | Normal |  | 304.3 | 9.9 | 3013 | 267.4 | 10.2 | 2727 | 271.9 | 9.9 | 2692 | 14.5 | 0.1 | 0 | 225.5 | 0.0 | 0.0 | 35.7 | 0.0 | 0.0 | 8170.000 | 59.910 | 38.500 | 991.000 | 13289.000 | 17667.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 24/12/2022 12:39:44 (UTC-4:00) | Normal |  | 293.2 | 10.2 | 2991 | 270.2 | 10.2 | 2756 | 267.7 | 9.8 | 2623 | 13.5 | 0.1 | 0 | 225.8 | 0.0 | 0.0 | 35.3 | 0.0 | 0.0 | 8090.000 | 60.010 | 39.100 | 991.000 | 13290.000 | 17668.000 | 60.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 24/12/2022 12:44:44 (UTC-4:00) | Normal |  | 305.4 | 2.4 | 733 | 272.9 | 2.5 | 682 | 272.4 | 2.4 | 654 | 13.9 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1950.000 | 60.030 | 39.500 | 992.000 | 13290.000 | 17668.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 24/12/2022 12:44:55 (UTC-4:00) | Normal |  | 305.4 | 2.4 | 733 | 272.9 | 2.5 | 682 | 272.4 | 2.4 | 654 | 13.9 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1950.000 | 60.030 | 39.500 | 992.000 | 13290.000 | 17668.000 | 57.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 24/12/2022 12:49:43 (UTC-4:00) | Normal |  | 312.8 | 2.3 | 719 | 284.3 | 2.4 | 682 | 280.3 | 2.3 | 645 | 9.4 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1950.000 | 60.010 | 39.700 | 992.000 | 13290.000 | 17668.000 | 52.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 24/12/2022 12:54:43 (UTC-4:00) | Normal |  | 317.2 | 2.5 | 793 | 288.4 | 2.6 | 750 | 283.8 | 2.5 | 710 | 15.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2160.000 | 60.000 | 39.900 | 992.000 | 13290.000 | 17668.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 24/12/2022 12:59:43 (UTC-4:00) | Normal |  | 319.8 | 2.8 | 895 | 290.9 | 2.8 | 815 | 290.7 | 2.7 | 785 | 14.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2420.000 | 59.990 | 40.100 | 992.000 | 13291.000 | 17669.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 24/12/2022 13:04:45 (UTC-4:00) | Normal |  | 327.3 | 2.7 | 884 | 301.7 | 2.7 | 815 | 298.3 | 2.6 | 776 | 15.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2370.000 | 60.030 | 40.300 | 993.000 | 13291.000 | 17669.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 24/12/2022 13:06:45 (UTC-4:00) | Normal |  | 326.6 | 2.5 | 817 | 294.4 | 2.6 | 765 | 294.2 | 2.4 | 706 | 11.9 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2180.000 | 60.010 | 40.400 | 993.000 | 13291.000 | 17669.000 | 47.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 24/12/2022 13:12:00 (UTC-4:00) | Normal |  | 328.4 | 2.4 | 788 | 295.6 | 2.5 | 739 | 292.3 | 2.4 | 702 | 14.7 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2180.000 | 60.000 | 40.600 | 993.000 | 13291.000 | 17669.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 24/12/2022 13:17:00 (UTC-4:00) | Normal |  | 330.5 | 2.4 | 793 | 299.2 | 2.5 | 748 | 295.1 | 2.4 | 708 | 14.3 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2150.000 | 59.970 | 40.700 | 993.000 | 13291.000 | 17669.000 | 45.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 24/12/2022 13:21:59 (UTC-4:00) | Normal |  | 336.0 | 2.4 | 806 | 297.7 | 2.5 | 744 | 297.6 | 2.4 | 714 | 14.8 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2140.000 | 59.960 | 40.900 | 993.000 | 13291.000 | 17669.000 | 44.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 24/12/2022 13:26:59 (UTC-4:00) | Normal |  | 332.9 | 2.3 | 766 | 300.7 | 2.4 | 722 | 299.9 | 2.3 | 690 | 9.8 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2100.000 | 59.950 | 41.100 | 993.000 | 13292.000 | 17670.000 | 43.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 24/12/2022 13:31:58 (UTC-4:00) | Normal |  | 335.2 | 2.4 | 804 | 302.2 | 2.5 | 756 | 302.1 | 2.4 | 725 | 13.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2210.000 | 59.950 | 41.300 | 994.000 | 13292.000 | 17670.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 24/12/2022 13:36:59 (UTC-4:00) | Normal |  | 333.2 | 2.4 | 800 | 300.3 | 2.5 | 751 | 296.2 | 2.4 | 711 | 16.5 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2140.000 | 59.920 | 41.500 | 994.000 | 13292.000 | 17670.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 24/12/2022 13:42:02 (UTC-4:00) | Normal |  | 335.2 | 2.3 | 771 | 302.3 | 2.4 | 726 | 302.2 | 2.3 | 695 | 10.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2090.000 | 59.940 | 41.600 | 994.000 | 13292.000 | 17670.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 24/12/2022 13:47:05 (UTC-4:00) | Normal |  | 335.3 | 2.6 | 872 | 306.4 | 2.7 | 827 | 302.3 | 2.6 | 786 | 14.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 10.8 | 0.0 | 0.0 | 2390.000 | 60.000 | 41.800 | 994.000 | 13292.000 | 17670.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 24/12/2022 13:52:09 (UTC-4:00) | Normal |  | 333.0 | 2.6 | 866 | 304.1 | 2.6 | 791 | 300.0 | 2.6 | 780 | 15.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2340.000 | 59.960 | 42.000 | 994.000 | 13293.000 | 17671.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 24/12/2022 13:57:12 (UTC-4:00) | Normal |  | 332.8 | 7.5 | 2496 | 299.9 | 7.6 | 2279 | 296.0 | 7.6 | 2250 | 12.9 | 0.1 | 0 | 233.7 | 0.0 | 0.0 | 28.8 | 0.0 | 0.0 | 6820.000 | 60.010 | 42.400 | 995.000 | 13293.000 | 17671.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 24/12/2022 14:02:12 (UTC-4:00) | Normal |  | 322.6 | 7.6 | 2452 | 289.7 | 7.7 | 2231 | 289.7 | 7.6 | 2202 | 15.5 | 0.1 | 0 | 225.7 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6690.000 | 59.980 | 42.900 | 995.000 | 13293.000 | 17671.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 24/12/2022 14:07:12 (UTC-4:00) | Normal |  | 310.8 | 7.5 | 2331 | 282.0 | 7.6 | 2143 | 281.7 | 7.4 | 2085 | 15.6 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 27.8 | 0.0 | 0.0 | 6350.000 | 59.950 | 43.500 | 996.000 | 13294.000 | 17672.000 | 54.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 24/12/2022 14:12:11 (UTC-4:00) | Normal |  | 305.1 | 7.0 | 2136 | 280.1 | 7.0 | 1961 | 279.8 | 6.8 | 1903 | 12.7 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 25.6 | 0.0 | 0.0 | 5830.000 | 59.980 | 44.000 | 996.000 | 13295.000 | 17673.000 | 55.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 24/12/2022 14:17:10 (UTC-4:00) | Normal |  | 305.4 | 6.8 | 2077 | 276.4 | 6.9 | 1907 | 276.4 | 6.7 | 1852 | 9.6 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5650.000 | 59.970 | 44.500 | 997.000 | 13295.000 | 17673.000 | 56.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 24/12/2022 14:22:10 (UTC-4:00) | Normal |  | 301.1 | 7.1 | 2138 | 272.2 | 7.1 | 1933 | 276.0 | 6.9 | 1904 | 9.8 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5790.000 | 59.960 | 44.900 | 997.000 | 13295.000 | 17673.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 24/12/2022 14:27:09 (UTC-4:00) | Normal |  | 313.0 | 6.2 | 1941 | 284.1 | 6.2 | 1761 | 280.1 | 6.2 | 1737 | 12.1 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5260.000 | 59.970 | 45.200 | 997.000 | 13296.000 | 17674.000 | 54.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 24/12/2022 14:32:08 (UTC-4:00) | Normal |  | 312.9 | 5.9 | 1846 | 284.0 | 5.9 | 1676 | 283.9 | 5.8 | 1647 | 13.0 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 5000.000 | 59.970 | 45.700 | 998.000 | 13296.000 | 17674.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 24/12/2022 14:37:08 (UTC-4:00) | Normal |  | 320.7 | 6.0 | 1924 | 287.8 | 6.1 | 1756 | 283.9 | 6.0 | 1703 | 12.7 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5240.000 | 60.030 | 46.000 | 998.000 | 13297.000 | 17675.000 | 53.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 24/12/2022 14:42:07 (UTC-4:00) | Normal |  | 315.9 | 4.4 | 1390 | 283.0 | 4.6 | 1302 | 290.6 | 4.0 | 1162 | 13.1 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 16.2 | 0.0 | 0.0 | 3740.000 | 60.070 | 46.500 | 999.000 | 13297.000 | 17675.000 | 54.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 24/12/2022 14:47:07 (UTC-4:00) | Normal |  | 323.4 | 3.5 | 1132 | 290.4 | 3.4 | 987 | 294.3 | 3.4 | 1001 | 11.1 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 13.4 | 0.0 | 0.0 | 3010.000 | 60.010 | 46.600 | 999.000 | 13297.000 | 17675.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 24/12/2022 14:52:06 (UTC-4:00) | Normal |  | 319.4 | 5.6 | 1789 | 290.4 | 5.7 | 1655 | 290.3 | 5.5 | 1597 | 9.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 21.7 | 0.0 | 0.0 | 4900.000 | 59.990 | 47.000 | 999.000 | 13298.000 | 17676.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 24/12/2022 14:57:09 (UTC-4:00) | Normal |  | 317.4 | 5.5 | 1746 | 288.5 | 5.5 | 1587 | 288.4 | 5.4 | 1557 | 15.1 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4740.000 | 60.000 | 47.400 | 1000.000 | 13298.000 | 17676.000 | 52.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 24/12/2022 15:02:12 (UTC-4:00) | Normal |  | 315.3 | 5.4 | 1703 | 286.3 | 5.4 | 1546 | 286.2 | 5.3 | 1517 | 9.4 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 20.4 | 0.0 | 0.0 | 4610.000 | 59.990 | 47.800 | 1000.000 | 13298.000 | 17676.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 24/12/2022 15:07:16 (UTC-4:00) | Normal |  | 316.4 | 3.8 | 1202 | 287.3 | 3.6 | 1034 | 287.6 | 3.9 | 1122 | 15.4 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3250.000 | 59.920 | 48.200 | 1000.000 | 13299.000 | 17677.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 24/12/2022 15:12:19 (UTC-4:00) | Normal |  | 314.3 | 2.7 | 849 | 285.3 | 2.7 | 770 | 285.5 | 2.8 | 799 | 9.5 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2300.000 | 59.970 | 48.500 | 1001.000 | 13299.000 | 17677.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 24/12/2022 15:17:23 (UTC-4:00) | Normal |  | 320.8 | 4.8 | 1540 | 284.0 | 5.0 | 1420 | 291.8 | 4.7 | 1371 | 12.3 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 18.6 | 0.0 | 0.0 | 4180.000 | 59.910 | 48.900 | 1001.000 | 13299.000 | 17677.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 24/12/2022 15:22:22 (UTC-4:00) | Normal |  | 317.4 | 4.7 | 1492 | 288.5 | 4.8 | 1385 | 288.4 | 4.6 | 1327 | 14.2 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 18.0 | 0.0 | 0.0 | 4070.000 | 59.950 | 49.100 | 1001.000 | 13300.000 | 17678.000 | 51.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 24/12/2022 15:27:21 (UTC-4:00) | Normal |  | 319.1 | 4.7 | 1500 | 290.2 | 4.8 | 1393 | 290.1 | 4.6 | 1334 | 9.8 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 18.3 | 0.0 | 0.0 | 4120.000 | 59.920 | 49.500 | 1002.000 | 13300.000 | 17678.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 24/12/2022 15:32:21 (UTC-4:00) | Normal |  | 317.2 | 4.7 | 1491 | 288.3 | 4.7 | 1355 | 288.2 | 4.6 | 1326 | 13.3 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 18.1 | 0.0 | 0.0 | 4050.000 | 60.030 | 49.800 | 1002.000 | 13300.000 | 17678.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 24/12/2022 15:37:20 (UTC-4:00) | Normal |  | 316.8 | 4.7 | 1489 | 288.0 | 4.8 | 1382 | 287.8 | 4.7 | 1353 | 11.9 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 18.2 | 0.0 | 0.0 | 4100.000 | 60.040 | 50.200 | 1002.000 | 13301.000 | 17679.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 24/12/2022 15:42:20 (UTC-4:00) | Normal |  | 327.3 | 4.8 | 1571 | 286.5 | 5.1 | 1461 | 286.4 | 4.9 | 1403 | 9.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 19.2 | 0.0 | 0.0 | 4330.000 | 60.020 | 50.500 | 1003.000 | 13301.000 | 17679.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 24/12/2022 15:47:19 (UTC-4:00) | Normal |  | 319.0 | 4.8 | 1531 | 286.1 | 4.9 | 1402 | 286.1 | 4.7 | 1345 | 15.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4160.000 | 59.970 | 50.900 | 1003.000 | 13301.000 | 17679.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 24/12/2022 15:52:19 (UTC-4:00) | Normal |  | 321.6 | 4.1 | 1319 | 292.7 | 4.2 | 1229 | 292.4 | 4.0 | 1170 | 10.1 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3600.000 | 59.980 | 51.200 | 1003.000 | 13302.000 | 17680.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 24/12/2022 15:57:18 (UTC-4:00) | Normal |  | 326.6 | 2.7 | 882 | 293.8 | 2.9 | 852 | 297.6 | 2.6 | 774 | 11.5 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2400.000 | 59.960 | 51.400 | 1004.000 | 13302.000 | 17680.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 24/12/2022 16:02:17 (UTC-4:00) | Normal |  | 303.2 | 0.7 | 212 | 286.3 | 0.8 | 229 | 286.2 | 0.7 | 200 | 10.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 560.000 | 59.970 | 51.500 | 1004.000 | 13302.000 | 17680.000 | 45.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 24/12/2022 16:07:17 (UTC-4:00) | Normal |  | 329.2 | 0.4 | 132 | 300.4 | 0.5 | 150 | 296.2 | 0.4 | 118 | 10.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 380.000 | 59.950 | 51.600 | 1004.000 | 13302.000 | 17680.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 24/12/2022 16:12:18 (UTC-4:00) | Normal |  | 333.0 | 0.6 | 200 | 308.3 | 0.7 | 216 | 304.2 | 0.6 | 183 | 13.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 3.6 | 0.0 | 0.0 | 570.000 | 60.010 | 51.600 | 1004.000 | 13302.000 | 17680.000 | 41.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 24/12/2022 16:17:20 (UTC-4:00) | Normal |  | 335.1 | 0.6 | 201 | 310.2 | 0.7 | 217 | 302.2 | 0.6 | 181 | 9.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 550.000 | 60.010 | 51.700 | 1004.000 | 13302.000 | 17680.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 24/12/2022 16:22:21 (UTC-4:00) | Normal |  | 375.1 | 1.6 | 600 | 334.2 | 1.7 | 568 | 326.1 | 1.6 | 522 | 9.8 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 7.2 | 0.0 | 0.0 | 1530.000 | 59.970 | 51.700 | 1004.000 | 13302.000 | 17680.000 | 40.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 24/12/2022 16:27:25 (UTC-4:00) | Normal |  | 357.0 | 1.0 | 357 | 324.0 | 1.0 | 324 | 312.0 | 1.0 | 312 | 12.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 960.000 | 59.970 | 51.800 | 1004.000 | 13302.000 | 17680.000 | 39.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 24/12/2022 16:32:28 (UTC-4:00) | Normal |  | 359.2 | 1.6 | 575 | 318.3 | 1.7 | 541 | 322.2 | 1.5 | 483 | 15.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1420.000 | 60.020 | 51.900 | 1004.000 | 13302.000 | 17680.000 | 39.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 24/12/2022 16:37:32 (UTC-4:00) | Normal |  | 363.1 | 1.6 | 581 | 322.2 | 1.7 | 548 | 322.1 | 1.6 | 515 | 16.1 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1430.000 | 59.980 | 52.000 | 1004.000 | 13303.000 | 17681.000 | 39.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 24/12/2022 16:42:35 (UTC-4:00) | Normal |  | 349.1 | 0.8 | 279 | 316.2 | 0.8 | 253 | 304.1 | 0.8 | 243 | 13.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 700.000 | 59.970 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 39.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 24/12/2022 16:47:39 (UTC-4:00) | Normal |  | 333.2 | 0.4 | 133 | 296.5 | 0.4 | 119 | 296.2 | 0.3 | 89 | 15.3 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 280.000 | 59.990 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 38.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 24/12/2022 16:52:42 (UTC-4:00) | Normal |  | 323.2 | 0.2 | 65 | 302.4 | 0.3 | 91 | 286.3 | 0.2 | 57 | 13.9 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 37.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 24/12/2022 16:57:45 (UTC-4:00) | Normal |  | 309.3 | 0.1 | 31 | 290.3 | 0.2 | 58 | 280.8 | 0.1 | 28 | 12.3 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 60.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 24/12/2022 17:02:49 (UTC-4:00) | Normal |  | 301.0 | 0.1 | 30 | 274.2 | 0.1 | 27 | 274.3 | 0.1 | 27 | 11.5 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 24/12/2022 17:07:48 (UTC-4:00) | Normal |  | 299.9 | 0.1 | 30 | 274.3 | 0.1 | 27 | 268.7 | 0.1 | 27 | 12.3 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 24/12/2022 17:12:47 (UTC-4:00) | Normal |  | 295.0 | 0.1 | 30 | 274.3 | 0.1 | 27 | 330.9 | 0.1 | 33 | 16.2 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 35.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 24/12/2022 17:17:47 (UTC-4:00) | Normal |  | 293.8 | 0.1 | 29 | 274.3 | 0.1 | 27 | 263.3 | 0.1 | 26 | 13.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 24/12/2022 17:22:46 (UTC-4:00) | Normal |  | 289.0 | 0.1 | 29 | 274.3 | 0.1 | 27 | 259.8 | 0.1 | 26 | 16.3 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 24/12/2022 17:27:46 (UTC-4:00) | Normal |  | 282.7 | 0.1 | 28 | 274.2 | 0.1 | 27 | 255.9 | 0.1 | 26 | 16.0 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 24/12/2022 17:32:45 (UTC-4:00) | Normal |  | 278.0 | 0.1 | 28 | 274.1 | 0.1 | 27 | 248.1 | 0.1 | 25 | 9.8 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 24/12/2022 17:37:44 (UTC-4:00) | Normal |  | 271.4 | 0.1 | 27 | 274.3 | 0.1 | 27 | 245.3 | 0.1 | 25 | 14.4 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 24/12/2022 17:42:44 (UTC-4:00) | Normal |  | 336.1 | 0.1 | 34 | 274.1 | 0.1 | 27 | 242.3 | 0.1 | 24 | 15.9 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 24/12/2022 17:47:43 (UTC-4:00) | Normal |  | 266.6 | 0.1 | 27 | 274.3 | 0.1 | 27 | 297.9 | 0.1 | 30 | 14.7 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 24/12/2022 17:52:43 (UTC-4:00) | Normal |  | 255.5 | 0.1 | 26 | 274.1 | 0.1 | 27 | 232.7 | 0.1 | 23 | 9.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.950 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 24/12/2022 17:57:42 (UTC-4:00) | Normal |  | 251.3 | 0.1 | 25 | 274.3 | 0.1 | 27 | 223.0 | 0.1 | 22 | 12.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 24/12/2022 18:02:44 (UTC-4:00) | Normal |  | 206.7 | 0.1 | 21 | 226.8 | 0.1 | 23 | 196.7 | 0.1 | 20 | 12.1 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 24/12/2022 18:07:48 (UTC-4:00) | Normal |  | 177.3 | 0.1 | 18 | 163.1 | 0.1 | 16 | 143.4 | 0.1 | 14 | 14.6 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 24/12/2022 18:12:51 (UTC-4:00) | Normal |  | 79.8 | 0.0 | 0 | 75.4 | 0.0 | 0 | 74.9 | 0.0 | 0 | 0.4 | 0.0 | 0 | 222.4 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 59.940 | 52.200 | 1004.000 | 13303.000 | 17681.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0