## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024544
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 25/12/2022 04:17:29 (UTC-4:00) | Normal |  | 152.5 | 0.1 | 15 | 153.7 | 0.1 | 15 | 150.3 | 0.1 | 15 | 1.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 0.3 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 1004.000 | 13303.000 | 17681.000 | 25.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 25/12/2022 04:22:33 (UTC-4:00) | Normal |  | 285.1 | 0.1 | 29 | 256.9 | 0.1 | 26 | 256.4 | 0.1 | 26 | 15.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 1004.000 | 13303.000 | 17681.000 | 25.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 25/12/2022 04:27:33 (UTC-4:00) | Normal |  | 292.0 | 0.1 | 29 | 263.1 | 0.1 | 26 | 262.5 | 0.1 | 26 | 11.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1004.000 | 13303.000 | 17681.000 | 26.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 25/12/2022 04:32:33 (UTC-4:00) | Normal |  | 301.8 | 0.1 | 30 | 269.5 | 0.1 | 27 | 271.6 | 0.1 | 27 | 16.6 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 26.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 25/12/2022 04:37:36 (UTC-4:00) | Normal |  | 386.7 | 0.1 | 39 | 269.3 | 0.1 | 27 | 348.5 | 0.1 | 35 | 10.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 27.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 25/12/2022 04:42:38 (UTC-4:00) | Normal |  | 309.3 | 0.1 | 31 | 269.3 | 0.2 | 54 | 281.7 | 0.1 | 28 | 12.2 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 59.990 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 27.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 25/12/2022 04:47:43 (UTC-4:00) | Normal |  | 309.5 | 0.2 | 62 | 301.4 | 0.3 | 90 | 281.9 | 0.2 | 56 | 16.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 180.000 | 60.010 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 28.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 25/12/2022 04:52:46 (UTC-4:00) | Normal |  | 343.5 | 0.4 | 137 | 305.7 | 0.4 | 122 | 293.9 | 0.3 | 88 | 17.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 260.000 | 59.990 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 25/12/2022 04:57:49 (UTC-4:00) | Normal |  | 360.7 | 0.4 | 144 | 315.1 | 0.4 | 126 | 311.3 | 0.3 | 93 | 12.3 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 380.000 | 59.960 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 25/12/2022 05:02:53 (UTC-4:00) | Normal |  | 365.1 | 0.5 | 183 | 311.1 | 0.5 | 156 | 311.5 | 0.4 | 125 | 12.1 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 480.000 | 59.950 | 0.100 | 1005.000 | 13303.000 | 17681.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 25/12/2022 05:07:57 (UTC-4:00) | Normal |  | 361.3 | 0.7 | 253 | 315.3 | 0.8 | 252 | 319.7 | 0.7 | 224 | 10.6 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 640.000 | 60.020 | 0.200 | 1005.000 | 13303.000 | 17681.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 25/12/2022 05:13:01 (UTC-4:00) | Normal |  | 359.2 | 0.9 | 323 | 309.5 | 0.9 | 279 | 321.8 | 0.8 | 257 | 13.0 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 790.000 | 60.020 | 0.300 | 1005.000 | 13303.000 | 17681.000 | 30.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 25/12/2022 05:18:00 (UTC-4:00) | Normal |  | 357.3 | 1.0 | 357 | 311.2 | 1.0 | 311 | 319.8 | 0.9 | 288 | 14.0 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 900.000 | 60.020 | 0.300 | 1005.000 | 13303.000 | 17681.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 25/12/2022 05:23:00 (UTC-4:00) | Normal |  | 375.3 | 1.0 | 375 | 317.3 | 1.2 | 381 | 325.8 | 1.1 | 358 | 14.8 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1060.000 | 60.010 | 0.400 | 1005.000 | 13303.000 | 17681.000 | 31.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 25/12/2022 05:28:00 (UTC-4:00) | Normal |  | 359.2 | 1.4 | 503 | 321.2 | 1.4 | 450 | 325.8 | 1.3 | 424 | 12.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 6.0 | 0.0 | 0.0 | 1270.000 | 59.990 | 0.500 | 1005.000 | 13303.000 | 17681.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 25/12/2022 05:33:00 (UTC-4:00) | Normal |  | 377.3 | 1.5 | 566 | 339.2 | 1.6 | 543 | 327.8 | 1.6 | 524 | 17.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1450.000 | 60.010 | 0.600 | 1005.000 | 13303.000 | 17681.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 25/12/2022 05:37:59 (UTC-4:00) | Normal |  | 365.4 | 1.7 | 621 | 335.7 | 1.8 | 604 | 332.1 | 1.7 | 565 | 17.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 7.9 | 0.0 | 0.0 | 1670.000 | 60.020 | 0.700 | 1005.000 | 13303.000 | 17681.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 25/12/2022 05:42:59 (UTC-4:00) | Normal |  | 365.3 | 1.8 | 658 | 331.6 | 1.9 | 630 | 327.9 | 1.8 | 590 | 12.3 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1750.000 | 60.000 | 0.900 | 1005.000 | 13304.000 | 17682.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 25/12/2022 05:47:59 (UTC-4:00) | Normal |  | 365.1 | 2.0 | 730 | 327.3 | 2.1 | 687 | 331.4 | 2.0 | 663 | 16.4 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2000.000 | 59.990 | 1.000 | 1005.000 | 13304.000 | 17682.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 25/12/2022 05:52:58 (UTC-4:00) | Normal |  | 363.0 | 2.3 | 835 | 325.2 | 2.4 | 780 | 329.3 | 2.3 | 757 | 16.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2290.000 | 60.030 | 1.200 | 1006.000 | 13304.000 | 17682.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 25/12/2022 05:57:59 (UTC-4:00) | Normal |  | 357.1 | 2.5 | 893 | 327.2 | 2.6 | 851 | 323.6 | 2.5 | 809 | 17.2 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2470.000 | 59.980 | 1.400 | 1006.000 | 13304.000 | 17682.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 25/12/2022 06:02:59 (UTC-4:00) | Normal |  | 361.3 | 2.6 | 939 | 323.6 | 2.6 | 841 | 316.0 | 2.6 | 822 | 15.2 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2490.000 | 60.000 | 1.600 | 1006.000 | 13304.000 | 17682.000 | 38.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 25/12/2022 06:08:00 (UTC-4:00) | Normal |  | 355.3 | 2.8 | 995 | 313.5 | 2.9 | 909 | 317.5 | 2.7 | 857 | 16.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 12.3 | 0.0 | 0.0 | 2710.000 | 60.030 | 1.900 | 1006.000 | 13305.000 | 17683.000 | 38.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 25/12/2022 06:12:59 (UTC-4:00) | Normal |  | 347.4 | 3.0 | 1042 | 317.1 | 3.0 | 951 | 317.8 | 2.9 | 922 | 17.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 12.9 | 0.0 | 0.0 | 2820.000 | 59.990 | 2.100 | 1007.000 | 13305.000 | 17683.000 | 39.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 25/12/2022 06:18:02 (UTC-4:00) | Normal |  | 347.3 | 2.9 | 1007 | 317.4 | 2.9 | 920 | 313.4 | 2.8 | 878 | 14.9 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2730.000 | 60.040 | 2.300 | 1007.000 | 13305.000 | 17683.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 25/12/2022 06:23:06 (UTC-4:00) | Normal |  | 347.6 | 3.1 | 1078 | 317.6 | 3.2 | 1016 | 310.5 | 3.1 | 963 | 17.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 12.9 | 0.0 | 0.0 | 2950.000 | 60.050 | 2.600 | 1007.000 | 13305.000 | 17683.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 25/12/2022 06:28:10 (UTC-4:00) | Normal |  | 349.3 | 3.5 | 1223 | 311.5 | 3.6 | 1121 | 315.4 | 3.4 | 1072 | 10.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3310.000 | 60.050 | 2.800 | 1007.000 | 13306.000 | 17684.000 | 41.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 25/12/2022 06:33:13 (UTC-4:00) | Normal |  | 345.5 | 3.5 | 1209 | 311.5 | 3.5 | 1090 | 312.4 | 3.4 | 1062 | 10.2 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 14.2 | 0.0 | 0.0 | 3240.000 | 60.020 | 3.100 | 1008.000 | 13306.000 | 17684.000 | 42.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 25/12/2022 06:38:17 (UTC-4:00) | Normal |  | 345.1 | 3.8 | 1311 | 311.2 | 3.9 | 1214 | 307.6 | 3.8 | 1169 | 13.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3530.000 | 59.990 | 3.400 | 1008.000 | 13306.000 | 17684.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 25/12/2022 06:43:21 (UTC-4:00) | Normal |  | 343.0 | 3.3 | 1132 | 309.2 | 3.4 | 1051 | 306.2 | 3.3 | 1010 | 10.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 13.8 | 0.0 | 0.0 | 3120.000 | 60.000 | 3.700 | 1008.000 | 13306.000 | 17684.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 25/12/2022 06:48:24 (UTC-4:00) | Normal |  | 343.7 | 3.3 | 1134 | 313.0 | 3.4 | 1064 | 306.3 | 3.3 | 1011 | 10.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3100.000 | 60.020 | 3.900 | 1008.000 | 13307.000 | 17685.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 25/12/2022 06:53:24 (UTC-4:00) | Normal |  | 342.9 | 3.0 | 1029 | 314.1 | 3.0 | 942 | 310.5 | 2.9 | 900 | 13.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 12.6 | 0.0 | 0.0 | 2800.000 | 59.990 | 4.100 | 1009.000 | 13307.000 | 17685.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 25/12/2022 06:58:24 (UTC-4:00) | Normal |  | 344.4 | 3.7 | 1274 | 312.4 | 3.8 | 1187 | 310.9 | 3.7 | 1150 | 11.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3520.000 | 59.980 | 4.400 | 1009.000 | 13307.000 | 17685.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 25/12/2022 07:03:24 (UTC-4:00) | Normal |  | 348.6 | 4.7 | 1638 | 311.9 | 4.8 | 1497 | 311.2 | 4.7 | 1463 | 16.7 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4500.000 | 60.030 | 4.800 | 1009.000 | 13308.000 | 17686.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 25/12/2022 07:08:24 (UTC-4:00) | Normal |  | 337.9 | 5.2 | 1757 | 311.4 | 5.2 | 1619 | 311.8 | 5.0 | 1559 | 14.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4780.000 | 60.040 | 5.200 | 1010.000 | 13308.000 | 17686.000 | 46.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 25/12/2022 07:13:23 (UTC-4:00) | Normal |  | 335.6 | 5.1 | 1712 | 309.5 | 5.1 | 1578 | 302.1 | 5.1 | 1541 | 10.5 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4720.000 | 60.000 | 5.600 | 1010.000 | 13308.000 | 17686.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 25/12/2022 07:18:23 (UTC-4:00) | Normal |  | 338.7 | 4.7 | 1592 | 304.8 | 4.8 | 1463 | 301.3 | 4.7 | 1416 | 12.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4380.000 | 59.970 | 5.900 | 1010.000 | 13309.000 | 17687.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 25/12/2022 07:23:23 (UTC-4:00) | Normal |  | 339.4 | 5.1 | 1731 | 305.4 | 5.2 | 1588 | 305.7 | 5.1 | 1559 | 13.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 21.1 | 0.0 | 0.0 | 4740.000 | 59.960 | 6.300 | 1011.000 | 13309.000 | 17687.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 25/12/2022 07:28:23 (UTC-4:00) | Normal |  | 339.7 | 5.4 | 1834 | 309.6 | 5.5 | 1703 | 302.3 | 5.5 | 1663 | 9.7 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 5050.000 | 60.010 | 6.700 | 1011.000 | 13309.000 | 17687.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 25/12/2022 07:33:22 (UTC-4:00) | Normal |  | 337.4 | 5.3 | 1788 | 303.6 | 5.5 | 1670 | 307.8 | 5.2 | 1601 | 16.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 21.9 | 0.0 | 0.0 | 4920.000 | 59.990 | 7.200 | 1012.000 | 13310.000 | 17688.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 25/12/2022 07:38:22 (UTC-4:00) | Normal |  | 337.4 | 6.0 | 2024 | 303.5 | 6.1 | 1851 | 303.9 | 5.9 | 1793 | 11.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 24.4 | 0.0 | 0.0 | 5500.000 | 60.030 | 7.600 | 1012.000 | 13310.000 | 17688.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 25/12/2022 07:43:22 (UTC-4:00) | Normal |  | 337.5 | 6.2 | 2093 | 303.7 | 6.4 | 1944 | 304.0 | 6.2 | 1885 | 9.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 25.6 | 0.0 | 0.0 | 5780.000 | 60.000 | 8.100 | 1013.000 | 13311.000 | 17689.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 25/12/2022 07:48:22 (UTC-4:00) | Normal |  | 331.6 | 6.5 | 2155 | 301.6 | 6.6 | 1991 | 302.0 | 6.4 | 1933 | 13.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 26.1 | 0.0 | 0.0 | 5890.000 | 60.010 | 8.600 | 1013.000 | 13311.000 | 17689.000 | 55.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 25/12/2022 07:53:25 (UTC-4:00) | Normal |  | 334.9 | 4.8 | 1608 | 297.1 | 5.0 | 1486 | 305.3 | 4.7 | 1435 | 13.1 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4380.000 | 60.010 | 9.000 | 1013.000 | 13312.000 | 17690.000 | 54.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 25/12/2022 07:58:29 (UTC-4:00) | Normal |  | 335.8 | 6.7 | 2250 | 305.8 | 6.8 | 2079 | 302.3 | 6.7 | 2025 | 14.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 27.1 | 0.0 | 0.0 | 6130.000 | 60.020 | 9.400 | 1014.000 | 13312.000 | 17690.000 | 54.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 25/12/2022 08:03:33 (UTC-4:00) | Normal |  | 329.7 | 6.4 | 2110 | 299.7 | 6.5 | 1948 | 300.1 | 6.3 | 1891 | 13.9 | 0.1 | 0 | 225.8 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5790.000 | 60.040 | 10.000 | 1014.000 | 13313.000 | 17691.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 25/12/2022 08:08:36 (UTC-4:00) | Normal |  | 325.6 | 5.6 | 1823 | 299.6 | 5.7 | 1708 | 296.0 | 5.6 | 1658 | 14.6 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 22.4 | 0.0 | 0.0 | 5050.000 | 60.060 | 10.400 | 1015.000 | 13313.000 | 17691.000 | 56.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 25/12/2022 08:13:40 (UTC-4:00) | Normal |  | 330.0 | 7.2 | 2376 | 303.8 | 7.2 | 2187 | 304.2 | 7.0 | 2129 | 9.4 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 28.5 | 0.0 | 0.0 | 6470.000 | 60.060 | 10.900 | 1015.000 | 13314.000 | 17692.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 25/12/2022 08:18:44 (UTC-4:00) | Normal |  | 325.5 | 7.4 | 2409 | 295.5 | 7.5 | 2216 | 296.0 | 7.3 | 2161 | 9.3 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6580.000 | 60.070 | 11.400 | 1016.000 | 13314.000 | 17692.000 | 58.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 25/12/2022 08:23:48 (UTC-4:00) | Normal |  | 325.3 | 7.1 | 2310 | 295.4 | 7.3 | 2156 | 291.9 | 7.2 | 2102 | 10.5 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 28.1 | 0.0 | 0.0 | 6360.000 | 60.040 | 12.000 | 1016.000 | 13315.000 | 17693.000 | 60.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 25/12/2022 08:28:52 (UTC-4:00) | Normal |  | 323.0 | 6.5 | 2100 | 296.9 | 6.5 | 1930 | 293.4 | 6.4 | 1878 | 9.7 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5770.000 | 60.040 | 12.500 | 1017.000 | 13315.000 | 17693.000 | 59.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 25/12/2022 08:33:55 (UTC-4:00) | Normal |  | 323.6 | 7.7 | 2492 | 297.6 | 7.7 | 2292 | 290.3 | 7.8 | 2264 | 9.5 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6850.000 | 60.020 | 13.000 | 1017.000 | 13316.000 | 17694.000 | 60.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 25/12/2022 08:38:59 (UTC-4:00) | Normal |  | 323.7 | 6.5 | 2104 | 297.7 | 6.5 | 1935 | 294.1 | 6.4 | 1882 | 12.1 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 25.2 | 0.0 | 0.0 | 5730.000 | 60.030 | 13.500 | 1018.000 | 13316.000 | 17694.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 25/12/2022 08:44:03 (UTC-4:00) | Normal |  | 314.9 | 7.6 | 2393 | 292.9 | 7.6 | 2226 | 289.4 | 7.5 | 2171 | 12.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 29.1 | 0.0 | 0.0 | 6600.000 | 60.050 | 14.000 | 1018.000 | 13317.000 | 17695.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 25/12/2022 08:49:07 (UTC-4:00) | Normal |  | 313.6 | 8.0 | 2509 | 287.6 | 8.1 | 2330 | 287.8 | 7.9 | 2274 | 14.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 30.7 | 0.0 | 0.0 | 6910.000 | 60.010 | 14.600 | 1019.000 | 13317.000 | 17695.000 | 62.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 25/12/2022 08:54:10 (UTC-4:00) | Normal |  | 313.5 | 8.0 | 2508 | 287.4 | 8.0 | 2299 | 280.1 | 8.1 | 2269 | 8.8 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 30.3 | 0.0 | 0.0 | 6860.000 | 60.020 | 15.200 | 1020.000 | 13318.000 | 17696.000 | 63.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 25/12/2022 08:59:14 (UTC-4:00) | Normal |  | 312.8 | 8.0 | 2502 | 283.1 | 8.2 | 2321 | 283.4 | 8.0 | 2267 | 11.9 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6850.000 | 60.050 | 15.800 | 1020.000 | 13319.000 | 17697.000 | 64.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 25/12/2022 09:04:14 (UTC-4:00) | Normal |  | 309.0 | 8.1 | 2503 | 283.0 | 8.2 | 2321 | 279.5 | 8.1 | 2264 | 12.3 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 30.2 | 0.0 | 0.0 | 6900.000 | 60.030 | 16.200 | 1021.000 | 13319.000 | 17697.000 | 64.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 25/12/2022 09:09:14 (UTC-4:00) | Normal |  | 309.6 | 8.2 | 2539 | 283.5 | 8.2 | 2325 | 276.2 | 8.3 | 2292 | 8.8 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 30.3 | 0.0 | 0.0 | 6920.000 | 60.030 | 16.800 | 1021.000 | 13320.000 | 17698.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 25/12/2022 09:14:13 (UTC-4:00) | Normal |  | 307.9 | 8.3 | 2556 | 285.7 | 8.3 | 2371 | 278.4 | 8.3 | 2311 | 12.4 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7010.000 | 60.060 | 17.400 | 1022.000 | 13320.000 | 17698.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 25/12/2022 09:19:13 (UTC-4:00) | Normal |  | 307.1 | 8.4 | 2580 | 281.2 | 8.5 | 2390 | 277.6 | 8.5 | 2360 | 10.5 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 31.0 | 0.0 | 0.0 | 7090.000 | 60.040 | 18.000 | 1022.000 | 13321.000 | 17699.000 | 66.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 25/12/2022 09:24:13 (UTC-4:00) | Normal |  | 307.4 | 8.4 | 2582 | 277.7 | 8.6 | 2388 | 277.9 | 8.4 | 2334 | 14.0 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7060.000 | 60.020 | 18.600 | 1023.000 | 13321.000 | 17699.000 | 66.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 25/12/2022 09:29:13 (UTC-4:00) | Normal |  | 301.5 | 8.6 | 2593 | 275.5 | 8.6 | 2369 | 275.8 | 8.4 | 2317 | 13.8 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 30.7 | 0.0 | 0.0 | 7040.000 | 60.040 | 19.200 | 1024.000 | 13322.000 | 17700.000 | 66.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 25/12/2022 09:34:12 (UTC-4:00) | Normal |  | 305.6 | 8.5 | 2598 | 271.9 | 8.8 | 2393 | 272.2 | 8.7 | 2368 | 11.7 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 31.3 | 0.0 | 0.0 | 7120.000 | 60.070 | 19.800 | 1024.000 | 13323.000 | 17701.000 | 67.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 25/12/2022 09:39:12 (UTC-4:00) | Normal |  | 301.2 | 8.7 | 2620 | 271.4 | 8.8 | 2388 | 271.8 | 8.7 | 2365 | 11.0 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 31.2 | 0.0 | 0.0 | 7100.000 | 60.050 | 20.400 | 1025.000 | 13323.000 | 17701.000 | 67.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 25/12/2022 09:44:13 (UTC-4:00) | Normal |  | 293.9 | 8.9 | 2616 | 271.7 | 8.9 | 2418 | 272.1 | 8.7 | 2367 | 8.4 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 31.1 | 0.0 | 0.0 | 7130.000 | 60.080 | 21.000 | 1025.000 | 13324.000 | 17702.000 | 68.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 25/12/2022 09:49:13 (UTC-4:00) | Normal |  | 297.1 | 8.9 | 2644 | 267.4 | 9.1 | 2433 | 267.8 | 8.9 | 2383 | 11.4 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 31.4 | 0.0 | 0.0 | 7210.000 | 60.060 | 21.600 | 1026.000 | 13324.000 | 17702.000 | 68.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 25/12/2022 09:54:13 (UTC-4:00) | Normal |  | 297.3 | 9.0 | 2676 | 267.5 | 9.2 | 2461 | 267.9 | 9.0 | 2411 | 13.4 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.1 | 0.0 | 0.0 | 7280.000 | 60.050 | 22.200 | 1027.000 | 13325.000 | 17703.000 | 68.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 25/12/2022 09:59:12 (UTC-4:00) | Normal |  | 295.6 | 9.0 | 2660 | 265.8 | 9.2 | 2445 | 266.1 | 9.0 | 2395 | 8.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.0 | 0.0 | 0.0 | 7260.000 | 60.030 | 22.800 | 1027.000 | 13326.000 | 17704.000 | 69.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 25/12/2022 10:04:15 (UTC-4:00) | Normal |  | 291.0 | 9.5 | 2765 | 264.9 | 9.6 | 2543 | 265.3 | 9.4 | 2494 | 9.9 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 33.3 | 0.0 | 0.0 | 7540.000 | 59.940 | 23.500 | 1028.000 | 13326.000 | 17704.000 | 69.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 25/12/2022 10:09:19 (UTC-4:00) | Normal |  | 295.3 | 9.1 | 2687 | 265.6 | 9.3 | 2470 | 265.9 | 9.1 | 2420 | 10.6 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.1 | 0.0 | 0.0 | 7320.000 | 59.940 | 24.100 | 1029.000 | 13327.000 | 17705.000 | 69.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 25/12/2022 10:14:23 (UTC-4:00) | Normal |  | 295.1 | 9.2 | 2715 | 269.1 | 9.3 | 2503 | 269.5 | 9.1 | 2452 | 8.9 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7430.000 | 59.950 | 24.700 | 1029.000 | 13327.000 | 17705.000 | 68.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 25/12/2022 10:19:27 (UTC-4:00) | Normal |  | 296.8 | 9.3 | 2760 | 271.0 | 9.4 | 2547 | 271.4 | 9.3 | 2524 | 12.0 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 33.6 | 0.0 | 0.0 | 7590.000 | 59.910 | 25.300 | 1030.000 | 13328.000 | 17706.000 | 68.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 25/12/2022 10:24:30 (UTC-4:00) | Normal |  | 292.1 | 6.7 | 1957 | 264.7 | 6.5 | 1721 | 266.3 | 6.8 | 1811 | 12.5 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 23.5 | 0.0 | 0.0 | 5300.000 | 59.930 | 25.800 | 1030.000 | 13329.000 | 17707.000 | 66.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 25/12/2022 10:29:34 (UTC-4:00) | Normal |  | 293.0 | 10.0 | 2930 | 262.0 | 10.2 | 2672 | 263.7 | 10.0 | 2637 | 10.4 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 34.9 | 0.0 | 0.0 | 7950.000 | 59.950 | 26.500 | 1031.000 | 13329.000 | 17707.000 | 67.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 25/12/2022 10:34:38 (UTC-4:00) | Normal |  | 293.4 | 1.9 | 557 | 259.5 | 2.0 | 519 | 263.9 | 1.8 | 475 | 12.9 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1420.000 | 59.950 | 27.100 | 1032.000 | 13330.000 | 17708.000 | 67.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 25/12/2022 10:39:38 (UTC-4:00) | Normal |  | 295.1 | 10.2 | 3010 | 270.3 | 10.2 | 2757 | 267.9 | 10.1 | 2706 | 9.7 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 35.8 | 0.0 | 0.0 | 8180.000 | 60.000 | 27.500 | 1032.000 | 13330.000 | 17708.000 | 65.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 25/12/2022 10:44:38 (UTC-4:00) | Normal |  | 285.0 | 9.6 | 2736 | 250.6 | 8.6 | 2155 | 263.3 | 9.2 | 2422 | 12.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 31.1 | 0.0 | 0.0 | 7130.000 | 59.930 | 28.200 | 1033.000 | 13331.000 | 17709.000 | 67.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 25/12/2022 10:49:38 (UTC-4:00) | Normal |  | 299.3 | 10.2 | 3053 | 271.2 | 10.2 | 2766 | 268.7 | 10.2 | 2741 | 12.7 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 36.0 | 0.0 | 0.0 | 8250.000 | 59.950 | 28.900 | 1033.000 | 13332.000 | 17710.000 | 69.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 25/12/2022 10:54:38 (UTC-4:00) | Normal |  | 317.2 | 10.2 | 3235 | 286.2 | 10.3 | 2948 | 284.2 | 10.2 | 2899 | 12.9 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 38.6 | 0.0 | 0.0 | 8780.000 | 59.970 | 29.200 | 1034.000 | 13332.000 | 17710.000 | 63.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 25/12/2022 10:59:38 (UTC-4:00) | Normal |  | 307.5 | 10.2 | 3137 | 278.7 | 10.2 | 2843 | 276.1 | 10.2 | 2816 | 11.5 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 37.5 | 0.0 | 0.0 | 8510.000 | 59.950 | 29.900 | 1034.000 | 13333.000 | 17711.000 | 67.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 25/12/2022 11:04:38 (UTC-4:00) | Normal |  | 310.8 | 8.4 | 2611 | 284.2 | 8.8 | 2501 | 277.4 | 9.5 | 2635 | 11.8 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7460.000 | 59.990 | 30.200 | 1035.000 | 13333.000 | 17711.000 | 61.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 25/12/2022 11:09:37 (UTC-4:00) | Normal |  | 301.0 | 2.0 | 602 | 271.2 | 2.1 | 570 | 267.5 | 2.0 | 535 | 9.0 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1590.000 | 60.000 | 30.700 | 1035.000 | 13333.000 | 17711.000 | 62.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 25/12/2022 11:14:37 (UTC-4:00) | Normal |  | 313.3 | 2.3 | 721 | 283.5 | 2.4 | 680 | 287.8 | 2.3 | 662 | 14.2 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1970.000 | 59.990 | 30.800 | 1035.000 | 13334.000 | 17712.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 25/12/2022 11:19:37 (UTC-4:00) | Normal |  | 313.4 | 9.9 | 3103 | 283.5 | 10.1 | 2863 | 283.9 | 9.9 | 2811 | 10.2 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 37.2 | 0.0 | 0.0 | 8480.000 | 60.020 | 31.300 | 1036.000 | 13334.000 | 17712.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 25/12/2022 11:24:37 (UTC-4:00) | Normal |  | 298.2 | 10.2 | 3042 | 275.0 | 10.1 | 2778 | 271.5 | 10.1 | 2742 | 10.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 36.4 | 0.0 | 0.0 | 8280.000 | 59.990 | 32.000 | 1036.000 | 13335.000 | 17713.000 | 63.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 25/12/2022 11:29:37 (UTC-4:00) | Normal |  | 297.0 | 10.2 | 3029 | 271.3 | 10.2 | 2767 | 268.1 | 10.2 | 2735 | 12.1 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 36.2 | 0.0 | 0.0 | 8240.000 | 60.040 | 32.700 | 1037.000 | 13335.000 | 17713.000 | 65.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 25/12/2022 11:34:37 (UTC-4:00) | Normal |  | 297.2 | 10.2 | 3031 | 270.4 | 10.2 | 2758 | 267.7 | 10.2 | 2731 | 11.2 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 35.7 | 0.0 | 0.0 | 8180.000 | 60.040 | 33.400 | 1038.000 | 13336.000 | 17714.000 | 67.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 25/12/2022 11:39:42 (UTC-4:00) | Normal |  | 293.5 | 10.2 | 2994 | 266.1 | 10.2 | 2714 | 263.7 | 10.2 | 2690 | 8.3 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 35.6 | 0.0 | 0.0 | 8100.000 | 60.000 | 34.000 | 1038.000 | 13337.000 | 17715.000 | 67.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 25/12/2022 11:44:45 (UTC-4:00) | Normal |  | 288.2 | 10.2 | 2940 | 262.5 | 10.2 | 2678 | 261.7 | 10.1 | 2643 | 10.3 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 34.8 | 0.0 | 0.0 | 7940.000 | 60.040 | 34.600 | 1039.000 | 13337.000 | 17715.000 | 65.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 25/12/2022 11:49:49 (UTC-4:00) | Normal |  | 287.4 | 9.8 | 2817 | 249.7 | 10.2 | 2547 | 261.6 | 9.6 | 2511 | 11.2 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 33.3 | 0.0 | 0.0 | 7610.000 | 60.020 | 35.200 | 1040.000 | 13338.000 | 17716.000 | 67.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 25/12/2022 11:54:49 (UTC-4:00) | Normal |  | 281.1 | 10.0 | 2811 | 250.4 | 10.2 | 2554 | 255.6 | 9.9 | 2530 | 12.1 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 33.4 | 0.0 | 0.0 | 7620.000 | 60.000 | 35.800 | 1040.000 | 13339.000 | 17717.000 | 67.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 25/12/2022 11:59:49 (UTC-4:00) | Normal |  | 283.2 | 9.9 | 2804 | 247.0 | 10.2 | 2519 | 253.6 | 9.8 | 2485 | 12.8 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7540.000 | 60.030 | 36.400 | 1041.000 | 13339.000 | 17717.000 | 67.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 25/12/2022 12:04:48 (UTC-4:00) | Normal |  | 289.1 | 9.7 | 2804 | 255.5 | 10.0 | 2555 | 259.7 | 9.7 | 2519 | 12.9 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 33.4 | 0.0 | 0.0 | 7620.000 | 60.050 | 37.000 | 1041.000 | 13340.000 | 17718.000 | 67.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 25/12/2022 12:09:48 (UTC-4:00) | Normal |  | 288.7 | 10.2 | 2945 | 262.8 | 10.2 | 2681 | 258.9 | 10.2 | 2641 | 8.0 | 0.1 | 0 | 225.1 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7930.000 | 60.020 | 37.600 | 1042.000 | 13340.000 | 17718.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 25/12/2022 12:14:49 (UTC-4:00) | Normal |  | 285.3 | 3.2 | 913 | 259.5 | 3.3 | 856 | 255.8 | 3.2 | 819 | 11.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2420.000 | 60.050 | 38.200 | 1043.000 | 13341.000 | 17719.000 | 67.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 25/12/2022 12:19:49 (UTC-4:00) | Normal |  | 301.5 | 10.2 | 3075 | 276.2 | 10.2 | 2817 | 272.4 | 10.2 | 2778 | 8.5 | 0.1 | 0 | 226.0 | 0.0 | 0.0 | 36.4 | 0.0 | 0.0 | 8330.000 | 60.080 | 38.700 | 1043.000 | 13341.000 | 17719.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 25/12/2022 12:24:49 (UTC-4:00) | Normal |  | 309.4 | 2.9 | 897 | 283.4 | 3.1 | 879 | 279.8 | 2.9 | 811 | 8.3 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2490.000 | 60.060 | 39.000 | 1043.000 | 13342.000 | 17720.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 25/12/2022 12:29:49 (UTC-4:00) | Normal |  | 303.2 | 9.1 | 2759 | 269.6 | 9.4 | 2534 | 273.6 | 9.1 | 2490 | 13.7 | 0.1 | 0 | 226.1 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7540.000 | 60.090 | 39.600 | 1044.000 | 13342.000 | 17720.000 | 62.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 25/12/2022 12:34:49 (UTC-4:00) | Normal |  | 293.5 | 9.3 | 2730 | 267.5 | 9.3 | 2488 | 267.7 | 9.1 | 2436 | 8.4 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 32.3 | 0.0 | 0.0 | 7370.000 | 60.060 | 40.100 | 1045.000 | 13343.000 | 17721.000 | 63.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 25/12/2022 12:39:49 (UTC-4:00) | Normal |  | 299.0 | 7.5 | 2243 | 268.2 | 6.4 | 1716 | 275.8 | 6.9 | 1903 | 9.6 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5670.000 | 59.980 | 40.700 | 1045.000 | 13343.000 | 17721.000 | 63.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 25/12/2022 12:44:49 (UTC-4:00) | Normal |  | 301.5 | 2.0 | 603 | 271.6 | 2.1 | 570 | 276.0 | 1.9 | 524 | 8.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 7.3 | 0.0 | 0.0 | 1560.000 | 59.990 | 40.900 | 1045.000 | 13344.000 | 17722.000 | 58.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 25/12/2022 12:49:49 (UTC-4:00) | Normal |  | 313.2 | 1.7 | 532 | 291.3 | 1.7 | 495 | 287.8 | 1.6 | 460 | 14.3 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1330.000 | 60.000 | 41.100 | 1046.000 | 13344.000 | 17722.000 | 53.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 25/12/2022 12:54:51 (UTC-4:00) | Normal |  | 315.4 | 1.9 | 599 | 289.4 | 2.0 | 579 | 289.8 | 1.9 | 551 | 9.0 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1610.000 | 59.990 | 41.200 | 1046.000 | 13344.000 | 17722.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 25/12/2022 12:59:55 (UTC-4:00) | Normal |  | 318.8 | 8.3 | 2646 | 281.3 | 8.5 | 2391 | 281.7 | 8.4 | 2366 | 13.5 | 0.1 | 0 | 226.0 | 0.0 | 0.0 | 31.3 | 0.0 | 0.0 | 7160.000 | 60.000 | 41.700 | 1046.000 | 13344.000 | 17722.000 | 55.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 25/12/2022 13:04:59 (UTC-4:00) | Normal |  | 306.9 | 8.1 | 2486 | 276.9 | 8.2 | 2271 | 277.3 | 8.1 | 2246 | 10.0 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 29.8 | 0.0 | 0.0 | 6800.000 | 60.000 | 42.300 | 1047.000 | 13345.000 | 17723.000 | 59.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 25/12/2022 13:06:21 (UTC-4:00) | Normal |  | 308.1 | 8.2 | 2526 | 274.2 | 8.4 | 2303 | 274.6 | 8.2 | 2252 | 9.2 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 29.6 | 0.0 | 0.0 | 6810.000 | 60.030 | 42.400 | 1047.000 | 13345.000 | 17723.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 25/12/2022 13:11:39 (UTC-4:00) | Normal |  | 304.8 | 8.3 | 2530 | 274.8 | 8.3 | 2281 | 267.6 | 8.4 | 2248 | 10.6 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6830.000 | 59.970 | 43.000 | 1047.000 | 13346.000 | 17724.000 | 61.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 25/12/2022 13:16:39 (UTC-4:00) | Normal |  | 300.9 | 8.4 | 2528 | 271.0 | 8.5 | 2304 | 271.4 | 8.3 | 2253 | 10.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6840.000 | 59.930 | 43.500 | 1048.000 | 13346.000 | 17724.000 | 63.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 25/12/2022 13:21:39 (UTC-4:00) | Normal |  | 297.4 | 8.2 | 2439 | 271.3 | 8.2 | 2225 | 271.7 | 8.1 | 2201 | 9.1 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 29.3 | 0.0 | 0.0 | 6660.000 | 59.930 | 44.100 | 1049.000 | 13347.000 | 17725.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 25/12/2022 13:26:40 (UTC-4:00) | Normal |  | 305.3 | 7.6 | 2320 | 271.6 | 7.7 | 2091 | 268.0 | 7.7 | 2064 | 11.7 | 0.1 | 0 | 224.8 | 0.0 | 0.0 | 27.4 | 0.0 | 0.0 | 6250.000 | 59.910 | 44.600 | 1049.000 | 13347.000 | 17725.000 | 63.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 25/12/2022 13:31:40 (UTC-4:00) | Normal |  | 300.6 | 7.7 | 2315 | 270.6 | 7.7 | 2084 | 271.6 | 7.8 | 2118 | 11.2 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 28.0 | 0.0 | 0.0 | 6430.000 | 59.940 | 45.200 | 1050.000 | 13348.000 | 17726.000 | 63.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 25/12/2022 13:36:42 (UTC-4:00) | Normal |  | 313.3 | 7.8 | 2444 | 283.6 | 7.6 | 2155 | 280.1 | 7.9 | 2213 | 9.2 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 28.9 | 0.0 | 0.0 | 6560.000 | 59.940 | 45.500 | 1050.000 | 13348.000 | 17726.000 | 59.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 25/12/2022 13:41:42 (UTC-4:00) | Normal |  | 322.1 | 7.4 | 2384 | 288.2 | 7.6 | 2190 | 284.9 | 7.5 | 2137 | 8.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 28.6 | 0.0 | 0.0 | 6480.000 | 59.930 | 45.900 | 1050.000 | 13349.000 | 17727.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 25/12/2022 13:46:44 (UTC-4:00) | Normal |  | 312.8 | 7.5 | 2346 | 279.1 | 7.7 | 2149 | 279.4 | 7.5 | 2096 | 13.2 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 28.3 | 0.0 | 0.0 | 6420.000 | 59.910 | 46.400 | 1051.000 | 13349.000 | 17727.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 25/12/2022 13:51:48 (UTC-4:00) | Normal |  | 320.8 | 7.1 | 2278 | 287.1 | 7.3 | 2096 | 287.4 | 7.1 | 2041 | 10.2 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 27.2 | 0.0 | 0.0 | 6210.000 | 59.910 | 46.800 | 1051.000 | 13350.000 | 17728.000 | 58.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 25/12/2022 13:56:52 (UTC-4:00) | Normal |  | 312.8 | 7.0 | 2190 | 282.8 | 7.1 | 2008 | 283.2 | 6.9 | 1954 | 9.5 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5970.000 | 59.940 | 47.300 | 1052.000 | 13350.000 | 17728.000 | 60.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 25/12/2022 14:01:52 (UTC-4:00) | Normal |  | 309.2 | 6.7 | 2072 | 279.2 | 6.8 | 1899 | 275.6 | 6.7 | 1847 | 10.6 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 24.9 | 0.0 | 0.0 | 5650.000 | 59.900 | 47.700 | 1052.000 | 13350.000 | 17728.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 25/12/2022 14:06:52 (UTC-4:00) | Normal |  | 309.4 | 6.7 | 2073 | 279.5 | 6.8 | 1901 | 279.9 | 6.6 | 1847 | 14.2 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5650.000 | 59.940 | 48.200 | 1053.000 | 13351.000 | 17729.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 25/12/2022 14:11:52 (UTC-4:00) | Normal |  | 309.2 | 7.2 | 2226 | 275.4 | 7.4 | 2038 | 275.8 | 7.2 | 1986 | 9.7 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 26.8 | 0.0 | 0.0 | 6080.000 | 60.010 | 48.700 | 1053.000 | 13351.000 | 17729.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 25/12/2022 14:12:17 (UTC-4:00) | Normal |  | 309.2 | 7.2 | 2226 | 275.4 | 7.4 | 2038 | 275.8 | 7.2 | 1986 | 9.7 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 26.8 | 0.0 | 0.0 | 6080.000 | 60.010 | 48.700 | 1053.000 | 13351.000 | 17729.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 25/12/2022 14:16:53 (UTC-4:00) | Normal |  | 307.5 | 7.0 | 2153 | 273.7 | 7.2 | 1971 | 274.1 | 7.1 | 1946 | 11.7 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5850.000 | 60.000 | 49.200 | 1054.000 | 13352.000 | 17730.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 25/12/2022 14:17:04 (UTC-4:00) | Normal |  | 307.5 | 7.0 | 2153 | 273.7 | 7.2 | 1971 | 274.1 | 7.1 | 1946 | 11.7 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5850.000 | 60.000 | 49.200 | 1054.000 | 13352.000 | 17730.000 | 61.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 25/12/2022 14:21:52 (UTC-4:00) | Normal |  | 307.5 | 6.2 | 1907 | 277.5 | 6.3 | 1748 | 277.9 | 6.2 | 1723 | 12.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5210.000 | 59.980 | 49.700 | 1054.000 | 13352.000 | 17730.000 | 60.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 25/12/2022 14:26:52 (UTC-4:00) | Normal |  | 303.7 | 7.0 | 2126 | 273.7 | 7.1 | 1943 | 274.1 | 6.9 | 1891 | 14.2 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 25.3 | 0.0 | 0.0 | 5760.000 | 59.990 | 50.100 | 1055.000 | 13353.000 | 17731.000 | 60.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 25/12/2022 14:31:52 (UTC-4:00) | Normal |  | 307.4 | 6.9 | 2121 | 269.7 | 7.1 | 1915 | 277.8 | 6.8 | 1889 | 14.0 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 25.1 | 0.0 | 0.0 | 5720.000 | 60.030 | 50.600 | 1055.000 | 13353.000 | 17731.000 | 60.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 25/12/2022 14:36:54 (UTC-4:00) | Normal |  | 303.0 | 6.2 | 1879 | 273.1 | 6.3 | 1721 | 273.5 | 6.1 | 1668 | 12.0 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 5090.000 | 60.020 | 51.100 | 1056.000 | 13354.000 | 17732.000 | 59.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 25/12/2022 14:41:53 (UTC-4:00) | Normal |  | 309.8 | 5.8 | 1797 | 276.0 | 6.0 | 1656 | 280.1 | 5.8 | 1625 | 13.3 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 21.5 | 0.0 | 0.0 | 4910.000 | 59.970 | 51.400 | 1056.000 | 13354.000 | 17732.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 25/12/2022 14:46:54 (UTC-4:00) | Normal |  | 307.3 | 5.5 | 1690 | 277.5 | 5.6 | 1554 | 277.6 | 5.4 | 1499 | 9.0 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 20.3 | 0.0 | 0.0 | 4590.000 | 60.000 | 51.800 | 1056.000 | 13355.000 | 17733.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 25/12/2022 14:51:53 (UTC-4:00) | Normal |  | 311.3 | 2.3 | 716 | 281.4 | 2.4 | 675 | 277.8 | 2.3 | 639 | 14.9 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1930.000 | 60.070 | 52.000 | 1056.000 | 13355.000 | 17733.000 | 54.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 25/12/2022 14:56:53 (UTC-4:00) | Normal |  | 303.1 | 1.0 | 303 | 277.3 | 1.1 | 305 | 277.6 | 1.0 | 278 | 14.4 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 60.150 | 52.100 | 1057.000 | 13355.000 | 17733.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 25/12/2022 15:01:54 (UTC-4:00) | Normal |  | 295.3 | 0.3 | 89 | 265.4 | 0.4 | 106 | 257.8 | 0.3 | 77 | 10.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 190.000 | 60.110 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 47.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 25/12/2022 15:06:54 (UTC-4:00) | Normal |  | 294.2 | 0.1 | 29 | 273.5 | 0.2 | 55 | 261.0 | 0.1 | 26 | 14.2 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 60.110 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 44.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 25/12/2022 15:11:54 (UTC-4:00) | Normal |  | 288.9 | 0.1 | 29 | 277.4 | 0.2 | 55 | 261.2 | 0.1 | 26 | 13.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 60.060 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 25/12/2022 15:16:54 (UTC-4:00) | Normal |  | 292.5 | 0.1 | 29 | 277.4 | 0.2 | 55 | 268.1 | 0.1 | 27 | 12.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 59.980 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 25/12/2022 15:21:54 (UTC-4:00) | Normal |  | 292.4 | 0.2 | 58 | 281.3 | 0.2 | 56 | 267.9 | 0.1 | 27 | 10.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 100.000 | 60.000 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 25/12/2022 15:26:46 (UTC-4:00) | Fault | 1015 | 371.8 | 0.0 | 0 | 338.5 | 0.0 | 0 | 337.5 | 0.0 | 0 | 1.1 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 39.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 25/12/2022 15:31:50 (UTC-4:00) | Fault | 1015 | 380.2 | 0.0 | 0 | 345.3 | 0.0 | 0 | 344.2 | 0.0 | 0 | 1.0 | 0.0 | 0 | 218.6 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 60.000 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 38.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 25/12/2022 15:36:54 (UTC-4:00) | Normal |  | 292.7 | 0.2 | 59 | 294.8 | 0.2 | 59 | 267.6 | 0.1 | 27 | 15.4 | 0.1 | 0 | 215.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 110.000 | 59.970 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 25/12/2022 15:41:58 (UTC-4:00) | Normal |  | 298.9 | 0.3 | 90 | 290.8 | 0.3 | 87 | 267.7 | 0.2 | 54 | 14.7 | 0.1 | 0 | 217.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 59.920 | 52.200 | 1057.000 | 13355.000 | 17733.000 | 37.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 25/12/2022 15:47:02 (UTC-4:00) | Normal |  | 334.5 | 0.4 | 134 | 294.7 | 0.4 | 118 | 293.3 | 0.3 | 88 | 13.0 | 0.1 | 0 | 216.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 280.000 | 59.960 | 52.300 | 1057.000 | 13355.000 | 17733.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 25/12/2022 15:47:31 (UTC-4:00) | Normal |  | 334.4 | 0.3 | 100 | 302.4 | 0.4 | 121 | 293.1 | 0.3 | 88 | 11.4 | 0.1 | 0 | 216.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 290.000 | 59.950 | 52.300 | 1057.000 | 13355.000 | 17733.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 25/12/2022 15:52:50 (UTC-4:00) | Normal |  | 346.5 | 0.8 | 277 | 306.7 | 0.9 | 276 | 317.4 | 0.7 | 222 | 11.7 | 0.1 | 0 | 216.6 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 710.000 | 59.940 | 52.300 | 1057.000 | 13355.000 | 17733.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 25/12/2022 15:57:50 (UTC-4:00) | Normal |  | 364.7 | 1.0 | 365 | 312.8 | 1.2 | 375 | 303.6 | 1.1 | 334 | 9.1 | 0.1 | 0 | 217.9 | 0.0 | 0.0 | 5.5 | 0.0 | 0.0 | 1070.000 | 59.940 | 52.400 | 1057.000 | 13355.000 | 17733.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 25/12/2022 16:02:49 (UTC-4:00) | Normal |  | 368.6 | 1.0 | 369 | 312.7 | 1.2 | 375 | 303.5 | 1.1 | 334 | 9.3 | 0.1 | 0 | 217.0 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1030.000 | 59.960 | 52.500 | 1057.000 | 13355.000 | 17733.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 25/12/2022 16:07:49 (UTC-4:00) | Normal |  | 360.6 | 1.0 | 361 | 312.7 | 1.2 | 375 | 303.5 | 1.1 | 334 | 9.4 | 0.1 | 0 | 217.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1010.000 | 59.970 | 52.500 | 1057.000 | 13355.000 | 17733.000 | 37.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 25/12/2022 16:12:49 (UTC-4:00) | Normal |  | 344.6 | 1.0 | 345 | 308.7 | 1.1 | 340 | 303.5 | 1.0 | 304 | 9.6 | 0.1 | 0 | 216.7 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 920.000 | 59.960 | 52.700 | 1057.000 | 13355.000 | 17733.000 | 38.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 25/12/2022 16:17:51 (UTC-4:00) | Normal |  | 354.6 | 0.7 | 248 | 314.8 | 0.9 | 283 | 301.5 | 0.8 | 241 | 11.3 | 0.1 | 0 | 216.1 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 670.000 | 59.990 | 52.800 | 1057.000 | 13356.000 | 17734.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 25/12/2022 16:22:51 (UTC-4:00) | Normal |  | 342.6 | 0.6 | 206 | 314.7 | 0.6 | 189 | 301.5 | 0.5 | 151 | 14.8 | 0.1 | 0 | 216.3 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 550.000 | 60.000 | 52.800 | 1057.000 | 13356.000 | 17734.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 25/12/2022 16:27:51 (UTC-4:00) | Normal |  | 338.8 | 0.5 | 169 | 311.2 | 0.5 | 156 | 310.0 | 0.4 | 124 | 16.5 | 0.1 | 0 | 217.0 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 440.000 | 60.000 | 52.900 | 1057.000 | 13356.000 | 17734.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 25/12/2022 16:32:55 (UTC-4:00) | Normal |  | 334.1 | 0.4 | 134 | 306.4 | 0.4 | 123 | 297.1 | 0.3 | 89 | 12.0 | 0.1 | 0 | 216.8 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 330.000 | 60.030 | 52.900 | 1057.000 | 13356.000 | 17734.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 25/12/2022 16:37:59 (UTC-4:00) | Normal |  | 324.6 | 0.3 | 97 | 288.7 | 0.3 | 87 | 299.5 | 0.2 | 60 | 14.7 | 0.1 | 0 | 215.6 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 59.960 | 52.900 | 1057.000 | 13356.000 | 17734.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 25/12/2022 16:43:03 (UTC-4:00) | Normal |  | 328.5 | 0.3 | 99 | 284.7 | 0.3 | 85 | 287.5 | 0.2 | 58 | 13.6 | 0.1 | 0 | 215.9 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 59.960 | 52.900 | 1057.000 | 13356.000 | 17734.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 25/12/2022 16:48:06 (UTC-4:00) | Normal |  | 332.6 | 0.3 | 100 | 304.4 | 0.4 | 122 | 287.5 | 0.3 | 86 | 10.2 | 0.1 | 0 | 216.0 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 260.000 | 60.010 | 52.900 | 1057.000 | 13356.000 | 17734.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 25/12/2022 16:53:10 (UTC-4:00) | Normal |  | 344.7 | 0.4 | 138 | 316.7 | 0.5 | 158 | 307.5 | 0.4 | 123 | 15.4 | 0.1 | 0 | 215.7 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 360.000 | 59.960 | 53.000 | 1057.000 | 13356.000 | 17734.000 | 35.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 25/12/2022 16:58:14 (UTC-4:00) | Normal |  | 349.1 | 0.5 | 175 | 313.0 | 0.5 | 157 | 307.8 | 0.4 | 123 | 16.0 | 0.1 | 0 | 215.7 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.020 | 53.000 | 1057.000 | 13356.000 | 17734.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 25/12/2022 17:03:14 (UTC-4:00) | Normal |  | 342.9 | 0.4 | 137 | 306.9 | 0.5 | 153 | 305.6 | 0.3 | 92 | 12.7 | 0.1 | 0 | 215.6 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 320.000 | 60.000 | 53.000 | 1057.000 | 13356.000 | 17734.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 25/12/2022 17:08:13 (UTC-4:00) | Normal |  | 330.4 | 0.3 | 99 | 290.6 | 0.3 | 87 | 289.4 | 0.2 | 58 | 11.0 | 0.1 | 0 | 215.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 210.000 | 60.010 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 34.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 25/12/2022 17:13:13 (UTC-4:00) | Normal |  | 314.4 | 0.2 | 63 | 290.6 | 0.3 | 87 | 273.5 | 0.2 | 55 | 12.1 | 0.1 | 0 | 215.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 190.000 | 60.020 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 25/12/2022 17:18:13 (UTC-4:00) | Normal |  | 318.6 | 0.2 | 64 | 290.7 | 0.3 | 87 | 285.5 | 0.2 | 57 | 15.0 | 0.1 | 0 | 215.1 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 59.950 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 25/12/2022 17:23:13 (UTC-4:00) | Normal |  | 318.5 | 0.2 | 64 | 290.6 | 0.3 | 87 | 277.6 | 0.2 | 56 | 13.5 | 0.1 | 0 | 214.9 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 59.940 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 25/12/2022 17:28:13 (UTC-4:00) | Normal |  | 324.6 | 0.2 | 65 | 304.7 | 0.2 | 61 | 291.4 | 0.1 | 29 | 10.7 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 140.000 | 60.010 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 25/12/2022 17:33:12 (UTC-4:00) | Normal |  | 308.0 | 0.1 | 31 | 288.7 | 0.2 | 58 | 279.6 | 0.1 | 28 | 15.8 | 0.1 | 0 | 219.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 60.050 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 25/12/2022 17:38:12 (UTC-4:00) | Normal |  | 308.1 | 0.1 | 31 | 273.2 | 0.1 | 27 | 274.2 | 0.1 | 27 | 17.4 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 25/12/2022 17:43:14 (UTC-4:00) | Normal |  | 293.9 | 0.1 | 29 | 273.2 | 0.1 | 27 | 264.3 | 0.1 | 26 | 12.0 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 25/12/2022 17:48:15 (UTC-4:00) | Normal |  | 346.7 | 0.1 | 35 | 273.1 | 0.1 | 27 | 257.0 | 0.1 | 26 | 11.2 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 25/12/2022 17:53:15 (UTC-4:00) | Normal |  | 267.6 | 0.1 | 27 | 273.1 | 0.1 | 27 | 240.8 | 0.1 | 24 | 15.8 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.930 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 25/12/2022 17:58:15 (UTC-4:00) | Normal |  | 246.5 | 0.1 | 25 | 273.2 | 0.1 | 27 | 223.8 | 0.1 | 22 | 16.9 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.000 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 25/12/2022 18:03:16 (UTC-4:00) | Normal |  | 231.3 | 0.1 | 23 | 249.6 | 0.1 | 25 | 208.2 | 0.1 | 21 | 12.4 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 25/12/2022 18:08:20 (UTC-4:00) | Normal |  | 190.1 | 0.1 | 19 | 203.7 | 0.1 | 20 | 171.7 | 0.1 | 17 | 15.2 | 0.1 | 0 | 218.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 25/12/2022 18:13:24 (UTC-4:00) | Normal |  | 105.7 | 0.1 | 11 | 99.8 | 0.1 | 10 | 99.2 | 0.1 | 10 | 13.3 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 53.100 | 1058.000 | 13356.000 | 17734.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0