## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024712
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 26/12/2022 04:32:31 (UTC-4:00) | Normal |  | 144.0 | 0.1 | 14 | 146.6 | 0.1 | 15 | 141.2 | 0.1 | 14 | 0.8 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 1058.000 | 13356.000 | 17734.000 | 25.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 26/12/2022 04:37:33 (UTC-4:00) | Normal |  | 273.6 | 0.1 | 27 | 246.7 | 0.1 | 25 | 246.3 | 0.1 | 25 | 16.0 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 1058.000 | 13356.000 | 17734.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 26/12/2022 04:42:32 (UTC-4:00) | Normal |  | 288.1 | 0.1 | 29 | 253.3 | 0.1 | 25 | 259.4 | 0.1 | 26 | 14.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 1058.000 | 13356.000 | 17734.000 | 26.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 26/12/2022 04:47:33 (UTC-4:00) | Normal |  | 290.7 | 0.1 | 29 | 253.2 | 0.1 | 25 | 261.6 | 0.1 | 26 | 11.2 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 1058.000 | 13356.000 | 17734.000 | 27.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 26/12/2022 04:52:35 (UTC-4:00) | Normal |  | 297.4 | 0.1 | 30 | 253.3 | 0.1 | 25 | 267.6 | 0.1 | 27 | 10.9 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 0.000 | 1058.000 | 13356.000 | 17734.000 | 27.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 26/12/2022 04:57:37 (UTC-4:00) | Normal |  | 300.6 | 0.1 | 30 | 253.4 | 0.1 | 25 | 270.4 | 0.1 | 27 | 10.8 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 27.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 26/12/2022 05:02:39 (UTC-4:00) | Normal |  | 304.3 | 0.1 | 30 | 253.3 | 0.1 | 25 | 273.9 | 0.1 | 27 | 10.7 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 28.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 26/12/2022 05:07:41 (UTC-4:00) | Normal |  | 306.0 | 0.1 | 31 | 253.2 | 0.2 | 51 | 275.4 | 0.1 | 28 | 13.2 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 40.000 | 59.960 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 26/12/2022 05:12:44 (UTC-4:00) | Normal |  | 307.6 | 0.1 | 31 | 253.4 | 0.2 | 51 | 277.7 | 0.1 | 28 | 15.5 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 59.990 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 29.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 26/12/2022 05:17:46 (UTC-4:00) | Normal |  | 307.6 | 0.1 | 31 | 253.4 | 0.2 | 51 | 282.5 | 0.1 | 28 | 16.8 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 80.000 | 60.020 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 29.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 26/12/2022 05:22:44 (UTC-4:00) | Normal |  | 307.5 | 0.1 | 31 | 293.0 | 0.2 | 59 | 279.6 | 0.1 | 28 | 12.6 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 100.000 | 60.030 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 26/12/2022 05:27:42 (UTC-4:00) | Normal |  | 307.8 | 0.2 | 62 | 293.1 | 0.2 | 59 | 279.7 | 0.1 | 28 | 15.3 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 150.000 | 60.050 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 29.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 26/12/2022 05:28:00 (UTC-4:00) | Normal |  | 307.5 | 0.2 | 62 | 301.7 | 0.2 | 60 | 279.5 | 0.2 | 56 | 10.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 160.000 | 60.030 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 30.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 26/12/2022 05:33:17 (UTC-4:00) | Normal |  | 327.3 | 0.2 | 65 | 298.9 | 0.3 | 90 | 279.5 | 0.2 | 56 | 10.5 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 60.020 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 26/12/2022 05:38:16 (UTC-4:00) | Normal |  | 326.0 | 0.3 | 98 | 304.5 | 0.3 | 91 | 300.5 | 0.2 | 60 | 13.8 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 60.060 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 30.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 26/12/2022 05:43:15 (UTC-4:00) | Normal |  | 338.2 | 0.3 | 101 | 300.5 | 0.4 | 120 | 300.3 | 0.3 | 90 | 10.7 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 60.050 | 0.100 | 1058.000 | 13356.000 | 17734.000 | 30.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 26/12/2022 05:48:16 (UTC-4:00) | Normal |  | 349.1 | 0.4 | 140 | 316.8 | 0.4 | 127 | 303.4 | 0.3 | 91 | 12.5 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 60.030 | 0.200 | 1058.000 | 13356.000 | 17734.000 | 30.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 26/12/2022 05:53:16 (UTC-4:00) | Normal |  | 355.9 | 0.4 | 142 | 311.4 | 0.5 | 156 | 309.6 | 0.4 | 124 | 11.8 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 360.000 | 60.030 | 0.200 | 1058.000 | 13356.000 | 17734.000 | 30.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 26/12/2022 05:58:15 (UTC-4:00) | Normal |  | 349.6 | 0.4 | 140 | 317.4 | 0.5 | 159 | 307.8 | 0.4 | 123 | 10.5 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 400.000 | 60.050 | 0.200 | 1058.000 | 13356.000 | 17734.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 26/12/2022 06:03:16 (UTC-4:00) | Normal |  | 351.1 | 0.4 | 140 | 319.0 | 0.4 | 128 | 313.4 | 0.3 | 94 | 12.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.030 | 0.300 | 1058.000 | 13356.000 | 17734.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 26/12/2022 06:08:19 (UTC-4:00) | Normal |  | 353.9 | 0.4 | 142 | 317.5 | 0.5 | 159 | 311.9 | 0.4 | 125 | 17.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.000 | 0.300 | 1058.000 | 13356.000 | 17734.000 | 31.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 26/12/2022 06:13:22 (UTC-4:00) | Normal |  | 355.2 | 0.4 | 142 | 311.0 | 0.5 | 156 | 313.4 | 0.4 | 125 | 12.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 410.000 | 59.940 | 0.300 | 1058.000 | 13356.000 | 17734.000 | 31.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 26/12/2022 06:18:25 (UTC-4:00) | Normal |  | 347.5 | 0.5 | 174 | 302.9 | 0.6 | 182 | 301.2 | 0.5 | 151 | 12.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 500.000 | 60.040 | 0.400 | 1058.000 | 13356.000 | 17734.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 26/12/2022 06:23:28 (UTC-4:00) | Normal |  | 345.5 | 0.6 | 207 | 317.3 | 0.7 | 222 | 311.7 | 0.6 | 187 | 15.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 550.000 | 60.020 | 0.400 | 1058.000 | 13356.000 | 17734.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 26/12/2022 06:28:31 (UTC-4:00) | Normal |  | 347.5 | 0.7 | 243 | 311.1 | 0.8 | 249 | 321.6 | 0.6 | 193 | 16.3 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 60.040 | 0.500 | 1058.000 | 13356.000 | 17734.000 | 32.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 26/12/2022 06:33:34 (UTC-4:00) | Normal |  | 357.6 | 0.9 | 322 | 317.3 | 1.0 | 317 | 315.7 | 0.9 | 284 | 12.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 810.000 | 60.020 | 0.500 | 1058.000 | 13356.000 | 17734.000 | 32.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 26/12/2022 06:38:36 (UTC-4:00) | Normal |  | 367.5 | 1.0 | 368 | 311.2 | 1.2 | 373 | 317.5 | 1.0 | 318 | 12.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1010.000 | 60.010 | 0.600 | 1058.000 | 13356.000 | 17734.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 26/12/2022 06:43:39 (UTC-4:00) | Normal |  | 377.7 | 1.6 | 604 | 329.4 | 1.8 | 593 | 327.8 | 1.6 | 524 | 17.1 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1580.000 | 60.040 | 0.700 | 1058.000 | 13357.000 | 17735.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 26/12/2022 06:48:42 (UTC-4:00) | Normal |  | 363.7 | 2.0 | 727 | 323.4 | 2.1 | 679 | 321.8 | 2.0 | 644 | 15.2 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1930.000 | 60.020 | 0.800 | 1058.000 | 13357.000 | 17735.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 26/12/2022 06:53:45 (UTC-4:00) | Normal |  | 361.6 | 1.9 | 687 | 325.3 | 2.0 | 651 | 323.7 | 1.9 | 615 | 14.5 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1850.000 | 60.030 | 1.000 | 1059.000 | 13357.000 | 17735.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 26/12/2022 06:58:44 (UTC-4:00) | Normal |  | 363.7 | 1.9 | 691 | 331.3 | 1.9 | 629 | 325.8 | 1.8 | 586 | 15.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 8.4 | 0.0 | 0.0 | 1810.000 | 59.950 | 1.100 | 1059.000 | 13357.000 | 17735.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 26/12/2022 07:03:43 (UTC-4:00) | Normal |  | 361.7 | 1.8 | 651 | 325.4 | 1.9 | 618 | 323.8 | 1.8 | 583 | 15.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1760.000 | 59.930 | 1.300 | 1059.000 | 13357.000 | 17735.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 26/12/2022 07:08:43 (UTC-4:00) | Normal |  | 363.6 | 1.7 | 618 | 323.3 | 1.8 | 582 | 325.7 | 1.7 | 554 | 11.4 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1630.000 | 59.980 | 1.400 | 1059.000 | 13357.000 | 17735.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 26/12/2022 07:09:00 (UTC-4:00) | Normal |  | 359.5 | 1.7 | 611 | 327.2 | 1.8 | 589 | 325.5 | 1.7 | 553 | 13.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1610.000 | 60.010 | 1.500 | 1059.000 | 13357.000 | 17735.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 26/12/2022 07:14:16 (UTC-4:00) | Normal |  | 363.5 | 1.5 | 545 | 319.2 | 1.7 | 543 | 317.5 | 1.5 | 476 | 12.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1390.000 | 60.020 | 1.600 | 1059.000 | 13357.000 | 17735.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 26/12/2022 07:19:15 (UTC-4:00) | Normal |  | 357.6 | 1.5 | 536 | 317.3 | 1.6 | 508 | 315.7 | 1.5 | 474 | 11.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1360.000 | 59.960 | 1.700 | 1059.000 | 13358.000 | 17736.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 26/12/2022 07:24:16 (UTC-4:00) | Normal |  | 363.5 | 1.5 | 545 | 319.2 | 1.7 | 543 | 317.6 | 1.5 | 476 | 15.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.6 | 0.0 | 0.0 | 1390.000 | 59.980 | 1.800 | 1059.000 | 13358.000 | 17736.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 26/12/2022 07:29:15 (UTC-4:00) | Normal |  | 361.6 | 1.5 | 542 | 321.3 | 1.6 | 514 | 315.7 | 1.5 | 474 | 16.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1380.000 | 59.970 | 1.900 | 1059.000 | 13358.000 | 17736.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 26/12/2022 07:34:14 (UTC-4:00) | Normal |  | 347.7 | 1.3 | 452 | 311.4 | 1.4 | 436 | 309.8 | 1.3 | 403 | 10.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1210.000 | 60.040 | 2.000 | 1060.000 | 13358.000 | 17736.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 26/12/2022 07:34:32 (UTC-4:00) | Normal |  | 347.5 | 1.3 | 452 | 315.2 | 1.4 | 441 | 309.6 | 1.3 | 402 | 12.7 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1200.000 | 60.040 | 2.000 | 1060.000 | 13358.000 | 17736.000 | 36.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 26/12/2022 07:39:48 (UTC-4:00) | Normal |  | 367.6 | 1.0 | 368 | 299.2 | 1.2 | 359 | 313.6 | 1.0 | 314 | 13.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 980.000 | 60.010 | 2.100 | 1060.000 | 13358.000 | 17736.000 | 35.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 26/12/2022 07:44:47 (UTC-4:00) | Normal |  | 367.6 | 1.0 | 368 | 307.2 | 1.2 | 369 | 305.6 | 1.1 | 336 | 11.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 5.1 | 0.0 | 0.0 | 1000.000 | 60.000 | 2.200 | 1060.000 | 13358.000 | 17736.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 26/12/2022 07:49:48 (UTC-4:00) | Normal |  | 375.6 | 1.0 | 376 | 315.4 | 1.3 | 410 | 313.8 | 1.1 | 345 | 14.7 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 59.990 | 2.300 | 1060.000 | 13358.000 | 17736.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 26/12/2022 07:54:47 (UTC-4:00) | Normal |  | 349.5 | 1.5 | 524 | 317.2 | 1.5 | 476 | 315.7 | 1.4 | 442 | 17.2 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.000 | 2.400 | 1060.000 | 13358.000 | 17736.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 26/12/2022 07:59:45 (UTC-4:00) | Normal |  | 363.5 | 1.7 | 618 | 319.3 | 1.9 | 607 | 317.7 | 1.7 | 540 | 17.1 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1640.000 | 59.970 | 2.500 | 1060.000 | 13358.000 | 17736.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 26/12/2022 08:04:45 (UTC-4:00) | Normal |  | 353.6 | 2.2 | 778 | 317.3 | 2.3 | 730 | 315.7 | 2.2 | 695 | 12.6 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 9.6 | 0.0 | 0.0 | 2100.000 | 60.030 | 2.700 | 1060.000 | 13359.000 | 17737.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 26/12/2022 08:09:44 (UTC-4:00) | Normal |  | 351.5 | 2.4 | 844 | 315.2 | 2.5 | 788 | 321.5 | 2.4 | 772 | 12.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2310.000 | 59.980 | 2.900 | 1060.000 | 13359.000 | 17737.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 26/12/2022 08:14:47 (UTC-4:00) | Normal |  | 353.6 | 2.7 | 955 | 309.4 | 2.9 | 897 | 315.8 | 2.7 | 853 | 12.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2620.000 | 59.990 | 3.100 | 1061.000 | 13359.000 | 17737.000 | 38.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 26/12/2022 08:19:50 (UTC-4:00) | Normal |  | 355.5 | 2.8 | 995 | 323.3 | 2.8 | 905 | 309.8 | 2.9 | 898 | 11.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2690.000 | 60.000 | 3.300 | 1061.000 | 13359.000 | 17737.000 | 39.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 26/12/2022 08:24:53 (UTC-4:00) | Normal |  | 345.5 | 3.0 | 1037 | 313.3 | 3.1 | 971 | 315.7 | 2.9 | 916 | 16.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2820.000 | 60.020 | 3.500 | 1061.000 | 13359.000 | 17737.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 26/12/2022 08:29:52 (UTC-4:00) | Normal |  | 349.8 | 3.4 | 1189 | 317.5 | 3.5 | 1111 | 315.9 | 3.3 | 1042 | 17.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3230.000 | 60.000 | 3.700 | 1061.000 | 13360.000 | 17738.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 26/12/2022 08:34:51 (UTC-4:00) | Normal |  | 353.3 | 4.0 | 1413 | 313.1 | 4.2 | 1315 | 311.5 | 4.1 | 1277 | 11.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3880.000 | 60.000 | 4.000 | 1062.000 | 13360.000 | 17738.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 26/12/2022 08:35:08 (UTC-4:00) | Normal |  | 351.3 | 4.1 | 1440 | 315.1 | 4.2 | 1323 | 313.5 | 4.1 | 1285 | 12.8 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3880.000 | 60.020 | 4.100 | 1062.000 | 13360.000 | 17738.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 26/12/2022 08:40:23 (UTC-4:00) | Normal |  | 349.7 | 4.5 | 1574 | 313.4 | 4.7 | 1473 | 311.8 | 4.6 | 1434 | 10.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4340.000 | 60.000 | 4.400 | 1062.000 | 13360.000 | 17738.000 | 44.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 26/12/2022 08:45:22 (UTC-4:00) | Normal |  | 343.6 | 5.5 | 1890 | 311.3 | 5.6 | 1743 | 309.7 | 5.4 | 1672 | 11.9 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5130.000 | 59.970 | 4.900 | 1062.000 | 13361.000 | 17739.000 | 46.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 26/12/2022 08:45:33 (UTC-4:00) | Normal |  | 343.6 | 5.5 | 1890 | 311.3 | 5.6 | 1743 | 309.7 | 5.4 | 1672 | 11.9 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5130.000 | 59.970 | 4.900 | 1062.000 | 13361.000 | 17739.000 | 46.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 26/12/2022 08:50:23 (UTC-4:00) | Normal |  | 345.8 | 4.9 | 1694 | 309.5 | 5.0 | 1548 | 304.0 | 5.0 | 1520 | 11.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4600.000 | 59.970 | 5.200 | 1063.000 | 13361.000 | 17739.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 26/12/2022 08:55:22 (UTC-4:00) | Normal |  | 337.8 | 5.3 | 1790 | 313.3 | 5.2 | 1629 | 311.7 | 5.1 | 1590 | 10.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 21.8 | 0.0 | 0.0 | 4870.000 | 59.960 | 5.700 | 1063.000 | 13362.000 | 17740.000 | 49.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 26/12/2022 09:00:21 (UTC-4:00) | Normal |  | 340.0 | 5.7 | 1938 | 307.7 | 5.8 | 1785 | 306.1 | 5.7 | 1745 | 16.1 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 23.7 | 0.0 | 0.0 | 5300.000 | 59.970 | 6.100 | 1064.000 | 13362.000 | 17740.000 | 50.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 26/12/2022 09:05:20 (UTC-4:00) | Normal |  | 334.5 | 7.5 | 2509 | 309.8 | 7.4 | 2293 | 300.5 | 7.5 | 2254 | 9.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 30.4 | 0.0 | 0.0 | 6830.000 | 60.000 | 6.600 | 1064.000 | 13362.000 | 17740.000 | 53.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 26/12/2022 09:10:20 (UTC-4:00) | Normal |  | 335.3 | 6.6 | 2213 | 299.3 | 6.8 | 2035 | 301.5 | 6.6 | 1990 | 12.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 26.9 | 0.0 | 0.0 | 6020.000 | 60.020 | 7.200 | 1065.000 | 13363.000 | 17741.000 | 55.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 26/12/2022 09:15:23 (UTC-4:00) | Normal |  | 341.3 | 5.7 | 1945 | 309.1 | 5.8 | 1793 | 307.5 | 5.6 | 1722 | 11.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5270.000 | 60.010 | 7.600 | 1065.000 | 13363.000 | 17741.000 | 55.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 26/12/2022 09:20:26 (UTC-4:00) | Normal |  | 334.0 | 6.4 | 2138 | 301.7 | 6.5 | 1961 | 300.0 | 6.4 | 1920 | 13.2 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 25.8 | 0.0 | 0.0 | 5840.000 | 60.010 | 8.100 | 1066.000 | 13364.000 | 17742.000 | 56.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 26/12/2022 09:25:30 (UTC-4:00) | Normal |  | 333.6 | 5.8 | 1935 | 301.3 | 6.0 | 1808 | 299.7 | 5.8 | 1738 | 10.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5330.000 | 59.980 | 8.600 | 1066.000 | 13364.000 | 17742.000 | 56.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 26/12/2022 09:30:33 (UTC-4:00) | Normal |  | 347.3 | 5.0 | 1737 | 303.2 | 5.3 | 1607 | 301.5 | 5.2 | 1568 | 14.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 20.9 | 0.0 | 0.0 | 4730.000 | 59.980 | 9.000 | 1067.000 | 13365.000 | 17743.000 | 55.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 26/12/2022 09:35:36 (UTC-4:00) | Normal |  | 341.2 | 5.2 | 1774 | 305.1 | 5.4 | 1648 | 307.3 | 5.3 | 1629 | 13.2 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 21.9 | 0.0 | 0.0 | 4920.000 | 59.980 | 9.400 | 1067.000 | 13365.000 | 17743.000 | 55.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 26/12/2022 09:40:38 (UTC-4:00) | Normal |  | 343.6 | 5.0 | 1718 | 307.4 | 5.2 | 1598 | 301.8 | 5.1 | 1539 | 15.6 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 20.9 | 0.0 | 0.0 | 4690.000 | 59.990 | 9.800 | 1067.000 | 13366.000 | 17744.000 | 54.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 26/12/2022 09:45:41 (UTC-4:00) | Normal |  | 345.6 | 4.8 | 1659 | 309.3 | 5.0 | 1547 | 307.9 | 4.9 | 1509 | 15.6 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 20.3 | 0.0 | 0.0 | 4580.000 | 60.020 | 10.200 | 1068.000 | 13366.000 | 17744.000 | 53.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 26/12/2022 09:50:40 (UTC-4:00) | Normal |  | 339.5 | 9.6 | 3259 | 307.3 | 9.7 | 2981 | 309.4 | 9.5 | 2939 | 12.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 38.9 | 0.0 | 0.0 | 8860.000 | 60.000 | 10.600 | 1068.000 | 13366.000 | 17744.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 26/12/2022 09:55:39 (UTC-4:00) | Normal |  | 350.5 | 10.2 | 3575 | 316.4 | 10.2 | 3227 | 316.0 | 10.2 | 3223 | 9.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 42.5 | 0.0 | 0.0 | 9660.000 | 59.970 | 11.400 | 1069.000 | 13367.000 | 17745.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 26/12/2022 10:00:38 (UTC-4:00) | Normal |  | 315.5 | 5.4 | 1704 | 295.0 | 5.4 | 1593 | 289.6 | 5.4 | 1564 | 11.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 21.1 | 0.0 | 0.0 | 4730.000 | 60.030 | 11.900 | 1069.000 | 13368.000 | 17746.000 | 59.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 26/12/2022 10:05:37 (UTC-4:00) | Normal |  | 325.6 | 5.4 | 1758 | 301.1 | 5.4 | 1626 | 299.5 | 5.3 | 1587 | 12.1 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 21.5 | 0.0 | 0.0 | 4840.000 | 59.960 | 12.300 | 1070.000 | 13368.000 | 17746.000 | 58.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 26/12/2022 10:10:36 (UTC-4:00) | Normal |  | 335.1 | 4.4 | 1474 | 306.8 | 4.5 | 1381 | 297.4 | 4.5 | 1338 | 13.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 18.1 | 0.0 | 0.0 | 4050.000 | 59.990 | 12.700 | 1070.000 | 13369.000 | 17747.000 | 56.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 26/12/2022 10:15:35 (UTC-4:00) | Normal |  | 334.3 | 4.3 | 1437 | 309.8 | 4.3 | 1332 | 308.2 | 4.2 | 1294 | 14.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3950.000 | 59.920 | 13.000 | 1071.000 | 13369.000 | 17747.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 26/12/2022 10:20:34 (UTC-4:00) | Normal |  | 336.0 | 6.8 | 2285 | 303.7 | 6.9 | 2096 | 302.2 | 6.8 | 2055 | 11.5 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 27.7 | 0.0 | 0.0 | 6210.000 | 59.940 | 13.400 | 1071.000 | 13369.000 | 17747.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 26/12/2022 10:25:33 (UTC-4:00) | Normal |  | 305.6 | 6.1 | 1864 | 300.9 | 6.0 | 1805 | 299.7 | 5.8 | 1738 | 9.2 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 23.4 | 0.0 | 0.0 | 5280.000 | 59.930 | 14.000 | 1072.000 | 13370.000 | 17748.000 | 57.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 26/12/2022 10:30:34 (UTC-4:00) | Normal |  | 325.4 | 5.3 | 1725 | 297.1 | 5.4 | 1604 | 295.5 | 5.3 | 1566 | 13.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 21.3 | 0.0 | 0.0 | 4780.000 | 59.960 | 14.400 | 1072.000 | 13370.000 | 17748.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 26/12/2022 10:35:34 (UTC-4:00) | Normal |  | 333.9 | 4.6 | 1536 | 301.6 | 4.7 | 1418 | 300.0 | 4.6 | 1380 | 9.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4220.000 | 60.000 | 14.900 | 1072.000 | 13371.000 | 17749.000 | 56.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 26/12/2022 10:40:35 (UTC-4:00) | Normal |  | 339.7 | 4.8 | 1631 | 303.3 | 5.1 | 1547 | 301.7 | 4.9 | 1478 | 14.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 20.2 | 0.0 | 0.0 | 4520.000 | 59.970 | 15.200 | 1073.000 | 13371.000 | 17749.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 26/12/2022 10:45:35 (UTC-4:00) | Normal |  | 333.5 | 4.2 | 1401 | 305.1 | 4.3 | 1312 | 303.5 | 4.2 | 1275 | 12.0 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3870.000 | 59.980 | 15.600 | 1073.000 | 13371.000 | 17749.000 | 54.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 26/12/2022 10:50:34 (UTC-4:00) | Normal |  | 337.5 | 3.4 | 1148 | 305.2 | 3.5 | 1068 | 303.6 | 3.4 | 1032 | 9.6 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 14.2 | 0.0 | 0.0 | 3130.000 | 60.030 | 15.900 | 1073.000 | 13372.000 | 17750.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 26/12/2022 10:55:37 (UTC-4:00) | Normal |  | 339.6 | 3.6 | 1223 | 311.2 | 3.7 | 1151 | 309.6 | 3.5 | 1084 | 12.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 3330.000 | 60.040 | 16.100 | 1074.000 | 13372.000 | 17750.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 26/12/2022 10:55:48 (UTC-4:00) | Normal |  | 339.6 | 3.6 | 1223 | 311.2 | 3.7 | 1151 | 309.6 | 3.5 | 1084 | 12.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 3330.000 | 60.040 | 16.100 | 1074.000 | 13372.000 | 17750.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 26/12/2022 11:00:41 (UTC-4:00) | Normal |  | 341.6 | 3.9 | 1332 | 309.3 | 4.0 | 1237 | 307.7 | 3.9 | 1200 | 15.5 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3670.000 | 60.030 | 16.500 | 1074.000 | 13372.000 | 17750.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 26/12/2022 11:05:44 (UTC-4:00) | Normal |  | 354.3 | 10.2 | 3614 | 323.3 | 10.2 | 3298 | 316.3 | 10.2 | 3226 | 11.5 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 42.9 | 0.0 | 0.0 | 9770.000 | 60.000 | 16.900 | 1074.000 | 13373.000 | 17751.000 | 52.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 26/12/2022 11:10:46 (UTC-4:00) | Normal |  | 332.0 | 5.5 | 1826 | 299.7 | 5.6 | 1678 | 298.1 | 5.5 | 1640 | 15.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 5010.000 | 59.970 | 17.400 | 1075.000 | 13373.000 | 17751.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 26/12/2022 11:15:50 (UTC-4:00) | Normal |  | 333.6 | 4.7 | 1568 | 305.3 | 4.7 | 1435 | 299.8 | 4.7 | 1409 | 10.8 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4270.000 | 59.980 | 17.800 | 1075.000 | 13374.000 | 17752.000 | 54.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 26/12/2022 11:20:52 (UTC-4:00) | Normal |  | 332.1 | 5.6 | 1860 | 299.7 | 5.7 | 1708 | 302.0 | 5.5 | 1661 | 13.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 22.8 | 0.0 | 0.0 | 5090.000 | 59.970 | 18.200 | 1076.000 | 13374.000 | 17752.000 | 54.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 26/12/2022 11:25:51 (UTC-4:00) | Normal |  | 315.2 | 6.1 | 1923 | 291.2 | 6.3 | 1835 | 293.5 | 5.9 | 1732 | 10.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 24.0 | 0.0 | 0.0 | 5380.000 | 59.990 | 18.700 | 1076.000 | 13375.000 | 17753.000 | 57.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 26/12/2022 11:30:50 (UTC-4:00) | Normal |  | 323.7 | 5.7 | 1845 | 295.4 | 5.8 | 1713 | 293.8 | 5.6 | 1645 | 13.8 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 22.6 | 0.0 | 0.0 | 5070.000 | 59.970 | 19.200 | 1077.000 | 13375.000 | 17753.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 26/12/2022 11:35:49 (UTC-4:00) | Normal |  | 328.9 | 7.3 | 2401 | 296.7 | 7.5 | 2225 | 294.8 | 7.3 | 2152 | 14.2 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6590.000 | 60.030 | 19.600 | 1077.000 | 13375.000 | 17753.000 | 56.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 26/12/2022 11:40:48 (UTC-4:00) | Normal |  | 335.4 | 2.8 | 939 | 295.2 | 3.0 | 886 | 293.5 | 2.8 | 822 | 14.5 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 11.6 | 0.0 | 0.0 | 2550.000 | 60.000 | 19.900 | 1077.000 | 13376.000 | 17754.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 26/12/2022 11:45:47 (UTC-4:00) | Normal |  | 335.7 | 3.3 | 1108 | 311.3 | 3.3 | 1027 | 309.8 | 3.2 | 991 | 10.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3030.000 | 59.980 | 20.200 | 1078.000 | 13376.000 | 17754.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 26/12/2022 11:50:46 (UTC-4:00) | Normal |  | 339.5 | 3.3 | 1120 | 311.1 | 3.4 | 1058 | 309.5 | 3.2 | 990 | 11.9 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3060.000 | 59.960 | 20.400 | 1078.000 | 13376.000 | 17754.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 26/12/2022 11:55:45 (UTC-4:00) | Normal |  | 341.6 | 3.2 | 1093 | 309.3 | 3.3 | 1021 | 307.7 | 3.2 | 985 | 11.4 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 13.4 | 0.0 | 0.0 | 2990.000 | 60.020 | 20.700 | 1078.000 | 13377.000 | 17755.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 26/12/2022 12:00:44 (UTC-4:00) | Normal |  | 347.5 | 2.8 | 973 | 307.1 | 2.9 | 891 | 297.5 | 2.9 | 863 | 11.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2620.000 | 59.950 | 20.900 | 1078.000 | 13377.000 | 17755.000 | 48.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 26/12/2022 12:05:44 (UTC-4:00) | Normal |  | 341.8 | 2.5 | 855 | 309.5 | 2.6 | 805 | 307.9 | 2.5 | 770 | 15.4 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2330.000 | 60.000 | 21.100 | 1079.000 | 13377.000 | 17755.000 | 46.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 26/12/2022 12:10:43 (UTC-4:00) | Normal |  | 343.4 | 2.6 | 893 | 315.1 | 2.6 | 819 | 309.5 | 2.5 | 774 | 11.6 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2370.000 | 60.010 | 21.300 | 1079.000 | 13377.000 | 17755.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 26/12/2022 12:15:42 (UTC-4:00) | Normal |  | 345.4 | 2.6 | 898 | 317.2 | 2.7 | 856 | 311.6 | 2.6 | 810 | 11.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2440.000 | 59.980 | 21.500 | 1079.000 | 13377.000 | 17755.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 26/12/2022 12:16:00 (UTC-4:00) | Normal |  | 347.4 | 2.6 | 903 | 311.3 | 2.7 | 841 | 317.5 | 2.5 | 794 | 11.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 11.1 | 0.0 | 0.0 | 2450.000 | 60.000 | 21.500 | 1079.000 | 13377.000 | 17755.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 26/12/2022 12:21:15 (UTC-4:00) | Normal |  | 349.8 | 3.1 | 1084 | 309.6 | 3.2 | 991 | 308.0 | 3.1 | 955 | 15.1 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2930.000 | 60.010 | 21.800 | 1079.000 | 13378.000 | 17756.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 26/12/2022 12:26:14 (UTC-4:00) | Normal |  | 347.7 | 3.2 | 1113 | 307.5 | 3.4 | 1046 | 313.7 | 3.2 | 1004 | 16.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3030.000 | 59.990 | 22.000 | 1080.000 | 13378.000 | 17756.000 | 45.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 26/12/2022 12:31:14 (UTC-4:00) | Normal |  | 341.6 | 4.1 | 1401 | 313.2 | 4.2 | 1315 | 311.6 | 4.1 | 1278 | 16.2 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 17.2 | 0.0 | 0.0 | 3870.000 | 60.040 | 22.300 | 1080.000 | 13378.000 | 17756.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 26/12/2022 12:36:13 (UTC-4:00) | Normal |  | 343.3 | 4.5 | 1545 | 307.2 | 4.6 | 1413 | 305.6 | 4.5 | 1375 | 12.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 18.6 | 0.0 | 0.0 | 4180.000 | 60.010 | 22.600 | 1080.000 | 13378.000 | 17756.000 | 47.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 26/12/2022 12:41:13 (UTC-4:00) | Normal |  | 341.8 | 4.6 | 1572 | 305.6 | 4.7 | 1436 | 304.1 | 4.6 | 1399 | 9.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4310.000 | 59.980 | 23.000 | 1081.000 | 13379.000 | 17757.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 26/12/2022 12:46:12 (UTC-4:00) | Normal |  | 335.9 | 7.5 | 2519 | 303.4 | 7.4 | 2245 | 298.2 | 7.5 | 2237 | 10.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 29.9 | 0.0 | 0.0 | 6800.000 | 60.010 | 23.400 | 1081.000 | 13379.000 | 17757.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 26/12/2022 12:51:12 (UTC-4:00) | Normal |  | 317.9 | 10.2 | 3243 | 287.8 | 10.2 | 2936 | 282.3 | 10.1 | 2851 | 14.2 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 38.3 | 0.0 | 0.0 | 8720.000 | 60.020 | 24.200 | 1082.000 | 13380.000 | 17758.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 26/12/2022 12:56:15 (UTC-4:00) | Normal |  | 304.7 | 9.5 | 2895 | 269.7 | 10.1 | 2724 | 266.9 | 9.5 | 2536 | 8.9 | 0.1 | 0 | 224.4 | 0.0 | 0.0 | 34.8 | 0.0 | 0.0 | 7940.000 | 60.000 | 24.900 | 1082.000 | 13381.000 | 17759.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 26/12/2022 13:01:18 (UTC-4:00) | Normal |  | 307.8 | 9.5 | 2924 | 279.5 | 9.6 | 2683 | 277.9 | 9.4 | 2612 | 9.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 34.8 | 0.0 | 0.0 | 7930.000 | 59.990 | 25.600 | 1083.000 | 13381.000 | 17759.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 26/12/2022 13:06:22 (UTC-4:00) | Normal |  | 305.6 | 2.2 | 672 | 281.3 | 2.3 | 647 | 275.7 | 2.2 | 607 | 8.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 8.6 | 0.0 | 0.0 | 1850.000 | 59.980 | 26.100 | 1084.000 | 13382.000 | 17760.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 26/12/2022 13:11:21 (UTC-4:00) | Normal |  | 315.7 | 1.9 | 600 | 291.3 | 2.0 | 583 | 285.8 | 1.9 | 543 | 12.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1620.000 | 59.970 | 26.200 | 1084.000 | 13382.000 | 17760.000 | 55.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 26/12/2022 13:16:20 (UTC-4:00) | Normal |  | 331.7 | 1.7 | 564 | 299.4 | 1.8 | 539 | 297.8 | 1.7 | 506 | 12.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 7.1 | 0.0 | 0.0 | 1500.000 | 59.980 | 26.400 | 1084.000 | 13382.000 | 17760.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 26/12/2022 13:21:19 (UTC-4:00) | Normal |  | 337.8 | 2.0 | 676 | 305.4 | 2.1 | 641 | 307.8 | 1.9 | 585 | 14.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 8.4 | 0.0 | 0.0 | 1810.000 | 59.980 | 26.500 | 1084.000 | 13382.000 | 17760.000 | 48.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 26/12/2022 13:26:18 (UTC-4:00) | Normal |  | 339.7 | 1.8 | 611 | 307.4 | 1.9 | 584 | 305.8 | 1.7 | 520 | 14.2 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1590.000 | 60.000 | 26.600 | 1084.000 | 13382.000 | 17760.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 26/12/2022 13:31:18 (UTC-4:00) | Normal |  | 345.8 | 2.5 | 865 | 309.5 | 2.6 | 805 | 307.9 | 2.5 | 770 | 14.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2330.000 | 59.990 | 26.800 | 1084.000 | 13383.000 | 17761.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 26/12/2022 13:36:18 (UTC-4:00) | Normal |  | 345.4 | 2.1 | 725 | 309.2 | 2.2 | 680 | 307.6 | 2.1 | 646 | 12.9 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1950.000 | 60.030 | 27.000 | 1085.000 | 13383.000 | 17761.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 26/12/2022 13:41:17 (UTC-4:00) | Normal |  | 331.6 | 1.4 | 464 | 299.3 | 1.5 | 449 | 297.7 | 1.4 | 417 | 10.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 5.9 | 0.0 | 0.0 | 1210.000 | 59.970 | 27.100 | 1085.000 | 13383.000 | 17761.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 26/12/2022 13:46:16 (UTC-4:00) | Normal |  | 329.6 | 0.7 | 231 | 293.4 | 0.8 | 235 | 291.8 | 0.7 | 204 | 9.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 590.000 | 59.940 | 27.200 | 1085.000 | 13383.000 | 17761.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 26/12/2022 13:51:16 (UTC-4:00) | Normal |  | 347.7 | 0.5 | 174 | 299.5 | 0.6 | 180 | 297.9 | 0.5 | 149 | 11.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 430.000 | 59.990 | 27.200 | 1085.000 | 13383.000 | 17761.000 | 40.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 26/12/2022 13:56:17 (UTC-4:00) | Normal |  | 333.2 | 0.4 | 133 | 304.8 | 0.5 | 152 | 303.3 | 0.4 | 121 | 11.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 59.980 | 27.300 | 1085.000 | 13383.000 | 17761.000 | 39.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 26/12/2022 14:01:16 (UTC-4:00) | Normal |  | 330.1 | 0.5 | 165 | 309.8 | 0.5 | 155 | 300.0 | 0.4 | 120 | 16.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 370.000 | 60.000 | 27.300 | 1085.000 | 13383.000 | 17761.000 | 39.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 26/12/2022 14:06:15 (UTC-4:00) | Normal |  | 347.8 | 0.5 | 174 | 303.5 | 0.6 | 182 | 297.9 | 0.5 | 149 | 16.5 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 430.000 | 59.980 | 27.300 | 1085.000 | 13383.000 | 17761.000 | 38.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 26/12/2022 14:11:17 (UTC-4:00) | Normal |  | 341.7 | 0.5 | 171 | 297.0 | 0.6 | 178 | 295.5 | 0.5 | 148 | 10.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 490.000 | 60.010 | 27.400 | 1085.000 | 13383.000 | 17761.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 26/12/2022 14:16:21 (UTC-4:00) | Normal |  | 347.6 | 0.7 | 243 | 299.2 | 0.9 | 269 | 301.6 | 0.8 | 241 | 16.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 690.000 | 59.960 | 27.400 | 1085.000 | 13383.000 | 17761.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 26/12/2022 14:21:24 (UTC-4:00) | Normal |  | 335.6 | 0.8 | 268 | 307.3 | 0.9 | 277 | 293.7 | 0.8 | 235 | 13.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 720.000 | 59.990 | 27.500 | 1085.000 | 13383.000 | 17761.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 26/12/2022 14:26:23 (UTC-4:00) | Normal |  | 343.5 | 0.8 | 275 | 303.3 | 0.9 | 273 | 297.7 | 0.8 | 238 | 14.7 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 3.9 | 0.0 | 0.0 | 680.000 | 59.990 | 27.500 | 1085.000 | 13383.000 | 17761.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 26/12/2022 14:31:22 (UTC-4:00) | Normal |  | 343.7 | 0.9 | 309 | 303.3 | 1.0 | 303 | 301.7 | 0.9 | 272 | 10.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 4.5 | 0.0 | 0.0 | 840.000 | 59.980 | 27.600 | 1085.000 | 13383.000 | 17761.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 26/12/2022 14:36:21 (UTC-4:00) | Normal |  | 341.7 | 0.9 | 308 | 297.4 | 1.0 | 297 | 299.8 | 0.9 | 270 | 16.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 790.000 | 59.990 | 27.700 | 1085.000 | 13384.000 | 17762.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 26/12/2022 14:41:21 (UTC-4:00) | Normal |  | 339.6 | 1.0 | 340 | 299.3 | 1.1 | 329 | 309.7 | 0.9 | 279 | 10.6 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 880.000 | 59.980 | 27.700 | 1085.000 | 13384.000 | 17762.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 26/12/2022 14:46:20 (UTC-4:00) | Normal |  | 343.7 | 0.9 | 309 | 307.4 | 1.0 | 307 | 301.8 | 0.8 | 241 | 14.7 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 780.000 | 60.010 | 27.800 | 1085.000 | 13384.000 | 17762.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 26/12/2022 14:51:19 (UTC-4:00) | Normal |  | 337.6 | 0.6 | 203 | 309.3 | 0.6 | 186 | 295.8 | 0.5 | 148 | 13.8 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 520.000 | 60.020 | 27.900 | 1085.000 | 13384.000 | 17762.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 26/12/2022 14:56:18 (UTC-4:00) | Normal |  | 335.6 | 0.6 | 201 | 303.3 | 0.7 | 212 | 301.7 | 0.6 | 181 | 13.8 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 3.6 | 0.0 | 0.0 | 550.000 | 60.010 | 27.900 | 1085.000 | 13384.000 | 17762.000 | 35.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 26/12/2022 15:01:17 (UTC-4:00) | Normal |  | 341.6 | 0.7 | 239 | 309.3 | 0.7 | 217 | 303.7 | 0.6 | 182 | 12.2 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 3.6 | 0.0 | 0.0 | 580.000 | 59.990 | 28.000 | 1086.000 | 13384.000 | 17762.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 26/12/2022 15:06:17 (UTC-4:00) | Normal |  | 339.7 | 0.6 | 204 | 307.6 | 0.6 | 185 | 302.2 | 0.5 | 151 | 16.6 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 490.000 | 59.960 | 28.000 | 1086.000 | 13384.000 | 17762.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 26/12/2022 15:11:16 (UTC-4:00) | Normal |  | 319.6 | 0.2 | 64 | 283.2 | 0.3 | 85 | 277.5 | 0.2 | 56 | 10.2 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 180.000 | 60.000 | 28.000 | 1086.000 | 13384.000 | 17762.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 26/12/2022 15:16:15 (UTC-4:00) | Normal |  | 321.8 | 0.3 | 97 | 293.4 | 0.3 | 88 | 283.8 | 0.2 | 57 | 15.2 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 190.000 | 59.990 | 28.000 | 1086.000 | 13384.000 | 17762.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 26/12/2022 15:21:16 (UTC-4:00) | Normal |  | 323.7 | 0.3 | 97 | 307.4 | 0.3 | 92 | 293.7 | 0.3 | 88 | 15.3 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 240.000 | 59.990 | 28.100 | 1086.000 | 13384.000 | 17762.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 26/12/2022 15:26:20 (UTC-4:00) | Normal |  | 329.4 | 0.3 | 99 | 289.2 | 0.3 | 87 | 291.6 | 0.2 | 58 | 12.7 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 59.990 | 28.100 | 1086.000 | 13384.000 | 17762.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 26/12/2022 15:31:23 (UTC-4:00) | Normal |  | 329.8 | 0.4 | 132 | 309.5 | 0.4 | 124 | 291.8 | 0.3 | 88 | 16.8 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 60.010 | 28.100 | 1086.000 | 13384.000 | 17762.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 26/12/2022 15:36:26 (UTC-4:00) | Normal |  | 344.0 | 0.4 | 138 | 303.8 | 0.5 | 152 | 306.2 | 0.4 | 122 | 16.4 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 330.000 | 59.960 | 28.100 | 1086.000 | 13384.000 | 17762.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 26/12/2022 15:41:25 (UTC-4:00) | Normal |  | 327.6 | 0.3 | 98 | 303.1 | 0.4 | 121 | 301.3 | 0.3 | 90 | 9.9 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 270.000 | 59.990 | 28.200 | 1086.000 | 13384.000 | 17762.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 26/12/2022 15:46:25 (UTC-4:00) | Normal |  | 339.8 | 0.6 | 204 | 299.9 | 0.6 | 180 | 302.2 | 0.5 | 151 | 16.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 480.000 | 59.970 | 28.200 | 1086.000 | 13384.000 | 17762.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 26/12/2022 15:51:24 (UTC-4:00) | Normal |  | 337.7 | 0.7 | 236 | 313.3 | 0.8 | 251 | 311.7 | 0.7 | 218 | 11.3 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 59.990 | 28.200 | 1086.000 | 13384.000 | 17762.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 26/12/2022 15:56:24 (UTC-4:00) | Normal |  | 341.6 | 0.6 | 205 | 305.3 | 0.6 | 183 | 303.7 | 0.5 | 152 | 10.1 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 530.000 | 59.990 | 28.300 | 1086.000 | 13384.000 | 17762.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 26/12/2022 16:01:23 (UTC-4:00) | Normal |  | 339.6 | 0.7 | 238 | 311.2 | 0.8 | 249 | 309.6 | 0.6 | 186 | 16.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 59.990 | 28.300 | 1086.000 | 13384.000 | 17762.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 26/12/2022 16:06:23 (UTC-4:00) | Normal |  | 341.6 | 0.8 | 273 | 313.4 | 0.9 | 282 | 311.7 | 0.8 | 249 | 10.0 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.2 | 0.0 | 0.0 | 750.000 | 59.980 | 28.400 | 1086.000 | 13384.000 | 17762.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 26/12/2022 16:11:21 (UTC-4:00) | Normal |  | 343.7 | 0.8 | 275 | 307.3 | 0.9 | 277 | 301.7 | 0.7 | 211 | 15.5 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 680.000 | 60.000 | 28.400 | 1086.000 | 13384.000 | 17762.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 26/12/2022 16:16:20 (UTC-4:00) | Normal |  | 338.2 | 0.5 | 169 | 313.6 | 0.5 | 157 | 308.0 | 0.4 | 123 | 17.0 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 370.000 | 60.020 | 28.500 | 1086.000 | 13384.000 | 17762.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 26/12/2022 16:21:20 (UTC-4:00) | Normal |  | 323.6 | 0.3 | 97 | 303.2 | 0.3 | 91 | 285.7 | 0.2 | 57 | 10.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 220.000 | 59.970 | 28.500 | 1086.000 | 13384.000 | 17762.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 26/12/2022 16:26:19 (UTC-4:00) | Normal |  | 321.5 | 0.2 | 64 | 293.2 | 0.3 | 88 | 278.2 | 0.2 | 56 | 13.3 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 180.000 | 59.970 | 28.500 | 1086.000 | 13384.000 | 17762.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 26/12/2022 16:31:18 (UTC-4:00) | Normal |  | 317.4 | 0.2 | 63 | 289.0 | 0.2 | 58 | 279.9 | 0.1 | 28 | 11.5 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 60.010 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 26/12/2022 16:36:17 (UTC-4:00) | Normal |  | 306.1 | 0.2 | 61 | 287.4 | 0.2 | 57 | 277.4 | 0.1 | 28 | 15.5 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 140.000 | 60.040 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 26/12/2022 16:41:19 (UTC-4:00) | Normal |  | 306.3 | 0.2 | 61 | 285.5 | 0.2 | 57 | 277.7 | 0.1 | 28 | 17.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 60.080 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 26/12/2022 16:46:22 (UTC-4:00) | Normal |  | 303.1 | 0.1 | 30 | 273.1 | 0.2 | 55 | 272.3 | 0.1 | 27 | 10.9 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 50.000 | 60.020 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 26/12/2022 16:51:26 (UTC-4:00) | Normal |  | 303.4 | 0.1 | 30 | 273.2 | 0.1 | 27 | 303.8 | 0.1 | 30 | 10.6 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 59.970 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 26/12/2022 16:56:25 (UTC-4:00) | Normal |  | 300.9 | 0.1 | 30 | 273.2 | 0.1 | 27 | 270.0 | 0.1 | 27 | 14.7 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 26/12/2022 17:01:24 (UTC-4:00) | Normal |  | 295.9 | 0.1 | 30 | 273.3 | 0.1 | 27 | 268.2 | 0.1 | 27 | 12.5 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 26/12/2022 17:06:23 (UTC-4:00) | Normal |  | 290.2 | 0.1 | 29 | 273.1 | 0.1 | 27 | 260.5 | 0.1 | 26 | 11.5 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 26/12/2022 17:11:22 (UTC-4:00) | Normal |  | 291.2 | 0.1 | 29 | 273.1 | 0.1 | 27 | 328.3 | 0.1 | 33 | 15.5 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 26/12/2022 17:16:21 (UTC-4:00) | Normal |  | 293.1 | 0.1 | 29 | 273.2 | 0.1 | 27 | 264.4 | 0.1 | 26 | 11.8 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 26/12/2022 17:21:20 (UTC-4:00) | Normal |  | 296.0 | 0.1 | 30 | 273.1 | 0.1 | 27 | 267.0 | 0.1 | 27 | 11.6 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 26/12/2022 17:26:20 (UTC-4:00) | Normal |  | 302.6 | 0.1 | 30 | 273.2 | 0.1 | 27 | 265.6 | 0.1 | 27 | 16.4 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 26/12/2022 17:31:19 (UTC-4:00) | Normal |  | 296.8 | 0.1 | 30 | 273.1 | 0.1 | 27 | 267.4 | 0.1 | 27 | 10.6 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.990 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 26/12/2022 17:36:18 (UTC-4:00) | Normal |  | 298.3 | 0.1 | 30 | 273.2 | 0.1 | 27 | 267.8 | 0.1 | 27 | 16.5 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 26/12/2022 17:41:17 (UTC-4:00) | Normal |  | 299.6 | 0.1 | 30 | 273.1 | 0.1 | 27 | 268.3 | 0.1 | 27 | 12.8 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 26/12/2022 17:46:16 (UTC-4:00) | Normal |  | 295.9 | 0.1 | 30 | 273.2 | 0.1 | 27 | 333.5 | 0.1 | 33 | 13.0 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 26/12/2022 17:51:16 (UTC-4:00) | Normal |  | 295.7 | 0.1 | 30 | 273.1 | 0.1 | 27 | 265.2 | 0.1 | 27 | 10.0 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 26/12/2022 17:56:19 (UTC-4:00) | Normal |  | 289.8 | 0.1 | 29 | 273.2 | 0.1 | 27 | 258.5 | 0.1 | 26 | 11.8 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 26/12/2022 18:01:22 (UTC-4:00) | Normal |  | 242.9 | 0.1 | 24 | 262.2 | 0.1 | 26 | 231.3 | 0.1 | 23 | 11.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 26/12/2022 18:06:25 (UTC-4:00) | Normal |  | 218.1 | 0.1 | 22 | 234.9 | 0.1 | 23 | 192.1 | 0.1 | 19 | 13.5 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 26/12/2022 18:11:25 (UTC-4:00) | Normal |  | 200.3 | 0.1 | 20 | 200.6 | 0.1 | 20 | 174.3 | 0.1 | 17 | 10.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 26/12/2022 18:16:24 (UTC-4:00) | Normal |  | 117.9 | 0.1 | 12 | 111.0 | 0.1 | 11 | 96.0 | 0.1 | 10 | 13.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.940 | 28.600 | 1086.000 | 13384.000 | 17762.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0