## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125024954
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 28/12/2022 05:38:04 (UTC-4:00) | Fault | 1015 | 298.8 | 0.0 | 0 | 298.7 | 0.0 | 0 | 298.0 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 28/12/2022 05:38:27 (UTC-4:00) | Fault | 1015 | 299.3 | 0.0 | 0 | 299.1 | 0.0 | 0 | 298.5 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 28/12/2022 05:43:12 (UTC-4:00) | Fault | 1015 | 310.6 | 0.0 | 0 | 310.4 | 0.0 | 0 | 309.7 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 28/12/2022 05:43:34 (UTC-4:00) | Fault | 1015 | 312.2 | 0.0 | 0 | 312.0 | 0.0 | 0 | 311.3 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 28/12/2022 05:48:20 (UTC-4:00) | Fault | 1015 | 345.7 | 0.0 | 0 | 323.3 | 0.0 | 0 | 322.4 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 28/12/2022 05:48:42 (UTC-4:00) | Fault | 1015 | 347.0 | 0.0 | 0 | 323.9 | 0.0 | 0 | 323.1 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 28/12/2022 05:53:27 (UTC-4:00) | Fault | 1015 | 345.1 | 0.0 | 0 | 323.1 | 0.0 | 0 | 322.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 28/12/2022 05:53:50 (UTC-4:00) | Fault | 1015 | 347.1 | 0.0 | 0 | 324.1 | 0.0 | 0 | 323.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 25.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 28/12/2022 05:58:35 (UTC-4:00) | Fault | 1015 | 359.9 | 0.0 | 0 | 331.4 | 0.0 | 0 | 330.4 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 28/12/2022 05:58:58 (UTC-4:00) | Fault | 1015 | 361.0 | 0.0 | 0 | 332.2 | 0.0 | 0 | 331.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 28/12/2022 06:03:43 (UTC-4:00) | Fault | 1015 | 376.9 | 0.0 | 0 | 343.2 | 0.0 | 0 | 342.3 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 28/12/2022 06:04:06 (UTC-4:00) | Fault | 1015 | 377.1 | 0.0 | 0 | 343.4 | 0.0 | 0 | 342.4 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 28/12/2022 06:08:51 (UTC-4:00) | Fault | 1015 | 374.4 | 0.0 | 0 | 341.4 | 0.0 | 0 | 340.4 | 0.0 | 0 | 0.4 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 28/12/2022 06:09:14 (UTC-4:00) | Fault | 1015 | 374.0 | 0.0 | 0 | 341.1 | 0.0 | 0 | 340.1 | 0.0 | 0 | 0.4 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 28/12/2022 06:13:59 (UTC-4:00) | Fault | 1015 | 374.9 | 0.0 | 0 | 341.7 | 0.0 | 0 | 340.7 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 28/12/2022 06:14:21 (UTC-4:00) | Fault | 1015 | 375.5 | 0.0 | 0 | 342.2 | 0.0 | 0 | 341.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 28/12/2022 06:19:06 (UTC-4:00) | Fault | 1015 | 377.9 | 0.0 | 0 | 343.9 | 0.0 | 0 | 343.0 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 28/12/2022 06:19:29 (UTC-4:00) | Fault | 1015 | 378.0 | 0.0 | 0 | 344.1 | 0.0 | 0 | 343.1 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 28/12/2022 06:24:14 (UTC-4:00) | Fault | 1015 | 378.0 | 0.0 | 0 | 344.0 | 0.0 | 0 | 343.1 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 28/12/2022 06:24:37 (UTC-4:00) | Fault | 1015 | 377.4 | 0.0 | 0 | 343.6 | 0.0 | 0 | 342.6 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 28/12/2022 06:29:22 (UTC-4:00) | Fault | 1015 | 360.6 | 0.0 | 0 | 331.8 | 0.0 | 0 | 330.9 | 0.0 | 0 | 0.4 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 28/12/2022 06:29:44 (UTC-4:00) | Fault | 1015 | 358.8 | 0.0 | 0 | 330.7 | 0.0 | 0 | 329.8 | 0.0 | 0 | 0.4 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 28/12/2022 06:34:30 (UTC-4:00) | Fault | 1015 | 324.8 | 0.0 | 0 | 315.6 | 0.0 | 0 | 314.8 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 28/12/2022 06:34:52 (UTC-4:00) | Fault | 1015 | 323.1 | 0.0 | 0 | 315.0 | 0.0 | 0 | 314.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 28/12/2022 06:39:37 (UTC-4:00) | Fault | 1015 | 317.7 | 0.0 | 0 | 314.0 | 0.0 | 0 | 313.2 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 28/12/2022 06:40:00 (UTC-4:00) | Fault | 1015 | 318.4 | 0.0 | 0 | 314.0 | 0.0 | 0 | 313.3 | 0.0 | 0 | 0.3 | 0.0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 0.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 28/12/2022 06:44:45 (UTC-4:00) | Fault | 1015 | 312.8 | 0.0 | 0 | 312.5 | 0.0 | 0 | 311.9 | 0.0 | 0 | 0.4 | 0.0 | 0 | 215.7 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 60.020 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 28/12/2022 06:45:08 (UTC-4:00) | Fault | 1015 | 312.3 | 0.0 | 0 | 312.0 | 0.0 | 0 | 311.3 | 0.0 | 0 | 0.3 | 0.0 | 0 | 216.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.000 | 60.020 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 28/12/2022 06:50:10 (UTC-4:00) | Normal |  | 350.9 | 0.1 | 35 | 316.4 | 0.1 | 32 | 299.6 | 0.1 | 30 | 11.7 | 0.1 | 0 | 215.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 28/12/2022 06:50:32 (UTC-4:00) | Normal |  | 285.6 | 0.1 | 29 | 258.1 | 0.1 | 26 | 257.6 | 0.1 | 26 | 10.3 | 0.1 | 0 | 215.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 26.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 28/12/2022 06:55:34 (UTC-4:00) | Normal |  | 281.9 | 0.1 | 28 | 253.1 | 0.1 | 25 | 253.5 | 0.1 | 25 | 11.3 | 0.1 | 0 | 213.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.940 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 28/12/2022 06:55:57 (UTC-4:00) | Normal |  | 281.9 | 0.1 | 28 | 253.3 | 0.1 | 25 | 253.6 | 0.1 | 25 | 16.6 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 28/12/2022 07:00:59 (UTC-4:00) | Normal |  | 290.2 | 0.1 | 29 | 253.2 | 0.1 | 25 | 261.1 | 0.1 | 26 | 13.4 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 28/12/2022 07:01:21 (UTC-4:00) | Normal |  | 290.3 | 0.1 | 29 | 253.2 | 0.1 | 25 | 261.0 | 0.1 | 26 | 10.2 | 0.1 | 0 | 213.9 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.970 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 28/12/2022 07:06:23 (UTC-4:00) | Normal |  | 373.7 | 0.1 | 37 | 253.1 | 0.1 | 25 | 336.2 | 0.1 | 34 | 10.2 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 28/12/2022 07:06:46 (UTC-4:00) | Normal |  | 300.1 | 0.1 | 30 | 253.3 | 0.1 | 25 | 270.0 | 0.1 | 27 | 17.1 | 0.1 | 0 | 214.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 28/12/2022 07:11:47 (UTC-4:00) | Normal |  | 302.5 | 0.1 | 30 | 253.3 | 0.1 | 25 | 272.2 | 0.1 | 27 | 17.1 | 0.1 | 0 | 214.3 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 28/12/2022 07:12:09 (UTC-4:00) | Normal |  | 302.3 | 0.1 | 30 | 253.2 | 0.1 | 25 | 272.1 | 0.1 | 27 | 10.1 | 0.1 | 0 | 214.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 28/12/2022 07:17:11 (UTC-4:00) | Normal |  | 305.0 | 0.1 | 31 | 253.1 | 0.2 | 51 | 277.1 | 0.1 | 28 | 10.3 | 0.1 | 0 | 213.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 59.990 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 28/12/2022 07:17:34 (UTC-4:00) | Normal |  | 304.8 | 0.1 | 30 | 253.2 | 0.2 | 51 | 277.2 | 0.1 | 28 | 12.5 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 59.990 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 28.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 28/12/2022 07:22:35 (UTC-4:00) | Normal |  | 304.9 | 0.1 | 30 | 253.1 | 0.2 | 51 | 291.6 | 0.1 | 29 | 11.5 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 50.000 | 60.010 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 28/12/2022 07:22:57 (UTC-4:00) | Normal |  | 304.8 | 0.1 | 30 | 253.3 | 0.2 | 51 | 277.9 | 0.1 | 28 | 14.4 | 0.1 | 0 | 214.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 60.030 | 0.000 | 1120.000 | 13419.000 | 17797.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 28/12/2022 07:27:59 (UTC-4:00) | Normal |  | 305.3 | 0.1 | 31 | 253.2 | 0.1 | 25 | 275.5 | 0.1 | 28 | 14.7 | 0.1 | 0 | 213.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 28/12/2022 07:28:22 (UTC-4:00) | Normal |  | 305.2 | 0.1 | 31 | 253.1 | 0.1 | 25 | 275.4 | 0.1 | 28 | 11.4 | 0.1 | 0 | 214.1 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 30.000 | 60.060 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 28/12/2022 07:33:24 (UTC-4:00) | Normal |  | 304.3 | 0.1 | 30 | 253.3 | 0.2 | 51 | 275.7 | 0.1 | 28 | 12.8 | 0.1 | 0 | 213.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 60.070 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 28/12/2022 07:33:46 (UTC-4:00) | Normal |  | 304.4 | 0.1 | 30 | 253.2 | 0.2 | 51 | 275.7 | 0.1 | 28 | 16.4 | 0.1 | 0 | 214.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 60.070 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 28/12/2022 07:38:49 (UTC-4:00) | Normal |  | 304.2 | 0.2 | 61 | 297.2 | 0.2 | 59 | 279.4 | 0.1 | 28 | 11.9 | 0.1 | 0 | 214.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 150.000 | 60.110 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 28/12/2022 07:39:11 (UTC-4:00) | Normal |  | 304.6 | 0.2 | 61 | 297.3 | 0.3 | 89 | 279.6 | 0.2 | 56 | 16.3 | 0.1 | 0 | 214.5 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 160.000 | 60.110 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 29.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 28/12/2022 07:44:13 (UTC-4:00) | Normal |  | 348.0 | 0.4 | 139 | 308.6 | 0.4 | 123 | 315.1 | 0.3 | 95 | 11.4 | 0.1 | 0 | 216.6 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 350.000 | 60.070 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 28/12/2022 07:44:36 (UTC-4:00) | Normal |  | 346.0 | 0.4 | 138 | 310.9 | 0.4 | 124 | 313.2 | 0.3 | 94 | 13.0 | 0.1 | 0 | 216.8 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 330.000 | 60.060 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 28/12/2022 07:49:37 (UTC-4:00) | Normal |  | 344.6 | 0.5 | 172 | 313.6 | 0.5 | 157 | 311.9 | 0.4 | 125 | 16.4 | 0.1 | 0 | 216.3 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 440.000 | 60.050 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 30.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 28/12/2022 07:50:00 (UTC-4:00) | Normal |  | 330.3 | 0.5 | 165 | 315.5 | 0.5 | 158 | 301.5 | 0.5 | 151 | 14.2 | 0.1 | 0 | 216.1 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 480.000 | 60.000 | 0.100 | 1120.000 | 13419.000 | 17797.000 | 30.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 28/12/2022 07:55:02 (UTC-4:00) | Normal |  | 350.5 | 0.7 | 245 | 315.2 | 0.7 | 221 | 309.7 | 0.6 | 186 | 13.1 | 0.1 | 0 | 216.3 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 580.000 | 59.980 | 0.200 | 1121.000 | 13419.000 | 17797.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 28/12/2022 07:55:24 (UTC-4:00) | Normal |  | 350.5 | 0.7 | 245 | 307.5 | 0.8 | 246 | 309.7 | 0.6 | 186 | 10.1 | 0.1 | 0 | 216.4 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 580.000 | 60.020 | 0.200 | 1121.000 | 13419.000 | 17797.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 28/12/2022 08:00:26 (UTC-4:00) | Normal |  | 346.3 | 0.7 | 242 | 315.0 | 0.8 | 252 | 309.3 | 0.7 | 217 | 16.7 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 630.000 | 60.040 | 0.200 | 1121.000 | 13419.000 | 17797.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 28/12/2022 08:00:42 (UTC-4:00) | Normal |  | 344.6 | 0.7 | 241 | 313.0 | 0.8 | 250 | 307.5 | 0.7 | 215 | 17.2 | 0.1 | 0 | 218.0 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 590.000 | 60.040 | 0.200 | 1121.000 | 13419.000 | 17797.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 28/12/2022 08:05:51 (UTC-4:00) | Normal |  | 336.3 | 0.6 | 202 | 313.0 | 0.7 | 219 | 311.4 | 0.5 | 156 | 15.4 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 3.6 | 0.0 | 0.0 | 560.000 | 60.020 | 0.300 | 1121.000 | 13419.000 | 17797.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 28/12/2022 08:06:13 (UTC-4:00) | Normal |  | 340.5 | 0.6 | 204 | 309.6 | 0.7 | 217 | 311.7 | 0.5 | 156 | 15.7 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 520.000 | 60.020 | 0.300 | 1121.000 | 13419.000 | 17797.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 28/12/2022 08:11:15 (UTC-4:00) | Normal |  | 356.6 | 0.7 | 250 | 317.4 | 0.8 | 254 | 311.6 | 0.7 | 218 | 14.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 670.000 | 60.020 | 0.300 | 1121.000 | 13419.000 | 17797.000 | 31.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 28/12/2022 08:11:37 (UTC-4:00) | Normal |  | 352.5 | 0.8 | 282 | 313.0 | 0.9 | 282 | 307.5 | 0.8 | 246 | 16.1 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 690.000 | 59.970 | 0.300 | 1121.000 | 13419.000 | 17797.000 | 31.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 28/12/2022 08:16:39 (UTC-4:00) | Normal |  | 380.7 | 1.0 | 381 | 313.7 | 1.3 | 408 | 311.8 | 1.2 | 374 | 11.5 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 5.1 | 0.0 | 0.0 | 1060.000 | 59.940 | 0.400 | 1121.000 | 13419.000 | 17797.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 28/12/2022 08:17:02 (UTC-4:00) | Normal |  | 364.7 | 1.1 | 401 | 313.4 | 1.3 | 407 | 312.0 | 1.2 | 374 | 14.2 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 5.4 | 0.0 | 0.0 | 1130.000 | 59.940 | 0.400 | 1121.000 | 13419.000 | 17797.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 28/12/2022 08:22:03 (UTC-4:00) | Normal |  | 380.6 | 1.5 | 571 | 329.7 | 1.7 | 560 | 332.0 | 1.6 | 531 | 16.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1440.000 | 59.960 | 0.500 | 1121.000 | 13419.000 | 17797.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 28/12/2022 08:22:26 (UTC-4:00) | Normal |  | 382.5 | 1.5 | 574 | 331.2 | 1.7 | 563 | 337.5 | 1.6 | 540 | 11.8 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1470.000 | 59.990 | 0.500 | 1121.000 | 13419.000 | 17797.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 28/12/2022 08:27:27 (UTC-4:00) | Normal |  | 364.6 | 1.9 | 693 | 325.8 | 2.0 | 652 | 328.0 | 1.9 | 623 | 17.3 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1840.000 | 59.990 | 0.700 | 1121.000 | 13419.000 | 17797.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 28/12/2022 08:27:50 (UTC-4:00) | Normal |  | 362.2 | 2.0 | 724 | 326.8 | 2.1 | 686 | 325.4 | 1.9 | 618 | 11.4 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1930.000 | 59.980 | 0.700 | 1121.000 | 13419.000 | 17797.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 28/12/2022 08:32:52 (UTC-4:00) | Normal |  | 364.4 | 2.5 | 911 | 329.6 | 2.6 | 857 | 327.9 | 2.5 | 820 | 12.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 10.6 | 0.0 | 0.0 | 2420.000 | 59.930 | 0.900 | 1121.000 | 13420.000 | 17798.000 | 34.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 28/12/2022 08:33:14 (UTC-4:00) | Normal |  | 362.1 | 2.5 | 905 | 330.9 | 2.6 | 860 | 325.3 | 2.5 | 813 | 12.0 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 11.6 | 0.0 | 0.0 | 2480.000 | 59.970 | 0.900 | 1121.000 | 13420.000 | 17798.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 28/12/2022 08:38:16 (UTC-4:00) | Normal |  | 366.4 | 2.6 | 953 | 331.2 | 2.6 | 861 | 329.5 | 2.5 | 824 | 10.2 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2530.000 | 59.980 | 1.100 | 1121.000 | 13420.000 | 17798.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 28/12/2022 08:38:38 (UTC-4:00) | Normal |  | 366.6 | 2.6 | 953 | 331.4 | 2.6 | 862 | 333.6 | 2.5 | 834 | 14.1 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 11.1 | 0.0 | 0.0 | 2520.000 | 59.950 | 1.100 | 1121.000 | 13420.000 | 17798.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 28/12/2022 08:43:40 (UTC-4:00) | Normal |  | 366.6 | 3.6 | 1320 | 327.0 | 3.7 | 1210 | 329.2 | 3.6 | 1185 | 14.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3590.000 | 60.000 | 1.400 | 1122.000 | 13420.000 | 17798.000 | 37.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 28/12/2022 08:44:02 (UTC-4:00) | Normal |  | 366.9 | 4.0 | 1468 | 331.7 | 4.1 | 1360 | 326.5 | 4.0 | 1306 | 10.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3940.000 | 60.010 | 1.400 | 1122.000 | 13420.000 | 17798.000 | 38.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 28/12/2022 08:49:04 (UTC-4:00) | Normal |  | 365.8 | 8.0 | 2926 | 322.5 | 8.2 | 2645 | 329.0 | 8.0 | 2632 | 14.6 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7880.000 | 59.990 | 1.800 | 1122.000 | 13420.000 | 17798.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 28/12/2022 08:49:27 (UTC-4:00) | Normal |  | 358.1 | 8.5 | 3044 | 318.3 | 8.7 | 2769 | 324.5 | 8.4 | 2726 | 15.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 36.8 | 0.0 | 0.0 | 8280.000 | 60.030 | 1.900 | 1122.000 | 13421.000 | 17799.000 | 43.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 28/12/2022 08:54:28 (UTC-4:00) | Normal |  | 358.3 | 5.6 | 2006 | 322.9 | 5.7 | 1841 | 321.8 | 5.5 | 1770 | 16.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 24.0 | 0.0 | 0.0 | 5420.000 | 59.970 | 2.500 | 1123.000 | 13421.000 | 17799.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 28/12/2022 08:54:51 (UTC-4:00) | Normal |  | 364.3 | 6.1 | 2222 | 325.2 | 6.3 | 2049 | 324.1 | 6.2 | 2009 | 12.5 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 26.7 | 0.0 | 0.0 | 6050.000 | 60.000 | 2.500 | 1123.000 | 13421.000 | 17799.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 28/12/2022 08:59:53 (UTC-4:00) | Normal |  | 364.1 | 4.6 | 1675 | 328.7 | 4.7 | 1545 | 327.0 | 4.6 | 1504 | 14.9 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 20.4 | 0.0 | 0.0 | 4550.000 | 60.080 | 3.000 | 1123.000 | 13422.000 | 17800.000 | 50.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 28/12/2022 09:00:15 (UTC-4:00) | Normal |  | 356.5 | 4.4 | 1569 | 321.3 | 4.5 | 1446 | 318.8 | 4.4 | 1403 | 11.7 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4230.000 | 60.060 | 3.000 | 1123.000 | 13422.000 | 17800.000 | 50.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 28/12/2022 09:05:17 (UTC-4:00) | Normal |  | 351.8 | 9.4 | 3307 | 316.5 | 9.5 | 3007 | 314.7 | 9.4 | 2958 | 15.6 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 39.6 | 0.0 | 0.0 | 8950.000 | 60.080 | 3.600 | 1124.000 | 13422.000 | 17800.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 28/12/2022 09:05:39 (UTC-4:00) | Normal |  | 350.7 | 8.1 | 2841 | 316.6 | 8.0 | 2533 | 317.8 | 7.9 | 2511 | 11.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 33.7 | 0.0 | 0.0 | 7540.000 | 60.050 | 3.700 | 1124.000 | 13422.000 | 17800.000 | 53.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 28/12/2022 09:10:41 (UTC-4:00) | Normal |  | 366.3 | 8.6 | 3150 | 334.9 | 8.5 | 2847 | 312.6 | 9.7 | 3032 | 15.4 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 38.6 | 0.0 | 0.0 | 8600.000 | 60.050 | 4.300 | 1125.000 | 13423.000 | 17801.000 | 56.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 28/12/2022 09:11:04 (UTC-4:00) | Normal |  | 360.3 | 8.6 | 3099 | 324.8 | 8.3 | 2696 | 313.6 | 9.2 | 2885 | 11.1 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 36.9 | 0.0 | 0.0 | 8280.000 | 60.060 | 4.300 | 1125.000 | 13423.000 | 17801.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 28/12/2022 09:16:06 (UTC-4:00) | Normal |  | 339.8 | 10.2 | 3466 | 314.2 | 10.0 | 3142 | 317.3 | 9.4 | 2983 | 9.4 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 41.1 | 0.0 | 0.0 | 9280.000 | 60.020 | 5.100 | 1125.000 | 13424.000 | 17802.000 | 60.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 28/12/2022 09:16:28 (UTC-4:00) | Normal |  | 339.6 | 7.6 | 2581 | 307.8 | 7.9 | 2432 | 322.8 | 6.9 | 2227 | 11.4 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 31.4 | 0.0 | 0.0 | 7080.000 | 60.000 | 5.100 | 1125.000 | 13424.000 | 17802.000 | 60.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 28/12/2022 09:21:23 (UTC-4:00) | Normal |  | 337.6 | 7.3 | 2464 | 298.8 | 7.7 | 2301 | 308.8 | 7.2 | 2223 | 8.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6750.000 | 59.990 | 5.800 | 1126.000 | 13424.000 | 17802.000 | 62.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 28/12/2022 09:21:46 (UTC-4:00) | Normal |  | 337.9 | 8.5 | 2872 | 293.9 | 8.9 | 2616 | 309.3 | 8.4 | 2598 | 12.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 34.7 | 0.0 | 0.0 | 7830.000 | 60.010 | 5.800 | 1126.000 | 13424.000 | 17802.000 | 61.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 28/12/2022 09:26:54 (UTC-4:00) | Normal |  | 344.6 | 2.9 | 999 | 309.4 | 3.1 | 959 | 303.8 | 3.0 | 911 | 10.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2760.000 | 59.990 | 6.200 | 1127.000 | 13425.000 | 17803.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 28/12/2022 09:30:31 (UTC-4:00) | Normal |  | 348.7 | 3.8 | 1325 | 313.5 | 4.0 | 1254 | 315.7 | 3.8 | 1200 | 13.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 16.3 | 0.0 | 0.0 | 3630.000 | 59.970 | 6.400 | 1127.000 | 13425.000 | 17803.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 28/12/2022 09:35:31 (UTC-4:00) | Normal |  | 350.2 | 3.4 | 1191 | 319.0 | 3.5 | 1117 | 313.3 | 3.4 | 1065 | 9.7 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3270.000 | 59.970 | 6.800 | 1127.000 | 13425.000 | 17803.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 28/12/2022 09:40:34 (UTC-4:00) | Normal |  | 356.2 | 2.6 | 926 | 321.0 | 2.7 | 867 | 323.3 | 2.5 | 808 | 11.9 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 11.4 | 0.0 | 0.0 | 2480.000 | 59.990 | 7.000 | 1127.000 | 13426.000 | 17804.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 28/12/2022 09:45:36 (UTC-4:00) | Normal |  | 360.6 | 2.7 | 974 | 321.3 | 2.8 | 900 | 327.6 | 2.7 | 885 | 15.0 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 60.040 | 7.200 | 1128.000 | 13426.000 | 17804.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 28/12/2022 09:50:39 (UTC-4:00) | Normal |  | 366.2 | 3.3 | 1208 | 331.0 | 3.4 | 1125 | 325.4 | 3.3 | 1074 | 9.2 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3280.000 | 59.970 | 7.500 | 1128.000 | 13426.000 | 17804.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 28/12/2022 09:55:42 (UTC-4:00) | Normal |  | 358.4 | 2.1 | 753 | 323.2 | 2.2 | 711 | 325.5 | 2.1 | 684 | 9.9 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2050.000 | 59.990 | 7.700 | 1128.000 | 13426.000 | 17804.000 | 46.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 28/12/2022 10:00:44 (UTC-4:00) | Normal |  | 360.4 | 2.4 | 865 | 325.2 | 2.4 | 780 | 327.4 | 2.3 | 753 | 9.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2280.000 | 60.010 | 7.900 | 1128.000 | 13427.000 | 17805.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 28/12/2022 10:05:47 (UTC-4:00) | Normal |  | 366.1 | 2.7 | 988 | 322.9 | 2.8 | 904 | 329.1 | 2.6 | 856 | 12.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 59.980 | 8.100 | 1128.000 | 13427.000 | 17805.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 28/12/2022 10:10:50 (UTC-4:00) | Normal |  | 366.6 | 2.7 | 990 | 319.3 | 2.9 | 926 | 321.6 | 2.7 | 868 | 13.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2710.000 | 60.000 | 8.300 | 1129.000 | 13427.000 | 17805.000 | 44.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 28/12/2022 10:15:52 (UTC-4:00) | Normal |  | 356.2 | 3.0 | 1069 | 325.0 | 3.0 | 975 | 323.3 | 2.9 | 938 | 11.3 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 12.9 | 0.0 | 0.0 | 2870.000 | 59.970 | 8.600 | 1129.000 | 13427.000 | 17805.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 28/12/2022 10:20:55 (UTC-4:00) | Normal |  | 358.6 | 2.8 | 1004 | 323.4 | 2.9 | 938 | 317.7 | 2.8 | 890 | 15.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2750.000 | 59.940 | 8.800 | 1129.000 | 13427.000 | 17805.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 28/12/2022 10:21:06 (UTC-4:00) | Normal |  | 358.6 | 2.8 | 1004 | 323.4 | 2.9 | 938 | 317.7 | 2.8 | 890 | 15.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2750.000 | 59.940 | 8.800 | 1129.000 | 13427.000 | 17805.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 28/12/2022 10:25:57 (UTC-4:00) | Normal |  | 354.5 | 2.1 | 744 | 323.3 | 2.2 | 711 | 321.6 | 2.0 | 643 | 9.8 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 1980.000 | 59.990 | 9.100 | 1129.000 | 13428.000 | 17806.000 | 44.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 28/12/2022 10:31:00 (UTC-4:00) | Normal |  | 360.5 | 2.3 | 829 | 325.3 | 2.4 | 781 | 319.6 | 2.3 | 735 | 14.0 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2230.000 | 59.980 | 9.200 | 1130.000 | 13428.000 | 17806.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 28/12/2022 10:36:03 (UTC-4:00) | Normal |  | 362.8 | 4.0 | 1451 | 327.5 | 4.1 | 1343 | 321.9 | 4.0 | 1288 | 15.1 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3940.000 | 60.000 | 9.500 | 1130.000 | 13428.000 | 17806.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 28/12/2022 10:41:06 (UTC-4:00) | Normal |  | 353.9 | 4.5 | 1593 | 318.8 | 4.6 | 1466 | 313.1 | 4.5 | 1409 | 11.8 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 19.1 | 0.0 | 0.0 | 4320.000 | 60.000 | 9.800 | 1130.000 | 13428.000 | 17806.000 | 45.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 28/12/2022 10:46:08 (UTC-4:00) | Normal |  | 344.2 | 5.2 | 1790 | 312.9 | 5.3 | 1658 | 315.2 | 5.1 | 1608 | 12.0 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 21.8 | 0.0 | 0.0 | 4930.000 | 59.980 | 10.300 | 1131.000 | 13429.000 | 17807.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 28/12/2022 10:51:11 (UTC-4:00) | Normal |  | 345.3 | 5.6 | 1934 | 314.3 | 5.8 | 1823 | 312.4 | 5.6 | 1749 | 11.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5330.000 | 59.980 | 10.700 | 1131.000 | 13429.000 | 17807.000 | 49.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 28/12/2022 10:56:13 (UTC-4:00) | Normal |  | 346.7 | 5.3 | 1838 | 311.5 | 5.4 | 1682 | 305.7 | 5.3 | 1620 | 12.9 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4990.000 | 60.020 | 11.100 | 1131.000 | 13430.000 | 17808.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 28/12/2022 11:01:17 (UTC-4:00) | Normal |  | 344.8 | 5.1 | 1758 | 313.7 | 5.3 | 1663 | 312.0 | 5.2 | 1622 | 15.9 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 21.7 | 0.0 | 0.0 | 4880.000 | 60.010 | 11.600 | 1132.000 | 13430.000 | 17808.000 | 51.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 28/12/2022 11:06:18 (UTC-4:00) | Normal |  | 344.6 | 4.8 | 1654 | 321.2 | 4.7 | 1510 | 311.7 | 4.7 | 1465 | 10.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4470.000 | 60.020 | 11.900 | 1132.000 | 13431.000 | 17809.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 28/12/2022 11:11:21 (UTC-4:00) | Normal |  | 342.4 | 3.8 | 1301 | 315.1 | 3.8 | 1197 | 309.5 | 3.8 | 1176 | 11.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3560.000 | 60.030 | 12.400 | 1133.000 | 13431.000 | 17809.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 28/12/2022 11:16:24 (UTC-4:00) | Normal |  | 352.1 | 3.6 | 1268 | 313.0 | 3.7 | 1158 | 315.2 | 3.6 | 1135 | 15.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 15.3 | 0.0 | 0.0 | 3420.000 | 60.030 | 12.700 | 1133.000 | 13431.000 | 17809.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 28/12/2022 11:21:26 (UTC-4:00) | Normal |  | 352.1 | 3.5 | 1232 | 320.9 | 3.5 | 1123 | 319.2 | 3.4 | 1085 | 11.4 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 3350.000 | 60.040 | 12.900 | 1133.000 | 13432.000 | 17810.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 28/12/2022 11:21:37 (UTC-4:00) | Normal |  | 352.1 | 3.5 | 1232 | 320.9 | 3.5 | 1123 | 319.2 | 3.4 | 1085 | 11.4 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 15.0 | 0.0 | 0.0 | 3350.000 | 60.040 | 12.900 | 1133.000 | 13432.000 | 17810.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 28/12/2022 11:26:30 (UTC-4:00) | Normal |  | 351.0 | 4.6 | 1615 | 319.6 | 4.7 | 1502 | 318.0 | 4.6 | 1463 | 9.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4420.000 | 60.020 | 13.300 | 1134.000 | 13432.000 | 17810.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 28/12/2022 11:31:32 (UTC-4:00) | Normal |  | 358.9 | 10.2 | 3661 | 324.7 | 10.2 | 3312 | 322.8 | 10.2 | 3293 | 13.2 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 43.2 | 0.0 | 0.0 | 9860.000 | 59.960 | 14.000 | 1134.000 | 13433.000 | 17811.000 | 55.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 28/12/2022 11:36:34 (UTC-4:00) | Normal |  | 336.2 | 4.5 | 1513 | 301.1 | 4.7 | 1415 | 299.4 | 4.6 | 1377 | 11.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 18.5 | 0.0 | 0.0 | 4160.000 | 59.980 | 14.600 | 1135.000 | 13433.000 | 17811.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 28/12/2022 11:41:33 (UTC-4:00) | Normal |  | 334.0 | 4.8 | 1603 | 302.6 | 4.9 | 1483 | 293.2 | 4.9 | 1437 | 15.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 19.5 | 0.0 | 0.0 | 4400.000 | 60.000 | 14.900 | 1135.000 | 13434.000 | 17812.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 28/12/2022 11:46:32 (UTC-4:00) | Normal |  | 344.0 | 4.8 | 1651 | 308.8 | 5.0 | 1544 | 315.1 | 4.7 | 1481 | 12.2 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 20.2 | 0.0 | 0.0 | 4550.000 | 59.990 | 15.400 | 1136.000 | 13434.000 | 17812.000 | 55.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 28/12/2022 11:51:30 (UTC-4:00) | Normal |  | 340.0 | 4.5 | 1530 | 308.8 | 4.6 | 1420 | 303.1 | 4.6 | 1394 | 11.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4200.000 | 59.980 | 15.800 | 1136.000 | 13434.000 | 17812.000 | 56.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 28/12/2022 11:56:29 (UTC-4:00) | Normal |  | 339.5 | 5.4 | 1833 | 304.4 | 5.5 | 1674 | 298.7 | 5.5 | 1643 | 11.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 22.1 | 0.0 | 0.0 | 4980.000 | 59.980 | 16.300 | 1137.000 | 13435.000 | 17813.000 | 56.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 28/12/2022 12:01:29 (UTC-4:00) | Normal |  | 344.0 | 4.2 | 1445 | 308.9 | 4.4 | 1359 | 311.1 | 4.2 | 1307 | 14.9 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3970.000 | 59.940 | 16.700 | 1137.000 | 13435.000 | 17813.000 | 54.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 28/12/2022 12:06:27 (UTC-4:00) | Normal |  | 344.3 | 2.8 | 964 | 309.2 | 3.0 | 928 | 303.5 | 2.9 | 880 | 15.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2670.000 | 59.940 | 16.900 | 1137.000 | 13436.000 | 17814.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 28/12/2022 12:11:26 (UTC-4:00) | Normal |  | 346.3 | 5.3 | 1835 | 315.1 | 5.4 | 1702 | 309.4 | 5.4 | 1671 | 10.5 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 22.4 | 0.0 | 0.0 | 5050.000 | 59.940 | 17.200 | 1138.000 | 13436.000 | 17814.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 28/12/2022 12:16:26 (UTC-4:00) | Normal |  | 340.4 | 2.8 | 953 | 309.1 | 2.8 | 865 | 307.4 | 2.7 | 830 | 14.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 11.7 | 0.0 | 0.0 | 2570.000 | 59.960 | 17.600 | 1138.000 | 13436.000 | 17814.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 28/12/2022 12:21:24 (UTC-4:00) | Normal |  | 348.5 | 2.4 | 836 | 309.4 | 2.6 | 804 | 311.6 | 2.4 | 748 | 13.6 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2270.000 | 59.990 | 17.700 | 1138.000 | 13436.000 | 17814.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 28/12/2022 12:26:23 (UTC-4:00) | Normal |  | 346.4 | 2.7 | 935 | 323.1 | 2.6 | 840 | 317.4 | 2.6 | 825 | 10.8 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2480.000 | 60.010 | 17.900 | 1138.000 | 13437.000 | 17815.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 28/12/2022 12:31:22 (UTC-4:00) | Normal |  | 350.5 | 3.0 | 1052 | 319.3 | 3.1 | 990 | 313.7 | 3.0 | 941 | 10.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2900.000 | 59.990 | 18.100 | 1138.000 | 13437.000 | 17815.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 28/12/2022 12:36:20 (UTC-4:00) | Normal |  | 340.4 | 1.0 | 340 | 297.1 | 1.1 | 327 | 295.4 | 1.0 | 295 | 15.7 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 940.000 | 59.950 | 18.300 | 1139.000 | 13437.000 | 17815.000 | 44.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 28/12/2022 12:41:23 (UTC-4:00) | Normal |  | 342.4 | 0.8 | 274 | 299.3 | 0.9 | 269 | 297.6 | 0.8 | 238 | 9.8 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 690.000 | 59.990 | 18.400 | 1139.000 | 13437.000 | 17815.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 28/12/2022 12:41:48 (UTC-4:00) | Normal |  | 342.4 | 0.8 | 274 | 299.3 | 0.9 | 269 | 297.6 | 0.8 | 238 | 9.8 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 690.000 | 59.990 | 18.400 | 1139.000 | 13437.000 | 17815.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 28/12/2022 12:46:26 (UTC-4:00) | Normal |  | 354.4 | 2.1 | 744 | 319.2 | 2.1 | 670 | 317.5 | 2.0 | 635 | 10.8 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1940.000 | 59.970 | 18.500 | 1139.000 | 13437.000 | 17815.000 | 41.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 28/12/2022 12:51:24 (UTC-4:00) | Normal |  | 358.4 | 3.7 | 1326 | 327.1 | 3.7 | 1210 | 325.4 | 3.6 | 1171 | 10.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3610.000 | 59.990 | 18.700 | 1139.000 | 13437.000 | 17815.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 28/12/2022 12:56:23 (UTC-4:00) | Normal |  | 354.1 | 3.1 | 1098 | 318.9 | 3.2 | 1020 | 317.2 | 3.0 | 952 | 13.0 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2960.000 | 60.010 | 19.000 | 1139.000 | 13438.000 | 17816.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 28/12/2022 13:01:22 (UTC-4:00) | Normal |  | 354.2 | 2.6 | 921 | 319.0 | 2.7 | 861 | 317.3 | 2.6 | 825 | 15.2 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2500.000 | 60.030 | 19.200 | 1140.000 | 13438.000 | 17816.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 28/12/2022 13:06:20 (UTC-4:00) | Normal |  | 354.6 | 2.7 | 957 | 319.4 | 2.8 | 894 | 321.7 | 2.6 | 836 | 9.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 11.8 | 0.0 | 0.0 | 2610.000 | 60.020 | 19.400 | 1140.000 | 13438.000 | 17816.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 28/12/2022 13:11:19 (UTC-4:00) | Normal |  | 354.6 | 3.0 | 1064 | 315.4 | 3.2 | 1009 | 317.6 | 3.0 | 953 | 10.2 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2910.000 | 59.960 | 19.600 | 1140.000 | 13438.000 | 17816.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 28/12/2022 13:16:18 (UTC-4:00) | Normal |  | 348.3 | 2.2 | 766 | 313.1 | 2.3 | 720 | 315.4 | 2.2 | 694 | 16.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2090.000 | 59.950 | 19.800 | 1140.000 | 13438.000 | 17816.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 28/12/2022 13:21:16 (UTC-4:00) | Normal |  | 352.8 | 4.1 | 1446 | 317.6 | 4.3 | 1366 | 315.9 | 4.1 | 1295 | 10.0 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 17.9 | 0.0 | 0.0 | 3990.000 | 59.970 | 20.100 | 1140.000 | 13439.000 | 17817.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 28/12/2022 13:26:15 (UTC-4:00) | Normal |  | 350.8 | 3.3 | 1158 | 319.5 | 3.4 | 1086 | 313.8 | 3.3 | 1036 | 15.3 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 14.1 | 0.0 | 0.0 | 3140.000 | 60.000 | 20.300 | 1141.000 | 13439.000 | 17817.000 | 43.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 28/12/2022 13:31:14 (UTC-4:00) | Normal |  | 348.3 | 3.1 | 1080 | 317.1 | 3.2 | 1015 | 311.4 | 3.1 | 965 | 16.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2970.000 | 60.000 | 20.600 | 1141.000 | 13439.000 | 17817.000 | 43.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 28/12/2022 13:36:13 (UTC-4:00) | Normal |  | 346.3 | 2.4 | 831 | 315.1 | 2.5 | 788 | 313.4 | 2.4 | 752 | 10.8 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2270.000 | 60.040 | 20.800 | 1141.000 | 13439.000 | 17817.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 28/12/2022 13:41:12 (UTC-4:00) | Normal |  | 338.2 | 1.1 | 372 | 307.0 | 1.2 | 368 | 301.3 | 1.1 | 331 | 14.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1050.000 | 59.960 | 21.000 | 1141.000 | 13440.000 | 17818.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 28/12/2022 13:46:16 (UTC-4:00) | Normal |  | 340.4 | 0.8 | 272 | 305.2 | 0.9 | 275 | 307.5 | 0.8 | 246 | 16.2 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 760.000 | 60.000 | 21.000 | 1141.000 | 13440.000 | 17818.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 28/12/2022 13:51:16 (UTC-4:00) | Normal |  | 352.6 | 1.6 | 564 | 317.4 | 1.7 | 540 | 311.7 | 1.6 | 499 | 16.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1390.000 | 60.000 | 21.100 | 1141.000 | 13440.000 | 17818.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 28/12/2022 13:56:19 (UTC-4:00) | Normal |  | 358.4 | 3.5 | 1254 | 323.2 | 3.6 | 1164 | 321.5 | 3.4 | 1093 | 13.6 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3370.000 | 60.040 | 21.300 | 1142.000 | 13440.000 | 17818.000 | 39.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 28/12/2022 14:01:22 (UTC-4:00) | Normal |  | 352.4 | 4.2 | 1480 | 317.2 | 4.3 | 1364 | 319.4 | 4.1 | 1310 | 13.7 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3980.000 | 60.020 | 21.600 | 1142.000 | 13440.000 | 17818.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 28/12/2022 14:06:24 (UTC-4:00) | Normal |  | 352.5 | 3.3 | 1163 | 313.4 | 3.5 | 1097 | 315.6 | 3.3 | 1041 | 16.6 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3190.000 | 59.980 | 21.900 | 1142.000 | 13441.000 | 17819.000 | 43.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 28/12/2022 14:11:28 (UTC-4:00) | Normal |  | 342.3 | 1.7 | 582 | 311.1 | 1.8 | 560 | 309.4 | 1.7 | 526 | 12.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1590.000 | 59.990 | 22.100 | 1142.000 | 13441.000 | 17819.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 28/12/2022 14:16:30 (UTC-4:00) | Normal |  | 356.3 | 2.8 | 998 | 317.1 | 3.0 | 951 | 315.4 | 2.9 | 915 | 11.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2760.000 | 60.000 | 22.300 | 1143.000 | 13441.000 | 17819.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 28/12/2022 14:21:32 (UTC-4:00) | Normal |  | 356.3 | 4.6 | 1639 | 313.0 | 4.8 | 1502 | 315.4 | 4.6 | 1451 | 16.2 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4440.000 | 59.990 | 22.600 | 1143.000 | 13441.000 | 17819.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 28/12/2022 14:26:35 (UTC-4:00) | Normal |  | 350.4 | 3.4 | 1191 | 319.2 | 3.4 | 1085 | 313.5 | 3.4 | 1066 | 11.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 14.4 | 0.0 | 0.0 | 3210.000 | 59.940 | 22.900 | 1143.000 | 13442.000 | 17820.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 28/12/2022 14:31:34 (UTC-4:00) | Normal |  | 350.5 | 3.0 | 1052 | 319.2 | 3.1 | 990 | 313.6 | 3.0 | 941 | 10.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2870.000 | 59.940 | 23.100 | 1143.000 | 13442.000 | 17820.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 28/12/2022 14:36:32 (UTC-4:00) | Normal |  | 350.4 | 2.8 | 981 | 319.2 | 2.9 | 926 | 305.6 | 2.9 | 886 | 11.4 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 12.0 | 0.0 | 0.0 | 2670.000 | 59.940 | 23.400 | 1144.000 | 13442.000 | 17820.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 28/12/2022 14:41:35 (UTC-4:00) | Normal |  | 346.3 | 2.5 | 866 | 319.1 | 2.5 | 798 | 313.4 | 2.4 | 752 | 13.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2300.000 | 59.990 | 23.600 | 1144.000 | 13442.000 | 17820.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 28/12/2022 14:46:30 (UTC-4:00) | Normal |  | 350.2 | 1.9 | 665 | 319.0 | 2.0 | 638 | 313.4 | 1.9 | 595 | 15.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1770.000 | 59.990 | 23.800 | 1144.000 | 13442.000 | 17820.000 | 41.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 28/12/2022 14:51:28 (UTC-4:00) | Normal |  | 342.4 | 1.5 | 514 | 311.2 | 1.5 | 467 | 309.5 | 1.4 | 433 | 10.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 6.1 | 0.0 | 0.0 | 1270.000 | 59.970 | 23.900 | 1144.000 | 13443.000 | 17821.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 28/12/2022 14:56:27 (UTC-4:00) | Normal |  | 344.3 | 1.5 | 516 | 317.1 | 1.5 | 476 | 311.4 | 1.4 | 436 | 11.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1290.000 | 59.990 | 24.000 | 1144.000 | 13443.000 | 17821.000 | 39.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 28/12/2022 15:01:25 (UTC-4:00) | Normal |  | 346.3 | 1.5 | 519 | 311.1 | 1.5 | 467 | 309.4 | 1.4 | 433 | 12.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1270.000 | 60.050 | 24.100 | 1144.000 | 13443.000 | 17821.000 | 39.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 28/12/2022 15:06:24 (UTC-4:00) | Normal |  | 374.3 | 1.6 | 599 | 327.1 | 1.7 | 556 | 329.4 | 1.6 | 527 | 14.6 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1470.000 | 59.990 | 24.200 | 1145.000 | 13443.000 | 17821.000 | 38.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 28/12/2022 15:11:24 (UTC-4:00) | Normal |  | 356.5 | 1.6 | 570 | 317.3 | 1.7 | 539 | 323.6 | 1.6 | 518 | 15.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1490.000 | 59.950 | 24.300 | 1145.000 | 13443.000 | 17821.000 | 38.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 28/12/2022 15:16:23 (UTC-4:00) | Normal |  | 344.5 | 1.5 | 517 | 309.3 | 1.6 | 495 | 307.6 | 1.5 | 461 | 14.7 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1290.000 | 59.980 | 24.500 | 1145.000 | 13443.000 | 17821.000 | 38.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 28/12/2022 15:21:22 (UTC-4:00) | Normal |  | 342.4 | 1.3 | 445 | 311.2 | 1.4 | 436 | 309.4 | 1.3 | 402 | 12.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1190.000 | 60.000 | 24.600 | 1145.000 | 13443.000 | 17821.000 | 37.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 28/12/2022 15:26:21 (UTC-4:00) | Normal |  | 340.3 | 1.3 | 442 | 313.1 | 1.4 | 438 | 303.4 | 1.3 | 394 | 12.5 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1190.000 | 60.020 | 24.700 | 1145.000 | 13443.000 | 17821.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 28/12/2022 15:31:22 (UTC-4:00) | Normal |  | 356.4 | 1.0 | 356 | 309.2 | 1.2 | 371 | 299.6 | 1.1 | 330 | 13.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 960.000 | 60.000 | 24.700 | 1145.000 | 13443.000 | 17821.000 | 37.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 28/12/2022 15:36:25 (UTC-4:00) | Normal |  | 350.5 | 1.0 | 351 | 307.3 | 1.1 | 338 | 305.6 | 1.0 | 306 | 15.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 4.8 | 0.0 | 0.0 | 930.000 | 59.980 | 24.800 | 1145.000 | 13443.000 | 17821.000 | 36.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 28/12/2022 15:41:29 (UTC-4:00) | Normal |  | 364.3 | 1.0 | 364 | 305.0 | 1.2 | 366 | 307.3 | 1.1 | 338 | 15.0 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1030.000 | 59.960 | 24.900 | 1145.000 | 13444.000 | 17822.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 28/12/2022 15:46:31 (UTC-4:00) | Normal |  | 366.4 | 1.0 | 366 | 307.2 | 1.3 | 399 | 305.5 | 1.2 | 367 | 12.2 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 5.4 | 0.0 | 0.0 | 1090.000 | 59.940 | 25.000 | 1145.000 | 13444.000 | 17822.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 28/12/2022 15:51:34 (UTC-4:00) | Normal |  | 344.3 | 1.3 | 448 | 309.1 | 1.4 | 433 | 307.4 | 1.3 | 400 | 13.5 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 60.000 | 25.100 | 1145.000 | 13444.000 | 17822.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 28/12/2022 15:56:38 (UTC-4:00) | Normal |  | 364.3 | 1.0 | 364 | 309.0 | 1.2 | 371 | 307.3 | 1.0 | 307 | 16.4 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 980.000 | 60.010 | 25.200 | 1146.000 | 13444.000 | 17822.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 28/12/2022 16:01:35 (UTC-4:00) | Normal |  | 346.4 | 1.0 | 346 | 307.2 | 1.1 | 338 | 305.5 | 0.9 | 275 | 11.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 60.040 | 25.200 | 1146.000 | 13444.000 | 17822.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 28/12/2022 16:06:34 (UTC-4:00) | Normal |  | 352.4 | 0.9 | 317 | 313.2 | 1.0 | 313 | 307.4 | 0.9 | 277 | 17.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 800.000 | 60.040 | 25.300 | 1146.000 | 13444.000 | 17822.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 28/12/2022 16:11:32 (UTC-4:00) | Normal |  | 340.5 | 0.9 | 306 | 313.3 | 0.9 | 282 | 303.6 | 0.8 | 243 | 10.2 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 760.000 | 59.990 | 25.400 | 1146.000 | 13444.000 | 17822.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 28/12/2022 16:16:31 (UTC-4:00) | Normal |  | 352.4 | 0.9 | 317 | 309.2 | 1.0 | 309 | 303.5 | 0.9 | 273 | 12.2 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 59.980 | 25.500 | 1146.000 | 13444.000 | 17822.000 | 35.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 28/12/2022 16:21:30 (UTC-4:00) | Normal |  | 346.5 | 1.0 | 347 | 307.2 | 1.1 | 338 | 305.5 | 1.0 | 306 | 17.2 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 940.000 | 59.950 | 25.500 | 1146.000 | 13444.000 | 17822.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 28/12/2022 16:26:30 (UTC-4:00) | Normal |  | 346.5 | 1.0 | 347 | 307.3 | 1.1 | 338 | 309.6 | 0.9 | 279 | 10.2 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 880.000 | 59.980 | 25.600 | 1146.000 | 13444.000 | 17822.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
175 | 28/12/2022 16:31:29 (UTC-4:00) | Normal |  | 344.3 | 0.9 | 310 | 309.2 | 0.9 | 278 | 307.5 | 0.8 | 246 | 12.5 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 770.000 | 59.970 | 25.700 | 1146.000 | 13444.000 | 17822.000 | 35.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
176 | 28/12/2022 16:36:27 (UTC-4:00) | Normal |  | 348.5 | 0.8 | 279 | 313.2 | 0.9 | 282 | 307.5 | 0.8 | 246 | 16.9 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 710.000 | 59.990 | 25.700 | 1146.000 | 13444.000 | 17822.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
177 | 28/12/2022 16:41:26 (UTC-4:00) | Normal |  | 342.4 | 0.7 | 240 | 315.4 | 0.8 | 252 | 301.7 | 0.7 | 211 | 11.7 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 610.000 | 59.990 | 25.800 | 1146.000 | 13444.000 | 17822.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
178 | 28/12/2022 16:46:25 (UTC-4:00) | Normal |  | 334.4 | 0.6 | 201 | 307.2 | 0.6 | 184 | 309.4 | 0.5 | 155 | 15.1 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 510.000 | 60.000 | 25.800 | 1146.000 | 13444.000 | 17822.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
179 | 28/12/2022 16:51:25 (UTC-4:00) | Normal |  | 334.5 | 0.5 | 167 | 311.3 | 0.5 | 156 | 301.6 | 0.4 | 121 | 11.7 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 440.000 | 60.010 | 25.900 | 1146.000 | 13445.000 | 17823.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
180 | 28/12/2022 16:56:25 (UTC-4:00) | Normal |  | 344.3 | 0.4 | 138 | 313.1 | 0.5 | 157 | 311.4 | 0.4 | 125 | 15.3 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 360.000 | 60.040 | 25.900 | 1146.000 | 13445.000 | 17823.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
181 | 28/12/2022 17:01:26 (UTC-4:00) | Normal |  | 338.7 | 0.4 | 135 | 311.5 | 0.5 | 156 | 309.8 | 0.4 | 124 | 17.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 60.020 | 25.900 | 1146.000 | 13445.000 | 17823.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
182 | 28/12/2022 17:06:29 (UTC-4:00) | Normal |  | 328.3 | 0.3 | 98 | 301.3 | 0.4 | 121 | 303.6 | 0.3 | 91 | 14.9 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 60.020 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
183 | 28/12/2022 17:11:30 (UTC-4:00) | Normal |  | 332.6 | 0.3 | 100 | 293.2 | 0.3 | 88 | 291.6 | 0.2 | 58 | 15.3 | 0.1 | 0 | 219.1 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 60.020 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
184 | 28/12/2022 17:16:33 (UTC-4:00) | Normal |  | 320.5 | 0.2 | 64 | 293.3 | 0.3 | 88 | 283.6 | 0.2 | 57 | 16.9 | 0.1 | 0 | 219.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 170.000 | 59.980 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
185 | 28/12/2022 17:20:14 (UTC-4:00) | Normal |  | 324.2 | 0.2 | 65 | 289.0 | 0.2 | 58 | 279.8 | 0.1 | 28 | 12.8 | 0.1 | 0 | 218.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 120.000 | 60.000 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
186 | 28/12/2022 17:25:30 (UTC-4:00) | Normal |  | 308.4 | 0.1 | 31 | 285.2 | 0.2 | 57 | 276.2 | 0.1 | 28 | 11.8 | 0.1 | 0 | 218.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 60.000 | 60.000 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
187 | 28/12/2022 17:30:29 (UTC-4:00) | Normal |  | 302.2 | 0.1 | 30 | 274.2 | 0.1 | 27 | 272.4 | 0.1 | 27 | 17.0 | 0.1 | 0 | 218.6 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.980 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
188 | 28/12/2022 17:35:28 (UTC-4:00) | Normal |  | 297.4 | 0.1 | 30 | 274.3 | 0.1 | 27 | 266.9 | 0.1 | 27 | 11.6 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
189 | 28/12/2022 17:40:27 (UTC-4:00) | Normal |  | 292.4 | 0.1 | 29 | 274.3 | 0.1 | 27 | 263.6 | 0.1 | 26 | 13.5 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
190 | 28/12/2022 17:45:26 (UTC-4:00) | Normal |  | 280.6 | 0.1 | 28 | 274.3 | 0.1 | 27 | 253.4 | 0.1 | 25 | 17.5 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
191 | 28/12/2022 17:50:25 (UTC-4:00) | Normal |  | 272.7 | 0.1 | 27 | 274.3 | 0.1 | 27 | 297.2 | 0.1 | 30 | 15.7 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
192 | 28/12/2022 17:55:27 (UTC-4:00) | Normal |  | 252.5 | 0.1 | 25 | 274.5 | 0.1 | 27 | 228.6 | 0.1 | 23 | 11.7 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
193 | 28/12/2022 18:00:30 (UTC-4:00) | Normal |  | 278.0 | 0.1 | 28 | 250.5 | 0.1 | 25 | 204.0 | 0.1 | 20 | 10.8 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
194 | 28/12/2022 18:05:34 (UTC-4:00) | Normal |  | 192.0 | 0.1 | 19 | 197.8 | 0.1 | 20 | 178.3 | 0.1 | 18 | 17.4 | 0.1 | 0 | 218.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
195 | 28/12/2022 18:10:37 (UTC-4:00) | Normal |  | 116.1 | 0.1 | 12 | 126.6 | 0.1 | 13 | 112.0 | 0.1 | 11 | 12.0 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 26.000 | 1146.000 | 13445.000 | 17823.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0