## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125025255
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 27/12/2022 04:41:53 (UTC-4:00) | Normal |  | 107.9 | 0.1 | 11 | 113.0 | 0.1 | 11 | 108.2 | 0.1 | 11 | 0.0 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 25.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 27/12/2022 04:46:53 (UTC-4:00) | Normal |  | 98.2 | 0.1 | 10 | 99.2 | 0.1 | 10 | 93.1 | 0.1 | 9 | 3.7 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 25.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 27/12/2022 04:51:53 (UTC-4:00) | Normal |  | 274.5 | 0.1 | 27 | 248.4 | 0.1 | 25 | 247.6 | 0.1 | 25 | 13.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 25.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 27/12/2022 04:56:57 (UTC-4:00) | Normal |  | 269.4 | 0.1 | 27 | 244.1 | 0.1 | 24 | 242.5 | 0.1 | 24 | 17.0 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 26.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 27/12/2022 05:02:01 (UTC-4:00) | Normal |  | 270.5 | 0.1 | 27 | 244.0 | 0.1 | 24 | 243.3 | 0.1 | 24 | 16.4 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 26.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 27/12/2022 05:07:01 (UTC-4:00) | Normal |  | 272.0 | 0.1 | 27 | 244.0 | 0.1 | 24 | 244.8 | 0.1 | 24 | 17.9 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 27/12/2022 05:12:01 (UTC-4:00) | Normal |  | 273.9 | 0.1 | 27 | 243.9 | 0.1 | 24 | 246.6 | 0.1 | 25 | 13.3 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 27/12/2022 05:17:01 (UTC-4:00) | Normal |  | 273.0 | 0.1 | 27 | 244.1 | 0.1 | 24 | 245.6 | 0.1 | 25 | 11.1 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 28.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 27/12/2022 05:22:02 (UTC-4:00) | Normal |  | 275.2 | 0.1 | 28 | 244.0 | 0.1 | 24 | 247.6 | 0.1 | 25 | 13.3 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 28.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 27/12/2022 05:27:02 (UTC-4:00) | Normal |  | 276.1 | 0.1 | 28 | 244.0 | 0.1 | 24 | 248.3 | 0.1 | 25 | 15.7 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 27/12/2022 05:32:02 (UTC-4:00) | Normal |  | 277.4 | 0.1 | 28 | 244.0 | 0.1 | 24 | 249.6 | 0.1 | 25 | 16.3 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 28.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 27/12/2022 05:37:02 (UTC-4:00) | Normal |  | 346.5 | 0.1 | 35 | 244.0 | 0.1 | 24 | 311.8 | 0.1 | 31 | 11.4 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.080 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 27/12/2022 05:42:02 (UTC-4:00) | Normal |  | 281.1 | 0.1 | 28 | 244.0 | 0.1 | 24 | 253.0 | 0.1 | 25 | 10.5 | 0.1 | 0 | 218.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 29.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 27/12/2022 05:47:02 (UTC-4:00) | Normal |  | 290.0 | 0.1 | 29 | 244.1 | 0.1 | 24 | 261.0 | 0.1 | 26 | 16.6 | 0.1 | 0 | 218.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 27/12/2022 05:52:02 (UTC-4:00) | Normal |  | 290.9 | 0.1 | 29 | 244.0 | 0.1 | 24 | 261.7 | 0.1 | 26 | 12.8 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 27/12/2022 05:57:02 (UTC-4:00) | Normal |  | 301.9 | 0.1 | 30 | 243.9 | 0.1 | 24 | 271.7 | 0.1 | 27 | 13.5 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 30.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 27/12/2022 06:02:03 (UTC-4:00) | Normal |  | 306.0 | 0.3 | 92 | 294.1 | 0.4 | 118 | 277.8 | 0.2 | 56 | 12.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 60.020 | 0.000 | 1086.000 | 13384.000 | 17762.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 27/12/2022 06:07:08 (UTC-4:00) | Normal |  | 333.8 | 0.3 | 100 | 301.9 | 0.4 | 121 | 301.6 | 0.3 | 90 | 14.3 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 59.980 | 0.100 | 1086.000 | 13385.000 | 17763.000 | 30.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 27/12/2022 06:12:11 (UTC-4:00) | Normal |  | 341.5 | 0.4 | 137 | 309.7 | 0.4 | 124 | 309.5 | 0.3 | 93 | 12.4 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 380.000 | 59.960 | 0.100 | 1086.000 | 13385.000 | 17763.000 | 30.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 27/12/2022 06:17:16 (UTC-4:00) | Normal |  | 341.9 | 0.6 | 205 | 313.9 | 0.7 | 220 | 301.7 | 0.6 | 181 | 12.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 560.000 | 59.960 | 0.100 | 1086.000 | 13385.000 | 17763.000 | 30.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 27/12/2022 06:22:20 (UTC-4:00) | Normal |  | 346.0 | 0.7 | 242 | 306.1 | 0.8 | 245 | 305.8 | 0.7 | 214 | 10.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 620.000 | 59.980 | 0.200 | 1086.000 | 13385.000 | 17763.000 | 31.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 27/12/2022 06:27:24 (UTC-4:00) | Normal |  | 338.0 | 0.6 | 203 | 309.9 | 0.7 | 217 | 301.7 | 0.5 | 151 | 13.0 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 540.000 | 60.030 | 0.200 | 1086.000 | 13385.000 | 17763.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 27/12/2022 06:32:28 (UTC-4:00) | Normal |  | 353.9 | 0.8 | 283 | 317.9 | 0.9 | 286 | 313.7 | 0.8 | 251 | 15.1 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 720.000 | 60.020 | 0.300 | 1086.000 | 13385.000 | 17763.000 | 31.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 27/12/2022 06:37:32 (UTC-4:00) | Normal |  | 354.0 | 0.9 | 319 | 306.0 | 1.0 | 306 | 313.8 | 0.9 | 282 | 16.2 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 860.000 | 60.010 | 0.300 | 1086.000 | 13385.000 | 17763.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 27/12/2022 06:37:42 (UTC-4:00) | Normal |  | 354.0 | 0.9 | 319 | 306.0 | 1.0 | 306 | 313.8 | 0.9 | 282 | 16.2 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 860.000 | 60.010 | 0.300 | 1086.000 | 13385.000 | 17763.000 | 32.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 27/12/2022 06:42:37 (UTC-4:00) | Normal |  | 362.0 | 1.0 | 362 | 314.1 | 1.2 | 377 | 301.9 | 1.1 | 332 | 12.7 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1030.000 | 60.070 | 0.400 | 1087.000 | 13385.000 | 17763.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 27/12/2022 06:47:40 (UTC-4:00) | Normal |  | 346.0 | 1.3 | 450 | 313.9 | 1.4 | 439 | 309.8 | 1.2 | 372 | 13.3 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 60.070 | 0.500 | 1087.000 | 13385.000 | 17763.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 27/12/2022 06:52:44 (UTC-4:00) | Normal |  | 358.0 | 1.0 | 358 | 309.8 | 1.1 | 341 | 305.6 | 1.0 | 306 | 17.1 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 970.000 | 60.050 | 0.600 | 1087.000 | 13385.000 | 17763.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 27/12/2022 06:57:44 (UTC-4:00) | Normal |  | 372.0 | 1.0 | 372 | 312.0 | 1.3 | 406 | 307.8 | 1.2 | 369 | 12.9 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 60.030 | 0.700 | 1087.000 | 13385.000 | 17763.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 27/12/2022 07:02:44 (UTC-4:00) | Normal |  | 362.0 | 1.1 | 398 | 310.1 | 1.3 | 403 | 309.8 | 1.2 | 372 | 12.9 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1120.000 | 60.000 | 0.800 | 1087.000 | 13385.000 | 17763.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 27/12/2022 07:07:44 (UTC-4:00) | Normal |  | 359.9 | 1.5 | 540 | 315.9 | 1.6 | 505 | 311.8 | 1.5 | 468 | 11.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 6.6 | 0.0 | 0.0 | 1360.000 | 60.010 | 0.900 | 1087.000 | 13385.000 | 17763.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 27/12/2022 07:12:44 (UTC-4:00) | Normal |  | 360.0 | 1.7 | 612 | 320.1 | 1.8 | 576 | 319.9 | 1.7 | 544 | 11.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1630.000 | 59.990 | 1.000 | 1087.000 | 13385.000 | 17763.000 | 34.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 27/12/2022 07:17:44 (UTC-4:00) | Normal |  | 359.9 | 2.0 | 720 | 316.0 | 2.2 | 695 | 319.7 | 2.0 | 639 | 13.5 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1970.000 | 59.990 | 1.200 | 1087.000 | 13386.000 | 17764.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 27/12/2022 07:22:44 (UTC-4:00) | Normal |  | 357.9 | 2.1 | 752 | 325.9 | 2.2 | 717 | 317.9 | 2.1 | 668 | 11.6 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2040.000 | 59.990 | 1.300 | 1087.000 | 13386.000 | 17764.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 27/12/2022 07:27:44 (UTC-4:00) | Normal |  | 353.9 | 2.2 | 779 | 321.9 | 2.2 | 708 | 321.6 | 2.1 | 675 | 14.8 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2080.000 | 60.070 | 1.500 | 1088.000 | 13386.000 | 17764.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 27/12/2022 07:32:44 (UTC-4:00) | Normal |  | 362.1 | 2.6 | 941 | 326.1 | 2.6 | 848 | 325.8 | 2.5 | 815 | 10.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2490.000 | 59.990 | 1.700 | 1088.000 | 13386.000 | 17764.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 27/12/2022 07:37:44 (UTC-4:00) | Normal |  | 358.0 | 2.4 | 859 | 318.1 | 2.5 | 795 | 321.8 | 2.4 | 772 | 11.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2290.000 | 60.000 | 1.900 | 1088.000 | 13386.000 | 17764.000 | 38.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 27/12/2022 07:42:44 (UTC-4:00) | Normal |  | 362.1 | 3.2 | 1159 | 322.1 | 3.3 | 1063 | 318.0 | 3.2 | 1018 | 14.0 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3120.000 | 59.950 | 2.100 | 1088.000 | 13387.000 | 17765.000 | 39.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 27/12/2022 07:47:44 (UTC-4:00) | Normal |  | 355.9 | 4.4 | 1566 | 323.7 | 4.4 | 1424 | 319.7 | 4.3 | 1375 | 16.4 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4230.000 | 59.990 | 2.400 | 1089.000 | 13387.000 | 17765.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 27/12/2022 07:52:45 (UTC-4:00) | Normal |  | 348.0 | 5.4 | 1879 | 315.9 | 5.5 | 1737 | 319.4 | 5.3 | 1693 | 10.1 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 22.8 | 0.0 | 0.0 | 5170.000 | 59.980 | 2.800 | 1089.000 | 13387.000 | 17765.000 | 44.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 27/12/2022 07:57:49 (UTC-4:00) | Normal |  | 347.9 | 4.8 | 1670 | 307.8 | 5.1 | 1570 | 311.8 | 4.9 | 1528 | 10.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4650.000 | 59.970 | 3.300 | 1089.000 | 13388.000 | 17766.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 27/12/2022 08:02:53 (UTC-4:00) | Normal |  | 333.3 | 3.8 | 1267 | 313.2 | 3.7 | 1159 | 297.1 | 3.7 | 1099 | 10.0 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 15.3 | 0.0 | 0.0 | 3460.000 | 59.990 | 3.600 | 1090.000 | 13388.000 | 17766.000 | 47.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 27/12/2022 08:07:57 (UTC-4:00) | Normal |  | 337.4 | 3.9 | 1316 | 305.2 | 4.0 | 1221 | 301.1 | 3.9 | 1174 | 10.6 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3590.000 | 59.990 | 3.900 | 1090.000 | 13388.000 | 17766.000 | 46.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 27/12/2022 08:13:01 (UTC-4:00) | Normal |  | 329.8 | 3.7 | 1220 | 298.0 | 3.8 | 1132 | 297.7 | 3.7 | 1101 | 13.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 14.9 | 0.0 | 0.0 | 3360.000 | 59.980 | 4.500 | 1091.000 | 13389.000 | 17767.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 27/12/2022 08:18:05 (UTC-4:00) | Normal |  | 337.7 | 3.7 | 1249 | 301.8 | 3.9 | 1177 | 305.5 | 3.7 | 1130 | 12.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3440.000 | 59.990 | 4.900 | 1091.000 | 13389.000 | 17767.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 27/12/2022 08:23:09 (UTC-4:00) | Normal |  | 338.0 | 3.7 | 1251 | 306.2 | 3.8 | 1164 | 305.8 | 3.7 | 1131 | 13.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3420.000 | 59.970 | 5.300 | 1091.000 | 13390.000 | 17768.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 27/12/2022 08:28:13 (UTC-4:00) | Normal |  | 334.5 | 3.0 | 1004 | 302.7 | 3.1 | 938 | 306.2 | 2.9 | 888 | 15.6 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2730.000 | 59.930 | 5.600 | 1092.000 | 13390.000 | 17768.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 27/12/2022 08:33:17 (UTC-4:00) | Normal |  | 346.1 | 2.6 | 900 | 310.3 | 2.7 | 838 | 313.9 | 2.6 | 816 | 16.3 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2470.000 | 60.010 | 5.900 | 1092.000 | 13390.000 | 17768.000 | 48.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 27/12/2022 08:38:21 (UTC-4:00) | Normal |  | 342.2 | 4.4 | 1506 | 310.5 | 4.4 | 1366 | 309.9 | 4.3 | 1333 | 12.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 18.1 | 0.0 | 0.0 | 4060.000 | 59.990 | 6.200 | 1092.000 | 13391.000 | 17769.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 27/12/2022 08:43:25 (UTC-4:00) | Normal |  | 342.5 | 3.1 | 1062 | 310.4 | 3.1 | 962 | 306.2 | 3.1 | 949 | 9.6 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2850.000 | 59.980 | 6.500 | 1093.000 | 13391.000 | 17769.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 27/12/2022 08:48:25 (UTC-4:00) | Normal |  | 344.0 | 2.6 | 894 | 315.9 | 2.7 | 853 | 307.7 | 2.6 | 800 | 14.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2450.000 | 59.990 | 6.700 | 1093.000 | 13391.000 | 17769.000 | 47.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 27/12/2022 08:53:26 (UTC-4:00) | Normal |  | 349.7 | 2.8 | 979 | 309.3 | 3.0 | 928 | 301.2 | 2.9 | 873 | 11.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2680.000 | 59.980 | 7.000 | 1093.000 | 13391.000 | 17769.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 27/12/2022 08:58:26 (UTC-4:00) | Normal |  | 359.8 | 10.2 | 3670 | 325.7 | 10.2 | 3322 | 321.9 | 10.2 | 3283 | 14.3 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 43.5 | 0.0 | 0.0 | 9890.000 | 60.020 | 7.400 | 1094.000 | 13392.000 | 17770.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 27/12/2022 09:03:26 (UTC-4:00) | Normal |  | 331.9 | 2.6 | 863 | 303.5 | 2.7 | 819 | 299.7 | 2.6 | 779 | 9.7 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2370.000 | 60.050 | 7.900 | 1094.000 | 13392.000 | 17770.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 27/12/2022 09:08:26 (UTC-4:00) | Normal |  | 333.1 | 5.5 | 1832 | 312.8 | 5.6 | 1752 | 308.9 | 5.7 | 1761 | 15.9 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 23.6 | 0.0 | 0.0 | 5230.000 | 60.030 | 8.100 | 1094.000 | 13393.000 | 17771.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 27/12/2022 09:13:26 (UTC-4:00) | Normal |  | 337.9 | 3.1 | 1047 | 306.5 | 3.2 | 981 | 306.2 | 3.1 | 949 | 15.9 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2900.000 | 60.020 | 8.400 | 1095.000 | 13393.000 | 17771.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 27/12/2022 09:18:26 (UTC-4:00) | Normal |  | 334.4 | 3.5 | 1170 | 305.6 | 3.6 | 1100 | 301.4 | 3.5 | 1055 | 10.3 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3220.000 | 60.000 | 8.800 | 1095.000 | 13393.000 | 17771.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 27/12/2022 09:23:26 (UTC-4:00) | Normal |  | 339.3 | 2.3 | 780 | 312.2 | 2.3 | 718 | 304.0 | 2.2 | 669 | 10.5 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2080.000 | 60.010 | 9.000 | 1095.000 | 13393.000 | 17771.000 | 47.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 27/12/2022 09:28:26 (UTC-4:00) | Normal |  | 341.0 | 1.9 | 648 | 313.0 | 2.0 | 626 | 304.8 | 1.9 | 579 | 14.7 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 8.1 | 0.0 | 0.0 | 1740.000 | 59.970 | 9.200 | 1095.000 | 13394.000 | 17772.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 27/12/2022 09:33:26 (UTC-4:00) | Normal |  | 342.5 | 2.2 | 754 | 306.6 | 2.3 | 705 | 304.9 | 2.2 | 671 | 11.7 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2010.000 | 59.990 | 9.400 | 1096.000 | 13394.000 | 17772.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 27/12/2022 09:38:27 (UTC-4:00) | Normal |  | 351.4 | 2.7 | 949 | 308.1 | 2.9 | 893 | 311.3 | 2.7 | 841 | 14.1 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 11.8 | 0.0 | 0.0 | 2620.000 | 60.030 | 9.600 | 1096.000 | 13394.000 | 17772.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 27/12/2022 09:43:30 (UTC-4:00) | Normal |  | 345.9 | 2.1 | 726 | 310.0 | 2.2 | 682 | 305.8 | 2.1 | 642 | 12.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1970.000 | 60.010 | 9.700 | 1096.000 | 13394.000 | 17772.000 | 42.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 27/12/2022 09:48:34 (UTC-4:00) | Normal |  | 350.3 | 2.8 | 981 | 310.2 | 2.9 | 900 | 310.1 | 2.8 | 868 | 15.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2640.000 | 59.980 | 9.900 | 1096.000 | 13394.000 | 17772.000 | 42.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 27/12/2022 09:53:38 (UTC-4:00) | Normal |  | 333.8 | 10.2 | 3405 | 305.0 | 10.0 | 3050 | 296.8 | 10.0 | 2968 | 11.5 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 39.9 | 0.0 | 0.0 | 9090.000 | 59.990 | 10.300 | 1096.000 | 13395.000 | 17773.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 27/12/2022 09:58:42 (UTC-4:00) | Normal |  | 334.0 | 2.2 | 735 | 302.0 | 2.3 | 695 | 297.8 | 2.2 | 655 | 10.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1970.000 | 60.020 | 10.500 | 1097.000 | 13395.000 | 17773.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 27/12/2022 10:03:46 (UTC-4:00) | Normal |  | 338.1 | 2.0 | 676 | 306.1 | 2.0 | 612 | 305.9 | 1.9 | 581 | 16.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1780.000 | 60.030 | 10.700 | 1097.000 | 13395.000 | 17773.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 27/12/2022 10:08:50 (UTC-4:00) | Normal |  | 341.8 | 2.1 | 718 | 309.8 | 2.2 | 682 | 305.7 | 2.1 | 642 | 15.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1980.000 | 59.980 | 10.800 | 1097.000 | 13395.000 | 17773.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 27/12/2022 10:13:54 (UTC-4:00) | Normal |  | 345.9 | 3.4 | 1176 | 309.9 | 3.5 | 1085 | 305.8 | 3.5 | 1070 | 13.1 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3220.000 | 59.960 | 11.100 | 1097.000 | 13396.000 | 17774.000 | 42.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 27/12/2022 10:18:58 (UTC-4:00) | Normal |  | 342.0 | 2.6 | 889 | 310.1 | 2.7 | 837 | 305.9 | 2.6 | 795 | 10.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 11.1 | 0.0 | 0.0 | 2440.000 | 59.950 | 11.400 | 1098.000 | 13396.000 | 17774.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 27/12/2022 10:24:02 (UTC-4:00) | Normal |  | 324.4 | 2.6 | 843 | 292.1 | 2.6 | 759 | 292.1 | 2.5 | 730 | 10.0 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 10.2 | 0.0 | 0.0 | 2250.000 | 59.930 | 11.800 | 1098.000 | 13396.000 | 17774.000 | 48.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 27/12/2022 10:24:13 (UTC-4:00) | Normal |  | 324.4 | 2.6 | 843 | 292.1 | 2.6 | 759 | 292.1 | 2.5 | 730 | 10.0 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 10.2 | 0.0 | 0.0 | 2250.000 | 59.930 | 11.800 | 1098.000 | 13396.000 | 17774.000 | 48.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 27/12/2022 10:29:07 (UTC-4:00) | Normal |  | 314.2 | 0.9 | 283 | 286.1 | 1.0 | 286 | 282.0 | 0.9 | 254 | 14.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 770.000 | 59.950 | 12.000 | 1098.000 | 13396.000 | 17774.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 27/12/2022 10:34:10 (UTC-4:00) | Normal |  | 309.9 | 0.7 | 217 | 285.8 | 0.7 | 200 | 281.6 | 0.6 | 169 | 12.1 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 530.000 | 60.010 | 12.000 | 1098.000 | 13396.000 | 17774.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 27/12/2022 10:39:14 (UTC-4:00) | Normal |  | 334.0 | 0.9 | 301 | 298.0 | 1.0 | 298 | 297.8 | 0.9 | 268 | 13.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 59.990 | 12.100 | 1098.000 | 13397.000 | 17775.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 27/12/2022 10:44:18 (UTC-4:00) | Normal |  | 358.1 | 1.7 | 609 | 322.1 | 1.8 | 580 | 317.9 | 1.7 | 540 | 11.8 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1610.000 | 60.000 | 12.200 | 1098.000 | 13397.000 | 17775.000 | 39.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 27/12/2022 10:49:18 (UTC-4:00) | Normal |  | 349.9 | 2.1 | 735 | 313.9 | 2.2 | 691 | 313.7 | 2.1 | 659 | 12.9 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 1990.000 | 59.960 | 12.300 | 1098.000 | 13397.000 | 17775.000 | 40.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 27/12/2022 10:54:18 (UTC-4:00) | Normal |  | 349.9 | 2.0 | 700 | 309.9 | 2.1 | 651 | 313.7 | 2.0 | 627 | 13.9 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 8.7 | 0.0 | 0.0 | 1860.000 | 60.010 | 12.500 | 1099.000 | 13397.000 | 17775.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 27/12/2022 10:59:19 (UTC-4:00) | Normal |  | 353.9 | 2.7 | 956 | 309.8 | 2.9 | 898 | 321.7 | 2.7 | 869 | 11.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2620.000 | 60.010 | 12.700 | 1099.000 | 13397.000 | 17775.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 27/12/2022 11:04:18 (UTC-4:00) | Normal |  | 353.8 | 3.3 | 1168 | 317.8 | 3.4 | 1081 | 317.6 | 3.3 | 1048 | 12.3 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 14.3 | 0.0 | 0.0 | 3180.000 | 60.000 | 12.900 | 1099.000 | 13397.000 | 17775.000 | 41.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 27/12/2022 11:09:18 (UTC-4:00) | Normal |  | 349.8 | 4.4 | 1539 | 317.7 | 4.5 | 1430 | 313.6 | 4.4 | 1380 | 11.5 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4200.000 | 60.020 | 13.200 | 1099.000 | 13398.000 | 17776.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 27/12/2022 11:14:18 (UTC-4:00) | Normal |  | 349.2 | 4.7 | 1641 | 313.0 | 4.8 | 1502 | 305.1 | 4.8 | 1464 | 9.9 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4490.000 | 60.000 | 13.600 | 1100.000 | 13398.000 | 17776.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 27/12/2022 11:19:18 (UTC-4:00) | Normal |  | 328.0 | 5.4 | 1771 | 300.7 | 5.6 | 1684 | 296.1 | 5.3 | 1569 | 11.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 21.7 | 0.0 | 0.0 | 4890.000 | 59.960 | 14.100 | 1100.000 | 13399.000 | 17777.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 27/12/2022 11:24:18 (UTC-4:00) | Normal |  | 328.1 | 10.2 | 3347 | 298.1 | 10.1 | 3011 | 294.5 | 10.2 | 3004 | 15.6 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 39.7 | 0.0 | 0.0 | 9050.000 | 60.000 | 14.900 | 1101.000 | 13399.000 | 17777.000 | 56.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 27/12/2022 11:29:18 (UTC-4:00) | Normal |  | 310.1 | 3.7 | 1147 | 278.1 | 3.8 | 1057 | 281.8 | 3.6 | 1014 | 9.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 14.0 | 0.0 | 0.0 | 3100.000 | 60.020 | 15.400 | 1102.000 | 13400.000 | 17778.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 27/12/2022 11:34:18 (UTC-4:00) | Normal |  | 322.4 | 4.7 | 1515 | 294.4 | 4.8 | 1413 | 294.1 | 4.7 | 1382 | 14.0 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 18.7 | 0.0 | 0.0 | 4180.000 | 59.980 | 15.700 | 1102.000 | 13400.000 | 17778.000 | 54.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 27/12/2022 11:39:18 (UTC-4:00) | Normal |  | 316.5 | 6.8 | 2152 | 298.0 | 6.7 | 1997 | 251.8 | 6.9 | 1737 | 10.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 25.3 | 0.0 | 0.0 | 5740.000 | 59.960 | 16.400 | 1103.000 | 13401.000 | 17779.000 | 57.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 27/12/2022 11:44:19 (UTC-4:00) | Normal |  | 311.9 | 1.6 | 499 | 287.9 | 1.7 | 489 | 283.7 | 1.6 | 454 | 12.8 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1260.000 | 59.960 | 16.700 | 1103.000 | 13401.000 | 17779.000 | 54.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 27/12/2022 11:49:23 (UTC-4:00) | Normal |  | 324.1 | 1.6 | 519 | 296.1 | 1.6 | 474 | 287.9 | 1.6 | 461 | 9.5 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 59.970 | 16.800 | 1103.000 | 13401.000 | 17779.000 | 49.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 27/12/2022 11:54:28 (UTC-4:00) | Normal |  | 336.2 | 2.5 | 841 | 308.2 | 2.6 | 801 | 307.9 | 2.4 | 739 | 13.2 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2290.000 | 60.050 | 16.900 | 1103.000 | 13401.000 | 17779.000 | 46.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 27/12/2022 11:54:43 (UTC-4:00) | Normal |  | 336.2 | 2.5 | 841 | 308.2 | 2.6 | 801 | 307.9 | 2.4 | 739 | 13.2 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2290.000 | 60.050 | 16.900 | 1103.000 | 13401.000 | 17779.000 | 46.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 27/12/2022 11:59:31 (UTC-4:00) | Normal |  | 344.2 | 4.1 | 1411 | 312.2 | 4.2 | 1311 | 312.0 | 4.1 | 1279 | 11.1 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3900.000 | 60.020 | 17.200 | 1103.000 | 13402.000 | 17780.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 27/12/2022 12:04:35 (UTC-4:00) | Normal |  | 351.8 | 10.2 | 3588 | 318.7 | 10.2 | 3251 | 317.6 | 10.2 | 3240 | 10.1 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 42.6 | 0.0 | 0.0 | 9710.000 | 60.070 | 17.800 | 1104.000 | 13402.000 | 17780.000 | 52.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 27/12/2022 12:09:40 (UTC-4:00) | Normal |  | 301.7 | 8.6 | 2595 | 286.4 | 8.3 | 2377 | 281.4 | 7.9 | 2223 | 12.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7000.000 | 60.010 | 18.500 | 1105.000 | 13403.000 | 17781.000 | 59.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 27/12/2022 12:14:44 (UTC-4:00) | Normal |  | 303.3 | 8.2 | 2487 | 295.5 | 7.8 | 2305 | 283.1 | 8.1 | 2293 | 13.7 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 30.5 | 0.0 | 0.0 | 6880.000 | 60.010 | 19.000 | 1105.000 | 13403.000 | 17781.000 | 57.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 27/12/2022 12:19:48 (UTC-4:00) | Normal |  | 319.7 | 3.3 | 1055 | 291.7 | 3.4 | 992 | 291.5 | 3.3 | 962 | 14.9 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2900.000 | 59.990 | 19.400 | 1106.000 | 13404.000 | 17782.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 27/12/2022 12:24:52 (UTC-4:00) | Normal |  | 332.0 | 1.6 | 531 | 300.0 | 1.7 | 510 | 299.8 | 1.5 | 450 | 12.6 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 6.4 | 0.0 | 0.0 | 1330.000 | 59.950 | 19.500 | 1106.000 | 13404.000 | 17782.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 27/12/2022 12:29:56 (UTC-4:00) | Normal |  | 340.1 | 1.5 | 510 | 308.1 | 1.6 | 493 | 303.9 | 1.5 | 456 | 9.7 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 6.3 | 0.0 | 0.0 | 1300.000 | 59.990 | 19.600 | 1106.000 | 13404.000 | 17782.000 | 47.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 27/12/2022 12:35:00 (UTC-4:00) | Normal |  | 352.2 | 2.0 | 704 | 312.2 | 2.2 | 687 | 312.0 | 2.0 | 624 | 14.8 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1910.000 | 60.030 | 19.800 | 1106.000 | 13404.000 | 17782.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 27/12/2022 12:40:04 (UTC-4:00) | Normal |  | 356.1 | 3.0 | 1068 | 316.1 | 3.2 | 1012 | 315.9 | 3.0 | 948 | 9.4 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 13.2 | 0.0 | 0.0 | 2930.000 | 60.000 | 19.900 | 1106.000 | 13404.000 | 17782.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 27/12/2022 12:45:08 (UTC-4:00) | Normal |  | 355.9 | 5.9 | 2100 | 316.0 | 6.0 | 1896 | 319.6 | 6.0 | 1918 | 12.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 25.6 | 0.0 | 0.0 | 5740.000 | 59.960 | 20.300 | 1106.000 | 13405.000 | 17783.000 | 46.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 27/12/2022 12:50:08 (UTC-4:00) | Normal |  | 319.5 | 10.2 | 3259 | 307.3 | 9.8 | 3012 | 310.4 | 9.5 | 2949 | 13.2 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 39.3 | 0.0 | 0.0 | 8890.000 | 59.990 | 20.900 | 1107.000 | 13405.000 | 17783.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 27/12/2022 12:55:08 (UTC-4:00) | Normal |  | 334.4 | 9.2 | 3076 | 299.2 | 9.9 | 2962 | 294.1 | 9.4 | 2765 | 9.6 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 37.6 | 0.0 | 0.0 | 8560.000 | 59.980 | 21.600 | 1108.000 | 13406.000 | 17784.000 | 57.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 27/12/2022 13:00:08 (UTC-4:00) | Normal |  | 328.4 | 9.0 | 2956 | 296.5 | 9.2 | 2728 | 296.1 | 9.0 | 2665 | 13.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 35.6 | 0.0 | 0.0 | 8090.000 | 59.990 | 22.300 | 1108.000 | 13407.000 | 17785.000 | 60.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 27/12/2022 13:05:08 (UTC-4:00) | Normal |  | 323.9 | 9.1 | 2947 | 292.0 | 9.3 | 2716 | 291.7 | 9.1 | 2654 | 9.2 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 35.6 | 0.0 | 0.0 | 8040.000 | 59.990 | 23.000 | 1109.000 | 13407.000 | 17785.000 | 61.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 27/12/2022 13:10:08 (UTC-4:00) | Normal |  | 328.8 | 9.0 | 2959 | 297.4 | 9.6 | 2855 | 288.8 | 9.3 | 2686 | 8.6 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 36.1 | 0.0 | 0.0 | 8240.000 | 59.970 | 23.700 | 1110.000 | 13408.000 | 17786.000 | 63.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 27/12/2022 13:15:19 (UTC-4:00) | Normal |  | 320.0 | 5.7 | 1824 | 296.1 | 5.8 | 1717 | 288.0 | 5.7 | 1642 | 10.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.5 | 0.0 | 0.0 | 5060.000 | 60.040 | 24.200 | 1110.000 | 13409.000 | 17787.000 | 61.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 27/12/2022 13:15:30 (UTC-4:00) | Normal |  | 320.0 | 5.7 | 1824 | 296.1 | 5.8 | 1717 | 288.0 | 5.7 | 1642 | 10.5 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.5 | 0.0 | 0.0 | 5060.000 | 60.040 | 24.200 | 1110.000 | 13409.000 | 17787.000 | 61.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 27/12/2022 13:20:08 (UTC-4:00) | Normal |  | 330.1 | 4.4 | 1452 | 302.2 | 4.4 | 1330 | 305.7 | 4.2 | 1284 | 10.2 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 17.6 | 0.0 | 0.0 | 3940.000 | 59.930 | 24.600 | 1111.000 | 13409.000 | 17787.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 27/12/2022 13:25:08 (UTC-4:00) | Normal |  | 340.0 | 5.2 | 1768 | 299.8 | 5.4 | 1619 | 304.2 | 5.3 | 1612 | 12.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 21.5 | 0.0 | 0.0 | 4830.000 | 59.980 | 25.000 | 1111.000 | 13409.000 | 17787.000 | 57.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 27/12/2022 13:30:24 (UTC-4:00) | Normal |  | 338.2 | 5.6 | 1894 | 302.2 | 5.7 | 1723 | 302.1 | 5.6 | 1692 | 13.3 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5140.000 | 59.970 | 25.500 | 1112.000 | 13410.000 | 17788.000 | 58.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 27/12/2022 13:30:46 (UTC-4:00) | Normal |  | 330.9 | 5.8 | 1919 | 299.0 | 5.9 | 1764 | 298.7 | 5.7 | 1703 | 14.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 23.3 | 0.0 | 0.0 | 5250.000 | 59.970 | 25.600 | 1112.000 | 13410.000 | 17788.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 27/12/2022 13:36:07 (UTC-4:00) | Normal |  | 328.3 | 8.6 | 2823 | 296.3 | 8.7 | 2578 | 296.0 | 8.5 | 2516 | 14.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 33.9 | 0.0 | 0.0 | 7690.000 | 59.970 | 26.200 | 1112.000 | 13411.000 | 17789.000 | 61.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 27/12/2022 13:41:07 (UTC-4:00) | Normal |  | 320.0 | 8.5 | 2720 | 291.9 | 8.6 | 2510 | 291.8 | 8.4 | 2451 | 9.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7420.000 | 59.990 | 26.800 | 1113.000 | 13411.000 | 17789.000 | 63.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 27/12/2022 13:46:08 (UTC-4:00) | Normal |  | 319.7 | 7.3 | 2334 | 291.5 | 7.2 | 2099 | 287.6 | 7.4 | 2128 | 12.6 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 28.4 | 0.0 | 0.0 | 6370.000 | 59.980 | 27.500 | 1114.000 | 13412.000 | 17790.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 27/12/2022 13:51:07 (UTC-4:00) | Normal |  | 320.5 | 5.9 | 1891 | 296.2 | 5.9 | 1748 | 292.1 | 5.9 | 1723 | 12.2 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 23.3 | 0.0 | 0.0 | 5210.000 | 60.000 | 28.000 | 1114.000 | 13412.000 | 17790.000 | 64.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 27/12/2022 13:56:07 (UTC-4:00) | Normal |  | 327.4 | 2.5 | 819 | 303.4 | 2.6 | 789 | 299.2 | 2.5 | 748 | 9.7 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2260.000 | 59.970 | 28.400 | 1115.000 | 13413.000 | 17791.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 27/12/2022 14:01:09 (UTC-4:00) | Normal |  | 336.1 | 2.6 | 874 | 312.1 | 2.7 | 843 | 303.9 | 2.6 | 790 | 14.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2400.000 | 59.970 | 28.600 | 1115.000 | 13413.000 | 17791.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 27/12/2022 14:06:09 (UTC-4:00) | Normal |  | 348.4 | 4.8 | 1672 | 316.5 | 4.9 | 1551 | 316.0 | 4.6 | 1454 | 10.7 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 20.3 | 0.0 | 0.0 | 4560.000 | 59.960 | 28.900 | 1115.000 | 13413.000 | 17791.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 27/12/2022 14:11:10 (UTC-4:00) | Normal |  | 344.0 | 2.6 | 894 | 312.0 | 2.7 | 842 | 307.9 | 2.6 | 801 | 13.3 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2400.000 | 59.930 | 29.200 | 1115.000 | 13414.000 | 17792.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 27/12/2022 14:16:13 (UTC-4:00) | Normal |  | 340.5 | 2.7 | 919 | 316.3 | 2.7 | 854 | 308.2 | 2.6 | 801 | 13.7 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2500.000 | 59.970 | 29.300 | 1115.000 | 13414.000 | 17792.000 | 48.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 27/12/2022 14:21:17 (UTC-4:00) | Normal |  | 340.1 | 3.9 | 1326 | 308.1 | 3.9 | 1202 | 308.0 | 3.8 | 1170 | 13.6 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3590.000 | 59.990 | 29.600 | 1116.000 | 13414.000 | 17792.000 | 48.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 27/12/2022 14:21:28 (UTC-4:00) | Normal |  | 340.1 | 3.9 | 1326 | 308.1 | 3.9 | 1202 | 308.0 | 3.8 | 1170 | 13.6 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3590.000 | 59.990 | 29.600 | 1116.000 | 13414.000 | 17792.000 | 48.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 27/12/2022 14:26:24 (UTC-4:00) | Normal |  | 334.9 | 6.4 | 2143 | 307.1 | 6.4 | 1965 | 302.7 | 6.3 | 1907 | 14.7 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 26.0 | 0.0 | 0.0 | 5840.000 | 59.970 | 30.000 | 1116.000 | 13414.000 | 17792.000 | 52.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 27/12/2022 14:31:26 (UTC-4:00) | Normal |  | 315.8 | 1.3 | 411 | 291.9 | 1.4 | 409 | 287.7 | 1.3 | 374 | 13.8 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1130.000 | 59.970 | 30.200 | 1116.000 | 13415.000 | 17793.000 | 48.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 27/12/2022 14:36:29 (UTC-4:00) | Normal |  | 339.9 | 1.6 | 544 | 308.0 | 1.7 | 524 | 299.8 | 1.6 | 480 | 12.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1350.000 | 59.970 | 30.300 | 1116.000 | 13415.000 | 17793.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 27/12/2022 14:41:29 (UTC-4:00) | Normal |  | 340.5 | 6.9 | 2349 | 308.4 | 7.0 | 2159 | 304.4 | 6.9 | 2100 | 9.8 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 28.4 | 0.0 | 0.0 | 6400.000 | 60.020 | 30.600 | 1117.000 | 13415.000 | 17793.000 | 49.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 27/12/2022 14:46:29 (UTC-4:00) | Normal |  | 331.9 | 6.9 | 2290 | 299.8 | 7.1 | 2129 | 299.7 | 6.9 | 2068 | 12.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 28.0 | 0.0 | 0.0 | 6290.000 | 60.040 | 31.200 | 1117.000 | 13416.000 | 17794.000 | 53.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 27/12/2022 14:51:29 (UTC-4:00) | Normal |  | 326.2 | 4.4 | 1435 | 301.4 | 4.1 | 1236 | 295.0 | 4.7 | 1387 | 9.7 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3910.000 | 60.040 | 31.700 | 1118.000 | 13416.000 | 17794.000 | 55.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 27/12/2022 14:56:29 (UTC-4:00) | Normal |  | 322.8 | 2.9 | 936 | 291.0 | 3.1 | 902 | 290.7 | 3.0 | 872 | 10.7 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2630.000 | 60.040 | 32.100 | 1118.000 | 13417.000 | 17795.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 27/12/2022 15:01:29 (UTC-4:00) | Normal |  | 328.0 | 2.5 | 820 | 300.0 | 2.6 | 780 | 295.9 | 2.6 | 769 | 9.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 10.4 | 0.0 | 0.0 | 2270.000 | 59.940 | 32.400 | 1119.000 | 13417.000 | 17795.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 27/12/2022 15:06:29 (UTC-4:00) | Normal |  | 332.9 | 6.6 | 2197 | 308.8 | 6.5 | 2007 | 304.6 | 6.5 | 1980 | 14.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 26.6 | 0.0 | 0.0 | 5980.000 | 59.940 | 32.700 | 1119.000 | 13417.000 | 17795.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 27/12/2022 15:11:29 (UTC-4:00) | Normal |  | 335.9 | 2.7 | 907 | 304.0 | 2.8 | 851 | 303.7 | 2.7 | 820 | 15.7 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2520.000 | 59.930 | 33.000 | 1119.000 | 13417.000 | 17795.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 27/12/2022 15:16:30 (UTC-4:00) | Normal |  | 333.9 | 2.2 | 735 | 305.8 | 2.2 | 673 | 301.7 | 2.1 | 634 | 10.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1950.000 | 59.980 | 33.200 | 1119.000 | 13418.000 | 17796.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 27/12/2022 15:21:30 (UTC-4:00) | Normal |  | 335.8 | 1.7 | 571 | 307.8 | 1.7 | 523 | 299.7 | 1.7 | 509 | 11.8 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1480.000 | 59.980 | 33.300 | 1119.000 | 13418.000 | 17796.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 27/12/2022 15:26:30 (UTC-4:00) | Normal |  | 336.0 | 0.9 | 302 | 296.0 | 1.0 | 296 | 295.8 | 0.9 | 266 | 13.6 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 800.000 | 59.940 | 33.400 | 1120.000 | 13418.000 | 17796.000 | 44.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 27/12/2022 15:31:30 (UTC-4:00) | Normal |  | 320.3 | 0.4 | 128 | 292.3 | 0.4 | 117 | 292.2 | 0.3 | 88 | 16.2 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 290.000 | 59.950 | 33.500 | 1120.000 | 13418.000 | 17796.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 27/12/2022 15:36:31 (UTC-4:00) | Normal |  | 318.0 | 0.2 | 64 | 282.1 | 0.3 | 85 | 273.8 | 0.2 | 55 | 14.5 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 180.000 | 59.940 | 33.500 | 1120.000 | 13418.000 | 17796.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 27/12/2022 15:41:34 (UTC-4:00) | Normal |  | 319.9 | 0.3 | 96 | 284.0 | 0.3 | 85 | 275.7 | 0.2 | 55 | 10.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 60.020 | 33.500 | 1120.000 | 13418.000 | 17796.000 | 39.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 27/12/2022 15:46:38 (UTC-4:00) | Normal |  | 343.7 | 0.4 | 137 | 307.8 | 0.5 | 154 | 303.6 | 0.4 | 121 | 10.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 400.000 | 60.000 | 33.500 | 1120.000 | 13418.000 | 17796.000 | 38.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 27/12/2022 15:51:38 (UTC-4:00) | Normal |  | 335.6 | 0.4 | 134 | 307.7 | 0.4 | 123 | 299.5 | 0.3 | 90 | 12.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 340.000 | 60.000 | 33.500 | 1120.000 | 13418.000 | 17796.000 | 37.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 27/12/2022 15:56:38 (UTC-4:00) | Normal |  | 339.6 | 0.4 | 136 | 307.6 | 0.4 | 123 | 307.5 | 0.3 | 92 | 11.7 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.070 | 33.600 | 1120.000 | 13418.000 | 17796.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 27/12/2022 16:01:38 (UTC-4:00) | Normal |  | 316.0 | 0.3 | 95 | 296.0 | 0.3 | 89 | 283.9 | 0.2 | 57 | 14.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 200.000 | 60.050 | 33.600 | 1120.000 | 13418.000 | 17796.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 27/12/2022 16:06:38 (UTC-4:00) | Normal |  | 328.0 | 0.3 | 98 | 280.0 | 0.4 | 112 | 279.8 | 0.2 | 56 | 14.7 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 60.010 | 33.600 | 1120.000 | 13418.000 | 17796.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 27/12/2022 16:11:38 (UTC-4:00) | Normal |  | 336.0 | 0.6 | 202 | 300.0 | 0.6 | 180 | 295.7 | 0.5 | 148 | 14.1 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 510.000 | 60.000 | 33.700 | 1120.000 | 13418.000 | 17796.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 27/12/2022 16:16:42 (UTC-4:00) | Normal |  | 323.8 | 0.4 | 130 | 303.7 | 0.5 | 152 | 299.5 | 0.4 | 120 | 11.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 450.000 | 59.950 | 33.700 | 1120.000 | 13418.000 | 17796.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 27/12/2022 16:21:42 (UTC-4:00) | Normal |  | 332.0 | 0.6 | 199 | 308.1 | 0.7 | 216 | 303.9 | 0.5 | 152 | 17.2 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 530.000 | 59.970 | 33.700 | 1120.000 | 13418.000 | 17796.000 | 35.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 27/12/2022 16:26:42 (UTC-4:00) | Normal |  | 331.9 | 0.5 | 166 | 303.7 | 0.5 | 152 | 299.5 | 0.4 | 120 | 12.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 480.000 | 59.980 | 33.800 | 1120.000 | 13418.000 | 17796.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 27/12/2022 16:31:42 (UTC-4:00) | Normal |  | 340.0 | 0.5 | 170 | 295.5 | 0.6 | 177 | 295.3 | 0.5 | 148 | 10.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 490.000 | 59.990 | 33.800 | 1120.000 | 13418.000 | 17796.000 | 35.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 27/12/2022 16:36:43 (UTC-4:00) | Normal |  | 342.1 | 0.4 | 137 | 310.1 | 0.5 | 155 | 306.0 | 0.4 | 122 | 11.2 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 420.000 | 59.980 | 33.900 | 1120.000 | 13418.000 | 17796.000 | 35.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 27/12/2022 16:41:44 (UTC-4:00) | Normal |  | 338.0 | 0.4 | 135 | 306.1 | 0.5 | 153 | 293.4 | 0.4 | 117 | 10.4 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 340.000 | 59.980 | 33.900 | 1120.000 | 13418.000 | 17796.000 | 34.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 27/12/2022 16:46:44 (UTC-4:00) | Normal |  | 329.8 | 0.3 | 99 | 293.9 | 0.4 | 118 | 285.6 | 0.3 | 86 | 14.3 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 270.000 | 60.010 | 33.900 | 1120.000 | 13418.000 | 17796.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 27/12/2022 16:51:45 (UTC-4:00) | Normal |  | 338.5 | 0.4 | 135 | 310.2 | 0.5 | 155 | 306.0 | 0.4 | 122 | 15.8 | 0.1 | 0 | 227.5 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 350.000 | 60.030 | 33.900 | 1120.000 | 13418.000 | 17796.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 27/12/2022 16:56:49 (UTC-4:00) | Normal |  | 348.2 | 0.8 | 279 | 308.1 | 0.9 | 277 | 303.9 | 0.8 | 243 | 15.2 | 0.1 | 0 | 230.7 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 720.000 | 60.040 | 34.000 | 1120.000 | 13418.000 | 17796.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 27/12/2022 17:01:53 (UTC-4:00) | Normal |  | 331.9 | 0.6 | 199 | 308.0 | 0.7 | 216 | 303.9 | 0.6 | 182 | 15.6 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 3.5 | 0.0 | 0.0 | 560.000 | 60.000 | 34.000 | 1120.000 | 13418.000 | 17796.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 27/12/2022 17:06:53 (UTC-4:00) | Normal |  | 344.0 | 0.8 | 275 | 316.0 | 0.9 | 284 | 311.8 | 0.8 | 249 | 10.6 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 760.000 | 60.050 | 34.100 | 1120.000 | 13419.000 | 17797.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 27/12/2022 17:11:53 (UTC-4:00) | Normal |  | 344.2 | 0.4 | 138 | 308.1 | 0.5 | 154 | 307.9 | 0.4 | 123 | 11.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 390.000 | 60.010 | 34.100 | 1120.000 | 13419.000 | 17797.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 27/12/2022 17:16:53 (UTC-4:00) | Normal |  | 340.1 | 0.5 | 170 | 296.5 | 0.6 | 178 | 292.1 | 0.5 | 146 | 17.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 480.000 | 59.970 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 27/12/2022 17:21:53 (UTC-4:00) | Normal |  | 340.0 | 0.4 | 136 | 304.2 | 0.5 | 152 | 300.2 | 0.4 | 120 | 16.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 320.000 | 59.950 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 27/12/2022 17:26:53 (UTC-4:00) | Normal |  | 323.9 | 0.2 | 65 | 296.0 | 0.2 | 59 | 275.7 | 0.1 | 28 | 14.6 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 150.000 | 60.000 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 27/12/2022 17:31:55 (UTC-4:00) | Normal |  | 301.6 | 0.1 | 30 | 268.8 | 0.1 | 27 | 268.4 | 0.1 | 27 | 15.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 27/12/2022 17:36:55 (UTC-4:00) | Normal |  | 293.8 | 0.1 | 29 | 268.8 | 0.1 | 27 | 266.1 | 0.1 | 27 | 17.7 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 27/12/2022 17:41:55 (UTC-4:00) | Normal |  | 288.1 | 0.1 | 29 | 268.8 | 0.1 | 27 | 256.0 | 0.1 | 26 | 16.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 27/12/2022 17:46:55 (UTC-4:00) | Normal |  | 279.2 | 0.1 | 28 | 268.8 | 0.1 | 27 | 252.2 | 0.1 | 25 | 15.7 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 27/12/2022 17:51:56 (UTC-4:00) | Normal |  | 279.7 | 0.1 | 28 | 268.9 | 0.1 | 27 | 244.1 | 0.1 | 24 | 14.2 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.920 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 27/12/2022 17:56:56 (UTC-4:00) | Normal |  | 265.2 | 0.1 | 27 | 268.9 | 0.1 | 27 | 293.4 | 0.1 | 29 | 15.5 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 27/12/2022 18:01:56 (UTC-4:00) | Normal |  | 248.3 | 0.1 | 25 | 268.9 | 0.1 | 27 | 227.0 | 0.1 | 23 | 17.5 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 27/12/2022 18:06:59 (UTC-4:00) | Normal |  | 236.0 | 0.1 | 24 | 249.3 | 0.1 | 25 | 203.6 | 0.1 | 20 | 17.5 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 27/12/2022 18:12:03 (UTC-4:00) | Normal |  | 150.6 | 0.1 | 15 | 141.9 | 0.1 | 14 | 141.1 | 0.1 | 14 | 17.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.000 | 34.200 | 1120.000 | 13419.000 | 17797.000 | 32.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0