## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125025356
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 29/12/2022 04:36:12 (UTC-4:00) | Normal |  | 145.4 | 0.1 | 15 | 151.4 | 0.1 | 15 | 152.4 | 0.1 | 15 | 0.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.010 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 24.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 29/12/2022 04:41:14 (UTC-4:00) | Normal |  | 284.5 | 0.1 | 28 | 256.3 | 0.1 | 26 | 255.7 | 0.1 | 26 | 16.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 25.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 29/12/2022 04:46:13 (UTC-4:00) | Normal |  | 290.8 | 0.1 | 29 | 262.4 | 0.1 | 26 | 261.7 | 0.1 | 26 | 10.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 29/12/2022 04:51:14 (UTC-4:00) | Normal |  | 298.6 | 0.1 | 30 | 266.5 | 0.1 | 27 | 268.6 | 0.1 | 27 | 17.5 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 26.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 29/12/2022 04:56:18 (UTC-4:00) | Normal |  | 378.3 | 0.1 | 38 | 266.5 | 0.1 | 27 | 340.3 | 0.1 | 34 | 15.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 26.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 29/12/2022 05:01:17 (UTC-4:00) | Normal |  | 303.6 | 0.1 | 30 | 266.5 | 0.1 | 27 | 273.1 | 0.1 | 27 | 15.8 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 27.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 29/12/2022 05:06:17 (UTC-4:00) | Normal |  | 304.8 | 0.1 | 30 | 266.5 | 0.2 | 53 | 274.1 | 0.1 | 27 | 17.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 27.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 29/12/2022 05:11:17 (UTC-4:00) | Normal |  | 305.9 | 0.1 | 31 | 266.3 | 0.2 | 53 | 275.6 | 0.1 | 28 | 10.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 60.020 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 28.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 29/12/2022 05:16:17 (UTC-4:00) | Normal |  | 307.0 | 0.1 | 31 | 266.4 | 0.2 | 53 | 295.1 | 0.1 | 30 | 16.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 70.000 | 60.030 | 0.000 | 1146.000 | 13445.000 | 17823.000 | 28.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 29/12/2022 05:21:16 (UTC-4:00) | Normal |  | 306.6 | 0.2 | 61 | 294.2 | 0.2 | 59 | 277.3 | 0.1 | 28 | 11.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 130.000 | 60.040 | 0.100 | 1146.000 | 13445.000 | 17823.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 29/12/2022 05:26:16 (UTC-4:00) | Normal |  | 302.8 | 0.2 | 61 | 280.3 | 0.3 | 84 | 277.3 | 0.2 | 55 | 12.8 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 170.000 | 60.060 | 0.100 | 1146.000 | 13445.000 | 17823.000 | 28.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 29/12/2022 05:31:16 (UTC-4:00) | Normal |  | 339.1 | 0.3 | 102 | 296.5 | 0.3 | 89 | 295.5 | 0.2 | 59 | 17.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 60.070 | 0.100 | 1146.000 | 13445.000 | 17823.000 | 29.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 29/12/2022 05:36:15 (UTC-4:00) | Normal |  | 322.9 | 0.3 | 97 | 296.5 | 0.4 | 119 | 287.4 | 0.3 | 86 | 14.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 230.000 | 60.070 | 0.100 | 1146.000 | 13445.000 | 17823.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 29/12/2022 05:41:15 (UTC-4:00) | Normal |  | 330.8 | 0.4 | 132 | 296.4 | 0.4 | 119 | 295.5 | 0.3 | 89 | 12.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 270.000 | 60.080 | 0.100 | 1146.000 | 13445.000 | 17823.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 29/12/2022 05:46:15 (UTC-4:00) | Normal |  | 342.9 | 0.4 | 137 | 312.6 | 0.5 | 156 | 307.8 | 0.4 | 123 | 17.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 330.000 | 60.050 | 0.200 | 1147.000 | 13445.000 | 17823.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 29/12/2022 05:51:14 (UTC-4:00) | Normal |  | 350.9 | 0.4 | 140 | 316.4 | 0.5 | 158 | 315.5 | 0.4 | 126 | 16.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 350.000 | 59.990 | 0.200 | 1147.000 | 13445.000 | 17823.000 | 30.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 29/12/2022 05:56:15 (UTC-4:00) | Normal |  | 344.7 | 0.5 | 172 | 310.2 | 0.6 | 186 | 297.0 | 0.5 | 149 | 13.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 490.000 | 60.000 | 0.200 | 1147.000 | 13445.000 | 17823.000 | 30.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 29/12/2022 06:01:19 (UTC-4:00) | Normal |  | 348.8 | 0.7 | 244 | 314.4 | 0.8 | 252 | 317.3 | 0.7 | 222 | 11.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 3.8 | 0.0 | 0.0 | 650.000 | 60.010 | 0.300 | 1147.000 | 13445.000 | 17823.000 | 30.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 29/12/2022 06:06:23 (UTC-4:00) | Normal |  | 348.9 | 0.8 | 279 | 318.5 | 0.9 | 287 | 301.4 | 0.8 | 241 | 17.2 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 730.000 | 59.940 | 0.300 | 1147.000 | 13445.000 | 17823.000 | 31.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 29/12/2022 06:11:26 (UTC-4:00) | Normal |  | 356.8 | 0.9 | 321 | 310.4 | 1.1 | 341 | 301.4 | 1.0 | 301 | 12.4 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 870.000 | 59.970 | 0.400 | 1147.000 | 13445.000 | 17823.000 | 31.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 29/12/2022 06:16:26 (UTC-4:00) | Normal |  | 366.9 | 1.0 | 367 | 316.5 | 1.2 | 380 | 315.5 | 1.1 | 347 | 10.8 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1020.000 | 59.970 | 0.500 | 1147.000 | 13445.000 | 17823.000 | 31.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 29/12/2022 06:21:26 (UTC-4:00) | Normal |  | 378.7 | 1.5 | 568 | 328.3 | 1.7 | 558 | 331.2 | 1.6 | 530 | 13.0 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 6.9 | 0.0 | 0.0 | 1440.000 | 59.980 | 0.600 | 1147.000 | 13445.000 | 17823.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 29/12/2022 06:26:25 (UTC-4:00) | Normal |  | 358.6 | 1.8 | 645 | 324.2 | 1.9 | 616 | 323.3 | 1.8 | 582 | 15.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1710.000 | 59.980 | 0.700 | 1147.000 | 13445.000 | 17823.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 29/12/2022 06:26:50 (UTC-4:00) | Normal |  | 358.6 | 1.8 | 645 | 324.2 | 1.9 | 616 | 323.3 | 1.8 | 582 | 15.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1710.000 | 59.980 | 0.700 | 1147.000 | 13445.000 | 17823.000 | 33.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 29/12/2022 06:31:26 (UTC-4:00) | Normal |  | 354.9 | 1.7 | 603 | 324.5 | 1.8 | 584 | 323.5 | 1.6 | 518 | 10.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1580.000 | 59.980 | 0.800 | 1147.000 | 13445.000 | 17823.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 29/12/2022 06:36:25 (UTC-4:00) | Normal |  | 350.8 | 1.3 | 456 | 312.4 | 1.4 | 437 | 311.4 | 1.2 | 374 | 17.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 59.980 | 1.000 | 1147.000 | 13446.000 | 17824.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 29/12/2022 06:41:25 (UTC-4:00) | Normal |  | 350.9 | 1.0 | 351 | 308.5 | 1.0 | 309 | 315.5 | 0.9 | 284 | 15.9 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 59.980 | 1.000 | 1147.000 | 13446.000 | 17824.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 29/12/2022 06:46:24 (UTC-4:00) | Normal |  | 370.7 | 1.0 | 371 | 312.4 | 1.2 | 375 | 307.4 | 1.1 | 338 | 13.3 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1020.000 | 59.990 | 1.100 | 1147.000 | 13446.000 | 17824.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 29/12/2022 06:51:25 (UTC-4:00) | Normal |  | 360.8 | 1.5 | 541 | 318.4 | 1.6 | 509 | 321.3 | 1.5 | 482 | 14.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1350.000 | 59.990 | 1.200 | 1148.000 | 13446.000 | 17824.000 | 34.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 29/12/2022 06:56:29 (UTC-4:00) | Normal |  | 352.7 | 1.5 | 529 | 314.3 | 1.5 | 471 | 317.3 | 1.4 | 444 | 13.2 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.000 | 1.300 | 1148.000 | 13446.000 | 17824.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 29/12/2022 07:01:33 (UTC-4:00) | Normal |  | 356.9 | 1.0 | 357 | 310.5 | 1.2 | 373 | 305.5 | 1.0 | 306 | 16.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1010.000 | 59.990 | 1.400 | 1148.000 | 13446.000 | 17824.000 | 34.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 29/12/2022 07:06:37 (UTC-4:00) | Normal |  | 350.9 | 0.9 | 316 | 312.5 | 1.0 | 313 | 315.5 | 0.9 | 284 | 10.3 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 4.5 | 0.0 | 0.0 | 830.000 | 59.980 | 1.500 | 1148.000 | 13446.000 | 17824.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 29/12/2022 07:11:40 (UTC-4:00) | Normal |  | 359.0 | 1.2 | 431 | 312.5 | 1.4 | 438 | 315.5 | 1.2 | 379 | 14.7 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 59.930 | 1.600 | 1148.000 | 13446.000 | 17824.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 29/12/2022 07:16:40 (UTC-4:00) | Normal |  | 348.9 | 1.0 | 349 | 302.5 | 1.1 | 333 | 309.5 | 0.9 | 279 | 10.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 59.980 | 1.700 | 1148.000 | 13446.000 | 17824.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 29/12/2022 07:21:39 (UTC-4:00) | Normal |  | 370.8 | 1.5 | 556 | 324.4 | 1.7 | 551 | 323.4 | 1.6 | 517 | 13.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1460.000 | 59.980 | 1.700 | 1148.000 | 13446.000 | 17824.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 29/12/2022 07:26:40 (UTC-4:00) | Normal |  | 356.7 | 1.8 | 642 | 318.3 | 1.9 | 605 | 317.3 | 1.8 | 571 | 12.7 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1700.000 | 59.990 | 1.900 | 1148.000 | 13447.000 | 17825.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 29/12/2022 07:31:40 (UTC-4:00) | Normal |  | 348.7 | 1.8 | 628 | 318.2 | 1.8 | 573 | 321.2 | 1.7 | 546 | 12.1 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1630.000 | 59.970 | 2.000 | 1148.000 | 13447.000 | 17825.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 29/12/2022 07:36:39 (UTC-4:00) | Normal |  | 360.8 | 1.0 | 361 | 302.5 | 1.2 | 363 | 301.5 | 1.1 | 332 | 14.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1020.000 | 59.990 | 2.100 | 1148.000 | 13447.000 | 17825.000 | 35.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 29/12/2022 07:41:39 (UTC-4:00) | Normal |  | 356.9 | 1.5 | 535 | 318.5 | 1.6 | 510 | 313.5 | 1.5 | 470 | 10.4 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1360.000 | 59.950 | 2.200 | 1149.000 | 13447.000 | 17825.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 29/12/2022 07:46:39 (UTC-4:00) | Normal |  | 350.7 | 2.0 | 701 | 320.3 | 2.0 | 641 | 319.3 | 1.9 | 607 | 13.1 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1830.000 | 60.030 | 2.400 | 1149.000 | 13447.000 | 17825.000 | 35.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 29/12/2022 07:51:39 (UTC-4:00) | Normal |  | 350.7 | 1.9 | 666 | 316.2 | 2.0 | 632 | 315.2 | 1.9 | 599 | 17.2 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 8.4 | 0.0 | 0.0 | 1790.000 | 59.980 | 2.600 | 1149.000 | 13447.000 | 17825.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 29/12/2022 07:56:39 (UTC-4:00) | Normal |  | 348.8 | 1.7 | 593 | 318.4 | 1.8 | 573 | 317.4 | 1.6 | 508 | 11.1 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1570.000 | 59.990 | 2.700 | 1149.000 | 13447.000 | 17825.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 29/12/2022 08:01:39 (UTC-4:00) | Normal |  | 342.7 | 1.0 | 343 | 300.3 | 1.1 | 330 | 307.2 | 0.9 | 276 | 14.0 | 0.1 | 0 | 218.8 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 890.000 | 60.000 | 2.800 | 1149.000 | 13447.000 | 17825.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 29/12/2022 08:06:39 (UTC-4:00) | Normal |  | 340.9 | 1.5 | 511 | 306.4 | 1.5 | 460 | 305.4 | 1.4 | 428 | 13.0 | 0.1 | 0 | 219.1 | 0.0 | 0.0 | 6.1 | 0.0 | 0.0 | 1250.000 | 60.040 | 2.900 | 1149.000 | 13448.000 | 17826.000 | 36.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 29/12/2022 08:11:39 (UTC-4:00) | Normal |  | 356.7 | 3.8 | 1355 | 322.3 | 3.9 | 1257 | 317.4 | 3.8 | 1206 | 12.5 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 16.7 | 0.0 | 0.0 | 3680.000 | 59.980 | 3.100 | 1149.000 | 13448.000 | 17826.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 29/12/2022 08:16:43 (UTC-4:00) | Normal |  | 349.3 | 4.2 | 1467 | 318.8 | 4.3 | 1371 | 317.8 | 4.1 | 1303 | 10.3 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 4010.000 | 59.980 | 3.400 | 1150.000 | 13448.000 | 17826.000 | 40.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 29/12/2022 08:21:47 (UTC-4:00) | Normal |  | 342.6 | 6.0 | 2056 | 308.2 | 6.2 | 1911 | 307.0 | 5.9 | 1811 | 11.7 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5620.000 | 60.030 | 4.000 | 1150.000 | 13449.000 | 17827.000 | 45.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 29/12/2022 08:26:51 (UTC-4:00) | Normal |  | 345.0 | 5.9 | 2036 | 310.6 | 6.1 | 1895 | 313.6 | 5.8 | 1819 | 15.5 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 24.5 | 0.0 | 0.0 | 5540.000 | 59.970 | 4.300 | 1151.000 | 13449.000 | 17827.000 | 46.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 29/12/2022 08:31:55 (UTC-4:00) | Normal |  | 340.7 | 2.6 | 886 | 310.3 | 2.7 | 838 | 313.2 | 2.5 | 783 | 14.2 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 10.9 | 0.0 | 0.0 | 2400.000 | 59.980 | 4.600 | 1151.000 | 13449.000 | 17827.000 | 45.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 29/12/2022 08:36:58 (UTC-4:00) | Normal |  | 344.8 | 2.4 | 828 | 314.4 | 2.5 | 786 | 309.4 | 2.4 | 743 | 13.4 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2220.000 | 59.970 | 4.800 | 1151.000 | 13449.000 | 17827.000 | 43.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 29/12/2022 08:42:02 (UTC-4:00) | Normal |  | 346.5 | 2.0 | 693 | 316.1 | 2.1 | 664 | 311.1 | 2.0 | 622 | 12.4 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 8.6 | 0.0 | 0.0 | 1860.000 | 59.970 | 5.000 | 1151.000 | 13450.000 | 17828.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 29/12/2022 08:47:06 (UTC-4:00) | Normal |  | 350.9 | 2.7 | 947 | 312.5 | 2.9 | 906 | 315.5 | 2.7 | 852 | 16.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 11.8 | 0.0 | 0.0 | 2600.000 | 60.020 | 5.200 | 1152.000 | 13450.000 | 17828.000 | 41.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 29/12/2022 08:52:06 (UTC-4:00) | Normal |  | 348.5 | 2.5 | 871 | 322.1 | 2.6 | 837 | 317.2 | 2.5 | 793 | 14.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2370.000 | 60.010 | 5.300 | 1152.000 | 13450.000 | 17828.000 | 41.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 29/12/2022 08:57:06 (UTC-4:00) | Normal |  | 346.9 | 1.0 | 347 | 292.5 | 1.2 | 351 | 307.4 | 1.0 | 307 | 16.8 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 940.000 | 60.020 | 5.400 | 1152.000 | 13450.000 | 17828.000 | 39.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 29/12/2022 09:02:05 (UTC-4:00) | Normal |  | 362.9 | 2.7 | 980 | 316.7 | 2.9 | 918 | 319.6 | 2.7 | 863 | 16.8 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 12.1 | 0.0 | 0.0 | 2680.000 | 60.010 | 5.600 | 1152.000 | 13450.000 | 17828.000 | 39.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 29/12/2022 09:07:05 (UTC-4:00) | Normal |  | 352.6 | 3.8 | 1340 | 318.2 | 3.8 | 1209 | 317.2 | 3.7 | 1174 | 12.5 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3600.000 | 59.990 | 5.900 | 1152.000 | 13451.000 | 17829.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 29/12/2022 09:12:05 (UTC-4:00) | Normal |  | 346.9 | 3.3 | 1145 | 312.5 | 3.4 | 1063 | 311.5 | 3.3 | 1028 | 10.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3100.000 | 59.990 | 6.200 | 1153.000 | 13451.000 | 17829.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 29/12/2022 09:17:06 (UTC-4:00) | Normal |  | 345.2 | 3.8 | 1312 | 310.7 | 3.9 | 1212 | 313.6 | 3.7 | 1160 | 10.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3520.000 | 59.950 | 6.500 | 1153.000 | 13451.000 | 17829.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 29/12/2022 09:22:05 (UTC-4:00) | Normal |  | 344.6 | 4.1 | 1413 | 310.2 | 4.2 | 1303 | 309.2 | 4.0 | 1237 | 13.3 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 17.1 | 0.0 | 0.0 | 3810.000 | 60.020 | 6.800 | 1153.000 | 13451.000 | 17829.000 | 43.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 29/12/2022 09:27:05 (UTC-4:00) | Normal |  | 347.5 | 5.7 | 1981 | 317.0 | 5.7 | 1807 | 312.1 | 5.7 | 1779 | 11.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 23.9 | 0.0 | 0.0 | 5380.000 | 60.000 | 7.100 | 1153.000 | 13452.000 | 17830.000 | 44.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 29/12/2022 09:32:05 (UTC-4:00) | Normal |  | 340.3 | 8.4 | 2859 | 309.8 | 8.4 | 2602 | 304.7 | 8.3 | 2529 | 13.6 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 34.0 | 0.0 | 0.0 | 7690.000 | 60.010 | 7.600 | 1154.000 | 13452.000 | 17830.000 | 48.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 29/12/2022 09:37:05 (UTC-4:00) | Normal |  | 329.8 | 4.0 | 1319 | 291.3 | 4.2 | 1223 | 286.4 | 4.1 | 1174 | 15.3 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 16.3 | 0.0 | 0.0 | 3620.000 | 59.970 | 8.300 | 1155.000 | 13453.000 | 17831.000 | 52.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 29/12/2022 09:42:04 (UTC-4:00) | Normal |  | 334.6 | 2.3 | 770 | 300.3 | 2.4 | 721 | 303.3 | 2.2 | 667 | 13.8 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2050.000 | 59.990 | 8.500 | 1155.000 | 13453.000 | 17831.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 29/12/2022 09:47:05 (UTC-4:00) | Normal |  | 344.9 | 5.0 | 1725 | 314.5 | 5.0 | 1573 | 309.6 | 5.0 | 1548 | 12.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 21.0 | 0.0 | 0.0 | 4710.000 | 60.010 | 8.700 | 1155.000 | 13453.000 | 17831.000 | 46.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 29/12/2022 09:52:09 (UTC-4:00) | Normal |  | 340.5 | 3.6 | 1226 | 310.1 | 3.7 | 1147 | 305.1 | 3.6 | 1098 | 14.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3390.000 | 59.970 | 9.100 | 1155.000 | 13454.000 | 17832.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 29/12/2022 09:57:13 (UTC-4:00) | Normal |  | 340.7 | 5.5 | 1874 | 310.3 | 5.6 | 1738 | 305.4 | 5.5 | 1680 | 14.4 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 22.8 | 0.0 | 0.0 | 5120.000 | 60.000 | 9.400 | 1156.000 | 13454.000 | 17832.000 | 48.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 29/12/2022 10:02:17 (UTC-4:00) | Normal |  | 336.4 | 5.0 | 1682 | 305.9 | 5.1 | 1560 | 301.0 | 5.0 | 1505 | 12.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4580.000 | 60.000 | 9.900 | 1156.000 | 13455.000 | 17833.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 29/12/2022 10:07:17 (UTC-4:00) | Normal |  | 338.0 | 6.5 | 2197 | 303.7 | 6.7 | 2035 | 303.0 | 6.5 | 1970 | 11.8 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 26.8 | 0.0 | 0.0 | 6010.000 | 60.000 | 10.300 | 1157.000 | 13455.000 | 17833.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 29/12/2022 10:12:17 (UTC-4:00) | Normal |  | 331.9 | 6.6 | 2191 | 301.4 | 6.6 | 1989 | 300.2 | 6.5 | 1951 | 12.3 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 26.5 | 0.0 | 0.0 | 5940.000 | 59.970 | 10.800 | 1157.000 | 13455.000 | 17833.000 | 53.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 29/12/2022 10:17:16 (UTC-4:00) | Normal |  | 337.4 | 5.2 | 1754 | 298.8 | 5.4 | 1614 | 306.0 | 5.1 | 1561 | 15.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4800.000 | 59.970 | 11.200 | 1158.000 | 13456.000 | 17834.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 29/12/2022 10:22:16 (UTC-4:00) | Normal |  | 324.0 | 5.8 | 1879 | 297.6 | 5.9 | 1756 | 296.4 | 5.6 | 1660 | 15.8 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 23.0 | 0.0 | 0.0 | 5180.000 | 60.030 | 11.600 | 1158.000 | 13456.000 | 17834.000 | 52.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 29/12/2022 10:27:16 (UTC-4:00) | Normal |  | 336.6 | 5.6 | 1885 | 298.5 | 5.9 | 1761 | 297.4 | 5.6 | 1665 | 10.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.9 | 0.0 | 0.0 | 5160.000 | 60.010 | 12.000 | 1158.000 | 13457.000 | 17835.000 | 52.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 29/12/2022 10:32:15 (UTC-4:00) | Normal |  | 323.3 | 10.2 | 3298 | 292.8 | 10.2 | 2987 | 290.8 | 10.1 | 2937 | 10.9 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 39.4 | 0.0 | 0.0 | 8940.000 | 60.020 | 12.700 | 1159.000 | 13457.000 | 17835.000 | 55.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 29/12/2022 10:37:15 (UTC-4:00) | Normal |  | 319.2 | 6.3 | 2011 | 280.8 | 6.6 | 1853 | 276.2 | 6.5 | 1795 | 9.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 24.6 | 0.0 | 0.0 | 5500.000 | 60.000 | 13.300 | 1160.000 | 13458.000 | 17836.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 29/12/2022 10:42:15 (UTC-4:00) | Normal |  | 321.0 | 9.1 | 2921 | 282.8 | 9.4 | 2658 | 281.8 | 9.3 | 2621 | 9.2 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 34.8 | 0.0 | 0.0 | 7930.000 | 59.990 | 13.900 | 1160.000 | 13459.000 | 17837.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 29/12/2022 10:47:15 (UTC-4:00) | Normal |  | 316.4 | 8.9 | 2816 | 286.7 | 8.9 | 2552 | 296.6 | 8.3 | 2462 | 10.7 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 33.6 | 0.0 | 0.0 | 7580.000 | 60.010 | 14.400 | 1161.000 | 13459.000 | 17837.000 | 59.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 29/12/2022 10:52:15 (UTC-4:00) | Normal |  | 318.7 | 4.1 | 1307 | 284.4 | 4.3 | 1223 | 287.3 | 4.1 | 1178 | 12.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 15.9 | 0.0 | 0.0 | 3580.000 | 59.970 | 14.900 | 1161.000 | 13460.000 | 17838.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 29/12/2022 10:57:15 (UTC-4:00) | Normal |  | 322.8 | 6.6 | 2130 | 288.3 | 6.9 | 1989 | 291.3 | 6.6 | 1923 | 14.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5870.000 | 60.030 | 15.400 | 1162.000 | 13460.000 | 17838.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 29/12/2022 11:02:16 (UTC-4:00) | Normal |  | 322.8 | 4.0 | 1291 | 292.4 | 4.1 | 1199 | 295.3 | 3.9 | 1152 | 9.4 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3510.000 | 59.990 | 15.800 | 1162.000 | 13460.000 | 17838.000 | 57.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 29/12/2022 11:07:20 (UTC-4:00) | Normal |  | 338.4 | 3.0 | 1015 | 292.1 | 3.3 | 964 | 295.0 | 3.1 | 915 | 14.0 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2770.000 | 60.020 | 16.100 | 1162.000 | 13461.000 | 17839.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 29/12/2022 11:12:24 (UTC-4:00) | Normal |  | 338.7 | 3.3 | 1118 | 300.3 | 3.5 | 1051 | 303.3 | 3.3 | 1001 | 12.8 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3040.000 | 59.990 | 16.300 | 1163.000 | 13461.000 | 17839.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 29/12/2022 11:17:28 (UTC-4:00) | Normal |  | 342.8 | 4.0 | 1371 | 304.6 | 4.2 | 1279 | 299.6 | 4.1 | 1228 | 14.5 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 16.8 | 0.0 | 0.0 | 3730.000 | 59.970 | 16.600 | 1163.000 | 13461.000 | 17839.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 29/12/2022 11:22:32 (UTC-4:00) | Normal |  | 338.9 | 4.7 | 1593 | 300.4 | 4.8 | 1442 | 303.5 | 4.7 | 1426 | 15.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 19.3 | 0.0 | 0.0 | 4320.000 | 59.960 | 17.000 | 1163.000 | 13462.000 | 17840.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 29/12/2022 11:27:35 (UTC-4:00) | Normal |  | 338.6 | 3.7 | 1253 | 304.3 | 3.8 | 1156 | 303.3 | 3.7 | 1122 | 12.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3400.000 | 60.010 | 17.200 | 1164.000 | 13462.000 | 17840.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 29/12/2022 11:32:39 (UTC-4:00) | Normal |  | 333.1 | 3.0 | 999 | 306.6 | 3.1 | 950 | 305.5 | 2.9 | 886 | 13.3 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2740.000 | 60.010 | 17.500 | 1164.000 | 13462.000 | 17840.000 | 47.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 29/12/2022 11:37:43 (UTC-4:00) | Normal |  | 344.7 | 4.8 | 1655 | 306.4 | 5.0 | 1532 | 305.4 | 4.8 | 1466 | 10.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 20.1 | 0.0 | 0.0 | 4510.000 | 59.980 | 17.800 | 1164.000 | 13462.000 | 17840.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 29/12/2022 11:42:42 (UTC-4:00) | Normal |  | 336.8 | 5.8 | 1953 | 306.3 | 5.8 | 1777 | 301.6 | 5.9 | 1779 | 11.8 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 23.8 | 0.0 | 0.0 | 5340.000 | 60.010 | 18.100 | 1164.000 | 13463.000 | 17841.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 29/12/2022 11:47:42 (UTC-4:00) | Normal |  | 336.9 | 4.8 | 1617 | 298.5 | 5.0 | 1493 | 293.6 | 4.9 | 1439 | 10.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4440.000 | 59.990 | 18.500 | 1165.000 | 13463.000 | 17841.000 | 50.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 29/12/2022 11:52:42 (UTC-4:00) | Normal |  | 331.4 | 6.0 | 1988 | 297.0 | 6.1 | 1812 | 296.0 | 6.0 | 1776 | 11.2 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 24.1 | 0.0 | 0.0 | 5390.000 | 59.990 | 19.000 | 1165.000 | 13464.000 | 17842.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 29/12/2022 11:57:42 (UTC-4:00) | Normal |  | 328.8 | 4.2 | 1381 | 294.5 | 4.3 | 1266 | 297.4 | 4.1 | 1219 | 11.3 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 16.8 | 0.0 | 0.0 | 3750.000 | 59.980 | 19.300 | 1166.000 | 13464.000 | 17842.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 29/12/2022 12:02:42 (UTC-4:00) | Normal |  | 336.7 | 5.1 | 1717 | 294.2 | 5.5 | 1618 | 297.3 | 5.3 | 1576 | 9.6 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4740.000 | 60.000 | 19.800 | 1166.000 | 13464.000 | 17842.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 29/12/2022 12:07:41 (UTC-4:00) | Normal |  | 332.0 | 5.2 | 1726 | 286.0 | 5.6 | 1602 | 292.6 | 5.3 | 1551 | 15.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 21.1 | 0.0 | 0.0 | 4720.000 | 59.990 | 20.200 | 1167.000 | 13465.000 | 17843.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 29/12/2022 12:12:41 (UTC-4:00) | Normal |  | 323.1 | 4.4 | 1422 | 292.6 | 4.5 | 1317 | 295.5 | 4.3 | 1271 | 9.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3880.000 | 60.000 | 20.600 | 1167.000 | 13465.000 | 17843.000 | 52.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 29/12/2022 12:17:41 (UTC-4:00) | Normal |  | 322.5 | 7.7 | 2483 | 292.3 | 7.7 | 2251 | 287.1 | 7.7 | 2211 | 9.1 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 30.1 | 0.0 | 0.0 | 6750.000 | 59.990 | 21.200 | 1168.000 | 13466.000 | 17844.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 29/12/2022 12:22:41 (UTC-4:00) | Normal |  | 322.8 | 4.2 | 1356 | 288.4 | 4.4 | 1269 | 287.5 | 4.2 | 1208 | 9.2 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 16.7 | 0.0 | 0.0 | 3720.000 | 59.910 | 21.600 | 1168.000 | 13466.000 | 17844.000 | 55.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 29/12/2022 12:27:40 (UTC-4:00) | Normal |  | 326.8 | 2.2 | 719 | 292.4 | 2.3 | 673 | 287.4 | 2.2 | 632 | 12.7 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1920.000 | 59.930 | 21.800 | 1168.000 | 13466.000 | 17844.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 29/12/2022 12:32:40 (UTC-4:00) | Normal |  | 335.1 | 3.0 | 1005 | 296.8 | 3.2 | 950 | 303.6 | 2.9 | 880 | 13.4 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2750.000 | 59.960 | 22.000 | 1168.000 | 13467.000 | 17845.000 | 48.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 29/12/2022 12:37:43 (UTC-4:00) | Normal |  | 333.2 | 4.9 | 1633 | 298.7 | 5.0 | 1494 | 301.7 | 4.8 | 1448 | 15.4 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4440.000 | 59.990 | 22.300 | 1169.000 | 13467.000 | 17845.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 29/12/2022 12:42:47 (UTC-4:00) | Normal |  | 337.1 | 4.9 | 1652 | 302.5 | 5.0 | 1513 | 297.6 | 4.9 | 1458 | 9.4 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 20.1 | 0.0 | 0.0 | 4480.000 | 60.000 | 22.700 | 1169.000 | 13467.000 | 17845.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 29/12/2022 12:47:51 (UTC-4:00) | Normal |  | 328.5 | 5.3 | 1741 | 298.1 | 5.3 | 1580 | 297.1 | 5.2 | 1545 | 13.7 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 21.2 | 0.0 | 0.0 | 4730.000 | 59.960 | 23.100 | 1169.000 | 13468.000 | 17846.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 29/12/2022 12:52:54 (UTC-4:00) | Normal |  | 328.4 | 5.1 | 1675 | 298.1 | 5.2 | 1550 | 293.2 | 5.1 | 1495 | 13.1 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4620.000 | 59.980 | 23.500 | 1170.000 | 13468.000 | 17846.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 29/12/2022 12:57:58 (UTC-4:00) | Normal |  | 330.8 | 3.9 | 1290 | 296.5 | 4.0 | 1186 | 291.5 | 3.9 | 1137 | 15.7 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3510.000 | 59.960 | 23.800 | 1170.000 | 13468.000 | 17846.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 29/12/2022 13:02:58 (UTC-4:00) | Normal |  | 330.6 | 4.3 | 1422 | 296.3 | 4.5 | 1333 | 299.2 | 4.3 | 1287 | 15.4 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3900.000 | 60.030 | 24.100 | 1170.000 | 13469.000 | 17847.000 | 50.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 29/12/2022 13:07:58 (UTC-4:00) | Normal |  | 330.6 | 4.2 | 1389 | 300.3 | 4.3 | 1291 | 299.2 | 4.2 | 1257 | 15.0 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 17.2 | 0.0 | 0.0 | 3830.000 | 60.000 | 24.400 | 1171.000 | 13469.000 | 17847.000 | 49.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 29/12/2022 13:12:58 (UTC-4:00) | Normal |  | 334.6 | 4.2 | 1405 | 300.3 | 4.3 | 1291 | 299.2 | 4.1 | 1227 | 11.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 17.0 | 0.0 | 0.0 | 3790.000 | 59.950 | 24.700 | 1171.000 | 13469.000 | 17847.000 | 49.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 29/12/2022 13:17:57 (UTC-4:00) | Normal |  | 339.0 | 7.1 | 2407 | 304.5 | 7.2 | 2192 | 299.6 | 7.2 | 2157 | 10.1 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 29.2 | 0.0 | 0.0 | 6580.000 | 59.950 | 25.100 | 1171.000 | 13470.000 | 17848.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 29/12/2022 13:22:57 (UTC-4:00) | Normal |  | 322.4 | 5.7 | 1838 | 284.0 | 6.0 | 1704 | 290.9 | 5.6 | 1629 | 15.0 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 22.5 | 0.0 | 0.0 | 5040.000 | 59.980 | 25.700 | 1172.000 | 13470.000 | 17848.000 | 53.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 29/12/2022 13:25:02 (UTC-4:00) | Normal |  | 327.0 | 3.8 | 1243 | 292.6 | 4.0 | 1170 | 291.5 | 3.8 | 1108 | 13.8 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 15.5 | 0.0 | 0.0 | 3420.000 | 59.970 | 25.800 | 1172.000 | 13470.000 | 17848.000 | 53.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 29/12/2022 13:30:17 (UTC-4:00) | Normal |  | 305.6 | 6.6 | 2017 | 295.1 | 6.3 | 1859 | 282.2 | 6.4 | 1806 | 14.0 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5510.000 | 59.940 | 26.200 | 1173.000 | 13471.000 | 17849.000 | 52.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 29/12/2022 13:35:17 (UTC-4:00) | Normal |  | 308.7 | 9.7 | 2994 | 282.5 | 9.7 | 2740 | 281.4 | 9.6 | 2701 | 11.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 36.2 | 0.0 | 0.0 | 8170.000 | 59.930 | 26.700 | 1173.000 | 13471.000 | 17849.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 29/12/2022 13:40:16 (UTC-4:00) | Normal |  | 314.9 | 4.7 | 1480 | 284.2 | 4.4 | 1250 | 279.8 | 4.7 | 1315 | 15.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 17.5 | 0.0 | 0.0 | 3880.000 | 60.010 | 27.300 | 1174.000 | 13472.000 | 17850.000 | 57.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 29/12/2022 13:45:16 (UTC-4:00) | Normal |  | 299.9 | 5.3 | 1589 | 276.0 | 7.0 | 1932 | 268.5 | 5.1 | 1369 | 9.0 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 20.9 | 0.0 | 0.0 | 4870.000 | 60.030 | 27.900 | 1174.000 | 13473.000 | 17851.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 29/12/2022 13:50:16 (UTC-4:00) | Normal |  | 316.6 | 2.1 | 665 | 286.2 | 2.2 | 630 | 285.3 | 2.1 | 599 | 11.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1790.000 | 60.000 | 28.100 | 1174.000 | 13473.000 | 17851.000 | 53.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 29/12/2022 13:55:16 (UTC-4:00) | Normal |  | 319.9 | 2.5 | 800 | 297.4 | 2.5 | 744 | 288.6 | 2.5 | 722 | 12.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2170.000 | 60.030 | 28.300 | 1175.000 | 13473.000 | 17851.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 29/12/2022 14:00:20 (UTC-4:00) | Normal |  | 326.9 | 2.3 | 752 | 300.4 | 2.4 | 721 | 299.4 | 2.2 | 659 | 9.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2050.000 | 60.040 | 28.500 | 1175.000 | 13473.000 | 17851.000 | 49.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 29/12/2022 14:05:21 (UTC-4:00) | Normal |  | 335.0 | 2.5 | 838 | 300.7 | 2.6 | 782 | 303.7 | 2.4 | 729 | 15.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2230.000 | 60.010 | 28.700 | 1175.000 | 13473.000 | 17851.000 | 46.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 29/12/2022 14:10:23 (UTC-4:00) | Normal |  | 328.8 | 8.9 | 2926 | 302.3 | 8.9 | 2690 | 301.3 | 8.8 | 2651 | 13.8 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 35.4 | 0.0 | 0.0 | 8020.000 | 60.010 | 29.100 | 1175.000 | 13474.000 | 17852.000 | 49.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 29/12/2022 14:15:27 (UTC-4:00) | Normal |  | 325.4 | 7.4 | 2408 | 299.1 | 7.4 | 2213 | 294.0 | 7.4 | 2176 | 11.4 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 29.4 | 0.0 | 0.0 | 6620.000 | 59.990 | 29.500 | 1176.000 | 13474.000 | 17852.000 | 50.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 29/12/2022 14:20:31 (UTC-4:00) | Normal |  | 330.9 | 3.9 | 1291 | 284.5 | 4.2 | 1195 | 283.4 | 4.0 | 1134 | 15.7 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 15.6 | 0.0 | 0.0 | 3510.000 | 59.990 | 29.900 | 1176.000 | 13475.000 | 17853.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 29/12/2022 14:25:34 (UTC-4:00) | Normal |  | 319.7 | 5.5 | 1758 | 297.0 | 5.5 | 1634 | 303.9 | 5.2 | 1580 | 15.7 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4810.000 | 59.970 | 30.200 | 1177.000 | 13475.000 | 17853.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 29/12/2022 14:30:37 (UTC-4:00) | Normal |  | 317.0 | 6.8 | 2156 | 290.7 | 6.9 | 2006 | 297.2 | 6.5 | 1932 | 9.4 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5930.000 | 60.010 | 30.700 | 1177.000 | 13475.000 | 17853.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 29/12/2022 14:35:41 (UTC-4:00) | Normal |  | 320.6 | 6.3 | 2020 | 294.0 | 6.3 | 1852 | 285.3 | 6.4 | 1826 | 9.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 24.7 | 0.0 | 0.0 | 5540.000 | 60.060 | 31.200 | 1178.000 | 13476.000 | 17854.000 | 56.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 29/12/2022 14:40:44 (UTC-4:00) | Normal |  | 319.0 | 6.2 | 1978 | 292.4 | 6.3 | 1842 | 287.6 | 6.2 | 1783 | 14.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 24.2 | 0.0 | 0.0 | 5450.000 | 60.030 | 31.700 | 1178.000 | 13476.000 | 17854.000 | 55.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 29/12/2022 14:45:48 (UTC-4:00) | Normal |  | 310.8 | 2.1 | 653 | 288.3 | 2.1 | 605 | 283.3 | 2.0 | 567 | 13.3 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1740.000 | 59.980 | 32.100 | 1178.000 | 13477.000 | 17855.000 | 54.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 29/12/2022 14:50:51 (UTC-4:00) | Normal |  | 316.8 | 2.1 | 665 | 290.3 | 2.1 | 610 | 285.4 | 2.1 | 599 | 11.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1760.000 | 60.010 | 32.300 | 1179.000 | 13477.000 | 17855.000 | 52.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 29/12/2022 14:55:50 (UTC-4:00) | Normal |  | 320.6 | 2.0 | 641 | 294.1 | 2.1 | 618 | 293.1 | 1.9 | 557 | 12.2 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.2 | 0.0 | 0.0 | 1750.000 | 60.000 | 32.500 | 1179.000 | 13477.000 | 17855.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 29/12/2022 15:00:50 (UTC-4:00) | Normal |  | 327.0 | 2.3 | 752 | 300.6 | 2.4 | 721 | 295.6 | 2.3 | 680 | 14.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 9.4 | 0.0 | 0.0 | 2040.000 | 60.020 | 32.700 | 1179.000 | 13477.000 | 17855.000 | 47.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 29/12/2022 15:05:49 (UTC-4:00) | Normal |  | 326.7 | 1.6 | 523 | 300.3 | 1.6 | 480 | 291.3 | 1.5 | 437 | 10.2 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.030 | 32.800 | 1179.000 | 13477.000 | 17855.000 | 45.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 29/12/2022 15:10:49 (UTC-4:00) | Normal |  | 336.8 | 2.4 | 808 | 306.4 | 2.5 | 766 | 305.5 | 2.3 | 703 | 9.6 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2160.000 | 60.020 | 33.000 | 1179.000 | 13478.000 | 17856.000 | 44.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 29/12/2022 15:15:48 (UTC-4:00) | Normal |  | 336.3 | 5.4 | 1816 | 305.9 | 5.5 | 1682 | 300.9 | 5.4 | 1625 | 11.9 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 4990.000 | 60.000 | 33.400 | 1180.000 | 13478.000 | 17856.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 29/12/2022 15:20:48 (UTC-4:00) | Normal |  | 324.8 | 1.9 | 617 | 302.4 | 1.9 | 575 | 301.2 | 1.8 | 542 | 15.9 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1670.000 | 59.970 | 33.600 | 1180.000 | 13478.000 | 17856.000 | 45.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 29/12/2022 15:25:47 (UTC-4:00) | Normal |  | 340.6 | 2.7 | 920 | 310.0 | 2.8 | 868 | 309.0 | 2.6 | 803 | 14.8 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2540.000 | 59.960 | 33.700 | 1180.000 | 13478.000 | 17856.000 | 44.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 29/12/2022 15:30:47 (UTC-4:00) | Normal |  | 343.6 | 3.1 | 1065 | 309.3 | 3.2 | 990 | 304.1 | 3.1 | 943 | 14.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2870.000 | 59.990 | 34.000 | 1180.000 | 13479.000 | 17857.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 29/12/2022 15:35:46 (UTC-4:00) | Normal |  | 338.6 | 1.9 | 643 | 308.2 | 2.0 | 616 | 303.2 | 1.9 | 576 | 11.7 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1690.000 | 59.990 | 34.100 | 1180.000 | 13479.000 | 17857.000 | 43.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 29/12/2022 15:36:04 (UTC-4:00) | Normal |  | 334.8 | 1.9 | 636 | 312.4 | 1.9 | 594 | 303.4 | 1.8 | 546 | 10.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 7.9 | 0.0 | 0.0 | 1700.000 | 60.020 | 34.100 | 1180.000 | 13479.000 | 17857.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 29/12/2022 15:41:19 (UTC-4:00) | Normal |  | 345.1 | 3.1 | 1070 | 310.6 | 3.2 | 994 | 309.5 | 3.1 | 959 | 14.5 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2900.000 | 59.990 | 34.300 | 1181.000 | 13479.000 | 17857.000 | 42.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 29/12/2022 15:46:18 (UTC-4:00) | Normal |  | 338.8 | 2.2 | 745 | 308.3 | 2.3 | 709 | 303.4 | 2.2 | 667 | 12.1 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 2000.000 | 60.010 | 34.500 | 1181.000 | 13479.000 | 17857.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 29/12/2022 15:51:16 (UTC-4:00) | Normal |  | 341.0 | 2.4 | 818 | 310.6 | 2.5 | 777 | 305.6 | 2.4 | 733 | 9.7 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2190.000 | 60.010 | 34.700 | 1181.000 | 13479.000 | 17857.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 29/12/2022 15:56:15 (UTC-4:00) | Normal |  | 346.7 | 1.6 | 555 | 308.1 | 1.7 | 524 | 303.3 | 1.6 | 485 | 12.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 6.5 | 0.0 | 0.0 | 1370.000 | 60.010 | 34.800 | 1181.000 | 13479.000 | 17857.000 | 41.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 29/12/2022 16:01:14 (UTC-4:00) | Normal |  | 334.6 | 0.9 | 301 | 288.3 | 1.0 | 288 | 291.1 | 0.9 | 262 | 12.8 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 820.000 | 60.010 | 34.900 | 1181.000 | 13480.000 | 17858.000 | 40.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 29/12/2022 16:06:13 (UTC-4:00) | Normal |  | 334.9 | 0.8 | 268 | 296.6 | 0.9 | 267 | 291.6 | 0.8 | 233 | 12.7 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 4.0 | 0.0 | 0.0 | 670.000 | 59.970 | 35.000 | 1181.000 | 13480.000 | 17858.000 | 39.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 29/12/2022 16:11:15 (UTC-4:00) | Normal |  | 336.6 | 1.0 | 337 | 294.1 | 1.1 | 324 | 301.3 | 1.0 | 301 | 12.2 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 900.000 | 59.940 | 35.000 | 1181.000 | 13480.000 | 17858.000 | 38.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 29/12/2022 16:16:18 (UTC-4:00) | Normal |  | 330.6 | 1.3 | 430 | 304.2 | 1.4 | 426 | 299.0 | 1.3 | 389 | 16.5 | 0.1 | 0 | 219.4 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 59.960 | 35.100 | 1181.000 | 13480.000 | 17858.000 | 38.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 29/12/2022 16:21:20 (UTC-4:00) | Normal |  | 340.9 | 0.9 | 307 | 302.5 | 1.0 | 303 | 297.5 | 0.9 | 268 | 11.5 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 4.4 | 0.0 | 0.0 | 810.000 | 59.960 | 35.200 | 1182.000 | 13480.000 | 17858.000 | 38.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 29/12/2022 16:26:23 (UTC-4:00) | Normal |  | 340.5 | 1.0 | 341 | 298.1 | 1.1 | 328 | 300.9 | 0.9 | 271 | 16.1 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 4.7 | 0.0 | 0.0 | 910.000 | 59.970 | 35.300 | 1182.000 | 13480.000 | 17858.000 | 37.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 29/12/2022 16:31:22 (UTC-4:00) | Normal |  | 341.1 | 0.9 | 307 | 306.9 | 1.0 | 307 | 297.6 | 0.9 | 268 | 16.2 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 4.2 | 0.0 | 0.0 | 770.000 | 59.980 | 35.300 | 1182.000 | 13480.000 | 17858.000 | 37.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 29/12/2022 16:36:21 (UTC-4:00) | Normal |  | 340.5 | 0.9 | 306 | 305.8 | 1.0 | 306 | 296.9 | 0.9 | 267 | 12.0 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 810.000 | 60.020 | 35.400 | 1182.000 | 13480.000 | 17858.000 | 36.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 29/12/2022 16:41:20 (UTC-4:00) | Normal |  | 338.6 | 0.9 | 305 | 300.2 | 1.0 | 300 | 295.2 | 0.9 | 266 | 11.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 830.000 | 59.990 | 35.500 | 1182.000 | 13480.000 | 17858.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 29/12/2022 16:41:37 (UTC-4:00) | Normal |  | 343.0 | 0.9 | 309 | 300.6 | 1.1 | 331 | 295.9 | 1.0 | 296 | 13.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 840.000 | 60.000 | 35.500 | 1182.000 | 13480.000 | 17858.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 29/12/2022 16:46:52 (UTC-4:00) | Normal |  | 341.0 | 0.9 | 307 | 298.9 | 1.0 | 299 | 297.9 | 0.9 | 268 | 12.3 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 780.000 | 60.020 | 35.600 | 1182.000 | 13480.000 | 17858.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 29/12/2022 16:51:51 (UTC-4:00) | Normal |  | 345.1 | 1.0 | 345 | 294.6 | 1.1 | 324 | 306.1 | 1.0 | 306 | 16.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 950.000 | 59.990 | 35.600 | 1182.000 | 13480.000 | 17858.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 29/12/2022 16:56:50 (UTC-4:00) | Normal |  | 350.8 | 1.6 | 561 | 316.8 | 1.7 | 539 | 315.4 | 1.6 | 505 | 15.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1460.000 | 60.010 | 35.700 | 1182.000 | 13480.000 | 17858.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 29/12/2022 17:01:49 (UTC-4:00) | Normal |  | 333.0 | 0.8 | 266 | 302.5 | 0.9 | 272 | 298.0 | 0.8 | 238 | 17.3 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 3.9 | 0.0 | 0.0 | 720.000 | 60.030 | 35.800 | 1182.000 | 13480.000 | 17858.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 29/12/2022 17:06:48 (UTC-4:00) | Normal |  | 334.7 | 0.7 | 234 | 296.3 | 0.8 | 237 | 302.9 | 0.7 | 212 | 15.6 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 4.1 | 0.0 | 0.0 | 660.000 | 59.980 | 35.900 | 1182.000 | 13481.000 | 17859.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 29/12/2022 17:11:48 (UTC-4:00) | Normal |  | 333.3 | 0.5 | 167 | 306.8 | 0.5 | 153 | 301.3 | 0.4 | 121 | 17.0 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 390.000 | 59.950 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 29/12/2022 17:16:49 (UTC-4:00) | Normal |  | 326.8 | 0.4 | 131 | 300.3 | 0.4 | 120 | 295.2 | 0.3 | 89 | 10.3 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 280.000 | 59.960 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 29/12/2022 17:21:51 (UTC-4:00) | Normal |  | 316.6 | 0.3 | 95 | 298.3 | 0.3 | 89 | 289.1 | 0.2 | 58 | 12.4 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 210.000 | 59.980 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 34.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 29/12/2022 17:26:54 (UTC-4:00) | Normal |  | 318.1 | 0.2 | 64 | 299.8 | 0.2 | 60 | 282.9 | 0.2 | 57 | 12.2 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 150.000 | 60.000 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 29/12/2022 17:31:57 (UTC-4:00) | Normal |  | 303.2 | 0.1 | 30 | 281.4 | 0.2 | 56 | 274.9 | 0.1 | 27 | 17.4 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 60.010 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 29/12/2022 17:36:56 (UTC-4:00) | Normal |  | 302.9 | 0.1 | 30 | 281.9 | 0.2 | 56 | 270.9 | 0.1 | 27 | 11.9 | 0.1 | 0 | 219.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 60.000 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 29/12/2022 17:41:55 (UTC-4:00) | Normal |  | 298.0 | 0.1 | 30 | 269.6 | 0.1 | 27 | 271.5 | 0.1 | 27 | 15.4 | 0.1 | 0 | 218.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 33.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 29/12/2022 17:46:54 (UTC-4:00) | Normal |  | 292.6 | 0.1 | 29 | 269.6 | 0.1 | 27 | 264.0 | 0.1 | 26 | 13.5 | 0.1 | 0 | 218.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 29/12/2022 17:51:53 (UTC-4:00) | Normal |  | 288.4 | 0.1 | 29 | 269.6 | 0.1 | 27 | 256.2 | 0.1 | 26 | 17.4 | 0.1 | 0 | 218.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 29/12/2022 17:56:53 (UTC-4:00) | Normal |  | 277.2 | 0.1 | 28 | 269.6 | 0.1 | 27 | 250.7 | 0.1 | 25 | 17.5 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 29/12/2022 18:01:52 (UTC-4:00) | Normal |  | 264.0 | 0.1 | 26 | 269.6 | 0.1 | 27 | 237.7 | 0.1 | 24 | 17.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 29/12/2022 18:06:51 (UTC-4:00) | Normal |  | 248.1 | 0.1 | 25 | 265.4 | 0.1 | 27 | 227.7 | 0.1 | 23 | 10.3 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 29/12/2022 18:11:50 (UTC-4:00) | Normal |  | 210.8 | 0.1 | 21 | 232.2 | 0.1 | 23 | 194.8 | 0.1 | 19 | 17.1 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 29/12/2022 18:16:50 (UTC-4:00) | Normal |  | 176.2 | 0.1 | 18 | 161.7 | 0.1 | 16 | 140.7 | 0.1 | 14 | 17.5 | 0.1 | 0 | 218.9 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 36.000 | 1182.000 | 13481.000 | 17859.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0