## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125025502
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 30/12/2022 04:25:49 (UTC-4:00) | Normal |  | 150.2 | 0.1 | 15 | 152.4 | 0.1 | 15 | 148.2 | 0.1 | 15 | 0.9 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 60.060 | 0.000 | 1182.000 | 13481.000 | 17859.000 | 25.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 30/12/2022 04:30:50 (UTC-4:00) | Normal |  | 275.4 | 0.1 | 28 | 248.3 | 0.1 | 25 | 247.7 | 0.1 | 25 | 11.5 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.060 | 0.000 | 1182.000 | 13481.000 | 17859.000 | 25.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 30/12/2022 04:35:50 (UTC-4:00) | Normal |  | 286.1 | 0.1 | 29 | 257.7 | 0.1 | 26 | 257.2 | 0.1 | 26 | 17.1 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 0.000 | 1182.000 | 13481.000 | 17859.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 30/12/2022 04:40:53 (UTC-4:00) | Normal |  | 294.9 | 0.1 | 29 | 257.7 | 0.1 | 26 | 265.4 | 0.1 | 27 | 16.6 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 26.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 30/12/2022 04:45:57 (UTC-4:00) | Normal |  | 306.1 | 0.1 | 31 | 257.6 | 0.2 | 52 | 275.6 | 0.1 | 28 | 11.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 40.000 | 60.060 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 27.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 30/12/2022 04:51:01 (UTC-4:00) | Normal |  | 306.6 | 0.2 | 61 | 293.9 | 0.2 | 59 | 279.2 | 0.1 | 28 | 18.0 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 110.000 | 60.040 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 27.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 30/12/2022 04:56:05 (UTC-4:00) | Normal |  | 330.0 | 0.3 | 99 | 303.6 | 0.3 | 91 | 288.8 | 0.2 | 58 | 12.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 220.000 | 60.010 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 28.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 30/12/2022 05:01:09 (UTC-4:00) | Normal |  | 350.3 | 0.4 | 140 | 319.8 | 0.4 | 128 | 304.5 | 0.3 | 91 | 10.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 340.000 | 60.030 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 28.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 30/12/2022 05:06:13 (UTC-4:00) | Normal |  | 334.1 | 0.5 | 167 | 303.4 | 0.5 | 152 | 304.6 | 0.4 | 122 | 14.1 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 440.000 | 60.010 | 0.100 | 1182.000 | 13481.000 | 17859.000 | 29.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 30/12/2022 05:11:18 (UTC-4:00) | Normal |  | 342.3 | 0.4 | 137 | 307.6 | 0.4 | 123 | 301.0 | 0.3 | 90 | 11.6 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 290.000 | 60.020 | 0.200 | 1183.000 | 13481.000 | 17859.000 | 29.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 30/12/2022 05:16:22 (UTC-4:00) | Normal |  | 338.1 | 0.3 | 101 | 303.2 | 0.4 | 121 | 296.6 | 0.3 | 89 | 11.9 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 290.000 | 60.030 | 0.200 | 1183.000 | 13481.000 | 17859.000 | 29.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 30/12/2022 05:21:26 (UTC-4:00) | Normal |  | 330.3 | 0.3 | 99 | 311.6 | 0.3 | 93 | 296.9 | 0.2 | 59 | 10.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 260.000 | 60.030 | 0.200 | 1183.000 | 13481.000 | 17859.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 30/12/2022 05:26:26 (UTC-4:00) | Normal |  | 336.4 | 0.4 | 135 | 309.6 | 0.4 | 124 | 295.0 | 0.3 | 89 | 11.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 280.000 | 60.040 | 0.200 | 1183.000 | 13481.000 | 17859.000 | 30.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 30/12/2022 05:31:26 (UTC-4:00) | Normal |  | 350.8 | 0.4 | 140 | 312.1 | 0.5 | 156 | 305.3 | 0.4 | 122 | 16.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 350.000 | 60.070 | 0.300 | 1183.000 | 13481.000 | 17859.000 | 30.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 30/12/2022 05:36:26 (UTC-4:00) | Normal |  | 346.1 | 0.4 | 138 | 315.1 | 0.5 | 158 | 308.4 | 0.4 | 123 | 12.4 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.2 | 0.0 | 0.0 | 450.000 | 60.020 | 0.300 | 1183.000 | 13481.000 | 17859.000 | 30.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 30/12/2022 05:41:27 (UTC-4:00) | Normal |  | 346.4 | 0.5 | 173 | 303.6 | 0.6 | 182 | 297.1 | 0.5 | 149 | 10.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 480.000 | 60.060 | 0.300 | 1183.000 | 13481.000 | 17859.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 30/12/2022 05:46:26 (UTC-4:00) | Normal |  | 340.4 | 0.7 | 238 | 301.8 | 0.7 | 211 | 298.9 | 0.6 | 179 | 11.6 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 570.000 | 60.050 | 0.400 | 1183.000 | 13481.000 | 17859.000 | 31.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 30/12/2022 05:51:26 (UTC-4:00) | Normal |  | 356.2 | 0.9 | 321 | 313.7 | 1.0 | 314 | 310.8 | 0.9 | 280 | 13.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 860.000 | 60.070 | 0.400 | 1183.000 | 13481.000 | 17859.000 | 31.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 30/12/2022 05:56:27 (UTC-4:00) | Normal |  | 348.3 | 1.3 | 453 | 313.7 | 1.4 | 439 | 310.9 | 1.2 | 373 | 12.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 5.8 | 0.0 | 0.0 | 1180.000 | 60.100 | 0.500 | 1183.000 | 13481.000 | 17859.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 30/12/2022 06:01:27 (UTC-4:00) | Normal |  | 368.4 | 1.5 | 553 | 325.8 | 1.7 | 554 | 319.0 | 1.6 | 510 | 16.3 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1470.000 | 60.090 | 0.600 | 1183.000 | 13481.000 | 17859.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 30/12/2022 06:06:27 (UTC-4:00) | Normal |  | 356.4 | 1.0 | 356 | 313.7 | 1.1 | 345 | 295.0 | 1.1 | 325 | 15.8 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 5.1 | 0.0 | 0.0 | 1000.000 | 60.040 | 0.700 | 1183.000 | 13481.000 | 17859.000 | 33.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 30/12/2022 06:11:27 (UTC-4:00) | Normal |  | 364.2 | 1.5 | 546 | 321.6 | 1.7 | 547 | 318.9 | 1.6 | 510 | 14.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1410.000 | 60.030 | 0.800 | 1183.000 | 13481.000 | 17859.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 30/12/2022 06:11:38 (UTC-4:00) | Normal |  | 364.2 | 1.5 | 546 | 321.6 | 1.7 | 547 | 318.9 | 1.6 | 510 | 14.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 6.7 | 0.0 | 0.0 | 1410.000 | 60.030 | 0.800 | 1183.000 | 13481.000 | 17859.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 30/12/2022 06:16:27 (UTC-4:00) | Normal |  | 350.2 | 0.9 | 315 | 315.6 | 1.0 | 316 | 308.8 | 0.9 | 278 | 14.9 | 0.1 | 0 | 219.9 | 0.0 | 0.0 | 4.6 | 0.0 | 0.0 | 840.000 | 60.000 | 0.900 | 1183.000 | 13482.000 | 17860.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 30/12/2022 06:21:28 (UTC-4:00) | Normal |  | 350.2 | 1.0 | 350 | 311.6 | 1.1 | 343 | 304.8 | 1.0 | 305 | 12.9 | 0.1 | 0 | 219.6 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 59.980 | 1.000 | 1183.000 | 13482.000 | 17860.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 30/12/2022 06:26:32 (UTC-4:00) | Normal |  | 354.5 | 1.7 | 603 | 319.8 | 1.8 | 576 | 317.0 | 1.7 | 539 | 16.2 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 7.5 | 0.0 | 0.0 | 1600.000 | 60.000 | 1.100 | 1183.000 | 13482.000 | 17860.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 30/12/2022 06:31:36 (UTC-4:00) | Normal |  | 358.3 | 2.3 | 824 | 315.7 | 2.5 | 789 | 316.9 | 2.4 | 761 | 17.6 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2260.000 | 60.050 | 1.300 | 1184.000 | 13482.000 | 17860.000 | 34.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 30/12/2022 06:36:40 (UTC-4:00) | Normal |  | 358.4 | 2.7 | 968 | 312.0 | 2.9 | 905 | 321.1 | 2.7 | 867 | 17.6 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2650.000 | 60.000 | 1.500 | 1184.000 | 13482.000 | 17860.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 30/12/2022 06:41:40 (UTC-4:00) | Normal |  | 348.2 | 2.4 | 836 | 313.6 | 2.5 | 784 | 310.8 | 2.4 | 746 | 14.0 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 10.3 | 0.0 | 0.0 | 2290.000 | 60.050 | 1.600 | 1184.000 | 13482.000 | 17860.000 | 37.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 30/12/2022 06:46:40 (UTC-4:00) | Normal |  | 348.4 | 1.7 | 592 | 313.8 | 1.8 | 565 | 311.0 | 1.7 | 529 | 10.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 7.4 | 0.0 | 0.0 | 1560.000 | 60.030 | 1.800 | 1184.000 | 13482.000 | 17860.000 | 36.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 30/12/2022 06:51:40 (UTC-4:00) | Normal |  | 352.2 | 2.0 | 704 | 313.7 | 2.1 | 659 | 318.9 | 1.9 | 606 | 17.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1850.000 | 60.040 | 1.900 | 1184.000 | 13483.000 | 17861.000 | 36.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 30/12/2022 06:56:41 (UTC-4:00) | Normal |  | 356.3 | 2.7 | 962 | 317.7 | 2.9 | 921 | 318.8 | 2.7 | 861 | 16.3 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 11.8 | 0.0 | 0.0 | 2630.000 | 60.000 | 2.100 | 1184.000 | 13483.000 | 17861.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 30/12/2022 07:01:41 (UTC-4:00) | Normal |  | 357.3 | 6.5 | 2322 | 322.7 | 6.5 | 2098 | 319.8 | 6.4 | 2047 | 14.8 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 27.4 | 0.0 | 0.0 | 6220.000 | 59.980 | 2.400 | 1185.000 | 13483.000 | 17861.000 | 39.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 30/12/2022 07:06:41 (UTC-4:00) | Normal |  | 348.1 | 3.7 | 1288 | 309.6 | 3.9 | 1207 | 310.8 | 3.7 | 1150 | 11.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3540.000 | 59.960 | 2.800 | 1185.000 | 13483.000 | 17861.000 | 42.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 30/12/2022 07:11:41 (UTC-4:00) | Normal |  | 348.1 | 3.6 | 1253 | 309.7 | 3.8 | 1177 | 306.9 | 3.7 | 1136 | 12.5 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 15.3 | 0.0 | 0.0 | 3430.000 | 59.930 | 3.100 | 1185.000 | 13484.000 | 17862.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 30/12/2022 07:16:41 (UTC-4:00) | Normal |  | 344.2 | 3.8 | 1308 | 313.6 | 3.8 | 1192 | 306.8 | 3.8 | 1166 | 10.7 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3550.000 | 59.960 | 3.400 | 1186.000 | 13484.000 | 17862.000 | 43.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 30/12/2022 07:21:41 (UTC-4:00) | Normal |  | 344.2 | 3.5 | 1205 | 309.7 | 3.6 | 1115 | 306.9 | 3.5 | 1074 | 10.9 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3310.000 | 60.010 | 3.700 | 1186.000 | 13484.000 | 17862.000 | 43.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 30/12/2022 07:26:41 (UTC-4:00) | Normal |  | 344.3 | 3.1 | 1067 | 305.9 | 3.3 | 1009 | 303.0 | 3.1 | 939 | 11.3 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 13.0 | 0.0 | 0.0 | 2910.000 | 60.060 | 3.900 | 1186.000 | 13485.000 | 17863.000 | 43.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 30/12/2022 07:31:41 (UTC-4:00) | Normal |  | 344.4 | 3.4 | 1171 | 309.8 | 3.5 | 1084 | 311.0 | 3.3 | 1026 | 10.1 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 14.1 | 0.0 | 0.0 | 3160.000 | 60.050 | 4.200 | 1187.000 | 13485.000 | 17863.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 30/12/2022 07:36:41 (UTC-4:00) | Normal |  | 346.2 | 3.2 | 1108 | 315.6 | 3.3 | 1041 | 304.9 | 3.2 | 976 | 17.0 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 13.5 | 0.0 | 0.0 | 3000.000 | 60.050 | 4.400 | 1187.000 | 13485.000 | 17863.000 | 43.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 30/12/2022 07:41:46 (UTC-4:00) | Normal |  | 346.1 | 2.6 | 900 | 315.5 | 2.6 | 820 | 312.7 | 2.5 | 782 | 15.4 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2400.000 | 60.070 | 4.700 | 1187.000 | 13485.000 | 17863.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 30/12/2022 07:46:50 (UTC-4:00) | Normal |  | 342.2 | 2.1 | 719 | 307.6 | 2.2 | 677 | 308.7 | 2.0 | 617 | 12.2 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 8.8 | 0.0 | 0.0 | 1920.000 | 60.040 | 4.900 | 1187.000 | 13486.000 | 17864.000 | 41.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 30/12/2022 07:51:54 (UTC-4:00) | Normal |  | 350.3 | 3.0 | 1051 | 315.8 | 3.1 | 979 | 313.0 | 2.9 | 908 | 11.7 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 12.7 | 0.0 | 0.0 | 2820.000 | 60.050 | 5.100 | 1187.000 | 13486.000 | 17864.000 | 41.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 30/12/2022 07:56:54 (UTC-4:00) | Normal |  | 348.3 | 3.5 | 1219 | 313.7 | 3.6 | 1129 | 310.9 | 3.5 | 1088 | 10.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 14.6 | 0.0 | 0.0 | 3280.000 | 60.030 | 5.300 | 1188.000 | 13486.000 | 17864.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 30/12/2022 08:01:54 (UTC-4:00) | Normal |  | 346.1 | 3.6 | 1246 | 311.5 | 3.7 | 1153 | 308.7 | 3.6 | 1111 | 12.3 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3380.000 | 60.030 | 5.600 | 1188.000 | 13486.000 | 17864.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 30/12/2022 08:06:54 (UTC-4:00) | Normal |  | 338.3 | 2.3 | 778 | 311.6 | 2.4 | 748 | 308.8 | 2.3 | 710 | 16.5 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 9.8 | 0.0 | 0.0 | 2130.000 | 60.030 | 5.800 | 1188.000 | 13486.000 | 17864.000 | 42.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 30/12/2022 08:11:54 (UTC-4:00) | Normal |  | 344.6 | 3.1 | 1068 | 313.9 | 3.2 | 1004 | 311.1 | 3.1 | 964 | 9.9 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 13.3 | 0.0 | 0.0 | 2940.000 | 60.020 | 6.000 | 1188.000 | 13487.000 | 17865.000 | 42.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 30/12/2022 08:16:54 (UTC-4:00) | Normal |  | 340.0 | 4.7 | 1598 | 317.2 | 4.6 | 1459 | 310.4 | 4.6 | 1428 | 14.4 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 19.5 | 0.0 | 0.0 | 4370.000 | 59.980 | 6.400 | 1189.000 | 13487.000 | 17865.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 30/12/2022 08:21:55 (UTC-4:00) | Normal |  | 344.0 | 3.8 | 1307 | 309.4 | 3.9 | 1207 | 302.8 | 3.8 | 1151 | 10.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 16.0 | 0.0 | 0.0 | 3530.000 | 59.980 | 6.700 | 1189.000 | 13487.000 | 17865.000 | 45.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 30/12/2022 08:26:55 (UTC-4:00) | Normal |  | 336.4 | 2.1 | 706 | 305.8 | 2.2 | 673 | 303.0 | 2.0 | 606 | 10.1 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 8.7 | 0.0 | 0.0 | 1870.000 | 60.010 | 7.000 | 1189.000 | 13488.000 | 17866.000 | 44.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 30/12/2022 08:31:55 (UTC-4:00) | Normal |  | 344.2 | 2.6 | 895 | 313.6 | 2.7 | 847 | 310.9 | 2.5 | 777 | 12.8 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 11.0 | 0.0 | 0.0 | 2410.000 | 59.960 | 7.200 | 1190.000 | 13488.000 | 17866.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 30/12/2022 08:36:55 (UTC-4:00) | Normal |  | 344.4 | 2.7 | 930 | 309.9 | 2.8 | 868 | 314.8 | 2.6 | 818 | 16.6 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2520.000 | 59.990 | 7.400 | 1190.000 | 13488.000 | 17866.000 | 42.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 30/12/2022 08:41:56 (UTC-4:00) | Normal |  | 344.4 | 3.2 | 1102 | 309.8 | 3.3 | 1022 | 307.0 | 3.2 | 982 | 16.6 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3000.000 | 60.020 | 7.600 | 1190.000 | 13488.000 | 17866.000 | 42.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 30/12/2022 08:46:55 (UTC-4:00) | Normal |  | 346.3 | 3.0 | 1039 | 307.9 | 3.1 | 954 | 305.1 | 3.0 | 915 | 12.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2810.000 | 60.000 | 7.800 | 1190.000 | 13488.000 | 17866.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 30/12/2022 08:51:58 (UTC-4:00) | Normal |  | 342.7 | 4.4 | 1508 | 308.1 | 4.5 | 1386 | 305.3 | 4.4 | 1343 | 16.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 18.2 | 0.0 | 0.0 | 4080.000 | 59.930 | 8.200 | 1191.000 | 13489.000 | 17867.000 | 45.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 30/12/2022 08:52:30 (UTC-4:00) | Normal |  | 342.5 | 4.3 | 1473 | 307.8 | 4.4 | 1354 | 305.0 | 4.3 | 1312 | 15.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 17.8 | 0.0 | 0.0 | 3990.000 | 59.980 | 8.200 | 1191.000 | 13489.000 | 17867.000 | 45.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 30/12/2022 08:57:48 (UTC-4:00) | Normal |  | 338.6 | 4.4 | 1490 | 304.0 | 4.5 | 1368 | 301.3 | 4.4 | 1326 | 9.8 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 18.1 | 0.0 | 0.0 | 4020.000 | 59.960 | 8.600 | 1191.000 | 13489.000 | 17867.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 30/12/2022 09:02:48 (UTC-4:00) | Normal |  | 336.8 | 5.4 | 1819 | 302.3 | 5.6 | 1693 | 303.3 | 5.4 | 1638 | 13.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.2 | 0.0 | 0.0 | 4980.000 | 60.000 | 8.900 | 1191.000 | 13490.000 | 17868.000 | 46.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 30/12/2022 09:07:47 (UTC-4:00) | Normal |  | 342.1 | 10.2 | 3489 | 313.8 | 10.2 | 3201 | 308.4 | 10.2 | 3146 | 12.9 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 41.8 | 0.0 | 0.0 | 9480.000 | 60.040 | 9.400 | 1192.000 | 13490.000 | 17868.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 30/12/2022 09:12:47 (UTC-4:00) | Normal |  | 329.9 | 4.9 | 1617 | 291.6 | 5.1 | 1487 | 292.5 | 4.9 | 1433 | 15.2 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 19.7 | 0.0 | 0.0 | 4380.000 | 59.980 | 9.900 | 1192.000 | 13491.000 | 17869.000 | 52.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 30/12/2022 09:17:46 (UTC-4:00) | Normal |  | 328.0 | 5.3 | 1738 | 297.4 | 5.4 | 1606 | 294.6 | 5.2 | 1532 | 10.9 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 21.1 | 0.0 | 0.0 | 4720.000 | 59.950 | 10.300 | 1193.000 | 13491.000 | 17869.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 30/12/2022 09:18:04 (UTC-4:00) | Normal |  | 330.3 | 5.4 | 1784 | 292.1 | 5.6 | 1636 | 289.3 | 5.5 | 1591 | 15.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 21.7 | 0.0 | 0.0 | 4840.000 | 59.960 | 10.300 | 1193.000 | 13491.000 | 17869.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 30/12/2022 09:23:19 (UTC-4:00) | Normal |  | 324.5 | 5.4 | 1752 | 293.9 | 5.5 | 1616 | 291.1 | 5.4 | 1572 | 15.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 21.5 | 0.0 | 0.0 | 4810.000 | 59.970 | 10.700 | 1193.000 | 13491.000 | 17869.000 | 51.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 30/12/2022 09:28:18 (UTC-4:00) | Normal |  | 328.2 | 5.3 | 1739 | 293.5 | 5.5 | 1614 | 290.7 | 5.4 | 1570 | 9.6 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 21.4 | 0.0 | 0.0 | 4790.000 | 59.940 | 11.200 | 1194.000 | 13492.000 | 17870.000 | 52.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 30/12/2022 09:33:18 (UTC-4:00) | Normal |  | 330.7 | 4.9 | 1620 | 300.2 | 5.0 | 1501 | 289.2 | 5.0 | 1446 | 14.1 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4430.000 | 59.980 | 11.500 | 1194.000 | 13492.000 | 17870.000 | 51.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 30/12/2022 09:38:18 (UTC-4:00) | Normal |  | 328.6 | 4.7 | 1544 | 302.0 | 4.7 | 1419 | 295.2 | 4.6 | 1358 | 9.5 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4200.000 | 59.920 | 11.900 | 1194.000 | 13493.000 | 17871.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 30/12/2022 09:43:18 (UTC-4:00) | Normal |  | 330.6 | 4.3 | 1422 | 300.1 | 4.4 | 1320 | 297.3 | 4.3 | 1278 | 15.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3900.000 | 59.970 | 12.300 | 1195.000 | 13493.000 | 17871.000 | 51.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 30/12/2022 09:48:18 (UTC-4:00) | Normal |  | 330.3 | 4.4 | 1453 | 299.8 | 4.5 | 1349 | 296.7 | 4.3 | 1276 | 10.8 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 17.4 | 0.0 | 0.0 | 3950.000 | 59.960 | 12.600 | 1195.000 | 13493.000 | 17871.000 | 50.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 30/12/2022 09:53:17 (UTC-4:00) | Normal |  | 331.9 | 4.8 | 1593 | 297.1 | 5.0 | 1486 | 302.2 | 4.7 | 1420 | 14.0 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 19.5 | 0.0 | 0.0 | 4400.000 | 60.000 | 13.000 | 1195.000 | 13494.000 | 17872.000 | 50.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 30/12/2022 09:58:20 (UTC-4:00) | Normal |  | 330.1 | 5.3 | 1750 | 299.2 | 5.4 | 1616 | 296.4 | 5.3 | 1571 | 12.5 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 21.3 | 0.0 | 0.0 | 4810.000 | 59.990 | 13.400 | 1196.000 | 13494.000 | 17872.000 | 50.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 30/12/2022 10:03:24 (UTC-4:00) | Normal |  | 329.9 | 4.9 | 1617 | 295.4 | 5.1 | 1507 | 288.6 | 5.0 | 1443 | 10.8 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 19.9 | 0.0 | 0.0 | 4460.000 | 59.970 | 13.800 | 1196.000 | 13494.000 | 17872.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 30/12/2022 10:08:27 (UTC-4:00) | Normal |  | 327.9 | 5.2 | 1705 | 293.8 | 5.4 | 1587 | 291.0 | 5.2 | 1513 | 12.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4670.000 | 59.970 | 14.100 | 1196.000 | 13495.000 | 17873.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 30/12/2022 10:08:38 (UTC-4:00) | Normal |  | 327.9 | 5.2 | 1705 | 293.8 | 5.4 | 1587 | 291.0 | 5.2 | 1513 | 12.1 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 20.6 | 0.0 | 0.0 | 4670.000 | 59.970 | 14.100 | 1196.000 | 13495.000 | 17873.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 30/12/2022 10:13:34 (UTC-4:00) | Normal |  | 345.2 | 10.2 | 3521 | 312.9 | 10.2 | 3192 | 308.9 | 10.2 | 3151 | 11.4 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 41.8 | 0.0 | 0.0 | 9510.000 | 60.000 | 14.600 | 1197.000 | 13495.000 | 17873.000 | 52.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 30/12/2022 10:18:34 (UTC-4:00) | Normal |  | 303.8 | 10.1 | 3068 | 274.6 | 10.2 | 2801 | 270.6 | 10.2 | 2760 | 11.1 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 36.6 | 0.0 | 0.0 | 8330.000 | 59.960 | 15.400 | 1198.000 | 13496.000 | 17874.000 | 58.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 30/12/2022 10:23:37 (UTC-4:00) | Normal |  | 300.8 | 9.6 | 2888 | 269.8 | 9.8 | 2644 | 271.3 | 9.5 | 2577 | 8.7 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7830.000 | 59.980 | 16.000 | 1198.000 | 13497.000 | 17875.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 30/12/2022 10:28:40 (UTC-4:00) | Normal |  | 298.7 | 9.0 | 2688 | 272.0 | 9.1 | 2475 | 269.2 | 9.0 | 2423 | 13.1 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 32.4 | 0.0 | 0.0 | 7350.000 | 59.990 | 16.700 | 1199.000 | 13497.000 | 17875.000 | 62.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 30/12/2022 10:33:44 (UTC-4:00) | Normal |  | 296.9 | 8.7 | 2583 | 270.2 | 8.8 | 2378 | 267.4 | 8.7 | 2326 | 8.7 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 30.9 | 0.0 | 0.0 | 7010.000 | 60.010 | 17.300 | 1200.000 | 13498.000 | 17876.000 | 63.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 30/12/2022 10:38:47 (UTC-4:00) | Normal |  | 295.7 | 9.8 | 2898 | 269.1 | 9.9 | 2664 | 266.3 | 9.7 | 2583 | 9.3 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7860.000 | 60.000 | 18.000 | 1200.000 | 13499.000 | 17877.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 30/12/2022 10:43:50 (UTC-4:00) | Normal |  | 294.2 | 9.6 | 2824 | 267.5 | 9.7 | 2595 | 264.7 | 9.5 | 2515 | 12.8 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 33.9 | 0.0 | 0.0 | 7660.000 | 60.000 | 18.600 | 1201.000 | 13499.000 | 17877.000 | 64.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 30/12/2022 10:48:53 (UTC-4:00) | Normal |  | 291.3 | 9.4 | 2738 | 265.9 | 9.5 | 2526 | 261.9 | 9.4 | 2462 | 9.4 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 32.8 | 0.0 | 0.0 | 7450.000 | 60.010 | 19.300 | 1202.000 | 13500.000 | 17878.000 | 65.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 30/12/2022 10:53:57 (UTC-4:00) | Normal |  | 289.3 | 9.4 | 2719 | 268.4 | 9.4 | 2523 | 265.6 | 9.2 | 2444 | 8.5 | 0.1 | 0 | 223.8 | 0.0 | 0.0 | 32.8 | 0.0 | 0.0 | 7440.000 | 59.980 | 19.900 | 1202.000 | 13501.000 | 17879.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 30/12/2022 10:59:00 (UTC-4:00) | Normal |  | 287.8 | 9.5 | 2734 | 261.2 | 9.6 | 2508 | 263.4 | 9.3 | 2450 | 9.9 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7440.000 | 59.990 | 20.500 | 1203.000 | 13501.000 | 17879.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 30/12/2022 10:59:11 (UTC-4:00) | Normal |  | 287.8 | 9.5 | 2734 | 261.2 | 9.6 | 2508 | 263.4 | 9.3 | 2450 | 9.9 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 32.7 | 0.0 | 0.0 | 7440.000 | 59.990 | 20.500 | 1203.000 | 13501.000 | 17879.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 30/12/2022 11:04:03 (UTC-4:00) | Normal |  | 285.9 | 9.7 | 2773 | 259.4 | 9.8 | 2542 | 260.7 | 9.5 | 2477 | 11.4 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7500.000 | 60.020 | 21.100 | 1203.000 | 13502.000 | 17880.000 | 65.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 30/12/2022 11:09:07 (UTC-4:00) | Normal |  | 289.9 | 9.3 | 2696 | 263.3 | 9.4 | 2475 | 260.6 | 9.3 | 2424 | 11.4 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 32.3 | 0.0 | 0.0 | 7330.000 | 60.000 | 21.800 | 1204.000 | 13502.000 | 17880.000 | 66.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 30/12/2022 11:14:10 (UTC-4:00) | Normal |  | 288.5 | 9.6 | 2770 | 254.3 | 9.9 | 2518 | 255.4 | 9.7 | 2477 | 11.4 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7480.000 | 60.000 | 22.400 | 1205.000 | 13503.000 | 17881.000 | 66.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 30/12/2022 11:19:13 (UTC-4:00) | Normal |  | 286.0 | 9.7 | 2774 | 251.9 | 10.0 | 2519 | 253.1 | 9.8 | 2480 | 9.7 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7490.000 | 60.010 | 23.000 | 1205.000 | 13504.000 | 17882.000 | 66.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 30/12/2022 11:24:16 (UTC-4:00) | Normal |  | 286.6 | 9.5 | 2723 | 256.0 | 9.7 | 2483 | 257.1 | 9.5 | 2442 | 9.2 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 32.3 | 0.0 | 0.0 | 7390.000 | 59.970 | 23.700 | 1206.000 | 13504.000 | 17882.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 30/12/2022 11:29:16 (UTC-4:00) | Normal |  | 286.0 | 9.7 | 2774 | 259.3 | 9.7 | 2515 | 256.6 | 9.6 | 2463 | 9.3 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7460.000 | 59.980 | 24.200 | 1207.000 | 13505.000 | 17883.000 | 66.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 30/12/2022 11:34:15 (UTC-4:00) | Normal |  | 282.0 | 10.1 | 2848 | 254.8 | 10.2 | 2599 | 256.5 | 9.9 | 2539 | 9.4 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 34.0 | 0.0 | 0.0 | 7710.000 | 59.960 | 24.800 | 1207.000 | 13505.000 | 17883.000 | 67.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 30/12/2022 11:39:14 (UTC-4:00) | Normal |  | 286.3 | 10.2 | 2920 | 260.2 | 10.2 | 2654 | 255.8 | 10.2 | 2609 | 12.0 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7840.000 | 59.990 | 25.500 | 1208.000 | 13506.000 | 17884.000 | 68.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 30/12/2022 11:44:14 (UTC-4:00) | Normal |  | 280.1 | 9.9 | 2773 | 253.3 | 10.0 | 2533 | 241.3 | 10.2 | 2461 | 8.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 33.2 | 0.0 | 0.0 | 7500.000 | 59.990 | 26.100 | 1208.000 | 13507.000 | 17885.000 | 68.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 30/12/2022 11:49:13 (UTC-4:00) | Normal |  | 282.7 | 10.0 | 2827 | 256.1 | 10.0 | 2561 | 257.1 | 9.8 | 2520 | 7.9 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 33.6 | 0.0 | 0.0 | 7630.000 | 59.990 | 26.700 | 1209.000 | 13507.000 | 17885.000 | 68.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 30/12/2022 11:54:12 (UTC-4:00) | Normal |  | 282.9 | 10.2 | 2886 | 256.3 | 10.2 | 2614 | 252.7 | 10.2 | 2578 | 8.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7790.000 | 59.960 | 27.400 | 1210.000 | 13508.000 | 17886.000 | 68.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 30/12/2022 11:59:12 (UTC-4:00) | Normal |  | 280.0 | 10.0 | 2800 | 249.1 | 10.2 | 2541 | 250.8 | 9.9 | 2483 | 11.5 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 33.3 | 0.0 | 0.0 | 7530.000 | 60.010 | 28.000 | 1210.000 | 13509.000 | 17887.000 | 68.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 30/12/2022 12:04:11 (UTC-4:00) | Normal |  | 284.4 | 9.5 | 2702 | 253.9 | 9.7 | 2463 | 255.0 | 9.5 | 2423 | 8.9 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 32.3 | 0.0 | 0.0 | 7320.000 | 59.950 | 28.600 | 1211.000 | 13509.000 | 17887.000 | 68.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 30/12/2022 12:09:10 (UTC-4:00) | Normal |  | 288.0 | 9.6 | 2765 | 257.6 | 9.8 | 2524 | 254.8 | 9.7 | 2472 | 10.5 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7500.000 | 59.980 | 29.300 | 1212.000 | 13510.000 | 17888.000 | 68.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 30/12/2022 12:14:12 (UTC-4:00) | Normal |  | 293.2 | 2.1 | 616 | 253.9 | 2.3 | 584 | 259.3 | 2.2 | 570 | 8.7 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 7.7 | 0.0 | 0.0 | 1650.000 | 59.980 | 29.800 | 1212.000 | 13510.000 | 17888.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 30/12/2022 12:19:11 (UTC-4:00) | Normal |  | 296.6 | 3.8 | 1127 | 270.1 | 4.3 | 1161 | 266.9 | 3.4 | 907 | 8.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 13.9 | 0.0 | 0.0 | 3050.000 | 59.960 | 30.400 | 1213.000 | 13511.000 | 17889.000 | 66.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 30/12/2022 12:24:10 (UTC-4:00) | Normal |  | 290.8 | 9.9 | 2879 | 260.1 | 9.9 | 2575 | 261.3 | 9.8 | 2561 | 12.1 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 34.1 | 0.0 | 0.0 | 7720.000 | 59.950 | 31.000 | 1213.000 | 13512.000 | 17890.000 | 66.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 30/12/2022 12:29:13 (UTC-4:00) | Normal |  | 286.3 | 9.9 | 2834 | 255.7 | 10.0 | 2557 | 260.6 | 9.7 | 2528 | 12.9 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 33.8 | 0.0 | 0.0 | 7630.000 | 59.950 | 31.600 | 1214.000 | 13512.000 | 17890.000 | 67.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 30/12/2022 12:34:16 (UTC-4:00) | Normal |  | 283.0 | 8.9 | 2519 | 252.6 | 8.8 | 2223 | 253.5 | 8.4 | 2129 | 12.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 29.4 | 0.0 | 0.0 | 6650.000 | 59.960 | 32.200 | 1215.000 | 13513.000 | 17891.000 | 67.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 30/12/2022 12:39:19 (UTC-4:00) | Normal |  | 283.0 | 9.8 | 2773 | 260.0 | 9.7 | 2522 | 253.6 | 9.8 | 2485 | 11.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7480.000 | 59.980 | 32.900 | 1215.000 | 13514.000 | 17892.000 | 68.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 30/12/2022 12:39:44 (UTC-4:00) | Normal |  | 283.0 | 9.8 | 2773 | 260.0 | 9.7 | 2522 | 253.6 | 9.8 | 2485 | 11.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7480.000 | 59.980 | 32.900 | 1215.000 | 13514.000 | 17892.000 | 68.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 30/12/2022 12:44:23 (UTC-4:00) | Normal |  | 290.5 | 2.5 | 726 | 263.8 | 2.5 | 660 | 261.1 | 2.4 | 627 | 10.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 8.6 | 0.0 | 0.0 | 1910.000 | 60.000 | 33.300 | 1216.000 | 13514.000 | 17892.000 | 64.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 30/12/2022 12:49:26 (UTC-4:00) | Normal |  | 312.0 | 3.4 | 1061 | 281.3 | 3.5 | 985 | 282.6 | 3.4 | 961 | 10.9 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 12.8 | 0.0 | 0.0 | 2890.000 | 59.990 | 33.500 | 1216.000 | 13514.000 | 17892.000 | 59.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 30/12/2022 12:54:29 (UTC-4:00) | Normal |  | 314.4 | 2.3 | 723 | 287.8 | 2.4 | 691 | 285.0 | 2.3 | 656 | 13.4 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 8.9 | 0.0 | 0.0 | 1950.000 | 60.040 | 33.700 | 1216.000 | 13514.000 | 17892.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 30/12/2022 12:59:33 (UTC-4:00) | Normal |  | 322.3 | 2.1 | 677 | 291.8 | 2.2 | 642 | 296.9 | 2.0 | 594 | 10.5 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1810.000 | 60.010 | 33.900 | 1216.000 | 13515.000 | 17893.000 | 52.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 30/12/2022 13:04:36 (UTC-4:00) | Normal |  | 328.4 | 2.2 | 722 | 297.8 | 2.3 | 685 | 294.9 | 2.2 | 649 | 12.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 9.0 | 0.0 | 0.0 | 1950.000 | 60.030 | 34.000 | 1216.000 | 13515.000 | 17893.000 | 49.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 30/12/2022 13:09:39 (UTC-4:00) | Normal |  | 329.8 | 9.3 | 3067 | 295.3 | 9.4 | 2776 | 296.5 | 9.2 | 2728 | 14.2 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 36.8 | 0.0 | 0.0 | 8310.000 | 60.000 | 34.300 | 1217.000 | 13515.000 | 17893.000 | 51.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 30/12/2022 13:14:42 (UTC-4:00) | Normal |  | 319.1 | 8.1 | 2585 | 288.9 | 7.6 | 2196 | 285.7 | 7.8 | 2228 | 9.5 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 30.4 | 0.0 | 0.0 | 6760.000 | 59.990 | 34.900 | 1217.000 | 13516.000 | 17894.000 | 57.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 30/12/2022 13:19:46 (UTC-4:00) | Normal |  | 312.3 | 2.2 | 687 | 285.7 | 2.3 | 657 | 286.8 | 2.1 | 602 | 12.0 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 8.7 | 0.0 | 0.0 | 1850.000 | 59.960 | 35.200 | 1218.000 | 13516.000 | 17894.000 | 54.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 30/12/2022 13:24:49 (UTC-4:00) | Normal |  | 312.9 | 9.5 | 2973 | 293.5 | 9.1 | 2671 | 279.4 | 9.2 | 2570 | 13.3 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 35.3 | 0.0 | 0.0 | 7950.000 | 60.000 | 35.700 | 1218.000 | 13516.000 | 17894.000 | 55.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 30/12/2022 13:29:52 (UTC-4:00) | Normal |  | 324.1 | 2.1 | 681 | 293.5 | 2.1 | 616 | 290.7 | 2.0 | 581 | 10.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 8.3 | 0.0 | 0.0 | 1790.000 | 60.020 | 35.900 | 1218.000 | 13517.000 | 17895.000 | 52.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 30/12/2022 13:34:55 (UTC-4:00) | Normal |  | 328.2 | 2.2 | 722 | 297.6 | 2.3 | 684 | 294.8 | 2.2 | 649 | 12.9 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 1980.000 | 59.980 | 36.100 | 1218.000 | 13517.000 | 17895.000 | 49.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 30/12/2022 13:39:59 (UTC-4:00) | Normal |  | 334.2 | 2.8 | 936 | 299.6 | 2.9 | 869 | 300.8 | 2.7 | 812 | 10.9 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2540.000 | 59.990 | 36.300 | 1219.000 | 13517.000 | 17895.000 | 48.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 30/12/2022 13:45:02 (UTC-4:00) | Normal |  | 331.7 | 8.3 | 2753 | 297.2 | 8.4 | 2496 | 294.4 | 8.3 | 2444 | 11.1 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 32.9 | 0.0 | 0.0 | 7450.000 | 59.970 | 36.700 | 1219.000 | 13517.000 | 17895.000 | 52.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 30/12/2022 13:50:05 (UTC-4:00) | Normal |  | 314.2 | 8.4 | 2639 | 283.6 | 8.4 | 2382 | 280.8 | 8.4 | 2359 | 11.8 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 31.5 | 0.0 | 0.0 | 7150.000 | 59.980 | 37.300 | 1220.000 | 13518.000 | 17896.000 | 57.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 30/12/2022 13:55:09 (UTC-4:00) | Normal |  | 313.8 | 8.2 | 2573 | 279.4 | 8.3 | 2319 | 276.6 | 8.2 | 2268 | 13.4 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 30.7 | 0.0 | 0.0 | 6930.000 | 60.000 | 37.900 | 1220.000 | 13519.000 | 17897.000 | 60.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 30/12/2022 14:00:12 (UTC-4:00) | Normal |  | 312.0 | 8.1 | 2527 | 281.4 | 8.2 | 2307 | 278.6 | 8.0 | 2229 | 14.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 30.2 | 0.0 | 0.0 | 6840.000 | 59.990 | 38.500 | 1221.000 | 13519.000 | 17897.000 | 61.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 30/12/2022 14:05:15 (UTC-4:00) | Normal |  | 310.8 | 8.1 | 2517 | 276.2 | 8.3 | 2292 | 273.4 | 8.1 | 2215 | 13.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 29.9 | 0.0 | 0.0 | 6770.000 | 59.960 | 39.100 | 1221.000 | 13520.000 | 17898.000 | 62.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 30/12/2022 14:10:18 (UTC-4:00) | Normal |  | 304.5 | 2.7 | 822 | 281.9 | 2.7 | 761 | 275.0 | 2.6 | 715 | 12.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2180.000 | 59.970 | 39.600 | 1222.000 | 13520.000 | 17898.000 | 61.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 30/12/2022 14:15:22 (UTC-4:00) | Normal |  | 320.3 | 7.4 | 2370 | 282.0 | 7.7 | 2171 | 279.2 | 7.5 | 2094 | 10.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 28.4 | 0.0 | 0.0 | 6420.000 | 59.980 | 39.900 | 1222.000 | 13521.000 | 17899.000 | 58.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 30/12/2022 14:20:21 (UTC-4:00) | Normal |  | 306.0 | 7.5 | 2295 | 279.5 | 7.5 | 2096 | 280.4 | 7.3 | 2047 | 13.8 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 27.6 | 0.0 | 0.0 | 6220.000 | 60.020 | 40.300 | 1223.000 | 13521.000 | 17899.000 | 60.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 30/12/2022 14:25:20 (UTC-4:00) | Normal |  | 319.0 | 7.2 | 2297 | 280.2 | 7.5 | 2102 | 277.7 | 7.3 | 2027 | 9.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 27.5 | 0.0 | 0.0 | 6210.000 | 59.990 | 40.800 | 1223.000 | 13521.000 | 17899.000 | 59.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 30/12/2022 14:30:19 (UTC-4:00) | Normal |  | 316.4 | 6.9 | 2183 | 285.8 | 6.9 | 1972 | 283.0 | 6.8 | 1924 | 10.3 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5890.000 | 59.980 | 41.300 | 1224.000 | 13522.000 | 17900.000 | 59.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 30/12/2022 14:35:19 (UTC-4:00) | Normal |  | 313.9 | 6.7 | 2103 | 283.3 | 6.8 | 1926 | 280.6 | 6.6 | 1852 | 10.1 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5700.000 | 59.960 | 41.800 | 1224.000 | 13522.000 | 17900.000 | 59.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 30/12/2022 14:40:18 (UTC-4:00) | Normal |  | 312.1 | 7.0 | 2185 | 281.5 | 7.1 | 1999 | 278.7 | 7.0 | 1951 | 9.8 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5950.000 | 59.960 | 42.200 | 1225.000 | 13523.000 | 17901.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 30/12/2022 14:45:17 (UTC-4:00) | Normal |  | 302.1 | 5.1 | 1541 | 283.6 | 5.1 | 1446 | 280.8 | 5.0 | 1404 | 12.6 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 19.2 | 0.0 | 0.0 | 4250.000 | 59.980 | 42.700 | 1225.000 | 13523.000 | 17901.000 | 59.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 30/12/2022 14:50:17 (UTC-4:00) | Normal |  | 314.8 | 4.1 | 1291 | 284.1 | 4.2 | 1193 | 281.3 | 4.0 | 1125 | 13.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 15.1 | 0.0 | 0.0 | 3470.000 | 60.010 | 43.100 | 1225.000 | 13524.000 | 17902.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 30/12/2022 14:55:16 (UTC-4:00) | Normal |  | 316.2 | 7.2 | 2277 | 285.6 | 7.3 | 2085 | 282.7 | 7.1 | 2007 | 11.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 27.3 | 0.0 | 0.0 | 6170.000 | 60.010 | 43.500 | 1226.000 | 13524.000 | 17902.000 | 56.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 30/12/2022 15:00:15 (UTC-4:00) | Normal |  | 318.6 | 7.2 | 2294 | 284.0 | 7.4 | 2102 | 285.2 | 7.2 | 2053 | 13.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 27.7 | 0.0 | 0.0 | 6240.000 | 60.060 | 43.800 | 1226.000 | 13524.000 | 17902.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 30/12/2022 15:05:14 (UTC-4:00) | Normal |  | 312.0 | 3.6 | 1123 | 281.4 | 3.6 | 1013 | 278.6 | 3.6 | 1003 | 11.5 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 13.6 | 0.0 | 0.0 | 3010.000 | 60.030 | 44.300 | 1227.000 | 13525.000 | 17903.000 | 58.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 30/12/2022 15:10:13 (UTC-4:00) | Normal |  | 314.4 | 6.3 | 1981 | 283.9 | 6.4 | 1817 | 288.8 | 6.1 | 1762 | 9.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 24.1 | 0.0 | 0.0 | 5430.000 | 60.010 | 44.700 | 1227.000 | 13525.000 | 17903.000 | 55.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 30/12/2022 15:15:15 (UTC-4:00) | Normal |  | 310.6 | 6.6 | 2050 | 287.8 | 6.6 | 1899 | 285.1 | 6.4 | 1825 | 9.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5580.000 | 59.960 | 45.100 | 1227.000 | 13526.000 | 17904.000 | 56.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 30/12/2022 15:20:18 (UTC-4:00) | Normal |  | 316.3 | 6.6 | 2088 | 289.8 | 6.7 | 1942 | 287.0 | 6.6 | 1894 | 12.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5730.000 | 59.960 | 45.500 | 1228.000 | 13526.000 | 17904.000 | 56.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 30/12/2022 15:25:21 (UTC-4:00) | Normal |  | 322.4 | 5.3 | 1709 | 295.6 | 5.3 | 1567 | 285.0 | 5.4 | 1539 | 13.4 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 20.8 | 0.0 | 0.0 | 4680.000 | 59.950 | 45.900 | 1228.000 | 13527.000 | 17905.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 30/12/2022 15:30:25 (UTC-4:00) | Normal |  | 326.7 | 4.9 | 1601 | 296.1 | 5.0 | 1481 | 285.5 | 5.0 | 1428 | 12.5 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 19.6 | 0.0 | 0.0 | 4380.000 | 60.000 | 46.300 | 1229.000 | 13527.000 | 17905.000 | 55.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 30/12/2022 15:35:24 (UTC-4:00) | Normal |  | 308.2 | 1.4 | 431 | 277.7 | 1.5 | 417 | 278.8 | 1.4 | 390 | 9.5 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 5.6 | 0.0 | 0.0 | 1120.000 | 59.990 | 46.500 | 1229.000 | 13527.000 | 17905.000 | 53.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 30/12/2022 15:40:23 (UTC-4:00) | Normal |  | 324.3 | 1.1 | 357 | 285.8 | 1.2 | 343 | 275.0 | 1.1 | 303 | 10.3 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 60.010 | 46.600 | 1229.000 | 13527.000 | 17905.000 | 49.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 30/12/2022 15:45:22 (UTC-4:00) | Normal |  | 342.2 | 1.1 | 376 | 291.5 | 1.2 | 350 | 292.7 | 1.1 | 322 | 14.5 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1020.000 | 59.960 | 46.700 | 1229.000 | 13527.000 | 17905.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 30/12/2022 15:50:22 (UTC-4:00) | Normal |  | 344.2 | 1.0 | 344 | 289.6 | 1.2 | 348 | 294.8 | 1.1 | 324 | 12.1 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 5.0 | 0.0 | 0.0 | 970.000 | 60.030 | 46.800 | 1229.000 | 13527.000 | 17905.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 30/12/2022 15:55:21 (UTC-4:00) | Normal |  | 346.4 | 1.1 | 381 | 291.8 | 1.2 | 350 | 293.0 | 1.1 | 322 | 9.6 | 0.1 | 0 | 221.5 | 0.0 | 0.0 | 5.1 | 0.0 | 0.0 | 990.000 | 60.060 | 46.900 | 1229.000 | 13528.000 | 17906.000 | 43.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 30/12/2022 16:00:20 (UTC-4:00) | Normal |  | 354.3 | 1.0 | 354 | 299.7 | 1.3 | 390 | 296.9 | 1.1 | 327 | 9.5 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 5.2 | 0.0 | 0.0 | 1030.000 | 60.060 | 47.000 | 1229.000 | 13528.000 | 17906.000 | 42.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 30/12/2022 16:05:19 (UTC-4:00) | Normal |  | 344.3 | 1.0 | 344 | 309.6 | 1.1 | 341 | 290.8 | 1.0 | 291 | 11.7 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 4.9 | 0.0 | 0.0 | 950.000 | 60.000 | 47.100 | 1229.000 | 13528.000 | 17906.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 30/12/2022 16:10:19 (UTC-4:00) | Normal |  | 362.2 | 1.0 | 362 | 303.6 | 1.3 | 395 | 296.8 | 1.2 | 356 | 11.4 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1050.000 | 60.010 | 47.200 | 1230.000 | 13528.000 | 17906.000 | 41.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 30/12/2022 16:15:18 (UTC-4:00) | Normal |  | 360.5 | 1.6 | 577 | 321.8 | 1.7 | 547 | 319.0 | 1.6 | 510 | 15.3 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 7.0 | 0.0 | 0.0 | 1450.000 | 59.970 | 47.300 | 1230.000 | 13528.000 | 17906.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 30/12/2022 16:20:17 (UTC-4:00) | Normal |  | 352.6 | 2.3 | 811 | 314.1 | 2.5 | 785 | 311.2 | 2.2 | 685 | 9.8 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2180.000 | 59.960 | 47.400 | 1230.000 | 13528.000 | 17906.000 | 40.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 30/12/2022 16:25:16 (UTC-4:00) | Normal |  | 344.1 | 2.9 | 998 | 317.5 | 3.0 | 953 | 310.8 | 2.9 | 901 | 13.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2740.000 | 59.980 | 47.600 | 1230.000 | 13528.000 | 17906.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 30/12/2022 16:30:15 (UTC-4:00) | Normal |  | 336.5 | 1.6 | 538 | 305.8 | 1.6 | 489 | 299.1 | 1.5 | 449 | 15.5 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1300.000 | 60.020 | 47.800 | 1230.000 | 13528.000 | 17906.000 | 42.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 30/12/2022 16:35:19 (UTC-4:00) | Normal |  | 330.5 | 1.5 | 496 | 307.8 | 1.6 | 492 | 297.1 | 1.5 | 446 | 15.3 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1270.000 | 60.000 | 48.000 | 1230.000 | 13529.000 | 17907.000 | 41.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 30/12/2022 16:40:22 (UTC-4:00) | Normal |  | 332.2 | 0.5 | 166 | 289.9 | 0.6 | 174 | 291.1 | 0.5 | 146 | 14.4 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 470.000 | 60.030 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 40.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 30/12/2022 16:45:25 (UTC-4:00) | Normal |  | 318.1 | 0.2 | 64 | 283.6 | 0.2 | 57 | 268.7 | 0.1 | 27 | 13.0 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 130.000 | 60.010 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 39.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 30/12/2022 16:50:24 (UTC-4:00) | Normal |  | 297.8 | 0.1 | 30 | 265.0 | 0.1 | 27 | 325.8 | 0.1 | 33 | 13.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 38.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 30/12/2022 16:55:23 (UTC-4:00) | Normal |  | 277.4 | 0.1 | 28 | 265.1 | 0.1 | 27 | 251.9 | 0.1 | 25 | 14.4 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.020 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 30/12/2022 17:00:22 (UTC-4:00) | Normal |  | 268.8 | 0.1 | 27 | 265.0 | 0.1 | 27 | 241.0 | 0.1 | 24 | 13.8 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 36.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 30/12/2022 17:05:22 (UTC-4:00) | Normal |  | 272.1 | 0.1 | 27 | 265.1 | 0.1 | 27 | 244.4 | 0.1 | 24 | 15.4 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 35.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 30/12/2022 17:10:21 (UTC-4:00) | Normal |  | 275.0 | 0.1 | 28 | 265.0 | 0.1 | 27 | 241.1 | 0.1 | 24 | 10.7 | 0.1 | 0 | 220.8 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 60.000 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 35.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 30/12/2022 17:15:20 (UTC-4:00) | Normal |  | 254.1 | 0.1 | 25 | 265.0 | 0.1 | 27 | 230.3 | 0.1 | 23 | 15.4 | 0.1 | 0 | 220.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 30/12/2022 17:20:19 (UTC-4:00) | Normal |  | 250.6 | 0.1 | 25 | 265.0 | 0.1 | 27 | 226.0 | 0.1 | 23 | 15.6 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 30/12/2022 17:25:18 (UTC-4:00) | Normal |  | 236.9 | 0.1 | 24 | 265.1 | 0.1 | 27 | 230.5 | 0.1 | 23 | 12.8 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 30/12/2022 17:30:17 (UTC-4:00) | Normal |  | 246.8 | 0.1 | 25 | 265.1 | 0.1 | 27 | 223.7 | 0.1 | 22 | 11.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 30/12/2022 17:35:16 (UTC-4:00) | Normal |  | 242.8 | 0.1 | 24 | 259.7 | 0.1 | 26 | 209.6 | 0.1 | 21 | 11.1 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.040 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 30/12/2022 17:40:16 (UTC-4:00) | Normal |  | 225.1 | 0.1 | 23 | 250.3 | 0.1 | 25 | 203.3 | 0.1 | 20 | 11.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.050 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 30/12/2022 17:45:16 (UTC-4:00) | Normal |  | 195.6 | 0.1 | 20 | 207.5 | 0.1 | 21 | 175.2 | 0.1 | 18 | 10.8 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 30/12/2022 17:50:19 (UTC-4:00) | Normal |  | 150.9 | 0.1 | 15 | 150.1 | 0.1 | 15 | 147.5 | 0.1 | 15 | 14.4 | 0.1 | 0 | 219.1 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 33.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 30/12/2022 17:55:22 (UTC-4:00) | Normal |  | 107.7 | 0.1 | 11 | 124.5 | 0.1 | 12 | 100.9 | 0.1 | 10 | 14.1 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.020 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 32.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 30/12/2022 18:00:25 (UTC-4:00) | Normal |  | 111.0 | 0.1 | 11 | 112.0 | 0.1 | 11 | 112.5 | 0.1 | 11 | 12.4 | 0.1 | 0 | 220.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 32.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 30/12/2022 18:05:24 (UTC-4:00) | Normal |  | 136.0 | 0.1 | 14 | 125.6 | 0.1 | 13 | 100.2 | 0.1 | 10 | 11.8 | 0.1 | 0 | 220.4 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 48.100 | 1230.000 | 13529.000 | 17907.000 | 32.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0