## 054B7020C020041
Inverter History Report_
Inverter SN:054B7020C020041 |  |  |  | Inverter type:B7
Collector SN:4045966636 |  |  |  | Belongs to plant:IFSP - CAMPINAS
Power:10000Wp |  |  |  | Report generation time:20231125025655
Owner's cell phone number:
Number | Time | Working State | Alarm Code | DC Voltage PvPV1(V) | DC Current PvPV1(A) | DC Power PvPV1(W) | DC Voltage PvPV2(V) | DC Current PvPV2(A) | DC Power PvPV2(W) | DC Voltage PvPV3(V) | DC Current PvPV3(A) | DC Power PvPV3(W) | DC Voltage PvPV4(V) | DC Current PvPV4(A) | DC Power PvPV4(W) | AC Voltage U(V) | AC Voltage V(V) | AC Voltage W(V) | AC Current U(A) | AC Current V(A) | AC Current W(A) | Total Inverter Power(W) | AC Frequency(Hz) | Today Yield(kWh) | Month Yield(kWh) | Annual Yield(kWh) | Total Yield(kWh) | IGBT Temperature(℃) | Inverter Ambient Temperature(℃) | Dispersion Rate | Initialize the grounding voltage(V) | DC bus voltage(V) | Dc bus half voltage(V) | Insulation Resistance Realtime Value
1 | 31/12/2022 04:22:38 (UTC-4:00) | Normal |  | 151.2 | 0.1 | 15 | 156.4 | 0.1 | 16 | 158.4 | 0.1 | 16 | 0.5 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 0.2 | 0.0 | 0.0 | 20.000 | 59.990 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 25.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
2 | 31/12/2022 04:27:39 (UTC-4:00) | Normal |  | 284.6 | 0.1 | 28 | 256.2 | 0.1 | 26 | 255.6 | 0.1 | 26 | 18.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 26.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
3 | 31/12/2022 04:32:39 (UTC-4:00) | Normal |  | 290.0 | 0.1 | 29 | 261.3 | 0.1 | 26 | 260.9 | 0.1 | 26 | 11.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 26.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
4 | 31/12/2022 04:37:43 (UTC-4:00) | Normal |  | 300.2 | 0.1 | 30 | 261.4 | 0.1 | 26 | 270.4 | 0.1 | 27 | 14.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 20.000 | 59.970 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 27.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
5 | 31/12/2022 04:42:50 (UTC-4:00) | Normal |  | 384.1 | 0.1 | 38 | 261.4 | 0.1 | 26 | 346.1 | 0.1 | 35 | 12.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 27.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
6 | 31/12/2022 04:47:48 (UTC-4:00) | Normal |  | 310.6 | 0.1 | 31 | 261.4 | 0.2 | 52 | 279.3 | 0.1 | 28 | 15.5 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 30.000 | 59.980 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 27.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
7 | 31/12/2022 04:52:48 (UTC-4:00) | Normal |  | 310.4 | 0.2 | 62 | 263.5 | 0.2 | 53 | 282.1 | 0.1 | 28 | 17.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 59.990 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 28.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
8 | 31/12/2022 04:57:49 (UTC-4:00) | Normal |  | 324.5 | 0.2 | 65 | 301.5 | 0.3 | 90 | 282.2 | 0.2 | 56 | 16.4 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 59.990 | 0.000 | 1230.000 | 13529.000 | 17907.000 | 28.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
9 | 31/12/2022 05:02:49 (UTC-4:00) | Normal |  | 336.5 | 0.4 | 135 | 305.3 | 0.4 | 122 | 300.2 | 0.3 | 90 | 13.0 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 250.000 | 59.970 | 0.100 | 1231.000 | 13529.000 | 17907.000 | 29.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
10 | 31/12/2022 05:07:49 (UTC-4:00) | Normal |  | 360.9 | 0.4 | 144 | 317.5 | 0.5 | 159 | 324.3 | 0.4 | 130 | 14.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.0 | 0.0 | 0.0 | 360.000 | 59.990 | 0.100 | 1231.000 | 13529.000 | 17907.000 | 29.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
11 | 31/12/2022 05:12:50 (UTC-4:00) | Normal |  | 356.4 | 0.5 | 178 | 313.6 | 0.6 | 188 | 328.1 | 0.4 | 131 | 11.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.4 | 0.0 | 0.0 | 480.000 | 59.930 | 0.100 | 1231.000 | 13529.000 | 17907.000 | 30.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
12 | 31/12/2022 05:17:50 (UTC-4:00) | Normal |  | 356.4 | 0.7 | 249 | 317.4 | 0.8 | 254 | 328.1 | 0.6 | 197 | 13.4 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 3.7 | 0.0 | 0.0 | 610.000 | 59.950 | 0.200 | 1231.000 | 13529.000 | 17907.000 | 30.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
13 | 31/12/2022 05:22:51 (UTC-4:00) | Normal |  | 358.4 | 0.8 | 287 | 311.3 | 0.9 | 280 | 330.0 | 0.7 | 231 | 17.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 4.3 | 0.0 | 0.0 | 770.000 | 59.960 | 0.200 | 1231.000 | 13529.000 | 17907.000 | 30.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
14 | 31/12/2022 05:27:51 (UTC-4:00) | Normal |  | 362.3 | 1.0 | 362 | 315.3 | 1.1 | 347 | 329.9 | 0.9 | 297 | 14.1 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 4.8 | 0.0 | 0.0 | 920.000 | 60.000 | 0.300 | 1231.000 | 13529.000 | 17907.000 | 31.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
15 | 31/12/2022 05:32:52 (UTC-4:00) | Normal |  | 376.4 | 1.0 | 376 | 313.5 | 1.2 | 376 | 328.1 | 1.1 | 361 | 11.7 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 5.3 | 0.0 | 0.0 | 1060.000 | 60.010 | 0.400 | 1231.000 | 13529.000 | 17907.000 | 31.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
16 | 31/12/2022 05:37:52 (UTC-4:00) | Normal |  | 356.3 | 1.4 | 499 | 329.3 | 1.4 | 461 | 327.9 | 1.3 | 426 | 15.7 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 6.2 | 0.0 | 0.0 | 1280.000 | 60.020 | 0.500 | 1231.000 | 13529.000 | 17907.000 | 32.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
17 | 31/12/2022 05:42:53 (UTC-4:00) | Normal |  | 376.4 | 1.5 | 565 | 329.5 | 1.7 | 560 | 324.1 | 1.6 | 519 | 17.7 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1420.000 | 60.010 | 0.600 | 1231.000 | 13529.000 | 17907.000 | 33.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
18 | 31/12/2022 05:47:58 (UTC-4:00) | Normal |  | 366.3 | 1.7 | 623 | 331.3 | 1.8 | 596 | 325.9 | 1.7 | 554 | 13.4 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1630.000 | 60.060 | 0.700 | 1231.000 | 13529.000 | 17907.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
19 | 31/12/2022 05:53:02 (UTC-4:00) | Normal |  | 362.3 | 2.0 | 725 | 327.3 | 2.0 | 655 | 321.9 | 1.9 | 612 | 12.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 8.7 | 0.0 | 0.0 | 1870.000 | 60.010 | 0.900 | 1231.000 | 13530.000 | 17908.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
20 | 31/12/2022 05:58:07 (UTC-4:00) | Normal |  | 356.6 | 2.2 | 785 | 325.6 | 2.2 | 716 | 324.1 | 2.1 | 681 | 16.0 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 9.5 | 0.0 | 0.0 | 2060.000 | 60.050 | 1.000 | 1231.000 | 13530.000 | 17908.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
21 | 31/12/2022 06:03:07 (UTC-4:00) | Normal |  | 358.4 | 2.3 | 824 | 327.4 | 2.3 | 753 | 322.0 | 2.2 | 708 | 11.1 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 10.0 | 0.0 | 0.0 | 2180.000 | 60.030 | 1.200 | 1232.000 | 13530.000 | 17908.000 | 36.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
22 | 31/12/2022 06:08:08 (UTC-4:00) | Normal |  | 354.6 | 2.4 | 851 | 323.6 | 2.5 | 809 | 318.2 | 2.4 | 764 | 16.6 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 10.7 | 0.0 | 0.0 | 2330.000 | 60.060 | 1.400 | 1232.000 | 13530.000 | 17908.000 | 37.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
23 | 31/12/2022 06:13:09 (UTC-4:00) | Normal |  | 360.5 | 2.6 | 937 | 321.5 | 2.7 | 868 | 320.1 | 2.6 | 832 | 17.3 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 11.5 | 0.0 | 0.0 | 2530.000 | 60.030 | 1.600 | 1232.000 | 13530.000 | 17908.000 | 38.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
24 | 31/12/2022 06:18:08 (UTC-4:00) | Normal |  | 352.4 | 2.8 | 987 | 321.4 | 2.9 | 932 | 312.0 | 2.9 | 905 | 12.4 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 12.4 | 0.0 | 0.0 | 2730.000 | 60.030 | 1.800 | 1232.000 | 13531.000 | 17909.000 | 38.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
25 | 31/12/2022 06:23:09 (UTC-4:00) | Normal |  | 352.3 | 3.0 | 1057 | 317.4 | 3.1 | 984 | 311.9 | 3.0 | 936 | 16.8 | 0.1 | 0 | 220.7 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2890.000 | 60.030 | 2.000 | 1232.000 | 13531.000 | 17909.000 | 39.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
26 | 31/12/2022 06:28:09 (UTC-4:00) | Normal |  | 352.4 | 3.2 | 1128 | 321.3 | 3.3 | 1060 | 316.0 | 3.2 | 1011 | 12.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 13.8 | 0.0 | 0.0 | 3090.000 | 60.020 | 2.300 | 1233.000 | 13531.000 | 17909.000 | 40.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
27 | 31/12/2022 06:33:10 (UTC-4:00) | Normal |  | 354.2 | 3.4 | 1204 | 319.3 | 3.5 | 1118 | 317.8 | 3.3 | 1049 | 16.9 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3240.000 | 60.050 | 2.600 | 1233.000 | 13531.000 | 17909.000 | 41.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
28 | 31/12/2022 06:38:10 (UTC-4:00) | Normal |  | 350.3 | 3.7 | 1296 | 319.2 | 3.7 | 1181 | 313.9 | 3.6 | 1130 | 11.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 15.5 | 0.0 | 0.0 | 3490.000 | 60.040 | 2.800 | 1233.000 | 13532.000 | 17910.000 | 42.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
29 | 31/12/2022 06:43:11 (UTC-4:00) | Normal |  | 352.4 | 3.9 | 1374 | 313.5 | 4.0 | 1254 | 316.0 | 3.9 | 1232 | 10.7 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 16.6 | 0.0 | 0.0 | 3720.000 | 60.070 | 3.200 | 1234.000 | 13532.000 | 17910.000 | 43.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
30 | 31/12/2022 06:48:12 (UTC-4:00) | Normal |  | 344.7 | 4.1 | 1413 | 309.8 | 4.2 | 1301 | 312.3 | 4.0 | 1249 | 15.4 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 17.0 | 0.0 | 0.0 | 3840.000 | 60.040 | 3.500 | 1234.000 | 13532.000 | 17910.000 | 44.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
31 | 31/12/2022 06:53:13 (UTC-4:00) | Normal |  | 346.1 | 4.4 | 1523 | 307.2 | 4.6 | 1413 | 309.7 | 4.4 | 1363 | 11.6 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 18.3 | 0.0 | 0.0 | 4130.000 | 60.090 | 3.800 | 1234.000 | 13533.000 | 17911.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
32 | 31/12/2022 06:58:17 (UTC-4:00) | Normal |  | 342.1 | 2.8 | 958 | 311.1 | 2.9 | 902 | 305.5 | 2.7 | 825 | 10.0 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 11.6 | 0.0 | 0.0 | 2590.000 | 60.070 | 4.100 | 1235.000 | 13533.000 | 17911.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
33 | 31/12/2022 07:03:17 (UTC-4:00) | Normal |  | 342.1 | 5.1 | 1745 | 307.1 | 5.2 | 1597 | 309.5 | 5.0 | 1548 | 16.4 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 21.0 | 0.0 | 0.0 | 4730.000 | 60.010 | 4.400 | 1235.000 | 13533.000 | 17911.000 | 44.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
34 | 31/12/2022 07:08:21 (UTC-4:00) | Normal |  | 340.3 | 6.3 | 2144 | 301.4 | 6.5 | 1959 | 303.9 | 6.3 | 1915 | 10.9 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 25.7 | 0.0 | 0.0 | 5810.000 | 59.970 | 4.700 | 1235.000 | 13533.000 | 17911.000 | 46.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
35 | 31/12/2022 07:13:25 (UTC-4:00) | Normal |  | 332.8 | 5.5 | 1830 | 297.8 | 5.6 | 1668 | 296.4 | 5.6 | 1660 | 11.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 22.1 | 0.0 | 0.0 | 5000.000 | 59.980 | 5.200 | 1236.000 | 13534.000 | 17912.000 | 50.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
36 | 31/12/2022 07:18:30 (UTC-4:00) | Normal |  | 327.4 | 5.6 | 1833 | 292.6 | 5.9 | 1726 | 291.3 | 5.6 | 1631 | 15.3 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 5050.000 | 60.010 | 5.700 | 1236.000 | 13534.000 | 17912.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
37 | 31/12/2022 07:23:34 (UTC-4:00) | Normal |  | 330.6 | 3.7 | 1223 | 299.6 | 3.8 | 1138 | 294.2 | 3.7 | 1089 | 9.8 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3310.000 | 59.930 | 6.000 | 1236.000 | 13535.000 | 17913.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
38 | 31/12/2022 07:28:38 (UTC-4:00) | Normal |  | 330.1 | 4.3 | 1419 | 303.2 | 4.3 | 1304 | 297.8 | 4.2 | 1251 | 16.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 17.2 | 0.0 | 0.0 | 3850.000 | 60.020 | 6.300 | 1237.000 | 13535.000 | 17913.000 | 48.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
39 | 31/12/2022 07:33:44 (UTC-4:00) | Normal |  | 336.2 | 3.0 | 1009 | 301.3 | 3.2 | 964 | 299.9 | 3.0 | 900 | 12.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 12.5 | 0.0 | 0.0 | 2780.000 | 60.020 | 6.600 | 1237.000 | 13535.000 | 17913.000 | 47.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
40 | 31/12/2022 07:38:47 (UTC-4:00) | Normal |  | 336.6 | 3.1 | 1043 | 305.5 | 3.2 | 978 | 300.2 | 3.0 | 901 | 14.6 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 12.6 | 0.0 | 0.0 | 2810.000 | 60.010 | 6.800 | 1237.000 | 13536.000 | 17914.000 | 46.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
41 | 31/12/2022 07:43:51 (UTC-4:00) | Normal |  | 336.5 | 2.5 | 841 | 301.5 | 2.6 | 784 | 304.0 | 2.4 | 730 | 10.2 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 10.1 | 0.0 | 0.0 | 2220.000 | 59.960 | 7.000 | 1237.000 | 13536.000 | 17914.000 | 44.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
42 | 31/12/2022 07:48:56 (UTC-4:00) | Normal |  | 346.5 | 2.8 | 970 | 303.5 | 2.9 | 880 | 310.1 | 2.7 | 837 | 10.0 | 0.1 | 0 | 222.1 | 0.0 | 0.0 | 11.7 | 0.0 | 0.0 | 2590.000 | 60.030 | 7.200 | 1238.000 | 13536.000 | 17914.000 | 43.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
43 | 31/12/2022 07:53:57 (UTC-4:00) | Normal |  | 343.6 | 5.3 | 1821 | 308.3 | 5.5 | 1696 | 311.2 | 5.2 | 1618 | 14.5 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4960.000 | 59.970 | 7.500 | 1238.000 | 13536.000 | 17914.000 | 45.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
44 | 31/12/2022 07:58:57 (UTC-4:00) | Normal |  | 344.8 | 4.9 | 1690 | 305.8 | 5.0 | 1529 | 304.5 | 5.0 | 1523 | 15.6 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 20.3 | 0.0 | 0.0 | 4580.000 | 60.020 | 7.900 | 1238.000 | 13537.000 | 17915.000 | 47.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
45 | 31/12/2022 08:03:57 (UTC-4:00) | Normal |  | 328.5 | 7.6 | 2497 | 301.6 | 8.0 | 2413 | 300.2 | 7.6 | 2282 | 10.5 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 30.9 | 0.0 | 0.0 | 6980.000 | 60.010 | 8.300 | 1239.000 | 13537.000 | 17915.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
46 | 31/12/2022 08:08:57 (UTC-4:00) | Normal |  | 328.4 | 4.0 | 1314 | 297.4 | 4.1 | 1219 | 296.0 | 4.0 | 1184 | 16.0 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 16.1 | 0.0 | 0.0 | 3610.000 | 59.960 | 8.700 | 1239.000 | 13537.000 | 17915.000 | 50.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
47 | 31/12/2022 08:13:58 (UTC-4:00) | Normal |  | 330.4 | 4.3 | 1421 | 303.4 | 4.3 | 1305 | 298.1 | 4.3 | 1282 | 12.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 17.3 | 0.0 | 0.0 | 3870.000 | 59.990 | 9.000 | 1239.000 | 13538.000 | 17916.000 | 49.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
48 | 31/12/2022 08:18:59 (UTC-4:00) | Normal |  | 331.0 | 5.5 | 1821 | 296.1 | 5.7 | 1688 | 298.6 | 5.5 | 1642 | 15.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.3 | 0.0 | 0.0 | 5010.000 | 59.970 | 9.400 | 1240.000 | 13538.000 | 17916.000 | 49.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
49 | 31/12/2022 08:24:00 (UTC-4:00) | Normal |  | 328.0 | 4.8 | 1574 | 292.9 | 5.0 | 1465 | 287.6 | 4.9 | 1409 | 10.0 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 19.4 | 0.0 | 0.0 | 4340.000 | 59.990 | 9.800 | 1240.000 | 13539.000 | 17917.000 | 51.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
50 | 31/12/2022 08:29:00 (UTC-4:00) | Normal |  | 328.4 | 2.8 | 920 | 289.3 | 2.9 | 839 | 283.9 | 2.8 | 795 | 10.6 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 11.2 | 0.0 | 0.0 | 2450.000 | 59.970 | 10.100 | 1241.000 | 13539.000 | 17917.000 | 49.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
51 | 31/12/2022 08:34:00 (UTC-4:00) | Normal |  | 332.3 | 2.1 | 698 | 297.3 | 2.2 | 654 | 295.9 | 2.1 | 621 | 13.1 | 0.1 | 0 | 220.6 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1840.000 | 59.970 | 10.300 | 1241.000 | 13539.000 | 17917.000 | 46.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
52 | 31/12/2022 08:39:02 (UTC-4:00) | Normal |  | 334.4 | 2.2 | 736 | 307.3 | 2.3 | 707 | 302.0 | 2.2 | 664 | 16.2 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 1990.000 | 60.010 | 10.400 | 1241.000 | 13539.000 | 17917.000 | 44.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
53 | 31/12/2022 08:44:02 (UTC-4:00) | Normal |  | 338.5 | 2.0 | 677 | 307.5 | 2.1 | 646 | 306.1 | 2.0 | 612 | 16.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 8.4 | 0.0 | 0.0 | 1810.000 | 59.970 | 10.600 | 1241.000 | 13539.000 | 17917.000 | 43.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
54 | 31/12/2022 08:49:04 (UTC-4:00) | Normal |  | 350.3 | 2.7 | 946 | 315.4 | 2.8 | 883 | 310.1 | 2.7 | 837 | 11.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2510.000 | 59.970 | 10.800 | 1241.000 | 13540.000 | 17918.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
55 | 31/12/2022 08:54:07 (UTC-4:00) | Normal |  | 325.2 | 6.6 | 2146 | 290.6 | 7.1 | 2063 | 292.4 | 6.0 | 1754 | 12.5 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 25.7 | 0.0 | 0.0 | 5840.000 | 59.970 | 11.300 | 1242.000 | 13540.000 | 17918.000 | 47.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
56 | 31/12/2022 08:59:11 (UTC-4:00) | Normal |  | 320.7 | 9.8 | 3143 | 293.3 | 9.8 | 2874 | 276.3 | 10.1 | 2791 | 10.3 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 37.6 | 0.0 | 0.0 | 8520.000 | 60.000 | 11.800 | 1242.000 | 13541.000 | 17919.000 | 51.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
57 | 31/12/2022 09:04:15 (UTC-4:00) | Normal |  | 304.2 | 9.7 | 2951 | 277.3 | 9.7 | 2690 | 279.7 | 9.5 | 2657 | 15.1 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 35.5 | 0.0 | 0.0 | 8030.000 | 59.970 | 12.500 | 1243.000 | 13541.000 | 17919.000 | 56.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
58 | 31/12/2022 09:09:16 (UTC-4:00) | Normal |  | 314.7 | 5.7 | 1794 | 283.9 | 5.8 | 1647 | 286.1 | 5.6 | 1602 | 11.9 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 21.8 | 0.0 | 0.0 | 4890.000 | 59.960 | 12.800 | 1243.000 | 13542.000 | 17920.000 | 56.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
59 | 31/12/2022 09:14:16 (UTC-4:00) | Normal |  | 314.6 | 3.8 | 1195 | 283.6 | 3.9 | 1106 | 286.1 | 3.7 | 1059 | 9.2 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3240.000 | 59.970 | 13.200 | 1244.000 | 13542.000 | 17920.000 | 54.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
60 | 31/12/2022 09:19:17 (UTC-4:00) | Normal |  | 320.8 | 3.7 | 1187 | 293.7 | 3.8 | 1116 | 288.4 | 3.7 | 1067 | 14.3 | 0.1 | 0 | 221.7 | 0.0 | 0.0 | 14.8 | 0.0 | 0.0 | 3260.000 | 59.970 | 13.400 | 1244.000 | 13542.000 | 17920.000 | 51.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
61 | 31/12/2022 09:24:17 (UTC-4:00) | Normal |  | 323.2 | 6.9 | 2230 | 288.4 | 6.9 | 1990 | 290.7 | 6.5 | 1890 | 11.7 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 26.2 | 0.0 | 0.0 | 5930.000 | 59.970 | 13.900 | 1244.000 | 13543.000 | 17921.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
62 | 31/12/2022 09:29:18 (UTC-4:00) | Normal |  | 321.8 | 3.4 | 1094 | 290.9 | 3.6 | 1047 | 285.5 | 3.5 | 999 | 11.1 | 0.1 | 0 | 220.9 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3030.000 | 59.930 | 14.300 | 1245.000 | 13543.000 | 17921.000 | 54.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
63 | 31/12/2022 09:34:19 (UTC-4:00) | Normal |  | 320.5 | 10.2 | 3269 | 292.9 | 10.2 | 2988 | 289.9 | 10.2 | 2957 | 10.0 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 39.2 | 0.0 | 0.0 | 8900.000 | 59.950 | 14.800 | 1245.000 | 13544.000 | 17922.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
64 | 31/12/2022 09:39:20 (UTC-4:00) | Normal |  | 318.5 | 10.2 | 3249 | 290.5 | 10.2 | 2963 | 286.9 | 10.2 | 2926 | 11.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 39.0 | 0.0 | 0.0 | 8810.000 | 59.960 | 15.400 | 1246.000 | 13544.000 | 17922.000 | 58.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
65 | 31/12/2022 09:44:20 (UTC-4:00) | Normal |  | 293.4 | 6.9 | 2024 | 263.9 | 8.1 | 2138 | 267.8 | 6.5 | 1741 | 14.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 25.6 | 0.0 | 0.0 | 5780.000 | 59.950 | 16.100 | 1247.000 | 13545.000 | 17923.000 | 61.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
66 | 31/12/2022 09:49:21 (UTC-4:00) | Normal |  | 301.8 | 4.4 | 1328 | 270.8 | 4.6 | 1246 | 273.4 | 4.4 | 1203 | 10.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 16.4 | 0.0 | 0.0 | 3670.000 | 59.980 | 16.700 | 1247.000 | 13545.000 | 17923.000 | 62.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
67 | 31/12/2022 09:54:21 (UTC-4:00) | Normal |  | 319.9 | 10.2 | 3263 | 292.2 | 10.2 | 2980 | 288.9 | 10.2 | 2947 | 10.3 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 39.3 | 0.0 | 0.0 | 8890.000 | 59.970 | 17.200 | 1248.000 | 13546.000 | 17924.000 | 60.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
68 | 31/12/2022 09:59:22 (UTC-4:00) | Normal |  | 295.2 | 7.7 | 2273 | 254.4 | 6.8 | 1730 | 283.0 | 7.7 | 2179 | 13.8 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5900.000 | 59.980 | 17.900 | 1248.000 | 13547.000 | 17925.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
69 | 31/12/2022 10:04:23 (UTC-4:00) | Normal |  | 304.0 | 10.2 | 3101 | 279.1 | 10.2 | 2847 | 274.9 | 10.2 | 2804 | 11.7 | 0.1 | 0 | 225.2 | 0.0 | 0.0 | 37.1 | 0.0 | 0.0 | 8470.000 | 59.950 | 18.600 | 1249.000 | 13547.000 | 17925.000 | 65.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
70 | 31/12/2022 10:09:27 (UTC-4:00) | Normal |  | 304.2 | 4.2 | 1278 | 277.3 | 4.3 | 1192 | 275.8 | 4.1 | 1131 | 9.8 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 15.6 | 0.0 | 0.0 | 3480.000 | 59.970 | 19.100 | 1250.000 | 13548.000 | 17926.000 | 63.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
71 | 31/12/2022 10:14:32 (UTC-4:00) | Normal |  | 302.0 | 8.8 | 2658 | 271.4 | 9.2 | 2497 | 273.4 | 8.7 | 2379 | 8.5 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 32.2 | 0.0 | 0.0 | 7270.000 | 59.940 | 19.700 | 1250.000 | 13548.000 | 17926.000 | 64.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
72 | 31/12/2022 10:19:36 (UTC-4:00) | Normal |  | 301.5 | 5.9 | 1779 | 270.7 | 6.2 | 1678 | 269.2 | 5.9 | 1588 | 10.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 21.7 | 0.0 | 0.0 | 4880.000 | 59.990 | 20.300 | 1251.000 | 13549.000 | 17927.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
73 | 31/12/2022 10:24:37 (UTC-4:00) | Normal |  | 308.8 | 3.2 | 988 | 285.7 | 3.2 | 914 | 284.3 | 3.1 | 881 | 13.9 | 0.1 | 0 | 221.0 | 0.0 | 0.0 | 11.9 | 0.0 | 0.0 | 2650.000 | 60.020 | 20.500 | 1251.000 | 13549.000 | 17927.000 | 59.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
74 | 31/12/2022 10:29:37 (UTC-4:00) | Normal |  | 320.8 | 3.7 | 1187 | 289.8 | 3.8 | 1101 | 288.3 | 3.7 | 1067 | 13.1 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 14.5 | 0.0 | 0.0 | 3210.000 | 59.980 | 20.800 | 1251.000 | 13550.000 | 17928.000 | 56.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
75 | 31/12/2022 10:34:38 (UTC-4:00) | Normal |  | 330.5 | 4.2 | 1388 | 299.5 | 4.3 | 1288 | 294.2 | 4.2 | 1236 | 13.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 17.0 | 0.0 | 0.0 | 3790.000 | 60.000 | 21.100 | 1252.000 | 13550.000 | 17928.000 | 54.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
76 | 31/12/2022 10:39:38 (UTC-4:00) | Normal |  | 323.5 | 7.8 | 2523 | 292.4 | 7.9 | 2310 | 291.1 | 8.1 | 2358 | 8.8 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 6950.000 | 59.940 | 21.600 | 1252.000 | 13550.000 | 17928.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
77 | 31/12/2022 10:39:49 (UTC-4:00) | Normal |  | 323.5 | 7.8 | 2523 | 292.4 | 7.9 | 2310 | 291.1 | 8.1 | 2358 | 8.8 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 6950.000 | 59.940 | 21.600 | 1252.000 | 13550.000 | 17928.000 | 57.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
78 | 31/12/2022 10:44:39 (UTC-4:00) | Normal |  | 327.3 | 10.2 | 3338 | 294.9 | 10.2 | 3008 | 295.1 | 10.2 | 3010 | 11.9 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 40.0 | 0.0 | 0.0 | 9040.000 | 59.970 | 22.400 | 1253.000 | 13551.000 | 17929.000 | 63.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
79 | 31/12/2022 10:49:39 (UTC-4:00) | Normal |  | 301.6 | 7.7 | 2322 | 270.4 | 7.6 | 2055 | 249.8 | 8.6 | 2148 | 10.6 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 27.7 | 0.0 | 0.0 | 6280.000 | 59.990 | 23.000 | 1253.000 | 13552.000 | 17930.000 | 64.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
80 | 31/12/2022 10:54:40 (UTC-4:00) | Normal |  | 316.5 | 10.2 | 3228 | 288.3 | 10.2 | 2941 | 285.0 | 10.2 | 2907 | 12.2 | 0.1 | 0 | 225.6 | 0.0 | 0.0 | 38.3 | 0.0 | 0.0 | 8730.000 | 60.020 | 23.700 | 1254.000 | 13552.000 | 17930.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
81 | 31/12/2022 10:59:40 (UTC-4:00) | Normal |  | 304.9 | 10.2 | 3110 | 278.8 | 10.2 | 2844 | 273.8 | 10.2 | 2793 | 8.8 | 0.1 | 0 | 225.4 | 0.0 | 0.0 | 36.9 | 0.0 | 0.0 | 8450.000 | 59.980 | 24.300 | 1255.000 | 13553.000 | 17931.000 | 64.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
82 | 31/12/2022 11:04:42 (UTC-4:00) | Normal |  | 294.4 | 9.9 | 2915 | 271.1 | 9.9 | 2684 | 266.1 | 9.8 | 2608 | 13.4 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7910.000 | 59.970 | 24.900 | 1255.000 | 13554.000 | 17932.000 | 66.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
83 | 31/12/2022 11:09:42 (UTC-4:00) | Normal |  | 290.8 | 9.8 | 2850 | 263.7 | 9.9 | 2611 | 262.3 | 9.7 | 2544 | 10.8 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 33.8 | 0.0 | 0.0 | 7720.000 | 59.960 | 25.600 | 1256.000 | 13554.000 | 17932.000 | 67.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
84 | 31/12/2022 11:14:43 (UTC-4:00) | Normal |  | 297.8 | 10.2 | 3038 | 270.9 | 10.2 | 2763 | 267.5 | 10.2 | 2729 | 12.6 | 0.1 | 0 | 225.3 | 0.0 | 0.0 | 36.0 | 0.0 | 0.0 | 8240.000 | 60.000 | 26.300 | 1257.000 | 13555.000 | 17933.000 | 67.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
85 | 31/12/2022 11:19:44 (UTC-4:00) | Normal |  | 311.1 | 10.3 | 3204 | 281.2 | 10.3 | 2896 | 278.9 | 10.3 | 2873 | 12.0 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 37.6 | 0.0 | 0.0 | 8600.000 | 59.980 | 27.000 | 1257.000 | 13556.000 | 17934.000 | 69.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
86 | 31/12/2022 11:24:49 (UTC-4:00) | Normal |  | 301.5 | 10.2 | 3075 | 269.6 | 8.9 | 2399 | 276.4 | 9.6 | 2653 | 13.1 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 34.5 | 0.0 | 0.0 | 7790.000 | 59.970 | 27.400 | 1258.000 | 13556.000 | 17934.000 | 66.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
87 | 31/12/2022 11:29:53 (UTC-4:00) | Normal |  | 290.3 | 2.4 | 697 | 263.3 | 2.5 | 658 | 261.9 | 2.3 | 602 | 9.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1840.000 | 59.980 | 28.000 | 1258.000 | 13557.000 | 17935.000 | 66.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
88 | 31/12/2022 11:30:04 (UTC-4:00) | Normal |  | 290.3 | 2.4 | 697 | 263.3 | 2.5 | 658 | 261.9 | 2.3 | 602 | 9.3 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 8.5 | 0.0 | 0.0 | 1840.000 | 59.980 | 28.000 | 1258.000 | 13557.000 | 17935.000 | 66.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
89 | 31/12/2022 11:34:57 (UTC-4:00) | Normal |  | 312.4 | 1.9 | 594 | 277.5 | 2.1 | 583 | 280.0 | 1.9 | 532 | 8.5 | 0.1 | 0 | 222.4 | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 1610.000 | 60.020 | 28.200 | 1259.000 | 13557.000 | 17935.000 | 58.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
90 | 31/12/2022 11:40:01 (UTC-4:00) | Normal |  | 315.9 | 10.2 | 3222 | 286.5 | 10.2 | 2922 | 282.2 | 10.2 | 2878 | 13.5 | 0.1 | 0 | 224.9 | 0.0 | 0.0 | 38.1 | 0.0 | 0.0 | 8720.000 | 59.990 | 28.500 | 1259.000 | 13557.000 | 17935.000 | 58.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
91 | 31/12/2022 11:45:06 (UTC-4:00) | Normal |  | 302.2 | 2.2 | 665 | 271.2 | 2.3 | 624 | 273.8 | 2.1 | 575 | 11.1 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 8.1 | 0.0 | 0.0 | 1740.000 | 59.960 | 29.000 | 1259.000 | 13558.000 | 17936.000 | 60.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
92 | 31/12/2022 11:50:11 (UTC-4:00) | Normal |  | 317.8 | 10.2 | 3242 | 287.3 | 10.2 | 2930 | 283.0 | 10.2 | 2887 | 12.3 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 38.4 | 0.0 | 0.0 | 8750.000 | 59.950 | 29.500 | 1260.000 | 13558.000 | 17936.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
93 | 31/12/2022 11:50:36 (UTC-4:00) | Normal |  | 317.8 | 10.2 | 3242 | 287.3 | 10.2 | 2930 | 283.0 | 10.2 | 2887 | 12.3 | 0.1 | 0 | 224.7 | 0.0 | 0.0 | 38.4 | 0.0 | 0.0 | 8750.000 | 59.950 | 29.500 | 1260.000 | 13558.000 | 17936.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
94 | 31/12/2022 11:55:15 (UTC-4:00) | Normal |  | 308.5 | 2.5 | 771 | 281.4 | 2.5 | 704 | 276.1 | 2.4 | 663 | 11.1 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 9.2 | 0.0 | 0.0 | 2010.000 | 60.000 | 30.000 | 1260.000 | 13559.000 | 17937.000 | 61.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
95 | 31/12/2022 12:00:19 (UTC-4:00) | Normal |  | 313.1 | 4.1 | 1284 | 285.2 | 3.7 | 1055 | 273.4 | 4.6 | 1258 | 9.1 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 15.7 | 0.0 | 0.0 | 3450.000 | 59.940 | 30.500 | 1261.000 | 13559.000 | 17937.000 | 61.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
96 | 31/12/2022 12:05:24 (UTC-4:00) | Normal |  | 318.4 | 3.5 | 1114 | 283.1 | 3.9 | 1104 | 282.6 | 3.5 | 989 | 11.0 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 13.7 | 0.0 | 0.0 | 3090.000 | 59.920 | 30.900 | 1261.000 | 13560.000 | 17938.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
97 | 31/12/2022 12:10:29 (UTC-4:00) | Normal |  | 321.1 | 10.2 | 3275 | 292.0 | 10.2 | 2978 | 290.4 | 10.2 | 2962 | 10.7 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 39.2 | 0.0 | 0.0 | 8920.000 | 59.990 | 31.500 | 1262.000 | 13560.000 | 17938.000 | 63.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
98 | 31/12/2022 12:10:40 (UTC-4:00) | Normal |  | 321.1 | 10.2 | 3275 | 292.0 | 10.2 | 2978 | 290.4 | 10.2 | 2962 | 10.7 | 0.1 | 0 | 225.0 | 0.0 | 0.0 | 39.2 | 0.0 | 0.0 | 8920.000 | 59.990 | 31.500 | 1262.000 | 13560.000 | 17938.000 | 63.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
99 | 31/12/2022 12:15:33 (UTC-4:00) | Normal |  | 302.0 | 9.7 | 2929 | 271.1 | 9.9 | 2684 | 266.0 | 9.9 | 2633 | 12.5 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 34.6 | 0.0 | 0.0 | 7930.000 | 60.030 | 32.200 | 1263.000 | 13561.000 | 17939.000 | 65.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
100 | 31/12/2022 12:20:37 (UTC-4:00) | Normal |  | 298.6 | 8.4 | 2508 | 263.7 | 8.8 | 2321 | 266.3 | 8.5 | 2264 | 9.8 | 0.1 | 0 | 224.1 | 0.0 | 0.0 | 30.2 | 0.0 | 0.0 | 6860.000 | 60.030 | 32.900 | 1263.000 | 13562.000 | 17940.000 | 66.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
101 | 31/12/2022 12:25:41 (UTC-4:00) | Normal |  | 312.4 | 2.0 | 625 | 281.4 | 2.1 | 591 | 272.1 | 2.1 | 571 | 14.1 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 8.0 | 0.0 | 0.0 | 1700.000 | 60.020 | 33.100 | 1264.000 | 13562.000 | 17940.000 | 59.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
102 | 31/12/2022 12:30:47 (UTC-4:00) | Normal |  | 322.6 | 2.6 | 839 | 295.5 | 2.7 | 798 | 290.2 | 2.6 | 755 | 8.6 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 10.5 | 0.0 | 0.0 | 2290.000 | 60.020 | 33.300 | 1264.000 | 13562.000 | 17940.000 | 55.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
103 | 31/12/2022 12:35:51 (UTC-4:00) | Normal |  | 318.1 | 9.5 | 3022 | 287.5 | 9.6 | 2760 | 282.1 | 9.6 | 2708 | 13.2 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 35.9 | 0.0 | 0.0 | 8220.000 | 60.000 | 33.800 | 1264.000 | 13563.000 | 17941.000 | 58.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
104 | 31/12/2022 12:40:51 (UTC-4:00) | Normal |  | 319.1 | 10.2 | 3255 | 288.3 | 10.2 | 2941 | 284.9 | 10.2 | 2906 | 11.6 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 38.7 | 0.0 | 0.0 | 8810.000 | 59.970 | 34.200 | 1265.000 | 13563.000 | 17941.000 | 60.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
105 | 31/12/2022 12:45:52 (UTC-4:00) | Normal |  | 305.9 | 9.8 | 2998 | 271.1 | 10.0 | 2711 | 273.6 | 9.8 | 2681 | 9.9 | 0.1 | 0 | 224.3 | 0.0 | 0.0 | 35.6 | 0.0 | 0.0 | 8080.000 | 59.990 | 35.000 | 1265.000 | 13564.000 | 17942.000 | 64.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
106 | 31/12/2022 12:50:52 (UTC-4:00) | Normal |  | 306.4 | 9.1 | 2788 | 271.6 | 9.3 | 2526 | 270.2 | 9.2 | 2486 | 9.9 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 7510.000 | 60.020 | 35.600 | 1266.000 | 13564.000 | 17942.000 | 65.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
107 | 31/12/2022 12:55:53 (UTC-4:00) | Normal |  | 302.2 | 1.8 | 544 | 271.2 | 1.9 | 515 | 269.8 | 1.8 | 486 | 12.9 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 6.8 | 0.0 | 0.0 | 1430.000 | 59.980 | 36.200 | 1267.000 | 13565.000 | 17943.000 | 65.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
108 | 31/12/2022 13:00:53 (UTC-4:00) | Normal |  | 306.0 | 2.1 | 643 | 275.0 | 2.2 | 605 | 273.7 | 2.0 | 547 | 11.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 7.9 | 0.0 | 0.0 | 1690.000 | 59.960 | 36.700 | 1267.000 | 13565.000 | 17943.000 | 64.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
109 | 31/12/2022 13:05:54 (UTC-4:00) | Normal |  | 318.6 | 8.6 | 2740 | 279.8 | 8.9 | 2490 | 278.5 | 8.8 | 2451 | 8.8 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 32.6 | 0.0 | 0.0 | 7410.000 | 60.020 | 37.200 | 1268.000 | 13566.000 | 17944.000 | 63.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
110 | 31/12/2022 13:10:54 (UTC-4:00) | Normal |  | 310.8 | 8.5 | 2642 | 275.9 | 8.7 | 2400 | 278.3 | 8.4 | 2338 | 8.4 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 31.4 | 0.0 | 0.0 | 7150.000 | 60.030 | 37.800 | 1268.000 | 13567.000 | 17945.000 | 64.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
111 | 31/12/2022 13:12:42 (UTC-4:00) | Normal |  | 312.5 | 8.3 | 2594 | 281.4 | 8.4 | 2364 | 280.1 | 8.3 | 2325 | 9.9 | 0.1 | 0 | 224.2 | 0.0 | 0.0 | 30.8 | 0.0 | 0.0 | 7020.000 | 59.970 | 38.000 | 1268.000 | 13567.000 | 17945.000 | 65.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
112 | 31/12/2022 13:17:57 (UTC-4:00) | Normal |  | 306.2 | 8.1 | 2480 | 275.1 | 8.2 | 2256 | 273.8 | 8.0 | 2190 | 9.7 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 29.5 | 0.0 | 0.0 | 6710.000 | 59.980 | 38.600 | 1269.000 | 13567.000 | 17945.000 | 64.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
113 | 31/12/2022 13:22:55 (UTC-4:00) | Normal |  | 310.3 | 7.7 | 2389 | 275.5 | 7.9 | 2176 | 274.2 | 7.8 | 2139 | 8.4 | 0.1 | 0 | 223.9 | 0.0 | 0.0 | 28.7 | 0.0 | 0.0 | 6510.000 | 59.970 | 39.200 | 1270.000 | 13568.000 | 17946.000 | 64.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
114 | 31/12/2022 13:27:54 (UTC-4:00) | Normal |  | 308.4 | 7.7 | 2375 | 277.2 | 7.8 | 2162 | 276.1 | 7.7 | 2126 | 10.6 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 28.4 | 0.0 | 0.0 | 6440.000 | 60.070 | 39.700 | 1270.000 | 13568.000 | 17946.000 | 64.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
115 | 31/12/2022 13:32:54 (UTC-4:00) | Normal |  | 311.7 | 7.5 | 2338 | 280.9 | 7.6 | 2135 | 279.4 | 7.5 | 2096 | 12.5 | 0.1 | 0 | 224.0 | 0.0 | 0.0 | 28.1 | 0.0 | 0.0 | 6360.000 | 60.030 | 40.200 | 1271.000 | 13569.000 | 17947.000 | 63.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
116 | 31/12/2022 13:37:54 (UTC-4:00) | Normal |  | 314.1 | 7.4 | 2324 | 279.2 | 7.5 | 2094 | 277.8 | 7.4 | 2056 | 10.6 | 0.1 | 0 | 223.7 | 0.0 | 0.0 | 27.8 | 0.0 | 0.0 | 6290.000 | 60.020 | 40.800 | 1271.000 | 13570.000 | 17948.000 | 63.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
117 | 31/12/2022 13:42:53 (UTC-4:00) | Normal |  | 310.4 | 7.3 | 2266 | 283.3 | 7.3 | 2068 | 278.1 | 7.2 | 2002 | 13.7 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 27.1 | 0.0 | 0.0 | 6130.000 | 60.020 | 41.300 | 1272.000 | 13570.000 | 17948.000 | 62.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
118 | 31/12/2022 13:47:51 (UTC-4:00) | Normal |  | 312.3 | 7.2 | 2249 | 281.3 | 7.3 | 2053 | 280.0 | 7.1 | 1988 | 13.6 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 26.5 | 0.0 | 0.0 | 6070.000 | 60.050 | 41.800 | 1272.000 | 13571.000 | 17949.000 | 62.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
119 | 31/12/2022 13:52:53 (UTC-4:00) | Normal |  | 308.8 | 7.1 | 2192 | 277.7 | 7.2 | 1999 | 284.1 | 6.9 | 1960 | 11.7 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 26.3 | 0.0 | 0.0 | 5950.000 | 60.040 | 42.300 | 1273.000 | 13571.000 | 17949.000 | 61.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
120 | 31/12/2022 13:57:56 (UTC-4:00) | Normal |  | 314.0 | 6.9 | 2167 | 279.2 | 7.1 | 1982 | 277.9 | 7.0 | 1945 | 13.4 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 25.8 | 0.0 | 0.0 | 5880.000 | 60.020 | 42.800 | 1273.000 | 13572.000 | 17950.000 | 61.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
121 | 31/12/2022 14:02:58 (UTC-4:00) | Normal |  | 314.2 | 6.8 | 2137 | 283.2 | 6.9 | 1954 | 281.7 | 6.8 | 1916 | 11.2 | 0.1 | 0 | 223.6 | 0.0 | 0.0 | 25.7 | 0.0 | 0.0 | 5820.000 | 60.020 | 43.300 | 1274.000 | 13572.000 | 17950.000 | 60.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
122 | 31/12/2022 14:08:01 (UTC-4:00) | Normal |  | 316.7 | 6.6 | 2090 | 285.6 | 6.7 | 1914 | 284.1 | 6.6 | 1875 | 9.6 | 0.1 | 0 | 223.0 | 0.0 | 0.0 | 25.4 | 0.0 | 0.0 | 5710.000 | 59.990 | 43.800 | 1274.000 | 13573.000 | 17951.000 | 60.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
123 | 31/12/2022 14:13:03 (UTC-4:00) | Normal |  | 316.3 | 6.5 | 2056 | 285.2 | 6.6 | 1882 | 283.9 | 6.5 | 1845 | 10.5 | 0.1 | 0 | 223.2 | 0.0 | 0.0 | 24.8 | 0.0 | 0.0 | 5600.000 | 59.990 | 44.300 | 1275.000 | 13573.000 | 17951.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
124 | 31/12/2022 14:18:06 (UTC-4:00) | Normal |  | 314.2 | 6.4 | 2011 | 279.4 | 6.6 | 1844 | 281.9 | 6.4 | 1804 | 9.2 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 24.4 | 0.0 | 0.0 | 5470.000 | 60.010 | 44.700 | 1275.000 | 13573.000 | 17951.000 | 60.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
125 | 31/12/2022 14:23:08 (UTC-4:00) | Normal |  | 314.8 | 6.3 | 1983 | 283.7 | 6.4 | 1816 | 282.4 | 6.2 | 1751 | 9.3 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 23.9 | 0.0 | 0.0 | 5370.000 | 59.990 | 45.200 | 1276.000 | 13574.000 | 17952.000 | 60.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
126 | 31/12/2022 14:28:11 (UTC-4:00) | Normal |  | 312.4 | 6.2 | 1937 | 285.3 | 6.2 | 1769 | 280.0 | 6.1 | 1708 | 11.6 | 0.1 | 0 | 222.5 | 0.0 | 0.0 | 23.3 | 0.0 | 0.0 | 5230.000 | 59.980 | 45.600 | 1276.000 | 13574.000 | 17952.000 | 60.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
127 | 31/12/2022 14:33:13 (UTC-4:00) | Normal |  | 317.2 | 6.0 | 1903 | 286.0 | 6.1 | 1745 | 284.7 | 5.9 | 1680 | 14.2 | 0.1 | 0 | 222.7 | 0.0 | 0.0 | 22.4 | 0.0 | 0.0 | 5130.000 | 60.020 | 46.100 | 1277.000 | 13575.000 | 17953.000 | 59.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
128 | 31/12/2022 14:38:16 (UTC-4:00) | Normal |  | 320.2 | 5.8 | 1857 | 289.1 | 5.9 | 1706 | 287.8 | 5.7 | 1640 | 9.7 | 0.1 | 0 | 222.2 | 0.0 | 0.0 | 22.6 | 0.0 | 0.0 | 5050.000 | 59.960 | 46.500 | 1277.000 | 13575.000 | 17953.000 | 59.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
129 | 31/12/2022 14:43:18 (UTC-4:00) | Normal |  | 318.0 | 5.7 | 1813 | 290.9 | 5.7 | 1658 | 285.7 | 5.7 | 1628 | 12.4 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 22.0 | 0.0 | 0.0 | 4940.000 | 59.940 | 46.900 | 1277.000 | 13576.000 | 17954.000 | 58.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
130 | 31/12/2022 14:48:20 (UTC-4:00) | Normal |  | 322.2 | 5.5 | 1772 | 287.3 | 5.7 | 1638 | 289.8 | 5.5 | 1594 | 9.4 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 21.6 | 0.0 | 0.0 | 4830.000 | 60.030 | 47.300 | 1278.000 | 13576.000 | 17954.000 | 58.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
131 | 31/12/2022 14:53:19 (UTC-4:00) | Normal |  | 320.8 | 5.4 | 1732 | 289.5 | 5.5 | 1592 | 292.1 | 5.3 | 1548 | 8.9 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 21.0 | 0.0 | 0.0 | 4710.000 | 60.000 | 47.600 | 1278.000 | 13576.000 | 17954.000 | 57.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
132 | 31/12/2022 14:58:17 (UTC-4:00) | Normal |  | 318.1 | 5.3 | 1686 | 287.3 | 5.4 | 1551 | 285.9 | 5.2 | 1487 | 11.7 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 20.5 | 0.0 | 0.0 | 4580.000 | 59.980 | 48.000 | 1278.000 | 13577.000 | 17955.000 | 57.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
133 | 31/12/2022 15:03:16 (UTC-4:00) | Normal |  | 325.8 | 4.9 | 1596 | 286.8 | 5.1 | 1463 | 293.3 | 4.8 | 1408 | 10.3 | 0.1 | 0 | 221.9 | 0.0 | 0.0 | 19.3 | 0.0 | 0.0 | 4330.000 | 59.910 | 48.400 | 1279.000 | 13577.000 | 17955.000 | 56.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
134 | 31/12/2022 15:08:14 (UTC-4:00) | Normal |  | 322.4 | 4.9 | 1580 | 287.5 | 5.0 | 1438 | 290.0 | 4.9 | 1421 | 10.3 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 19.3 | 0.0 | 0.0 | 4310.000 | 59.970 | 48.800 | 1279.000 | 13578.000 | 17956.000 | 55.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
135 | 31/12/2022 15:13:13 (UTC-4:00) | Normal |  | 320.1 | 4.8 | 1536 | 285.1 | 5.0 | 1426 | 291.7 | 4.7 | 1371 | 10.9 | 0.1 | 0 | 221.6 | 0.0 | 0.0 | 18.9 | 0.0 | 0.0 | 4210.000 | 59.980 | 49.100 | 1280.000 | 13578.000 | 17956.000 | 55.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
136 | 31/12/2022 15:18:11 (UTC-4:00) | Normal |  | 320.6 | 4.6 | 1475 | 289.5 | 4.7 | 1361 | 284.3 | 4.7 | 1336 | 12.5 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 18.2 | 0.0 | 0.0 | 4050.000 | 59.980 | 49.500 | 1280.000 | 13578.000 | 17956.000 | 54.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
137 | 31/12/2022 15:23:10 (UTC-4:00) | Normal |  | 322.4 | 4.4 | 1419 | 291.3 | 4.5 | 1311 | 290.0 | 4.4 | 1276 | 11.9 | 0.1 | 0 | 221.4 | 0.0 | 0.0 | 17.4 | 0.0 | 0.0 | 3900.000 | 59.980 | 49.800 | 1280.000 | 13579.000 | 17957.000 | 53.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
138 | 31/12/2022 15:28:09 (UTC-4:00) | Normal |  | 326.3 | 4.2 | 1370 | 291.3 | 4.3 | 1253 | 293.9 | 4.1 | 1205 | 9.8 | 0.1 | 0 | 221.1 | 0.0 | 0.0 | 16.8 | 0.0 | 0.0 | 3720.000 | 59.990 | 50.100 | 1281.000 | 13579.000 | 17957.000 | 52.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
139 | 31/12/2022 15:33:08 (UTC-4:00) | Normal |  | 328.1 | 4.0 | 1312 | 293.2 | 4.1 | 1202 | 291.8 | 4.0 | 1167 | 10.8 | 0.1 | 0 | 223.4 | 0.0 | 0.0 | 15.8 | 0.0 | 0.0 | 3550.000 | 59.920 | 50.400 | 1281.000 | 13579.000 | 17957.000 | 52.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
140 | 31/12/2022 15:38:06 (UTC-4:00) | Normal |  | 328.3 | 3.9 | 1280 | 293.4 | 4.0 | 1174 | 295.9 | 3.8 | 1124 | 15.2 | 0.1 | 0 | 223.5 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3460.000 | 60.060 | 50.700 | 1281.000 | 13579.000 | 17957.000 | 51.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
141 | 31/12/2022 15:43:05 (UTC-4:00) | Normal |  | 326.4 | 4.0 | 1306 | 291.5 | 4.1 | 1195 | 294.0 | 3.9 | 1147 | 12.9 | 0.1 | 0 | 229.7 | 0.0 | 0.0 | 15.4 | 0.0 | 0.0 | 3530.000 | 60.000 | 51.000 | 1281.000 | 13580.000 | 17958.000 | 51.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
142 | 31/12/2022 15:48:03 (UTC-4:00) | Normal |  | 334.2 | 4.3 | 1437 | 299.3 | 4.5 | 1347 | 294.1 | 4.4 | 1294 | 12.5 | 0.1 | 0 | 231.7 | 0.0 | 0.0 | 16.7 | 0.0 | 0.0 | 3920.000 | 59.980 | 51.300 | 1282.000 | 13580.000 | 17958.000 | 51.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
143 | 31/12/2022 15:53:06 (UTC-4:00) | Normal |  | 334.3 | 3.8 | 1270 | 303.4 | 3.9 | 1183 | 298.0 | 3.8 | 1132 | 12.2 | 0.1 | 0 | 226.5 | 0.0 | 0.0 | 15.2 | 0.0 | 0.0 | 3460.000 | 59.940 | 51.600 | 1282.000 | 13580.000 | 17958.000 | 50.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
144 | 31/12/2022 15:58:08 (UTC-4:00) | Normal |  | 336.5 | 3.2 | 1077 | 305.5 | 3.3 | 1008 | 304.0 | 3.1 | 942 | 9.5 | 0.1 | 0 | 223.3 | 0.0 | 0.0 | 13.1 | 0.0 | 0.0 | 2940.000 | 59.980 | 51.900 | 1282.000 | 13581.000 | 17959.000 | 49.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
145 | 31/12/2022 16:03:10 (UTC-4:00) | Normal |  | 338.3 | 2.9 | 981 | 311.4 | 3.0 | 934 | 306.1 | 2.9 | 888 | 11.8 | 0.1 | 0 | 222.9 | 0.0 | 0.0 | 12.2 | 0.0 | 0.0 | 2700.000 | 59.940 | 52.100 | 1283.000 | 13581.000 | 17959.000 | 48.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
146 | 31/12/2022 16:08:13 (UTC-4:00) | Normal |  | 344.3 | 2.7 | 930 | 317.4 | 2.7 | 857 | 311.9 | 2.6 | 811 | 15.9 | 0.1 | 0 | 223.1 | 0.0 | 0.0 | 11.3 | 0.0 | 0.0 | 2500.000 | 60.020 | 52.400 | 1283.000 | 13581.000 | 17959.000 | 47.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
147 | 31/12/2022 16:13:15 (UTC-4:00) | Normal |  | 344.3 | 2.3 | 792 | 313.2 | 2.4 | 752 | 312.0 | 2.3 | 718 | 10.9 | 0.1 | 0 | 222.8 | 0.0 | 0.0 | 9.7 | 0.0 | 0.0 | 2140.000 | 59.980 | 52.600 | 1283.000 | 13581.000 | 17959.000 | 46.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
148 | 31/12/2022 16:18:17 (UTC-4:00) | Normal |  | 326.3 | 0.5 | 163 | 299.3 | 0.5 | 150 | 285.4 | 0.5 | 143 | 9.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 3.3 | 0.0 | 0.0 | 450.000 | 59.940 | 52.700 | 1283.000 | 13581.000 | 17959.000 | 45.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
149 | 31/12/2022 16:23:20 (UTC-4:00) | Normal |  | 338.2 | 0.4 | 135 | 299.3 | 0.5 | 150 | 289.9 | 0.4 | 116 | 13.4 | 0.1 | 0 | 220.1 | 0.0 | 0.0 | 3.1 | 0.0 | 0.0 | 370.000 | 60.080 | 52.800 | 1283.000 | 13582.000 | 17960.000 | 43.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
150 | 31/12/2022 16:28:22 (UTC-4:00) | Normal |  | 331.0 | 0.5 | 166 | 299.5 | 0.5 | 150 | 298.1 | 0.4 | 119 | 15.4 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 350.000 | 60.000 | 52.800 | 1283.000 | 13582.000 | 17960.000 | 41.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
151 | 31/12/2022 16:33:25 (UTC-4:00) | Normal |  | 326.4 | 0.4 | 131 | 295.4 | 0.4 | 118 | 293.8 | 0.3 | 88 | 10.3 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 310.000 | 60.040 | 52.800 | 1283.000 | 13582.000 | 17960.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
152 | 31/12/2022 16:33:35 (UTC-4:00) | Normal |  | 326.4 | 0.4 | 131 | 295.4 | 0.4 | 118 | 293.8 | 0.3 | 88 | 10.3 | 0.1 | 0 | 219.5 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 310.000 | 60.040 | 52.800 | 1283.000 | 13582.000 | 17960.000 | 40.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
153 | 31/12/2022 16:38:28 (UTC-4:00) | Normal |  | 320.5 | 0.4 | 128 | 297.6 | 0.4 | 119 | 292.1 | 0.3 | 88 | 10.0 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.9 | 0.0 | 0.0 | 300.000 | 60.030 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 39.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
154 | 31/12/2022 16:43:29 (UTC-4:00) | Normal |  | 324.5 | 0.3 | 97 | 305.5 | 0.4 | 122 | 276.0 | 0.3 | 83 | 15.3 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 230.000 | 60.040 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 38.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
155 | 31/12/2022 16:48:32 (UTC-4:00) | Normal |  | 314.5 | 0.2 | 63 | 291.5 | 0.3 | 87 | 278.1 | 0.2 | 56 | 16.8 | 0.1 | 0 | 220.0 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 60.030 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 37.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
156 | 31/12/2022 16:53:34 (UTC-4:00) | Normal |  | 318.4 | 0.2 | 64 | 287.4 | 0.3 | 86 | 277.8 | 0.2 | 56 | 9.9 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 180.000 | 59.990 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 37.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
157 | 31/12/2022 16:58:36 (UTC-4:00) | Normal |  | 328.6 | 0.2 | 66 | 301.2 | 0.2 | 60 | 280.2 | 0.1 | 28 | 10.4 | 0.1 | 0 | 220.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 130.000 | 59.970 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 37.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
158 | 31/12/2022 17:03:39 (UTC-4:00) | Normal |  | 324.2 | 0.2 | 65 | 285.5 | 0.3 | 86 | 275.3 | 0.2 | 55 | 14.3 | 0.1 | 0 | 219.8 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 170.000 | 59.990 | 52.900 | 1283.000 | 13582.000 | 17960.000 | 36.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
159 | 31/12/2022 17:08:41 (UTC-4:00) | Normal |  | 312.6 | 0.2 | 63 | 293.6 | 0.3 | 88 | 275.5 | 0.2 | 55 | 12.8 | 0.1 | 0 | 219.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 160.000 | 60.010 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 36.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
160 | 31/12/2022 17:13:43 (UTC-4:00) | Normal |  | 324.7 | 0.2 | 65 | 289.6 | 0.3 | 87 | 275.6 | 0.2 | 55 | 16.7 | 0.1 | 0 | 224.5 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 120.000 | 59.970 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 35.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
161 | 31/12/2022 17:18:42 (UTC-4:00) | Normal |  | 328.6 | 0.2 | 66 | 285.6 | 0.2 | 57 | 275.7 | 0.1 | 28 | 10.9 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.5 | 0.0 | 0.0 | 100.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 35.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
162 | 31/12/2022 17:23:40 (UTC-4:00) | Normal |  | 324.3 | 0.2 | 65 | 289.4 | 0.2 | 58 | 275.4 | 0.2 | 55 | 12.6 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.8 | 0.0 | 0.0 | 150.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 35.4 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
163 | 31/12/2022 17:28:40 (UTC-4:00) | Normal |  | 316.4 | 0.1 | 32 | 285.5 | 0.2 | 57 | 275.6 | 0.1 | 28 | 14.7 | 0.1 | 0 | 222.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 90.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 35.1 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
164 | 31/12/2022 17:33:38 (UTC-4:00) | Normal |  | 371.3 | 0.1 | 37 | 269.7 | 0.1 | 27 | 268.3 | 0.1 | 27 | 12.1 | 0.1 | 0 | 222.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.010 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
165 | 31/12/2022 17:38:36 (UTC-4:00) | Normal |  | 292.7 | 0.1 | 29 | 269.7 | 0.1 | 27 | 264.3 | 0.1 | 26 | 12.3 | 0.1 | 0 | 221.8 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.7 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
166 | 31/12/2022 17:43:35 (UTC-4:00) | Normal |  | 288.4 | 0.1 | 29 | 269.7 | 0.1 | 27 | 259.1 | 0.1 | 26 | 11.0 | 0.1 | 0 | 229.7 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.960 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
167 | 31/12/2022 17:48:33 (UTC-4:00) | Normal |  | 282.0 | 0.1 | 28 | 269.7 | 0.1 | 27 | 313.3 | 0.1 | 31 | 17.7 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.3 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
168 | 31/12/2022 17:53:32 (UTC-4:00) | Normal |  | 269.6 | 0.1 | 27 | 269.7 | 0.1 | 27 | 244.8 | 0.1 | 24 | 10.4 | 0.1 | 0 | 224.6 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.000 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.2 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
169 | 31/12/2022 17:58:30 (UTC-4:00) | Normal |  | 261.8 | 0.1 | 26 | 269.8 | 0.1 | 27 | 231.2 | 0.1 | 23 | 13.9 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.970 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 34.0 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
170 | 31/12/2022 18:03:29 (UTC-4:00) | Normal |  | 241.8 | 0.1 | 24 | 267.7 | 0.1 | 27 | 221.5 | 0.1 | 22 | 16.8 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 60.030 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 33.9 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
171 | 31/12/2022 18:08:27 (UTC-4:00) | Normal |  | 230.6 | 0.1 | 23 | 248.7 | 0.1 | 25 | 201.7 | 0.1 | 20 | 17.5 | 0.1 | 0 | 219.7 | 0.0 | 0.0 | 2.7 | 0.0 | 0.0 | 20.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 33.8 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
172 | 31/12/2022 18:13:25 (UTC-4:00) | Normal |  | 205.2 | 0.1 | 21 | 220.7 | 0.1 | 22 | 190.4 | 0.1 | 19 | 17.0 | 0.1 | 0 | 222.0 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.980 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 33.6 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
173 | 31/12/2022 18:18:30 (UTC-4:00) | Normal |  | 139.2 | 0.1 | 14 | 149.5 | 0.1 | 15 | 140.1 | 0.1 | 14 | 13.7 | 0.1 | 0 | 221.2 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.950 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0
174 | 31/12/2022 18:18:47 (UTC-4:00) | Normal |  | 134.9 | 0.1 | 13 | 145.9 | 0.1 | 15 | 140.0 | 0.1 | 14 | 15.6 | 0.1 | 0 | 221.3 | 0.0 | 0.0 | 2.6 | 0.0 | 0.0 | 20.000 | 59.990 | 53.000 | 1283.000 | 13582.000 | 17960.000 | 33.5 |  | 0.00 | 0.000 | 0.000 | 0.000 | 0